REPUBLIQUE DU CAMEROUN                                                                                              REPUBLIC OF CAMEROON

Paix-Travail-Patrie                                                                                                                                                                 peace – work -fatherland

MINISTERE DE LA DECENTRALISATION                                                                                   MINISTRY OF DECENTRALISATION

----------	                                             ------------

ET DU DEVELOPMENT LOCAL                                                                                                         AND LOCAL DEVELOPMENT

-----------	                              -----------

REGION DU SUD OUEST                                                                                                                   SOUTH WEST REGION

------------                                                                                                                                                     ----------

DEPARTEMENT DU NDIAN                                                                                                                      NDIAN DIVISION

------------                                                                                                                                                     ----------

COMMUNE DE IDABATO                                                                                                                     IDABATO  COUNCIL

------------                                                                                                                                                          -----------

COMMISSION DE PASSATION DES MARCHES                                                                             TENDER’S BOARD COMMISSION

IDABATO COUNCIL INTRENAL TENDER BOARD

OPEN NATIONAL INVITATION TO TENDER

N°-----/ONIT/IC/ICITB/PIB 2026 OF ………/……./2026

FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II PHSAE I (13KVA)

FINANCING:  PUBLIC INVESTMENT BUDGET MINEE 2026

SUMMARY

Page

Document No 1	              : TENDER NOTICE   					                                   3

Document No 2 	             : GENERAL REGULATIONS OF THE INVITATION TO TENDER.              6

Document No 3 	             :SPECIAL REGULATIONS OF THE INVITATION TO TENDER                  30                                   Document No 4	             : SPECIAL ADMINISTRATIVE CLAUSES	                                               38

Document No 5              : SPECIAL TECHNICAL CLAUSES                                                                 54    Document No 6	             : SCHEDULE OF UNIT PRICES	                                                            63

Document No 7	             : BILL OF QUANTITIES AND ESTIMATES	                                               65

Document No 8	             : THE SUB-DETAIL OF PRICES                                   	                                  67

Document No 9	             : MODEL JOBBING ORDER                                                                             69

Document No 10	: PLANS                                                                                                               73

Document No 11	: FORMS AND STANDARD DOCUMENTS TO BE USED                            74

Document N° 12	: LIST OF BANKING ESTABLISHMENTS AND FINANCIAL BODIES       83

REPUBLIQUE DU CAMEROUN                                                                                              REPUBLIC OF CAMEROON

Paix-Travail-Patrie                                                                                                                                                                 peace – work -fatherland

MINISTERE DE LA DECENTRALISATION                                                                                   MINISTRY OF DECENTRALISATION

----------	                                             ------------

ET DU DEVELOPMENT LOCAL                                                                                                         AND LOCAL DEVELOPMENT

-----------	                                   -----------

REGION DU SUD OUEST                                                                                                                   SOUTH WEST REGION

------------                                                                                                                                                             ----------

DEPARTEMENT DU NDIAN                                                                                                                        NDIAN DIVISION

------------                                                                                                                                                         ----------

COMMUNE DE IDABATO                                                                                                                         IDABATO COUNCIL

------------                                                                                                                                                          -----------

COMMISSION DE PASSATION DES MARCHES                                                                             TENDER’S BOARD COMMISSION

IDABATO COUNCIL INTRENAL TENDER BOARD

OPEN NATIONAL INVITATION TO TENDER

N°-----/ONIT/IC/ICITB/PIB 2026 OF ………/……./2026

FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA)

FINANCING:  PUBLIC INVESTMENT BUDGET MINEE 2026

TENDER NOTICE

OPEN NATIONAL INVITATION TO TENDER

N°: -----/ONIT/IC/ICITB/PIB2026 OF..……./……./2026

FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA)

FINANCING: PUBLIC INVESTMENT BUDGET MINEE 2026

1.        SUBJECT OF THE INVITATION TO TENDER:

Within the framework of the Public Investment Budget 2026 the Mayor of Idabato Council, Contracting Authority hereby launches an Open National Invitation to Tender for the FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA)

2.        NATURE OF WORKS:

The works comprise in a nutshell:

- CONSTRUCTION OF PHOTO VOLTAC ARRAY

- CONSTRUCTION OF ELECTRICAL CABINET

- SUPPLY AND INSTALLATION OF BATTERIES

- PROTECTION OF THE SYSTEM

- DISTRIBUTION NETWORK LV 2x25mm2

- SITE INSTALLATION TRANSPORTATION, VISIT AND DOCUMENTATION

Further detailed information is provided in the technical specifications and the quantitative estimates.

3.        PARTICIPATION:

The tender is open to duly legalized Cameroonian enterprises that fulfill the requirements of this invitation to tender.

4.        FINANCING:

The works which form the subject of this invitation to tender shall be financed by Public Investment Budget MINEE of the 2026 financial year; Budget Head No

5.           COST:

The total estimated cost for this project is Fifty million (50 000 000) FCFA.

6.        CONSULTATION OF THE TENDER FILE:

Interested eligible bidders may obtain further information during working hours as from the date of publication of this tender notice, at the Private Secretariat of The Mayor of Idabato Council, Tel: ………………………..

7.        ACQUISITION OF TENDER FILE:

The complete tender file may be obtained from the General Secretariat of the Mayor of Idabato Council, upon presentation of a treasury receipt attesting to the payment of a non-refundable sum of seventy (70,000) CFAF, at the ………..Idababo Municipal Treasury

8.       SUBMISSION OF BIDS:

Each bid drafted in English or French in six (06) copies including the original and five (05) copies marked as such, should reach the Private Secretariat of the Mayor of Idabato Council, against a receipt not later than ---------------- at 12 noon local time and the outer envelope labeled:

OPEN NATIONAL INVITATION TO TENDER

No. ---/ONIT/IC/ICITB/PIB 2026 of ------/-----/2026

FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA)

“To be opened only during the bid opening session”

8.        ADMISSIBILITY OF OFFERS:

Each bidder must include in his/her administrative documents a bid bond issued by a first rate bank approved by the Ministry in charge of finance and recognized by COBAC

(Commission Bancaire pour l’Afrique Centrale) featuring on the list in Document 12 of the tender file of an amount of One Million (1,000,000) CFAF with a validity period of ninety (90) days from the date the bids are opened.

Under penalty of rejection, the required administrative documents must be imperatively produced as original documents or photocopies certified as authentic by the issuing authority, in accordance with the Special Regulations of the Invitation to Tender, within the last three months, otherwise they shall not be accepted.

Any bid not in compliance with the specifications of this tender notice and file shall be declared inadmissible. Notably, the absence of the bid bond issued by a first rate bank approved by the Ministry in charge of finance or its non-compliance with the model documents of the tender file shall lead to outright rejection of the bid without any possibility of appeal.

9.	OPENING OF BIDS:

The bids shall be opened in a single (01) phase. The opening of the administrative/technical files shall take place on ------/------/2026 at 1:00 pm local time by the Tender Board of the Contracting 	Authority in the Idabato Council Conference Hall, in the presence of the bidders or duly authorized representatives having full knowledge of the file (power of attorney). Only financial bids of bidders who have scored at least 70% in the first phase shall be opened at a later date.

10.	DURATION OF EXECUTION:

The maximum period provided for the execution of the works is fixed at three (03) months.

11.	MAIN ELIMINATORY CRITERIA:

- Non conformity of administrative documents;

- Non conformity/forged documents in the tender files;

- Original documents or certified copies more than three months old;

- Antecedents of non-execution of contract or pending disputes;

- Absence of attestation of site visit.

12.	EVALUATION CRITERIA:

The criteria relating to the qualification of candidates could indicatively be on the following:

- Main Criteria

The evaluation will be based on pre-defined criteria, which will be scored on a total of 52 Yes. These criteria are presented according to headings, as follows:

| N° | Criteria | Evaluation |
| --- | --- | --- |
| 1 | General Presentation | 05 Yes/No |
| 2 | Personnel of the enterprise | 11 Yes/No |
| 3 | Equipment of the enterprise | 08 Yes/No |
| 4 | Reference of the enterprise in the domain of electricity | 12 Yes/No |
| 5 | Methodology for executing the works | 05 Yes/No |
| 6 | Planning | 02 Yes/No |
| 7 | Knowledge of the locality to be electrified | 02 Yes/No |
| 8 | Capacity to pre-finance the project | 05 Yes/No |
|  | TOTAL | 50 Yes/No |

- Eliminatory criteria

- Non-compliance of administrative documents

- False declaration or falsified documents

- Antecedents of non-execution of contract or pending disputes

- Technical mark below 70% Yes

- Incomplete technical or financial file

13.	VALIDITY OF OFFERS:

Bidders shall be bound by their bids for a period of 90 (ninety) days with effect from the date of opening of bids.

14.	COMPLEMENTARY INFORMATION:

Further complementary information may be obtained during working hours from the Secretariat of the contract unit of Idabato Office, Tel: ……………………..

15.	CONTRACT AWARD:

The contract should be awarded to the contractor presenting the best administrative and technical files.

Done at Idabato

The Mayor of Idabato Council

(Contracting Authority)

Copies:

- SDO/NDIAN

- DDMINMAP/NDIAN

- ARMP (for publication and archiving)

- Chairperson of Tender’s board

- Notice boards (for information)

- Contracts Service (for archiving)

- Idabato Council

REPUBLIQUE DU CAMEROUN                                                                                              REPUBLIC OF CAMEROON

Paix-Travail-Patrie                                                                                                                                                                 peace – work -fatherland

REPUBLIQUE DU CAMEROUN                                                                                              REPUBLIC OF CAMEROON

Paix-Travail-Patrie                                                                                                                                                                 peace – work -fatherland

MINISTERE DE LA DECENTRALISATION                                                                                   MINISTRY OF DECENTRALISATION

----------	                                             ------------

ET DU DEVELOPMENT LOCAL                                                                                                         AND LOCAL DEVELOPMENT

-----------	                                   -----------

REGION DU SUD OUEST                                                                                                                   SOUTH WEST REGION

------------                                                                                                                                                             ----------

DEPARTEMENT DU NDIAN                                                                                                                        NDIAN DIVISION

------------                                                                                                                                                         ----------

COMMUNE DE IDABATO                                                                                                                         IDABATO COUNCIL

------------                                                                                                                                                          -----------

COMMISSION DE PASSATION DES MARCHES                                                                             TENDER’S BOARD COMMISSION

IDABATO COUNCIL INTRENAL TENDER BOARD

OPEN NATIONAL INVITATION TO TENDER

N°-----/ONIT/IC/ICITB/PIB 2026 OF ………/……./2026

FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA)

FINANCING:  PUBLIC INVESTMENT BUDGET MINEE 2026

GENERAL REGULATIONS OF THE INVITATION TO TENDER

TABLE OF CONTENTS

A.  GENERAL PROVISIONS.

Article 1:	Scope of the Tender

Article 2:	Financing

Article 3:	Fraud and Corruption

Article 4:	Candidates allowed to compete

Article 5:	Material, equipment and related services

Article 6:	Qualification of bidder

Article 7:	visit of works site

B. TENDER FILE

Article 8:	Content of Tender File

Article 9:	Clarifications on Tender File and Petition

Article 10:	Amendment of the Tender File

C. PREPARATION OF BIDS

Article 11:	Cost of Bidding

Article 12:	Language of Bid

Article 13:	Bidding documents

Article 14:	Contract Amount

Article 15:	Currency of offer and payment

Article 16:	Validity of Bid

Article 17:	Bid bond

Article 18:	Varying proposals of bidders

Article 19:	Preparatory meeting to the establishment of Bids

Article 20:	Format and signature of Bids

D. SUBMISSION OF BIDS

Article 21:	Sealing and marking of Bids

Article 22:	Date and time-limit for submission of Bids

Article 23:	Late Bids

Article 24:	Modification, substitution and withdrawal of Bids

E. OPENING OF BIDS AND EVALUATIONS OF BIDS

Article 25:	Opening of envelopes and Petitions

Article 26:	Confidential nature of the procedure

Article 27:	Clarifications on the offer and contact with contracting Authority

Article 28:	Determination of conformity of Bids

Article 29:	Qualification of the Bidders

Article 30:	Correction of errors

Article 31:	Conversion into a single currency

Article 32:	Evaluation and comparison of offers at the financial level

Article 33:	Preference granted to national Bidders.

F. AWARD OF THE CONTRACT.

Article 34:	Award

Article 35:	The right of the contracting Authority to declare an Invitation to Tender

Unsuccessful or cancel a procedure.

Article 36:	Notification of the award of the contract

Article 37:	Publication of Result and Petitions

Article 38:	Signing of the contract

Article 39:	Final Bond.

GENERAL RULES OF THE INVITATION TO TENDER

A – GENERAL

ARTICLE 1:	Scope of the Tender

1.1:	The Mayor of Idabato Council – Contracting Authority, launches an Open National Invitation to Tender N°…../ONIT/IC/ICITB/PIB2026 of …………... FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA)

1.2.:	The successful bidder must complete the works within the time-limit indicated in the special Regulations and which time-limit runs from the date of notification of the Service Order to commence works.

1.3:	In this Tender file, the term “Contracting Authority” shall imply the: Mayor of Idabato Council, and the term “day” means a calendar day.

Article 2:	Financing

The Works forming the subject of this invitation to tender shall be financed by the 2026 Public Investment budget.

Article 3:	Fraud and Corruption

3.1:	The Contracting Authority requires of bidders and contractors to strictly respect rules of professional ethics during the award and execution of public contracts. By virtue of this principle, the Contracting Authority:

a)   Defines, within the context of this clause, the following expressions in the following

Manner:

- Shall be guilty of “corruption” whoever offers, gives, requests or accepts any advantage in view of influencing the action of a public official during the award or execution of the works;

- Is involved in “fraudulent manoeuvres” whoever deforms or distorts fact in order to influence the award or execution of a contract;

- “Collusive practices” mean any form of agreement between two or among several bidders (whether the Contracting Authority is aware or not) aimed at artificially maintaining the prices of offers at levels not corresponding with those which will result from the forces of competition;

- And “coercive practices” mean any form of harm against persons or their property or threats against them in order to influence their action during the award or execution of a contract.

b)   Will reject any award proposal if it determines that the proposed successful bidder is directly or through the intermediary of an agent, guilty of corruption or is involved in fraudulent manoeuvres, collusive or coercive practices for the award of this contract.

3.2.   The Minister of Public Contracts, authority in charge of Public contracts may provisionally suspend a bidder for duration of two years for any of the following reasons:

a)   Attempt to influence the award procedure

b)   Conflict of interest

c)   Initiating crime

d)   Fraud

e)   Corruption

f)	Use of non-authentic documents.

The suspension notwithstanding, the bidder may be pursued criminally.

Article 4:	Candidates allowed COMPETING.

4.1 Generally, the invitation to tender is addressed to all Cameroonians contractors, subject to the following provisions:

a) A Cameroonian public enterprise may participate in the consultation if it can demonstrate that it is:

i) Legally and financially autonomous

ii) Managed according to commercial law

iii) Not under the direct supervisory authority of the contracting authority.

b) A bidder (including all members of a group of enterprises and all sub-contractors to the bidder) must not be in a situation of conflict of interest.

A bidder shall be judged to be in a situation of conflict of interest if he:

- Is associated or was associated in the past with an enterprise (or a subsidiary of this enterprise) which provided consultancy services for the conception, preparations of specifications and others documents used within the scope of contracts awarded for this invitation to tender; or

- Presents more than one offer within the context of invitation to tender, except authorized variants according to article 15, where need be; meanwhile, this does not prevent the participation of sub contractors in more than one offer.

c) The bidder must not be excluded from bidding for public contracts.

Article 5:	Materials, Supplies, Equipment and Related Services.

5.1.   Materials, supplies, equipment and services forming the subject of this contract must originate from countries meeting the criteria of origin defined in the Special Regulations of the Invitation to Tender and all expenditure done within the context of the contract shall be limited to the said materials, supplies, equipment and services.

5.2.    Within the meaning of Article 5.1 above, the term “originate” shall designate the place where the goods are extracted, cultivated, produced, manufactured and from where the services originates.

Article 6:   Qualification of Bidder

6.1.   As an integral part of their offer, bidders must:

a)   Submit a power of attorney making the signatory of the offer bound by the offer; and

b)   Update the information included in their request for pre-qualification which may have

Changed (or provide this information, in case of open invitation to tender).

Where necessary, bidders should update the information relating to the following points:

- The production of recent balance sheets and turnovers may be required;

- Orders acquired and contracts awarded;

- Pending litigations and;

- Availability of indispensable equipment.

- ENEO accreditation or proof of competence in electrical works()

6.2. Bids presented by two or more associated undertakings (joint-contracting) must satisfy the following conditions;

a)    The offer must include all the information listed in Article 6(1) above;

b)    The offer and the contract must be signed in a way that is binding on all members of                    the group;

c)    The nature of the group (joint or several) must be specified and justified with the

Production of a joint venture agreement in due form;

d)   The member of the group designated as the representative will represent all the

Undertakings Vis-à-vis the Contracting Authority with regard to the execution of the

Contract.

e)   In case of joint co-contracting, the co-contracting Authority into a single account; or

on the other hand, each undertaking is paid in its own account by the contracting    Authority where it is several co-contracting.

6.3. Bidder must equally present sufficiently detailed proposals to demonstrate that they

Conform to the technical specifications and delivery time-limits set in the Special

Regulations of the Invitation to Tender.

6.4. Bidders requesting to benefit from the margin of preference must furnish all the necessary information to prove that they satisfy the eligibility criteria set in Article 32 of the general regulations of the invitation to tender.

Article 7:  Visit of Works Site.

7.1. The bidder is advised to visit and inspect the works site and its environs and obtain by

himself and under his own responsibility, all the information which may be

Necessary for the preparation of the offer and the execution of the works.The

related cost of the visit of the site shall be borne by the bidder.

7.2. The proof of effective visit to the site shall be established by an attestation of site visit duly signed by the Mayor of Idabato Council or the Council Development Officer (CDO).

7.3. The contracting Authority may organize a visit of the site of the works during the preparatory meeting to establish offers mentioned in Article 19 of the General Regulations of the Invitation to Tender.

B – TENDER FILE

Article 8:	Content of Tender File

8.1. The Tender File describes the works forming the subject of the contract, sets the consultation procedure of contractors and specifies the terms of the contract. Beside the addendum (addenda) published in accordance with Article 10 of the General Regulations of the Invitation to Tender, it includes the following documents:

a)   The letter of invitation to tender (for restricted invitation to tender)

b)   The tender notice

c)   The General Regulations of the Invitation to Tender

d)   The Special Regulations of the Invitation to Tender

e)   The Special Administrative Clauses

f)    The Special Technical Conditions

g)   The Unit Price Schedule

h)   The Bill of Quantities and Estimates

i)    The execution schedule

j)    Charts and other elements of the technical file

k)   Model forms for equipment, personnel and references of the Bidder

l)    Model of Declaration of intention to Bid

m)  Model Bid Letter

n)   Model Bid Bond

o)   Model final bond

p)   Model of start-off Advance Bond

q)   Model of performance bond in replacement of retention guarantee

r)   Model contract

s)    Forms relating to preliminary studies

t)    List of commercial banks and financial institutions approved by the Ministry

in charge of finance authorized to issue bonds.

8.2. The bidder must examine and respect all the rules, forms, conditions and specifications contained in the Tender File. It is up to him to furnish all the information requested and prepare an offer in conformity with all aspects of the said file. Any inadequacy may lead to a rejection of his offer.

Article 9:   Clarifications on the Tender File and Petitions.

9.1. Any bidder who wants to obtain clarifications on the Tender file may request them from the Contracting Authority in writing or by electronic mail (at the Secretariat of the Mayor of Idabato, Tel: …………………….), address indicated in the Special Regulations of the Invitation to Tender. The Contracting Authority shall reply in writing to any request for clarification received at least fourteen (14) days prior to the deadline for the submission of offers.

A copy of the Contracting Authority’s response, indicating the question posed but not mentioning the author, shall be addressed to all bidders who bought the Tender File.

9.2.   Between the publication of the tender notice including the pre-qualification phase of candidates and the opening of bids, any bidder who feels aggrieved in the public contracts award procedure may lodge a complaint to the Contracting Authority.

9.3.   The complaint must be addressed to the Contracting Authority with copies to the body in charge of the regulation of public contracts and the chairperson of the Tenders Board. It must reach the Contracting Authority not later than fourteen (14) days before the opening of bids.

9.4.   The Contracting Authority has five (5) days to react. A copy of the reaction shall be forwarded to the body in charge of the regulation of public contracts.

Article 10:   Amendment of the Tender File.

10.1.  The Contracting Authority may at any moment, prior to the deadline of the submission of offers and for any reason, be at his initiative or in reply to a request for clarification formulated by a bidder, amend the Tender file by publishing an addendum.

10.2   Any published addendum shall be an integral part of the Tender file, in accordance with Article 8.1 of the General Regulation of the Invitation to Tender and must be communicated in writing or made known to all bidders who bought the tender file. The latter must acknowledge receipt of the addenda in writing to the Contracting Authority.

10.3.  In order to give bidders sufficient time to take account of the addendum in the preparation of their offers, the Contracting Authority may postpone as is necessary, the deadline for the submission of offers, in accordance with provision of Article 22 of the General Regulation of the Invitation to Tender.

C – PREPARATION OF BIDS

Article 11:	Cost of Bidding.

The bidder shall bear all costs associated with the preparation and submission of his bid, and the Contracting Authority, will in no case whatsoever be responsible or liable for those costs, regardless of the conduct or outcome of the bidding process.

Article 12:	Language of Bid.

The bid as well as all correspondences and documents relating to the bid exchanged between the bidder and the Contracting Authority shall be written in English or French.

Article 13:	     Bidding Documents

13.1. The Bid presented by the bidder shall include the documents detailed in the Special Regulations of the Invitation to Tender, duly filed and put together in three volumes:

a)   Volume 1:	Administrative File

It includes:

i)    All documents attesting that the bidder:

- has subscribed to all declaration provided for by the laws and regulations;

- has paid all taxes, duties, contribution, fees or deduction of whatever nature;

- is not winding up or bankrupt;

- is not the subject of an exclusion order or forfeiture provided for by the law in force;

ii)   The bid bond established in accordance with the provisions of Article 17 of the

General Regulations of the Invitation to Tender;

iii)  The written confirmation empowering the signatory of the offer to commit the bidder,

in accordance with the provision of Article 6(1) of the General Regulations of the

Invitation to Tender.

b)   Volume 2:	Technical Offer

b.1. Information on qualification.

The special regulations list the documents to be furnished by bidders to justify the qualification criteria mentioned in Article 6(1) of the Special Regulations of the Invitation to Tender.

b 2. Methodology.

The special regulations of the invitation to Tender specify the constituent elements of the Technical offer of the Bidders especially: a methodological statement on an analysis of the works and specifying the organization and program which the bidder intends to put in place or use to execute the works (installations, schedule, sub-contracting, attestation of site visit, etc...).

b.3. Proof of Reception of Conditions of the Contract.

The bidder shall submit duly initialed copies of administrative and technical documents relating to the contract, namely:

- The special Administrative conditions (SAC)

- The Special Technical Conditions (STC)

- Model Contract

b. 4. Commentaries (optional)

A commentary on the technical choices of the project and possible proposals.

C)   Volume 3:	Financial Offer

The special conditions specify the elements that will help in justifying the cost of the works, namely:

- The signed and dated original offer (bid letter) prepared according to the attached model, stamped at the prevailing rate;

- The duly filled Unit Price Schedule;

- The duly filled detailed estimate;

- The sub-detail of prices and/or breakdown of all-in prices.

In this regard, the bidders shall use the documents and models provided in the Tender file, subject to the provisions of Article 17(1) of the General Regulations of the Invitation to Tender concerning the other possible forms of guarantees.

13.2. If in accordance with the provisions of the Special Regulation of Invitations to Tender, the bidders present offers for several lots of the same Invitation to Tender, they could indicate rebates offered in case of award of more than one lot.

Article 14:      Contract Amount

14.1.  Except otherwise stated in the Tender file, the amount of the contract shall cover all the works described in Article 1.1 of the General Regulations of the Invitation to Tender, on the basis of the unit price schedule and the detailed Bill of Quantities and Estimates presented by the bidder.

14.2. The bidder shall fill the unit prices and totals of all items on the schedule and bill of quantities and estimates.

14.3.   Subject to contrary provisions provided for in the Special Regulations and in the Special Administrative clauses, all dues, taxes, fees payable by the bidder on grounds of the contract or on any other ground, thirty (30) days prior to the submission of the offers, shall be included in the prices and in the total amount of the offer presented by the bidder.

14.4. If a price revision/updating clause is provided for in the contract, the date of establishment of the initial prices, as well as the price revision/updating conditions for the said price must be specified.  This is with the understanding that any contract of duration of less than one (1) year shall not be subject to a price revision.

14.5. All unit prices must be justified by sub-detailed established in accordance with the structure proposed in Document No. 8.

Article 15:	Currency of Bid and Payment.

The currency shall be the CFA franc.

Article 16:	Validity of Bids

16.1.   Bids must remain valid for ninety (90) days as stated in the Special Regulations from the date of submission of the bids fixed by the Contracting Authority, in application of Article 22 of the Special Regulations. A bid valid for a shorter period shall be rejected by the Contracting Authority as not being in conformity.

16.2.   Under exceptional circumstances, the Contracting Authority may seek the approval of bidders to extend the validity time-limit. The request and the responses that will be given shall be in writing (or by fax). The validity of the bid bond provided for in Article 17 of the General Regulations shall equally be extended for corresponding duration. A bidder may refuse to extend the validity of his offer without losing his bid bond. A bidder who consents to an extension shall not be asked to modify his offer nor shall he be authorized to do so.

16.3.	Where the contract does not include a price revision for more than sixty (60) days the amounts payable to the bidder retained shall be updated by application of the formula featuring in the request for extension that the Contracting Authority addressed to bidders. The updating period shall run from the date of notification of the contract or the Service Order for start of execution of works by the retained bidder, as specified in the Special Administrative Clauses. The effect of updating shall not be taken into account for purposes of evaluation.

Article 17:	Bid bond.

17.1.   In application of Article 13 of the General Regulations, the bidder shall furnish bid bonds as specified in the Special Regulations and which bid bond shall be an integral part of his offer.

17.2. The bid bond must conform to the model presented in the Tender file; other models may be authorized subject to the prior approval of the Contracting Authority. The bid  bond will remain valid for thirty (30) days beyond the original date set for the validity of offers or any other validity time-limit requested by the Contracting Authority and accepted by the bidder, in accordance with the provisions of Article 16(2) of the General Regulations.

17.3.	Any offer without an acceptable bid bond shall be rejected by the Tenders Board for non conformity. The bid bond of associated enterprises must be established in the name of the group submitting the offer and mention each member of the association grouping.

17.4.   The bid bonds of bidders who are not retained shall be returned within fifteen (15) days after publication of the award result.

17.5.   The bid bond of the successful bidder shall be released as soon as the latter signs the contract and furnishes the required final bond.

17.6.   The bid bond may be seized:

a)   If the bidder withdraws his offer during the period of validity;

b)   If the retained bidder:

i) Fails in his obligation to register the contract in application of Article 37 of the

General Regulations

ii) Fails in his obligation to furnish the required final bond in application of Article 38 of General Regulations.

Article 18:	Varying Proposals of Bidders.

18.1.    Where the works can be executed within variable deadlines, the Special Regulations shall specify these deadlines and shall indicate the method retained for the evaluation of the completion deadline proposed by the bidder within the specified deadlines. Offers that propose deadlines beyond those specified shall be considered as not being in conformity.

18.2.   Except in the case mentioned in Article 18 (3) below, bidders wishing to offer technical variants must first assess the basic solution of the Contracting Authority as described in the Tender File and furnish in addition all the information which the Contracting Authority needs for a complete evaluation of the proposed variant, including the plans, calculations, technical specifications, sub details of process and proposed construction methods and all other useful information. If necessary, the Contracting Authority will examine only the technical variants of the bidder offer conforming with the basic solution that has been evaluated as the lowest bid.

18.3.   When according to the Special Regulations the bidders are authorized to directly submit the technical variants for certain parts of the works, these parts of the works must be described in the technical specifications.  Such variants shall be evaluated according to their won merit in accordance with the provisions of Article 31 (2)(9) of the General Regulations.

Article 19:   Preparatory Meeting to the Establishment of Bids.

Not applicable

Article 20:	Format of PRESENTING BIDS.

20.1.   The bidder shall prepare an original of the documents described in Article 13 of the General Regulations in a volume clearly indicated “ORIGINAL”.  In addition, the bidder shall submit the number of copies required in the General Regulations, bearing “COPY”.  In case of discrepancy, the original shall be considered as authentic.

20.2.    The original and copies of the bid must be typed or written in indelible ink (photocopies shall be accepted in the case of copies) and shall be signed by the person(s) empowered to sign on behalf of the bidder, in accordance with Article 6(1a) or 6(2c) of the General Regulations, as the case may be. All the pages of the bids containing alterations or changes must but initialized by the signatory (ies) of the bid.

20.3.	The bid shall bear no modification, cancellation or alteration unless such corrections are initialized by the signatory (ies) of the bid.

D. SUBMISSION OF BIDS

Article 21:	Sealing, Marking of Bids

21.1:     The bidder shall seal the original and each copy of the bid in separate envelopes (internal envelopes) by marking on these envelopes “ORIGINAL” and “COPY”, as the case may be. The envelopes shall then be placed in another envelope which will equally be sealed but which will not give any indication regarding the identity of the bidder.

21.2.     The external and internal envelopes:

a)   Should be addressed to the Contracting Authority at the address indicated in the Special Regulations;

b)   Should bear the name and identification number of the project as indicated in the Special Regulations and bear the inscription “TO BE OPENED ONLY DURING BID OPENING SESSION”.

21.3.    The internal envelopes should equally carry the name and address of the bidder in a way as to enable the Contracting Authority return the sealed bid if it is late in accordance with Article 23 of the General Regulations and to meet the provisions of Article 24 of the General regulations.

21.4.    If the external envelope is not sealed and marked as indicated in paragraphs 21 (1) and 21 (2) above, the Contracting Authority shall not be responsible if the bid is misplaced or opened prematurely.

Article 22:   Deadline for Submission of Bids.

22.1.   Bids must be received by the Contracting Authority at the address specified in Article 21 (2) of the special Regulations not later than the date and time stated in the Special Regulations.

22.2.   The Contracting Authority may, at his discretion, extend the deadline set for the submission bids by publishing an addendum in accordance with the provisions of Article 10 of the General Regulations. In which case, all rights and obligations of the Contracting Authority and bidders previously subject to the initial deadline will thereafter be subject to the deadline as extended.

Article 23:    Late Bids

Any bid received by the Contracting Authority after the deadline for submission of bids in accordance with Article 22 of the General Regulations shall be declared late and consequently rejected.

Article 24:	Modification, Substitution and Withdrawal of Bids.

24.1.   A bidder may modify or withdraw his bid after submitting it, on condition that the written notification of the modification or withdrawal is received by the Contracting Authority prior to the end of the deadline for submission. The said notification must be signed by an authorized representative in application of Article 20 (2) above.  The modification or the corresponding replacement bid must be attached to the written notification. As the case may be, the envelopes must bear the inscription “WITHDRAWAL”, and “REPLACEMENT BID” or “MODIFICATION”.

24.2.   The notification of modification or withdrawal should be prepared, sealed, marked and forwarded in accordance with the provisions of Article 21 of the General Regulations. The withdrawal may equally be notified by writing but should in this case be confirmed by a duly signed written notification whose date, post mark being authentic, shall not be posterior to the deadline for submission of bids.

24.3.   Bids being requested to be withdrawn in application of Article 24(1) shall be returned unopened.

24.4.   No bid may be withdrawn during the interval between the submissions of bids and the expiry of the validity of bids specified by the model tender. The withdrawal of a bid by a bidder during this interval may lead to the confiscation of the bid bond in accordance with the provisions of Article 17(6) above.

E.   OPENING OF ENVELOPES AND EVALUATION OF BIDS.

Article 25: Opening of envelopes and Petitions

25.1.    The TENDER Board shall open the bids in one phase and in the presence of bidder’s or bidders’ representatives who choose to attend at the time, on the date and at the place specified in the special Regulations. Representatives of bidders shall sign a register attesting to their presence.

25.2.   Firstly, bids marked “withdrawal” shall be opened and the contents announced to the hearing of everyone, while the bids containing the corresponding offer shall be returned to the bidder unopened.  Withdrawal shall be allowed only if the corresponding notification contains a valid empowerment of the signatory to request this withdrawal and if this notification is read to the hearing of everyone.

Then the bids marked “Replacement bids” are opened and announced to the hearing of everyone and the new corresponding offer substituted for the proceeding one which will be sent to the bidder concerned unopened.  The replacement of the bid shall only be allowed if the corresponding notification contains a valid empowerment of the signatory requesting the replacement and read to the hearing of everyone.

Lastly, the bids marked “modification” shall be opened and their contents read to the hearing of everyone with the corresponding offer. The modification of the bid shall only be allowed if the corresponding notification contains a valid empowerment of the signatory requesting the modification and read to the hearing of everyone. Only bids which were opened and announced to the hearing of everyone during the opening of bids shall then be evaluated.

25.3.   All bids shall be opened successively and the name of the bidder announced aloud as well as the possible modification mentioned, the price offered, including any rebates (in case of opening of financial offers) and any variant, where necessary, the existence of a guarantee of the offer if it is required and any other details which the Contracting Authority deems useful to be mentioned.  Only rebates and variants of offers announced to the hearing of everyone during the opening of bids shall be submitted for evaluation.

25.4.  Bids (and modifications received in accordance with the provisions of Article 24 of the General Regulations) which were not opened and read to the hearing of everyone during the bid opening session for whatever reason, shall not be submitted for evaluation.

25.5.   Bid opening minutes are recorded on the spot mentioning the admissibility of bids, their administrative regularity, prices, rebates and deadlines as well as the composition of the Evaluation Sub-Committee. A copy of the said minutes to which is attached the attendance sheet is handed over to all the participants at the end of the session.

25.6.   At the end of each bid opening session, the chairperson of the TENDER Board immediately hands over to the person designated by ARMP an initialed copy of the bids presented by bidders.

25.7.   In case of petition as provided for by the Public Contracts Code, it should be addressed to the Public Contracts Authority with copies being sent to the body in charge of the regulation of public contracts, the Contracting Authority. It must reach within a maximum deadline of three (3) working days after the opening of bids in the form of a letter to which is obligatorily attached a sheet of the petition from duly signed by the petitioner and possibly by the chairperson of the Tender Board. The Independent observer attaches to his report the sheet that was handed to him, including any related comments or observations.

Article 26: Confidential Character of the Procedure.

26.1. No information relating to the examination, clarification, evaluation and comparison of bids and verification of the qualification of the bidders and the recommendation for the award shall be given to bidders nor to any person concerned with the said procedure before the announcement of the award.

26.2.   Any attempt by a bidder to influence the Evaluation Sub-committee of bids or the Contracting Authority in his award decision may cause the rejection of his bid.

26.3.   Notwithstanding the provisions of paragraph 26.6, between the opening of bids and the award of the contract, if a bidder wishes to contact the Contracting Authority about his bid, he may do so in writing.

Article 27:	Clarifications on the Bids and Contact with the Contracting Authority.

27.1.   To ease the examination, evaluation and comparison of bids, the chairperson of the Tender Board may, if he desires, request any bidder to give clarifications on his bid. This request for clarification and the response given are formulated in writing but, however, no change on the amount or content of the bid should be sought, offered or authorized except it is necessary to confirm the correction of calculation errors discovered by the Evaluation Sub-Committee during the evaluation in accordance with the provisions of Article 29 of the General Regulations.

27.2.    Subject to the provisions of paragraph 1 above, bidders shall not contact members of the Tender Board and the Evaluation Sub-Committee for questions related to their bids, between the opening of bids and the award of the contract.

Article 28:           Determination of Conformity of Bids.

28.1.   The Evaluation Sub-Committee shall carry out a detailed examination of bids to determine if they are complete, if the required guarantees are furnished, if the documents were correctly signed and if generally the bids are in proper order.

28.2.    The Evaluation Sub-committee shall determine if the bid is essentially in conformity with the conditions fixed in the Tender File based on the content without recourse to external elements of proof.

28.3.   A bid that conforms to the Tender File shall essentially be a bid that respects all the terms, conditions and specifications of the Tender File, without substantial divergence or reservation. A substantial divergence or reservation is that:

i)    Which substantially limits the scope, quality or realization of the works;

ii)    Which substantially limits and is not in conformity with the Tender File, the

rights of the Contracting Authority or the obligations of the bidder

in relation to the contract;

iii)    Whose correction would unjustly affect the competitiveness of the other

bidders who presented bids that essentially conformed with the Tender File.

28.4.   If a bid is essentially not in conformity it shall be rejected by the competent Tender Board and shall not eventually be rendered in conformity.

28.5.   The Contracting Authority reserves the right to accept or reject any modification, divergence or reservation.  Modification, divergences, variants and other factors which are beyond the requirements of the Tender File shall not be considered during the evaluation of bids.

Article 29:	Qualification of the Bidder.

The Evaluation sub-committee shall ensure that the successful bidder, who has an offer substantially in conformity with the provisions of the Tender File, fulfils the qualification criteria stipulated in Article 6 of the special Regulations. It is essential to avoid any arbitrariness in determining qualification.

Article 30:	Correction of Errors.

30.1.   The evaluation sub-committee shall verify bids considered essentially in conformity with the Tender File to correct the possible calculation errors. The Evaluation sub committee shall correct the errors in the following manner:

a)   Where there is incoherence between the unit price and quantity, the unit price being

authentic, the total price shall be corrected, unless the Evaluation sub committee

judges that it is a gross error of decimal point in the unit price in which case the

total price as presented shall be authentic and the unit price corrected.

b)    If the total obtained by addition or subtraction of the totals is not exact, the sub

totals shall be considered authentic and the total corrected.

c)    Where there is a difference between the price indicated in words and in figures, the

amount in words shall be considered authentic, unless the amount is linked to an

arithmetical error confirmed by the sub detail of the said price, in which case the

amount in figures shall prevail subject to paragraphs (a) and (b) above.

30.2.   The amount featuring in the bid shall be corrected by the Evaluation sub committee, in accordance with the error correction procedure above and with confirmation by the bidder, the said amount shall deemed to commit him.

30.3. If the bidder who presented the lowest bid refuses the correction thus carried out, his bid shall be rejected and the bid bond may be seized.

Article 31:   Conversion into a Single Currency.

Not applicable.

Article 32:	Evaluation and Comparison of Bids at the Financial Level.

32.1.   Only bids considered as being in conformity, as per the provisions of Article 28 above, shall be evaluated and compared by the Evaluation sub committee.

32.2.   By evaluating the bids, the Evaluation sub committee shall determine for each bid the evaluated amount of bid by rectifying the amount as follows:

a)    By correcting any possible error in accordance with provisions of Article 30.2 of the

General Regulations;

b)    By excluding projected sums and where necessary provisions for the unforeseen

occurrences featuring in the bill of quantities and estimates but by adding the

amount of works done under approval and supervision where they are valued in a

competitive manner as specified in the Special Regulation;

c)    By converting into a single currency, the amount resulting from the rectifications (a)

and (b) above, in accordance with the provisions of Article 31(2) of the General

Regulations,

d)    By appropriately adjusting any other modification, divergences or quantifiable

reservation on technical or financial basis.

e)   By taking into consideration the various execution deadlines proposed by the

bidders, if they are authorized by the Special Regulations;

f)    If need be, in accordance with the provisions of Article 13(2) of the General

Regulations and the special Regulations by applying the rebates offered by the

bidder for the award of more than one lot, if this invitation to tender is launched

simultaneously for several lots.

32.3. The estimated effect of price revision formulae featuring in the General Administrative clauses (GAC) and special Administrative clauses (SAC) applied during the period of execution of the contract shall not be considered during the evaluation of bids.

The Contracting Authority reserves the right to accept or reject any modification, differences or reservation. The modifications, differences, variants or other factors which exceed the requirements of the tender file are not taken into account during the evaluation of bids.

32.4.   If the offer judged the lowest bid is considered abnormally low or strongly unbalanced in relation to the estimates of the Contracting Authority, the Evaluation sub committee may, from the sub details of prices furnished by the bidder for any element or all the elements of the bill of quantities and estimates, verify if these prices are compatible with the construction methods and proposed calendar.  In the case where the justifications presented by the bidder are not satisfactory to it, the Contracting Authority may reject the bid.

Article 33.      Preference Granted to National Bidders.

Not applicable.

F. AWARD OF CONTRACT.

Article 34:   Award

34.1.   The Contracting Authority shall award the contract to the bidder whose bid was judged essentially in conformity with the Tender File and who has the required technical and financial capacities to execute the contract satisfactorily and whose offer was evaluated as the lowest by including, where necessary, proposed rebates.

34.2.   If, according to Article 13(2) of the general Regulations, the invitation to tender comprises several lots, the lowest offer shall be determined by evaluating this contract with other lots to be awarded concurrently, by taking into account the rebates offered by the bidders in the case of more than one lot, as well as their financial situation at the time of award.

Article 35:	The Right of the Contracting Authority to Declare an Invitation to Tender unsuccessful or Cancel a Procedure.

The Contracting Authority reserves the right to cancel a procedure of invitation to tender after the authorization of the Minister Delegate in charge of Public Contracts where the offers have been opened or to declare an invitation to tender unsuccessful after the advice of the Tender Board, without any claims being entertained.

Article 36:	Notification of Award of the Contract.

Prior to the expiration of the period of bid validity set in the Special Regulations, the Contracting Authority shall notify the successful bidder by fax confirmed by registered mail or by any other means that his bid was retained. This letter will indicate the amount the Contracting Authority will pay the contractor to execute the works and the execution deadline.

Article 37.	Publication of Results of Award and Petitions.

37.1.  The Contracting Authority shall communicate to any bidder or administration concerned, upon request addressed to it within a maximum deadline of five (5) days after publication of the award results, the Independent Observer’s report as well as the minutes of the award session of the related contract to which shall be attached the evaluation report of the offers.

37.2.   The Contracting Authority is bound to communicate the reasons for the rejection of bids of the bidders concerned who so request.

37.3.   After publication of the award results, bids that are not withdrawn within fifteen (15) days shall be destroyed, without any claims for compensation being entertained. Only the copy destined for the body in charge of regulation shall be kept.

37.4. In case of petition, it should be addressed to the Authority in charge of Public Contracts, with copies to the body in charge of the Regulation of Public Contracts, the Contracting Authority and the chairperson of the Tenders Board.  It must take place within a maximum deadline of five (5) working days after the publication of the results.

Article 38:	Signing of the Contract.

38.1.   After publication of the results, the draft contract subscribed by the successful bidder is submitted to the Tenders Board.

38.2.   The Contracting Authority has a deadline of seven (7) days to sign the contract from the date of reception of the draft contract approved by the competent Tender Board and subscribed by the successful bidder.

38.3. The contract must be notified to the successful bidder five (5) days of its date of signature.

Article 39:	Final bond.

39.1.   Within twenty (20) days of the notification by the Contracting Authority, the contractor shall furnish the Contracting Authority with a final bond, in the form stipulated in the Special Regulations, in accordance with the model provided in the Tender File.

39.2.   The final bond whose rate varies between two percent (2%) and five percent (5%) of the amount of the contract may be replaced by a guarantee from a banking establishment approved according to the instruments in force with the Contracting Authority as beneficiary or by a joint or several guarantees.

39.3.   Small and medium-sized enterprises (SME) constituted of national capital and managed by nationals may, in lieu of the guarantee, provide a statutory lien or a bond issued by a banking establishment or first rate financial institution approved in accordance with the instruments in force.

39.4.   Failure to produce the final bond within the prescribed deadline shall likely cause the termination of the contract under the terms laid down in the General Administrative clauses

REPUBLIQUE DU CAMEROUN                                                                                              REPUBLIC OF CAMEROON

Paix-Travail-Patrie                                                                                                                                                                 peace – work -fatherland

MINISTERE DE LA DECENTRALISATION                                                                                   MINISTRY OF DECENTRALISATION

----------	                                             ------------

ET DU DEVELOPMENT LOCAL                                                                                                         AND LOCAL DEVELOPMENT

-----------	                                   -----------

REGION DU SUD OUEST                                                                                                                   SOUTH WEST REGION

------------                                                                                                                                                             ----------

DEPARTEMENT DU NDIAN                                                                                                                        NDIAN DIVISION

------------                                                                                                                                                         ----------

COMMUNE DE IDABATO                                                                                                                         IDABATO COUNCIL

------------                                                                                                                                                          -----------

COMMISSION DE PASSATION DES MARCHES                                                                             TENDER’S BOARD COMMISSION

IDABATO COUNCIL INTRENAL TENDER BOARD

OPEN NATIONAL INVITATION TO TENDER

N°-----/ONIT/IC/ICITB/PIB 2026 OF ………/……./2026

FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA)

FINANCING:  PUBLIC INVESTMENT BUDGET MINEE 2026

Special Regulations of the Invitation to Tender

|  | INTRODUCTION |  |  |
| --- | --- | --- | --- |
| 1 | Definition of Works: The object of this tender is FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA) Name and Address of the Contracting Authority: The Mayor of idabato Council Invitation to Tender Reference: N°…….…ONIT/IC/ICITB/PIB 2026 of …………….. |  |  |
| 2 | Execution Period: THREE (03) MONTHS |  |  |
| 3 | Source of financing: Public Investment Budget (PIB MINEE) 2026 |  |  |
| 4 | Origin of material, equipment and related services should come from the local market and respect the norms applicable in Cameroon. |  |  |
| 5 | EVALUATION GRILL |  |  |
|  | I – Main eliminatory criteria |  |  |
|  | Sub Criteria | Evaluation |  |
|  |  | Yes | No |
| a | Bid Security |  |  |
| B | Conformity of administrative documents |  |  |
|  | Signed and stamped submission |  |  |
|  | Letter of attorney |  |  |
|  | Treasury receipt for purchase of tender document |  |  |
|  | NSIF |  |  |
|  | Tax payers card |  |  |
|  | Certificate of assessment |  |  |
|  | An original attestation of bank account |  |  |
|  | Certificate of non exclusion |  |  |
|  | Business location |  |  |
|  | Non bankruptcy |  |  |
| C | Conformity to tender documents |  |  |
|  | II – Main qualification Criteria |  |  |
|  | Sub – Criteria | Evaluation |  |
|  |  | Yes | No |
| a | Turnover |  |  |
| b | Pre - financing capacity (access to credit or other financial sources) |  |  |
| c | Enterprises references |  |  |
| d | Has done similar job before |  |  |
| e | Has more than five years experience in electrical works |  |  |
| f | Availability of materials and essential equipment |  |  |
| g | Experience of supervisory staff |  |  |
| h | Antecedents of non-execution of contracts or pending disputes |  |  |
| i | Attestation of site visit (with acceptable report) |  |  |
| j | Acceptable planning (schedule) |  |  |
| k | Acceptable methodology |  |  |

The non respect of 2 of the above criteria shall cause the elimination of the bid.

| 6 | Power of attorney for the Representative in case of a group of enterprises. |
| --- | --- |
| 7 | Site Visit: Bidders shall be expected to visit the works site and produce a report while an Attestation of site visit shall be issued to them. |
| 8 | Language of Bid: All bids shall be written in either English or French. |
| 9 | Presentation of Bids: The list of documents referred to in Article 13 of the General Regulations must be completed, grouped in three volumes as indicated and inserted in envelopes and labeled as follows: ENVELOPE A – VOLUME I ADMINISTRATIVE DOCUMENTS. a) Declaration of intention to tender with a fiscal stamp (see attached model); b) The group agreement, where need be; c) The Power of Attorney, where need be; d) A certificate of non-bankruptcy established by the Court of First Instance of the place of residence of the bidder dated not more than three (3) months preceding the date of submission of bids; e) An attestation of Bank Account issued by a commercial Bank approved by the Ministry in charge of Finance and approved by COBAC; f) Original receipt of purchase of the Tender file; g) The Bid Bond (according to attached model); h) An attestation of Non-exclusion from public contracts delivered by ARMP. i) An attestation of site visit j) An attestation for bidding purposes for this tender of not more than three (3) months old issued by the National Social Insurance Fund; k) An attestation of tax clearance of not more than three (3) months old issued by the Tax Department certifying that the bidder has effected all statutory declarations in issues of taxes for the current financial year issued by the Divisional Chief of center Taxation; l) Current Business license certified by taxation; m) A valid Taxpayers Card certified by taxation; n) Current business registration papers in conformity with OHADA laws. o) Attestation of localization certified by taxation department. p) Attestation of site visit by the Administrative Authorities of the areas. q) Site visit report. ENVELOPE B : - VOLUME II TECHNICAL OFFER. B.1 - Information on qualification criteria. - Personnel of the Enterprise - A detailed technical note concerning the quality as well as the level of education of the personnel, indicating their experience in the construction of electricity distribution network. - Certified true copies of the highest certificates of the personnel issued not more than three (03) months by the competent services. - Signed and dated Curriculum Vitae of the personnel. - Structure of the Enterprise and that of the project - The organizational chart of the Enterprise. - The organizational chart of the project for which a bid is being tendered. - References of the Enterprise - Certified true copies of the minutes of Final Reception of projects executed by the Enterprise or its personnel in the domain of electricity as well as certified true copies of the relevant Jobbing Orders. - Logistic capabilities of the Enterprise - Certified true copies of vehicle documents issued not more than three (03) months by the competent services, if any (optional). - List of all other items of equipment necessary for the execution of the works, showing quantities available and proof of ownership. - Technical proposal - Methodology of execution of the works - Detailed technical definition of the works to be executed. - Presentation of complete construction plans and network maps - Schedule of the deployment of manpower. - Schedule of the execution of the works (PLANNING). - Capacity to pre-finance - Knowledge of work site - Detailed report on the Work site (indicating specific and general observations). - A copy of the Attestation of Site Visit signed by the DD/MINEE/NDIAN B.2 - Technical Proposals. Bidders shall study the Technical specifications and establish a suitable methodology and work plan for the execution of the works. B.3 – Proof of reception of the contract conditions. Bidders must sign as proof of reception of contract conditions the following documents: - Specimen contract – Documents Nos. 4 & 9 (each page should be initialed and last page signed and stamped) - Technical specification (each page should be initialed and the last page signed and stamped). CRITERIA FOR THE EVALUATION OF THE BID - TECHNICAL documents…………………………………………………50 Yes/No - General presentation of the tender document Presence of intermediary separating papers………………………………….Yes/No Pages are numbered…………………………………………………………..Yes/No Document is solidly bound……………………………………………………Yes/No Visa and Signed copy of Special Technical Terms…………………………...Yes/No Visa and Signed copy of Particular Administrative Terms (Jobbing Order)… Yes/No - Personnel of the Enterprise [Engineer(s), Foreman and Co-ordinator.] Detailed technical note on the quality of the personnel, their level of education as well as their experience in the domain of electricity………………………….. Yes/No Engineer : More than 10 years experience ………………………...…….......................... Yes/No Less than 5 years experience ………………………………............................ Yes/No Less than 2 years experience…………………....................................…...…….Yes/No Higher technician: More than 5 years experience ………………… .....................................……. Yes/No Less than 5 years experience ……………………………...................................Yes/No Less than 2 years experience…………………....................................…...…….Yes/No Technician : More than 5 years experience ……..…………………........................................Yes/No Less than 5 years experience ……………………..............................................Yes/No Certified true copies of the certificates of personnel ………………....….………Yes/No Curriculum Vitae of personnel involved in the project ………………..….….......Yes/No Organization chart of Work Distribution………………………….…….......…......Yes/No - References of the Enterprise in the domain of Electricity. - Certified true copies of the minutes of the Final and Provisional Reception of electrical energy supply project(s) realized by the Enterprise, if any … More than Two Final Reception Reports ………......……..............…………….Yes/No Two Final or Provisional Reception Reports…………………………............….Yes/No One Final or Provisional Reception Report ………………….....................……Yes/No - Certified true copies of Jobbing Orders or Contracts of Electrification Projects realized by the Enterprise : More than two (02) projects……………….......................................…………...Yes/No At least two (02) projects……………………….................................…...………Yes/No One (01) project only…………………………......................................…...…… Yes/No Proof of knowledge in matters related to electrification attested by a brief account of the Company’s know-how: Have you constructed a medium voltage three-phase line (proof- PV+Tech reception)? - Five kilometers………………………................………Yes/No - Four kilometers………………………......….............…Yes/No - Three kilometers……………………....…...…................Yes/No Have you constructed a medium voltage single-phase line (proof-PV+Tech reception)? Five kilometers………………………................…...….…Yes/No Four kilometers………………………...............…....……Yes/No Three kilometers……………………….................………Yes/No - Equipment of the Enterprise - Certified true copies of vehicle documents signed not more than 3 months…..Yes/No - List of other materials and key equipment that would enable the project to be carried out following established norms and regulations, indicating quantities available: - List of key equipment and proof of ownership…….........….….. Yes/No - Proof of 100% ownership of other equipment…………......…... Yes/No - Proof of 50% ownership of equipment…………............….…… Yes/No - Owns or Hiring of equipment ………………………..........……...Yes/No - Has equipment ……..………………………………….........….… Yes/No - Has material for construction …...……………...............…..……Yes/No - Proof of availability of construction material…..................……..Yes/No - Methodology for executing the works. - Detailed technical description of the works to be executed, in conformity with execution plans………………….……………............................................……..Yes/No - Presentation of other necessary execution plans, where necessary….....…... Yes/No - Organizational chart of the project ………………………………………............. Yes/No - Manpower deployment schedule……………………………………….…........… Yes/No - Planning - Execution timeframe with a maximum delay of three (03) months………….....Yes/No - Acceptable planning..........................................................................................Yes/No - Knowledge of the locality to be electrified - Genuine Report of Worksite....……………………….......………………….........Yes/No - Attestation of Site Visit…………..……………………….………..........……...…. Yes/No - Capacity to Pre-finance. - By 100% personal financial means (bank statement)………….......…....…...... Yes/No - By personal or by bank engagement to pre-finance …………..……...…......... Yes/No - Has financed previous jobs of: -More than One hundred million CFA……..................................……………….....Yes/No -Between sixty million CFA and one hundred million CFA……...........…………...Yes/No -Less than sixty Million FCFA………..………...…………….............…….…..…....Yes/No 11.2-FINANCIAL CRITERIA The Financial Evaluation will be carried out only on those bids which have got above 70% of the total Yes of the Technical Documents Evaluation ENVELOPE C: - VOLUME III FINANCIAL OFFER C.1. The offer shall be as per the attached model Bid letter (Document No. 10, Annexure 1), with a 1500 FCFA fiscal stamp affixed to it, dated and signed; C.2. The duly filled unit price schedule; C.3. The duly filled detailed price schedule; C.4. The duly filled detailed cost estimates with indications of HT, VAT, TTC, AIR and Net Payable; C.5. Documents demonstrating financial viability of enterprise (bank Statement, attestation of pre-financing capacity from bank manager, Attestation of solvency). NB: The various parts of the same file must obligatorily be separated by colour Dividers both in the original and in the copies in a way as to facilitate examination. |
| 10 | Price and Currency of Bid - Prices shall be inclusive of taxes and the currency shall be the national currency - Francs CFA - The prices of the contract are not revisable. |
| 11 | Preparation and Submission of Bids Validity of Bids: The period of validity of bids is 90 days from the date of submission of bids. |
| 12 | Bid Bond Bidders shall furnish a bid bond of 1 000 000 FCFA Issued by a Commercial Bank recognized by the Ministry in charge of Finance and recognized by COBAC. |
| 13 | Execution Period Bids are called on the basis of a maximum execution period of Four Months. |
| 14 | Manner of Submission The number of copies of the bid shall be five (5) inclusive of the original. Address of the Contracting Authority to be used for the submission of Bids: The Mayor of Idabato Council, General Secretariat, Idabato should bear the following inscription: OPEN NATIONAL INVITATION TO TENDER NO:……./ONIT/IC/ICITB/PIB 2026 of ……/……/……2026 FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA) |
| 15 | “TO BE OPENED ONLY DURING BID OPENING SESSION” Submission of Bids Place, date and deadline for submission of Bids: Bids shall be submitted at the Private Secretariat of the Mayor of Idabato on ……………….at 11 a.m. local time. |
| 16 | Opening of Bids Place, date and time of opening of Bids; Bids shall be opened at the Conference Hall of the Idabato Council on ………………….at 1 p.m. local time. |
| 17 | Award of the Contract and Final Bond The contract shall be awarded to the bidder with the lowest financial offer. The successful bidder must furnish a final bond of two percent (2%) of the contract amount within twenty (20) days of notification of the contract award. |

REPUBLIQUE DU CAMEROUN                                                                                              REPUBLIC OF CAMEROON

Paix-Travail-Patrie                                                                                                                                                                 peace – work -fatherland

MINISTERE DE LA DECENTRALISATION                                                                                   MINISTRY OF DECENTRALISATION

----------	                                             ------------

ET DU DEVELOPMENT LOCAL                                                                                                         AND LOCAL DEVELOPMENT

-----------	                                   -----------

REGION DU SUD OUEST                                                                                                                   SOUTH WEST REGION

------------                                                                                                                                                             ----------

DEPARTEMENT DU NDIAN                                                                                                                        NDIAN DIVISION

------------                                                                                                                                                         ----------

COMMUNE DE IDABATO                                                                                                                         IDABATO COUNCIL

------------                                                                                                                                                          -----------

COMMISSION DE PASSATION DES MARCHES                                                                             TENDER’S BOARD COMMISSION

IDABATO COUNCIL INTRENAL TENDER BOARD

OPEN NATIONAL INVITATION TO TENDER

N°-----/ONIT/IC/ICITB/PIB 2026 OF ………/……./2026

FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA)

FINANCING:  PUBLIC INVESTMENT BUDGET MINEE 2026

SPECIAL ADMINISTRATIVE CLAUSES (SAC)

TABLE OF CONTENTS

Chapter 1: General Provisions.

Article 1: Object of the Contract

Article 2:  Method of concluding the Contract

Article 3:  Definitions and duties

Article 4:  Language, applicable law and regulations

Article 5: Contract Documents

Article 6: General applicable texts

Article 7: Communication

Article 8: Service Orders

Article 9: Contractors Personnel

Chapter 2: Financial Clauses.

Article 10:  Guarantees and securities

Article 11:  Amount of the Contract

Article 12:  Place and method of payment

Article 13:  Price Variation

Article 14:  Method of evaluation of work done

Article 15:  Evaluation of materials on site

Article 16:  Start off payment

Article 17:  Payment on account

Article 18:  Interest on overdue payment

Article 19:  Penalties for delay

Article 20:  Final detailed invoice

Article	21:  Release of Guarantee Retention

Article 22:  Tax and Customs Schedule

Article	23:  Registration and stamp duty

Chapter 3:  Execution of the Works

Article 24:  Execution time limit of the Contract

Article	25:  Roles and obligation of the contractor

Article	26:  Roles and obligation of the Contracting Authority

Article	27:  Insurance of structures and civil liabilities

Article	28:  Documents to be furnished by the contractor

Article	29:  Organization and safety on the site

Article	30:  Setting out of structures

Article	31:  Sub-contracting

Article	32:  Work site journal.

Chapter 4: RECEPTION

Article 33:  Provisional Reception

Article	34:  Documents to be furnished after execution

Article	35:  Guarantee period

Article	36:  Final Reception

Chapter 5: Miscellaneous Provisions

Article 37:  Termination of the Contract

Article	38:  Force Majeure

Article	39:  Litigation

Article	40:  Drafting and dissemination of the Jobbing order

Article	41 and last: Validity of the Contract.

CHAPTER 1:		GENERAL PROVISIONS

Article 1: Object of the CONTRACT

The object of the present contract is for the FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA)

Article 2:  Method of concluding the CONTRACT

The present contract is concluded by open National Invitation to Tender N°……….ONIT/IC/ICITB/PIB2026.

Article 3:  Definitions and duties

  - a)  The Contracting Authority shall be the Mayor of Idabato Council; in this respect he preserves the original documents relating to the jobbing order and transmits copies to the Public Contract Regulatory Agency.

b)   The Contract manager shall be the Council Development Officer of Idabato council (CDO). In this capacity, he shall respect the administrative, technical and financial clauses of this jobbing order.

c)  The Contract Engineer shall be the Divisional Delegate for Water Resources and Energy MINEE/NDIAN. In this capacity, he shall notify the contractor, the service orders related to the execution of the said project. He shall also follow up the technical aspect of the works.

d)  The project manager shall be the Council Development Officer of Idabato council (CDO). In this capacity, he shall examines, verifies, testifies and approves the quality and quantity of all the works executed. In consequence, he works in collaboration with the contract Engineer.

- The contractor shall be _____________

  - -The authority to incur expenditure shall be the Mayor (vote holder)

-The authority to approve payment shall be the Mayor

- The Contract Engineer shall be the DD MINEE/NDIAN

-The official in charge of payment shall be the relevant public Treasurer in accordance with the specification in the credit card.

-The official competent to furnish information within the context of execution of this jobbing order shall be the C.D.O Idabato Council

  - SITE INSTALLATION COMMISSION

The contractor shall be installed on the site by the site installation committee comprising the following:

- The Mayor of Idabato Council ……………………………………………..(Chairman)

- The C.D.O Idabato Council (project manager)......………………………….(Members)

-The DD MINEE (Control Engineer) …………………………………………(Secretary)

-The Contractor………………………………………………………………....(Observer)

The commission shall examine the entire site and makes necessary recommendation before declaring the Contractor Installed on the site.

ARTICLE 4:  Language, applicable law and regulations

  - The language to be used shall be either English or French

  - The contractor shall be bound to observe the laws, regulations and ordinances in force in Cameroon and in the execution of the contract.

If in Cameroon the regulations, laws and administrative and fiscal measures in force at the date of signature of this jobbing order are amended after the signature of the jobbing order, the possible direct resulting cost shall be taken into account without gain or loss for either party.

Article 5:  Jobbing order Documents

The Contractual document, which form part of this contract are in order of priority.

  - The bid letter or commitment letter,

  - The bidder’s tender and its annexture in all provisions not contrary to the Special Administrative Clauses (SAC) and the Special Technical Conditions (STC) referred to above;

  - Then special administrative clauses (SAC);

  - The special Technical condition (STC)

  - The particular element necessary for the determination of the contract price, such as in order of priority: the unit price schedule, the detailed of lump sum prices and detailed estimates break down of the lump sum prices;

  - Plans, calculations, notes, trial documents and geotechnical documents;

  - The General Administrative clauses applicable to Public works, supplier and service contract and made enforceable by Order N°. 033/CAB/PM of 13th February 2007

  - The General Technical conditions applicable on the services forming the object of the jobbing order.

ARTICLE 6:  General applicable texts

This jobbing order shall be governed by the following texts:

- Law No. 96/12 of 05 August 1996 on the management of the environment.

- Texts governed the various professional bodies.

- Decree No. 201/0366 of 20/06/2018 to institute the public Contract code

- Decree No. 2001/048 of 23rd February 2001 relating to the setting up, organization and functioning of the Public contract Regulatory Agency.

- Decree No. 2003/651/PM of 16th April 2003 to lay down the procedure for implementing the Tax and customs system applicable to public contracts

- Order No. 03/CAB/PM of 13th February 2007 enforcing the General Administrative clauses applicable to public works, supplies and services contract;

Article 7:   Communication

  - All notifications and written communication within the framework of this contract shall be sent to the following address:

- In the case where the contractor is the addressee: beyond the time-limit of 15 days fixed in Article 6 (1) of the GAC to make his domicile known to the Contract Manager and immediately after completion of the works, correspondences shall be validly address to Mundemba council.

- In the case where the Contracting Authority is the addressee: The Mayor Idabato Council with copies addressed to the contract manager and the Contract Engineer.

  - The contractor shall address all written notifications or correspondences to the Contract Engineer with a copy to the contract manager.

Article 8:      Service orders

  - The service order to start execution shall be signed by the Contracting Authority and notified by the Contract Engineer.

  - Service Orders with financial incidence likely to notify the time-limits shall be signed by the Contracting Authority and notified by the Contract Engineer.

  - Service Orders of a technical nature linked to the normal progress of the work and without financial incidence shall be signed directly by the Project manager and notified by the Contract Engineer.

  - Service Orders Serving as warnings shall be signed by the Contracting Authority.

  - The contractor has the time-limit of fifteen (15) days to issue reservations on any service order received. Having reservations shall not free the enterprise of executing the service orders received.

Article 9: Contractors Personnel

  - Any notification, even partial, made to the technical offer shall only occur after the written approval of the Project manager. In case of such notification, the contractor shall have the personnel replaced by a staff of equal competence (qualification and experience).

  - In whatever case, the list of supervisory staff to be used shall be subject to the approval of the Contract Engineer within fifteen (15) days of the notification of the service order to start execution. The Contract Engineer has eight (8) days to notify his opinion in writing with a copy being sent to project manager. Beyond this time-limit, the personnel list shall be considered as approved.

  - Any unilateral notification on the supervisory staff made in the technical offer prior to and during the works shall be a reason for termination of the contract or the application of penalties as mentioned in Article 38 below.

CHAPTER 2:  FINANCIAL CLAUSES

Article 10:  Guarantees and securities

  - Final Bond

The final bond shall be fixed at 2% of the amount of the contract, inclusive of all taxes.

The guarantee must be returned or released within one month following the date of provisional reception of the works.

The Contracting Authority shall order the release upon request by the contractor.

  - Guarantee Retention

The guarantee retention is fixed at 10% of the tax inclusive amount of the contract.

This shall be liberated following a release order issued by the Contracting Authority within one (01) year after final reception upon request by the contractor.

  - Guarantee of start off payment

The contractor may be granted a start off amount of 20% of the contract amount (inclusive of taxes) upon request.

The start-off payment shall be guaranteed at 100% by a Cameroonian bank recognized by the Ministry in charge of Finance.

Article 11:  Amount of the CONTRACT

The amount of the contract as per the attached bill of quantities and cost estimates is: ………………………………………….(in figures) ………………………………. (in words) CFA Francs inclusive of all taxes; that is:

-Amount exclusive of VAT ……………………………… (in figures) …………………………………………………………………… (in words) CFA F.

-Amount of VAT……………………. (in figures)………………..........(in words) CFA F.

Article 12: Place and method of payment

The contractor shall be paid by monthly installments, based on the certification by the Contract Engineer of the various phases of work completed. The Contract Engineer and the contractor shall sign these installmental payments.

All sums due to the installmental payment vouchers to account N°. ______________opened by the contractor at _________________________________

Article 13: Price Variation

Prices shall be firm and not subject to any price revision.

Article 14: Method of evaluation of work done

The work done shall be evaluated using the unit price.

Article 15: Evaluation of material on site

  - The contractor shall be paid for usable material intended for the execution of the works mobilized on site in the event where the contract is prematurely terminated as provided for by the Regulations in force especially the public contract code.

  - No security shall be requested for payment on account of supplies or materials which are already on site.

Article 16:  Start off payment

The contractor shall be granted a start-off advance of 20% of the contract amount (inclusive of taxes) upon request.  The start-off payment shall be reimbursed in full the moment the work is executed at 80% of the value of the contract.

Article 17: Payment on account

  - The amount of payment on account shall not exceed the value of the technical execution phases carried out.

  - Payment on account may be spread over the duration of the execution of the contract according to technical execution phases as defined in the jobbing order.

  - Payment on account shall take place within thirty (30) days from the date of transmission to the competent accounting officer, of the documents giving entitlement to payment.

  - The contractor shall transmit seven (7) copies of the partial invoices to the Contract Engineer for approval before the 5th of the month following the works executed.

  - The Contract Engineer shall within a time-limit of seven (7) days forward the approved partial invoices to the project manager.

  - The project manager has a maximum time-limit of twenty-one (21) days to sign the partial invoice and to produce the documents giving entitlement to payment on account and transmit same to the competent accounting officer.

Article 18: Interest on overdue payment

  - Where the delay in payment fixed in Article 17 above is attributed to the Contracting Authority or accounting officer, the contractor shall be dully entitled to interest on overdue payments calculated from the day of issue of the payment voucher by the accounting officer.

  - The interest rate on overdue payments referred to Article 18 (1) above shall be the intervention rate of the Bank of Central African States (BEAC) in invitation to tender with a surcharge of one (1) point.

  - The amount of the interest on overdue payments shall be calculated according to the formula: I = M x (n/360) x (i)

Where: M = Amount, all taxes inclusive, due the contractor

n= Number of calendar days of delay

i= The BEAC intervention rate concerning invitation to tender with a surcharge of one (1) point.

18.4	Interest of overdue payments shall not be applied on amounts already including compensations for delayed payments.

18.4	Interest on overdue payments shall be liable to taxes.

Article 19: Penalties for Delay

  - The amount set for penalties for delays is set as follows:

- One two thousandth (1/2000th) of the initial contract amount all taxes inclusive per calendar day of delay from the first (1st) to the thirtieth (30th) day beyond the contractual time-limit.

- One thousandth (1/1000th) of the initial amount of the contract inclusive of all taxes per calendar day beyond the 30th day.

  - The cumulated amount of penalties for delay shall be limited to ten percent (10%) of the initial contract inclusive of all taxes.

Article 20: Final Detailed Invoice

  - After completion of the works and within a maximum time-limit of 30 days after the date of provisional reception, the contractor shall establish, based on joint reports, the draft final invoice for works executed and which summarizes the total sums to which the contractor may be entitled as a result of the execution of the whole jobbing order.

  - The project manager has 30 days to forward the corrected and approved invoice to the competent accounting officer.

Article 21: Release of Guarantee Retention

The Contracting Authority has 30 days after final reception to release the 10% guarantee retention.

Article 22: Tax and Customs Schedule

Decree No. 2003/651 of 16 April 2003 to lay down the conditions for implementing the tax regulations and customs procedures applicable to public contracts. The taxes applicable to this contract include notably:

- Taxes and dues relating to industrial and commercial projects, including the IAR which is a deduction on company taxes;

- Registration dues in accordance with the tax code;

- Dues and taxes attached to the execution of services provided for in the jobbing order;

- Duties and taxes of entry in to Cameroonian territory (customs duties, VAT, computer tax);

- Commercial taxes and dues;

- Dues and taxes relating to the execution of building materials and water.

These elements must be included in the costs which the enterprise inputs on its running costs and constitute one of the elements of the sub-details of prices exclusive of taxes.

All prices inclusive taxes mean VAT included.

Article 23: Registration and stamp duty

Seven (7) original copies of the present jobbing order shall be stamped and registered at the expense of the contractor, in accordance with the applicable regulations.

CHAPTER 3: EXECUTION OF THE WORKS

Article 24: Execution time-limit of the Jobbing order.

  - The time-limit for the execution of the works forming the object of this contract shall be Three (03) Months.

  - This time limit shall run from the date of notification of the service order to commence execution of the works.

Article 25: Roles and obligation of the contractor

The contractor shall be responsible for the works for which he has been chosen. To this effect, his mission shall be to ensure its execution under the supervision of the Contract Engineer in conformity with the regulation and standards in force and in respect to the work schedule. The contractor shall also be expected to carry out all the necessary calculations, chose and buy all machines, adequate materials etc. required for the work and engage suitable workers.

The contractor confirms that he has verified the volume of work to be executed and that he is reputed to have taken perfect cognizance of the scope of the works and the necessarily for prompt action to request irrespective of whether he has to use his own equipment or hire equipment to execute the work. To this end, he cannot use any omission or under estimation of the works to make any claims of any nature whatsoever.

Removal of equipment, material, installations and work site waste shall be carried out by the contractor before reception, failing which the Contracting Authority shall automatically proceed with it soon after the expiry date, at the contractor’s expense.

Article 26: Roles and obligation of the Contracting Authority

The Contracting Authority shall make the site available for the works without interruption. The Contracting Authority shall authorize the contractor to install a site of the work and allocate any necessary installation for the use of the contractor.

The project manager shall within 20 days of notification to commence works provide the contractor with necessary documents relating to the works.

Article 27: Insurance of structures and civil liabilities

The contractor shall take out a third-party risk insurance concerning persons, property, or liabilities from an insurance company governed by the “CIMA” insurance code.

Article 28: Documents to be furnished by the contractor

  - Program of works and Quality Assurance Plan

Within a maximum deadline of thirty (30) days from the date of notification of the service order to commence execution, the contractor shall submit in five (5) copies for the approval of the project manager after the endorsement of the Contract Engineer the execution program of the works, his work schedule, his draft Quality Assurance Plan and environmental management plan.

This program will be exclusively presented according to the furnished models.

Two (2) copies of these documents will be returned to him within a deadline of between eight and fifteen days from the date of reception with:

Either the indication “GOOD FOR EXECUTION” or the indication of their rejection including the reasons for the said rejection.

The Contractor has eight (8) days to present a new one.

The Chief of Service then has a deadline of five (5) days to give his approval or possibly make remarks.  In this case, the procedure is started all over without this affecting the contractual time-limit.

The approval given by the project manager does not in any way release the contractor of his responsibilities.  Meanwhile, works executed before the approval of the program shall neither be ascertained nor paid for. The updated and approved schedule will become the contractual schedule. The Contractor will constantly update on site, a schedule that will take account of the real progress of the site.  Significant modifications may only be made on the contractual program upon receiving the approval of the Contracting Authority.

- The Contractor shall indicate in this program the equipment and methods which he intends to use as well as the personnel he intends to employ.

- The approval granted by the Contracting Authority shall in no way diminish the responsibility of the contractor with regard to the harmful consequences which their implementation may cause both towards third parties and the respect of clauses of the jobbing order.

  - Execution Plan

- The execution plan documents (calculations and drawings) necessary for the realization of all the parts of the structure must be submitted for the endorsement of the Contract Engineer at least one month prior to the date provided for the commencement of realization of the corresponding part of the structure.

- The Contract Engineer has a deadline of fifteen days to examine and make known his observations.  The Contractor then has a deadline of eight days to present a new file including the said observations.

Article 29:	Organization and Safety on Site

  - Signs at the work site must be placed within a maximum deadline of one (1) month after the notification of the service order to commence work.

  - The contractor shall respect all standards safety measures during the execution, shall clear the site upon completion of the works.

Article 30:	Setting out of Structures

The Contract Engineer shall within a maximum of fifteen (15) days following the date of notification of the service order to commence work, make himself available to the contractor for the setting out of the structures.

Article 31:	Sub-contracting

This contract may give rise to sub-contracts or subsidiary orders with a maximum accord of 30% of the initial contract amount.

However, any recourse to sub-contractors or placing of subsidiary orders shall be subject to the prior authorization of the Contracting Authority.  Notwithstanding the recourse to sub-contracting or placing of subsidiary orders, the contracting partner shall be responsible for the execution of all the obligation of the said contract.

Article 32:	Works Site Journal

  - The worksite journal must be systematically jointly signed by the Engineers and the Contractor’s representative during site meetings and at each site visit.

  - It is a joint document in a single copy.  Its pages must be numbered and initialed.  No page should be removed.  The erased or cancelled parts must be mentioned on the margin for validation.

Chapter IV:	reception

Article 33:	Provisional reception

Before the provisional reception, the contractor shall request in writing, at least ten (10) days before the date on which he considers the works completed, to the project manager with a copy to the Contract Engineer the organization of a technical reception that shall amongst others ascertain that:

  - Tests and checks are carried out;

  - The folding up of the site installations and the restitution of the site as it was;

  - The provisional reception committee shall comprise the following members:

- The Mayor or his representative  (Vote Holder)                                   President

- The Divisional Delegate  MINEE                                                         Reporter

- The project manager	                                                                        Member

- The Contractor or his representative			            	 Member

- The Divisional Delegate  MINMAP                                                    Observer

The contractor shall be informed of the reception by mail at least ten (10) days prior to the date of reception.

He is bound to attend (or be represented). He takes part in the reception as an observer.

His absence is equivalent to reception with reservation of the conclusion of the reception Commission.

After the visit of the site, the Commission shall examine the minutes of the preliminary operations to the reception (technical reception) and shall proceed to provisional reception of the works if there is need.

The visit for provisional reception shall be the subject of minutes of provisional reception signed on the spot by all the members of the commission.

The minutes of the provisional reception report shall specify or set the date of completion of the works.

  - The guarantee period commences from the date of reception of this provisional reception.

Article 34:	Documents to be furnished after execution

  - After the completion of work and before the reception, the contractor shall provide all working documents including proof of origin of the material used and five (05) copies of drawings as executed in accordance with the rules of the art.

  - A penalty of 30% of the guarantee retention shall be retained in the event where the contractor fails to comply with Article 34.1 above.

Article 35:	Guarantee Period

The guarantee period shall be one (1) year to run from the date of the provisional reception of the works.

Article 36:	Final RECEPTION

Final reception shall take place within a maximum deadline of fifteen (15) days from the date of expiry of the guarantee period.

The procedure for final reception shall be the same as for provisional reception.

CHAPTER V:	MISCELLANEOUS PROVISION

µArticle 37:	Termination of the CONTRACT

The contract may be terminated as provided for in Part III Paragraph 2 of Decree No. 2004/275 of 24 September 2004 instituting the Public Contracts Code and equally under the conditions laid down in Articles 74, 75 and 76 of the GAC especially in case of:

- Delay of more than fifteen (15) days in the execution of a Service Order or unjustified stoppage of more than seven (7) calendar days;

- Delay in work resulting in penalties of more than 10% of the amount of the works;

- Refusal to repeat poorly executed works;

- Default by the contractor;

- Persistent on payment for services.

38:	Force Majeure

If the contractor were to raise the issue of force majeure, concluded after its signature by the Contracting Authority of the Idabato Council and shall only come into force after its notification to the contractor, by the Contracting Authority the thresholds below which claims shall not be admitted are:

Rainfall:	200mm in 24hours

Wind:		40m/s

Flood:		decennial flood frequency

In the event of circumstances beyond his control hindering the progress of the works, the contractor shall only be relieved of his responsibilities if he notifies the Administration in writing of his intention to invoke these circumstances of force majeure within fifteen (15) days of the occurrence of the event.  However, the Administration still reserves the right to appreciate the circumstances of the force majeure.

Article 39:	Litigation

Any dispute arising from this contract shall be resolved amicably.  Failure to arrive at a compromise, the matter shall be referred to the competent court in the South west Region of the Republic of Cameroon.

Article 40:	Drafting and Dissemination of this CONTRACT

Seven (7) copies of this contract shall be produced at the cost of the contractor and furnished to the project manager.

Article 41 and Last:	Validity of the contract

This contract shall be regarded as finally concluded after its signature by the Mayor of Idabato Council and it shall only come into force after it has been notified to the Contractor.

REPUBLIQUE DU CAMEROUN                                                                                              REPUBLIC OF CAMEROON

Paix-Travail-Patrie                                                                                                                                                                 peace – work -fatherland

MINISTERE DE LA DECENTRALISATION                                                                                   MINISTRY OF DECENTRALISATION

----------	                                             ------------

ET DU DEVELOPMENT LOCAL                                                                                                         AND LOCAL DEVELOPMENT

-----------	                                   -----------

REGION DU SUD OUEST                                                                                                                   SOUTH WEST REGION

------------                                                                                                                                                             ----------

DEPARTEMENT DU NDIAN                                                                                                                        NDIAN DIVISION

------------                                                                                                                                                         ----------

COMMUNE DE IDABATO                                                                                                                         IDABATO COUNCIL

------------                                                                                                                                                          -----------

COMMISSION DE PASSATION DES MARCHES                                                                             TENDER’S BOARD COMMISSION

IDABATO COUNCIL INTRENAL TENDER BOARD

OPEN NATIONAL INVITATION TO TENDER

N°-----/ONIT/IC/ICITB/PIB 2026 OF ………/……./2026

FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA)

FINANCING:  PUBLIC INVESTMENT BUDGET MINEE 2026

Special Technical Conditions (STC)

- INTRODUCTION

This specification aims to define the mode of execution of work to be done following the norms and approved standards, according to the documents of the contract. The choice of technological options for achieving the proposed work has the sole concern to ensure a better functionality of facilities in compliance with safety rules for the protection of property and persons.
It has been established as a guide to clarify and supplement the guidance of the estimate and drawings notwithstanding the terms of the contract

B-EXECUTION METHOD OF WORKS

Generalities

For any construction work of medium voltage single phase or three phase, transformer sub-stations (MV/LV), construction of LV single phase and three phase network, solar system, generator house, production of thermal electricity, and the security measures and the protection of environment to be observed, they must conform to the requirements, laws, decrees, orders, standards, norms and publications in force in Cameroon and for management of the electricity sector. In default the texts will be applied in this order:

The recommendations of the International Electro-technical Committee (IEC Publication);

- The European standards CEN-CENELEC (EN);

- The French AFNOR standards;

- The decision of 2 April 1991 laying down the technical conditions to be satisfied by the distribution of electricity, published in the Official Gazette of the French Republic on May 4, 1991;

- Circular No. 78-79 of 6 July 1978 on the implementation of the decree of May 26, 1978’

- Standards Approved French NFC;

- French UTE standards and in particular;

- C 10-100;

- C 10 - 101;

- C 13 - 200;

- Any other norms recognized in the system (ISO).

All these rules may be modified under the responsibility of the Administration in charge of electricity to reflect local conditions, knowing that the works will be built to suit the conditions defined below:

- Average temperature: 35° C

- Humidity correspondent: 98 %

- Extreme temperature (indoor):

- The Minimum + 10°C;

- Max + 50° C;

- Exceptional speed winds 180 km / h;

- Normal speed winds 5 to 35 km/h

Wooden poles shall conform to the standard UPDEA.

Specific cases of mini and micro thermal power station diesel

They belong to the internal electrical installations of power about 100KW (125KVA). It will concern compact unit with low voltage or three phases output with separate elements, control board, low voltage, step up transformer, MV three phase output.

Documents

The works will be executed in the following manner:

- Technical offer of the bidder (a detail technical description defining the works to be done and the execution planning) approved and completed by the contracting authority;

- The attached cost estimates;

- The general administrative terms and conditions applicable to works contracted on behalf of State;

- The various international standards recognized in the system (ISO) and may apply to the environment and economic climate of Cameroon;

- The local regulatory laws in the usage of electricity, safety and environmental protection regulations applicable in Cameroon;

The documents of the contract are complementary and must be accepted as such. They explain and complete themselves reciprocally with the aim to define the works to be executed. All that is omitted in others but indicated in another and which will be necessary to effectively realize the works in conformity with the contract document must be executed by the contractor without modifying the initial cost.

MV SINGLE PHASE LINE

MV Single phase antenna with a return to earth will be connected to one phase on the main tri-phase line. It will be constructed on wooden poles of 11 m, class C or D and with almelec cable of 34.4mm2 or aluminum of 30 mm2 or 50mm2 according to the case, stringed on rigid glass insulators of class 30KVA which are mounted on spindles (consoles de tête) on wooden poles. A separation is made on the connection or derivation point by a cut-out install such that any movement of the fuse carrier will be visible to easily locate faults in the net work. The works to be realized are:

- 601001: supply and installation of rigid glass insulators of 30KVA, including aluminum binding cords or wire and all other constraints related to supply and workmanship.

- 601002: supply and installation of three elements anchorage pliers

- 601003: supply and installation of U bolts for   anchorage including the supply and installation of galvanized washers elements (boulonnerie galvanisée)

- 601004: supply and   installation of galvanized spindles (console de tête) for poles,

- 601005: supply and   installation of danger metal plate (danger de mort)

- 601006: supply and installation of aluminum number plates on wooden poles with numbers.

- 601007: supply and installation of angle spindle (bras bis) 70/600

- 601008: supply and installation of U bolts for fixing of the angle spindle (bras bis) on wooden poles

- 601009:  supply and installation of cut – out circuit of expulsion on mono phase including labour.

- 6010010: supply and installation of lightening arrestor 27KV including connection

- 601011: supply and installation of almelec cable 34.4mm2

- 601013: supply and installation   MT derivation mono phase

- 601014: supply and installation in position of 11m/s class C wooden poles

- 601015: supply and installation in position of 11m/j class C wooden poles

- 100000: studies and pegging that will allow for the establishment of an execution plan subject to approval by the directorate of electricity.

- 101001: digging of holes in normal soil

- 101002: digging in stony soil

- 101004: excavation in rocky soil

- 101005: construction of the mass concrete foundation

The fuse will be installed at the beginning of each derivation, 2A size for the derivation of 500m supplying only one transformer, 6A size for the long derivation and those which are supplying many transformers.

On all the transformer MV/LV (size 2A), to each transformer MV/LV a lightening arrestor is associated systematically support the transformer in case of over load or variable voltage (125 KV) and the nominal voltage of 27KV. It is mounted on the same pole with the transformer and connected to the phase and earthed

MV single phase Transformer Sub Station

It is installed on a 12 m twin wooden pole in crossing or in stoppage on class D held upright on a dry place with a working platform in mass concrete.

Works to be realized

- 602001: supply and installation of queue de cochon BOC 14-250

- 602002: supply and installation of 2 bolt of 16-300 for the holding of transformer

- 602004: supply and installation of the transformer 25 KVA-17.32KV/220V

- 602005: supply and installation of 1 set of 3 elements anchorage pliers

- 602006: supply and installation of bras bis 70x600 for the support appliances

- 602007: installation and jointing of lightening-arrestor 27 KV

- 602008: supply and installation of Cut-out monophase circuit

- 601011: construction and connection of the earth it include:

-A mechanical protection of a   PVC 040 pipe

-pipe PVC 025, 2x8.8cm long

-copper cable of 25 mm2-18m

- two copper fittings

602013: construction and connection of earth type C, horizontal and rectilinear cable including:

- a naked copper cable for 29 mm2 in trench of 0.35x080 and with 2x15m long                                  -  a cooper fitting

- 602017: complete equipment and installation on wooden pole of mono phase Transformer 25KVA-17.32 KV/220V with an earth of type 2 BH

MV three phase Transformer Sub Station

It is installed on an 11 m iron pole in crossing or in stoppage held upright on a dry place with a working platform in mass concrete. The installation of a three phase transformer requires the installation of a manual air switch (IACM) on an iron pole.

Works to be realized

- 602001: supply and installation of queue de cochon BOC 14-250

- 602002: supply and installation of 2 bolt of 16-300 for the holding of transformer

- 602004: supply and installation of the transformer 50,160 or 250 KVA-30KV/220V

- 602005: supply and installation of 3 set of 3 elements anchorage pliers

- 602006: supply and installation of 3 bras bis 70x600 for the support appliances

- 602007: installation and jointing of 3 lightening-arrestor 27 KV

- 602008: supply and installation of 3 Cut-out monophase circuit

- 601011: construction and connection of the earth it include:

-A mechanical protection of a   PVC 040 pipe

-pipe PVC 025, 2x8.8cm long

-copper cable of 25 mm2-18m

- two copper fittings

- 602017: complete equipment and installation on iron pole of three phase Transformer 50,160 or 250 KVA-30KV/220V on iron cross with an earth of type 2 BH.
LOW VOLTAGE SINGLE OR THREE PHASE NETWORK

Low voltage lines will be constructed with wooden poles of 9 m and 50m apart using    4x25mm2 alu twisted cable for single phase and 3x50mm2 +NP or 3x70mm2 + NP alu twisted cable for three phase. In case of mixed network MV/LV, the support will be 11m span at 50m apart and 60m maximum.

For single phase connection, the cables will be joined in couples and connected to the terminals of the Transformer in order to form a round circuit; that is electrically speaking a cable of 2x25mm2, which allows for a network of about 1 or 1.5 km from the Transformer sub station.

The works to be realized will be:

- 603001: supply and installation of alignments equipment

- 603002: supply and installation of anchorage equipment

- 603003: supply and installation of 4 fitting TID76

- 603004: supply and installation of equipment of anchorage including a crochet-hook BORØ12L250, an anchorage pliers PE3 AFU27 or (PE25)

- 603005: supply and installation of 4x25mm2 or 3x50mm2 +NP or 3x70mm2 + NP alu twisted cable

- 603007:  installation of type C earthling cable, it will be a returned cable, including the cable numbered by 0 to 1

- 603008: supply and installation of wooden poles of 9m/s

- 603009: supply and installation of wooden poles of 9m/j, class C

- 603010: supply and installation of 9m class C

- 603011: supply and installation of a removable extremity tube on the twisted cable

HOUSE CONNECTION

It is a connection of two or four. The works concerned will include:

- 701001: Connection to household 2 cables 220 V

- 701003: Installation of circuit breakers and meters with 2 cables 220 V or 4 cables 220/380V meters

CLEARING AND FELLING

It will consist of the cutting down of trees, and clearing of a 15m wide corridor all through the main MT line

The transportation and handling

It consists on the transportation of equipment to the site, the placement of poles in their positions and the digging of holes.

REPUBLIQUE DU CAMEROUN                                                                                              REPUBLIC OF CAMEROON

Paix-Travail-Patrie                                                                                                                                                                 peace – work -fatherland

MINISTERE DE LA DECENTRALISATION                                                                                   MINISTRY OF DECENTRALISATION

----------	                                             ------------

ET DU DEVELOPMENT LOCAL                                                                                                         AND LOCAL DEVELOPMENT

-----------	                                   -----------

REGION DU SUD OUEST                                                                                                                   SOUTH WEST REGION

------------                                                                                                                                                             ----------

DEPARTEMENT DU NDIAN                                                                                                                        NDIAN DIVISION

------------                                                                                                                                                         ----------

COMMUNE DE IDABATO                                                                                                                         IDABATO COUNCIL

------------                                                                                                                                                          -----------

COMMISSION DE PASSATION DES MARCHES                                                                             TENDER’S BOARD COMMISSION

IDABATO COUNCIL INTRENAL TENDER BOARD

OPEN NATIONAL INVITATION TO TENDER

N°-----/ONIT/IC/ICITB/PIB 2026 OF ………/……./2026

FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA)

FINANCING:  PUBLIC INVESTMENT BUDGET MINEE 2026

SCHEDULE OF UNIT PRICES

| SCHEDULE OF UNIT PRICES FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA) |  |  |  |
| --- | --- | --- | --- |
| N° | Description | UNIT PRICE IN LETTERS | UNIT PRICE IN WORDS |
| 100 | PHOTO VOLTAC ARRAY |  |  |
| 101 | S/ installation of mono-crystalline PV module of 325Wc |  |  |
| 102 | Ground mounting system (ray, square tub, angle iron, mid clamp, end clamp, oil paint) |  |  |
| 103 | Interconnection of module (U1000 4mm2) |  |  |
| 104 | Connection to DC comber box from the PV array 10mm2/16mm2 |  |  |
| 105 | MC4 connector |  |  |
| 106 | DC comber box |  |  |
|  | SUB TOTAL I |  |  |
| 200 | ELECTRICAL CABINET |  |  |
| 201 | F/l solar inverter (5KVA/48V) |  |  |
| 202 | F/l MPPT charge controller (100A-48V) |  |  |
| 203 | Interconnection of electronic cupboard system (U1000 35mm2) |  |  |
|  | SUB TOTAL II |  |  |
| 300 | BATTERY |  |  |
| 301 | F/l of GEL battery 200AH/12V |  |  |
| 302 | Connection of charge controller to the solar batteries (U1000 35mm2) |  |  |
| 303 | Interconnection of the battery-inverter (U1000 35mm2) |  |  |
| 304 | Cable ray 50/50 and other accessories for the wiring of the system |  |  |
|  | SUB TOTAL III |  |  |
| 400 | PROTECTION OF THE SYSTEM |  |  |
| 401 | Earthing of the system with copper malaria (earth rop, earth cable 25 mm2 earthing terminal) |  |  |
| 402 | DC circuit breaker 100A |  |  |
| 403 | AC differential circuit breaker 320/30mA |  |  |
| 404 | DC surge arrestor 40KV |  |  |
| 405 | AC surge arrestor 2P |  |  |
| 406 | Voltage regulator 2P |  |  |
| 407 | 12-way distribution box |  |  |
| 408 | DC circuit breaker 20A |  |  |
|  | DISTRIBUTION NETWORK LV 2x25mm2 |  |  |
| 501 | Study and pegging |  |  |
| 502 | Excavation in rock terrain |  |  |
| 503 | Supply and lay of metallic pole 25cm Ǿ |  |  |
| 504 | Supply and stringing of 2x25mm2 |  |  |
| 505 | Anchoring clamp LV |  |  |
| 506 | Alignment clamp LV |  |  |
| 507 | Connector and plastic anchor |  |  |
| 508 | Supply and stringing of 2x16mm2 |  |  |
| 509 | Earth type C |  |  |
| 510 | Solar project 100w/12v |  |  |
| 511 | Wiring of five house and connection to the constructed network for the verification. |  |  |
| 600 | SITE INSTALLATION TRANSPORTATION, VISIT AND DOCUMENTATION |  |  |
| 601 | Site installation of material |  |  |
| 602 | Transportation of material |  |  |
| 603 | Setting up a management committee and training of two maintenance agents |  |  |
| 604 | Technical documentation |  |  |
|  | Construction and painting of power house 4m×3m2 |  |  |
|  | Fence solar panels with metallic fence |  |  |
|  | SUB TOTAL IV |  |  |

REPUBLIQUE DU CAMEROUN                                                                                              REPUBLIC OF CAMEROON

Paix-Travail-Patrie                                                                                                                                                                 peace – work -fatherland

MINISTERE DE LA DECENTRALISATION                                                                                   MINISTRY OF DECENTRALISATION

----------	                                             ------------

ET DU DEVELOPMENT LOCAL                                                                                                         AND LOCAL DEVELOPMENT

-----------	                                   -----------

REGION DU SUD OUEST                                                                                                                   SOUTH WEST REGION

------------                                                                                                                                                             ----------

DEPARTEMENT DU NDIAN                                                                                                                        NDIAN DIVISION

------------                                                                                                                                                         ----------

COMMUNE DE IDABATO                                                                                                                         IDABATO COUNCIL

------------                                                                                                                                                          -----------

COMMISSION DE PASSATION DES MARCHES                                                                             TENDER’S BOARD COMMISSION

IDABATO COUNCIL INTRENAL TENDER BOARD

OPEN NATIONAL INVITATION TO TENDER

N°-----/ONIT/IC/ICITB/PIB 2026 OF ………/……./2026

FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA)

FINANCING:  PUBLIC INVESTMENT BUDGET MINEE 2026

| BILL OF QUANTITIES AND COST ESTIMATE FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| N° | Description | Unit | Qty | U.P | Total Price |
| 100 | PHOTO VOLTAC ARRAY |  |  |  |  |
| 101 | S/ installation of mono-crystalline PV module of 325Wc | u |  |  |  |
| 102 | Ground mounting system (ray, square tub, angle iron, mid clamp, end clamp, oil paint) | ens |  |  |  |
| 103 | Interconnection of module (U1000 4mm2) | ml |  |  |  |
| 104 | Connection to DC comber box from the PV array 10mm2/16mm2 | ml |  |  |  |
| 105 | MC4 connector | u |  |  |  |
| 106 | DC comber box | u |  |  |  |
|  | SUB TOTAL I |  |  |  |  |
| 200 | ELECTRICAL CABINET |  |  |  |  |
| 201 | F/l solar inverter (5KVA/48V) | u |  |  |  |
| 202 | F/l MPPT charge controller (100A-48V) | u |  |  |  |
| 203 | Interconnection of electronic cupboard system (U1000 35mm2) | ml |  |  |  |
|  | SUB TOTAL II |  |  |  |  |
| 300 | BATTERY |  |  |  |  |
| 301 | F/l of GEL battery 200AH/12V | u |  |  |  |
| 302 | Connection of charge controller to the solar batteries (U1000 35mm2) | ml |  |  |  |
| 303 | Interconnection of the battery-inverter (U1000 35mm2) | ml |  |  |  |
| 304 | Cable ray 50/50 and other accessories for the wiring of the system | ens |  |  |  |
|  | SUB TOTAL III |  |  |  |  |
| 400 | PROTECTION OF THE SYSTEM |  |  |  |  |
| 401 | Earthing of the system with copper malaria (earth rop, earth cable 25 mm2 earthing terminal) | ens |  |  |  |
| 402 | DC circuit breaker 100A | u |  |  |  |
| 403 | AC differential circuit breaker 320/30mA | u |  |  |  |
| 404 | DC surge arrestor 40KV | u |  |  |  |
| 405 | AC surge arrestor 2P | u |  |  |  |
| 406 | Voltage regulator 2P | u |  |  |  |
| 407 | 12-way distribution box | u |  |  |  |
| 408 | DC circuit breaker 20A | u |  |  |  |
|  | DISTRIBUTION NETWORK LV 2x25mm2 | ens |  |  |  |
| 501 | Study and pegging | km |  |  |  |
| 502 | Excavation in rock terrain | m3 |  |  |  |
| 503 | Supply and lay of metallic pole 25cm Ǿ | u |  |  |  |
| 504 | Supply and stringing of 2x25mm2 | ml |  |  |  |
| 505 | Anchoring clamp LV | u |  |  |  |
| 506 | Alignment clamp LV | u |  |  |  |
| 507 | Connector and plastic anchor | u |  |  |  |
| 508 | Supply and stringing of 2x16mm2 | ml |  |  |  |
| 509 | Earth type C | u |  |  |  |
| 510 | Solar project 100w/12v | u |  |  |  |
| 511 | Wiring of five house and connection to the constructed network for the verification |  |  |  |  |
| 600 | SITE INSTALLATION TRANSPORTATION, VISIT AND DOCUMENTATION |  |  |  |  |
| 601 | Site installation of material | ens |  |  |  |
| 602 | Transportation of material | ens |  |  |  |
| 603 | Setting up a management committee and training of two maintenance agents | ens |  |  |  |
| 604 | Technical documentation | ens |  |  |  |
|  | Construction and painting of power house 4m×3m2 | ff |  |  |  |
|  | Fence solar panels with metallic fence | ff |  |  |  |
|  | T.V.A (19.25 %) |  |  |  |  |
|  | AIR (2.2%) |  |  |  |  |
|  | TOTAL WITH TAXES |  |  |  |  |
|  | NET PAYMENT |  |  |  |  |

REPUBLIQUE DU CAMEROUN                                                                                              REPUBLIC OF CAMEROON

Paix-Travail-Patrie                                                                                                                                                                 peace – work -fatherland

MINISTERE DE LA DECENTRALISATION                                                                                   MINISTRY OF DECENTRALISATION

----------	                                             ------------

ET DU DEVELOPMENT LOCAL                                                                                                         AND LOCAL DEVELOPMENT

-----------	                                   -----------

REGION DU SUD OUEST                                                                                                                   SOUTH WEST REGION

------------                                                                                                                                                             ----------

DEPARTEMENT DU NDIAN                                                                                                                        NDIAN DIVISION

------------                                                                                                                                                         ----------

COMMUNE DE IDABATO                                                                                                                         IDABATO COUNCIL

------------                                                                                                                                                          -----------

COMMISSION DE PASSATION DES MARCHES                                                                             TENDER’S BOARD COMMISSION

IDABATO COUNCIL INTRENAL TENDER BOARD

OPEN NATIONAL INVITATION TO TENDER

N°-----/ONIT/IC/ICITB/PIB 2026 OF ………/……./2026

FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA)

FINANCING:  PUBLIC INVESTMENT BUDGET MINEE 2026

SUB-DETAIL OF PRICES

Price N° …………………………………………………………………………………………

Designation of work……………………………………………………………………………

Unit ……………………………………………………………………………………………..

Quantity ………………………………………………………………………………………..

Daily output ……………………………………………………………………………………

Duration of execution …………………………………………………………………………

|  | CATEGORY | DAILY RATE | NUMBER OF DAYS | AMOUNT |
| --- | --- | --- | --- | --- |
| A-PERSONNEL |  |  |  |  |
|  | TOTAL A |  |  |  |
| B-EQUIPEMENTS AND TOOLS | TYPE | DAILY RATE | NUMBER OF DAYS | AMOUNT |
|  | TOTAL B |  |  |  |
| C-MATERIALS | TYPE | DAILY RATE | UNIT PRICE | AMOUNT |
|  | TOTAL C |  |  |  |
| D | TOTAL DIRECT COST A + B+ C |  |  |  |
| E | SITE EXPENDITURE |  |  |  |
| F | OFFICE EXPENDITURE |  |  |  |
| G | COST PRICE |  |  |  |
| H | RISK + PROFIT |  |  |  |
| P | SELLING COST HTVA |  |  |  |
| V | UNIT SELLING COST TAXES EXCLUSIVE |  |  |  |

REPUBLIQUE DU CAMEROUN                                                                                              REPUBLIC OF CAMEROON

Paix-Travail-Patrie                                                                                                                                                                 peace – work -fatherland

MINISTERE DE LA DECENTRALISATION                                                                                   MINISTRY OF DECENTRALISATION

----------	                                             ------------

ET DU DEVELOPMENT LOCAL                                                                                                         AND LOCAL DEVELOPMENT

-----------	                                   -----------

REGION DU SUD OUEST                                                                                                                   SOUTH WEST REGION

------------                                                                                                                                                             ----------

DEPARTEMENT DU NDIAN                                                                                                                        NDIAN DIVISION

------------                                                                                                                                                         ----------

COMMUNE DE IDABATO                                                                                                                         IDABATO COUNCIL

------------                                                                                                                                                          -----------

COMMISSION DE PASSATION DES MARCHES                                                                             TENDER’S BOARD COMMISSION

IDABATO COUNCIL INTRENAL TENDER BOARD

OPEN NATIONAL INVITATION TO TENDER

N°-----/ONIT/IC/ICITB/PIB 2026 OF ………/……./2026

FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA)

FINANCING:  PUBLIC INVESTMENT BUDGET MINEE 2026

REPUBLIQUE DU CAMEROUN                                                                                              REPUBLIC OF CAMEROON

Paix-Travail-Patrie                                                                                                                                                                 peace – work -fatherland

MINISTERE DE LA DECENTRALISATION                                                                                   MINISTRY OF DECENTRALISATION

----------	                                             ------------

ET DU DEVELOPMENT LOCAL                                                                                                     AND LOCAL DEVELOPMENT

-----------	                                   -----------

REGION DU SUD OUEST                                                                                                                SOUTH WEST REGION

------------                                                                                                                                                      ----------

DEPARTEMENT DU NDIAN                                                                                                                  NDIAN DIVISION

------------                                                                                                                                                     ----------

COMMUNE DE IDABATO                                                                                                                    IDABATO  COUNCIL

------------                                                                                                                                                      -----------

COMMISSION DE PASSATION DES MARCHES                                                                   TENDER’S BOARD COMMISSION

CONTRACT N°_________/C/IC/ICITB/PIB2026

Awarded after an Open National Invitation to Tender

N°…./ONIT/IC/ICITB/PIB2026 OF ……/……./2026

Beneficiary: ………………………………………. (Contractor and complete address)

B.P……….. at …………….. Tel: …………… Fax ………………….

Business Registry No: ………………………..  at ………………….

Tax Payers’ Card No: ………………………………………………..

Object: …………………………………………………………………………………

Execution deadline: …………………………………………………………………….

Amount in FCFA:

| Amount tax inclusive |  |
| --- | --- |
| Amount without Taxes |  |
| VAT (19.25%) |  |
| A.I.R. (5.5%)/(2.2%) |  |
| Net Payable |  |

Financing: pib 2026

Budget Head: ……………………………….

Location: …………………………….

Subscribed on: _______________________

Signed on: ____________________________

Notified on:  _________________________

Registered on: ______________________

BETWEEN:

The Government of the Republic of Cameroon, represented by The Mayor of Idabato Council, hereinafter referred to as “The Contracting Authority”

ON THE ONE PART,

AND

Enterprise ……………………………………..

Whose head office is at ………………………….

Hereinafter referred to as the “Contractor”

Represented by its Director, Mr. …………………………………………………..

Address:	P.O. Box …………………………. Tel …………….Fax ……………

Reg. N° ……………………………….

Tax Payers’ Card N° …………………………………….

ON THE OTHER PART

IT IS HEREBY AGREED AND ORDERED AS FOLLOW

SUMMARY

Part I:		Special Administrative Clause (SAC)

Part II:		Special technical Conditions (STC)

Part III:	Schedule of Unit Prices

Part IV:	Details or Estimate

Page………… and last of CONTRACT N° ____/IC/ICITB/2026 awarded after an Open National Invitation to Tender N° …./ONIT/IC /ICITB/PIB2026

With …………………………………….

For the ……………………………….

Execution Deadline ………………………………….. (03) months

Amount of THE CONTRACT in FCFA:

| Amount tax inclusive |  |
| --- | --- |
| Amount without Taxes |  |
| VAT (19.25%) |  |
| A.I.R. (5.5%/2.2%) |  |
| Net Payable |  |

Read and accepted by the Contractor Idabato………………. (date)

Signed by the Mayor of Idabato Council. Idabato………………… (date)

Registration

REPUBLIQUE DU CAMEROUN                                                                                              REPUBLIC OF CAMEROON

Paix-Travail-Patrie                                                                                                                                                                 peace – work -fatherland

MINISTERE DE LA DECENTRALISATION                                                                                   MINISTRY OF DECENTRALISATION

----------	                                             ------------

ET DU DEVELOPMENT LOCAL                                                                                                         AND LOCAL DEVELOPMENT

-----------	                                   -----------

REGION DU SUD OUEST                                                                                                                   SOUTH WEST REGION

------------                                                                                                                                                             ----------

DEPARTEMENT DU NDIAN                                                                                                                        NDIAN DIVISION

------------                                                                                                                                                         ----------

COMMUNE DE IDABATO                                                                                                                         IDABATO COUNCIL

------------                                                                                                                                                          -----------

COMMISSION DE PASSATION DES MARCHES                                                                             TENDER’S BOARD COMMISSION

IDABATO COUNCIL INTRENAL TENDER BOARD

OPEN NATIONAL INVITATION TO TENDER

N°-----/ONIT/IC/ICITB/PIB 2026 OF ………/……./2026

FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA)

FINANCING:  PUBLIC INVESTMENT BUDGET MINEE 2026

REPUBLIQUE DU CAMEROUN                                                                                              REPUBLIC OF CAMEROON

Paix-Travail-Patrie                                                                                                                                                                 peace – work -fatherland

MINISTERE DE LA DECENTRALISATION                                                                                   MINISTRY OF DECENTRALISATION

----------	                                             ------------

ET DU DEVELOPMENT LOCAL                                                                                                         AND LOCAL DEVELOPMENT

-----------	                                   -----------

REGION DU SUD OUEST                                                                                                                   SOUTH WEST REGION

------------                                                                                                                                                             ----------

DEPARTEMENT DU NDIAN                                                                                                                        NDIAN DIVISION

------------                                                                                                                                                         ----------

COMMUNE DE IDABATO                                                                                                                         IDABATO COUNCIL

------------                                                                                                                                                          -----------

COMMISSION DE PASSATION DES MARCHES                                                                             TENDER’S BOARD COMMISSION

IDABATO COUNCIL INTRENAL TENDER BOARD

OPEN NATIONAL INVITATION TO TENDER

N°-----/ONIT/IC/ICITB/PIB 2026 OF ………/……./2026

FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA)

FINANCING:  PUBLIC INVESTMENT BUDGET MINEE 2026

TABLE OF MODELS

Annexture N° 1:	Model declaration of intention to Tender

Annexture N° 2:	Model Bid Letter

Annexture N° 3:	Model Bid Bond

Annexture N° 4:	Model Final Bond

Annexture N° 5:	Model of start-off advance Bond

Annexture N° 6:	Model Retention fund (Guarantee Retention)

Annexture N° 7:       Attestation of site visit

ANNEXTURE N°1:

MODEL DECLARATION OF INVITATION TO TENDER

I the undersigned, ……………….(indicate the name and capacity of signatory)

Representing the ……………….. Company or enterprise or group with head office at …..

…..registered in the trade register of ……………………….Under the number ………………

Having taken cognizance of all the documents featured or mentioned in the Tender file: tender N°.…./ONIT/IC/ICITB/PIB2026 for  the……………………..after having personally taking account of the situation of the site and evaluated from my point of view and under my responsibility, the nature and difficulty of the works to be carried out;

- Hereby submit, bearing my signature, the schedule of unit prices as well as the quotations in accordance with the structure featuring in the Tender File;

- I pledge to execute the works within a deadline of three (03) months.

- I pledge to maintain my offer for a duration of Ninety (90) days from the deadline of submission of Tender;

Prior to the signing of the contract, this tender accepted by you shall constitute an agreement between us.

Done at …………………………..

Signature of …………………………………

In the capacity of ……………………………

Duly authorized to sign the Tenders on behalf of …………………………….

ANNEXTURE N°2:

MODEL TENDER

I the undersigned, ……………………………..(indicate the name and capacity of signatory)

Representing the ………………..company or enterprise or group with head office at ………

…..registered in the trade register of ……………………….Under the number ………………

Having taken cognizance of all the documents featured or mentioned in the Tender file: tender N°…../ONIT/IC/CTB/PIB2023 for the ……………………..after having personally taking account of the situation of the site and evaluated from my point of view and under my responsibility, the nature and difficulty of the works to be carried out;

- Hereby submit, bearing my signature, the schedule of unit prices as well as the quotations in accordance with the structure featuring in the Tender File;

- Submit and commit myself to execute the works in accordance with the Tender File, in return for the prices which I myself establish for each type of structure which prices reveal the amount of the tender at …………………….. ( in figures and words) FCFA exclusive of VAT and at ………………….. ( in figures and in words) FCFA inclusive of all taxes.

- I pledge to execute the works within a deadline of three (03) months.

- I pledge to maintain my offer for a duration of Ninety (90) days from the deadline of submission of Tender;

The Contracting Authority shall pay the sums due for this contract by crediting account N°:…

………. …………………………Opened in …………………. Bank ……………… branch.

Prior to the signing of the contract, this tender accepted by you shall constitute an agreement between us.

Done at …………………………..

Signature of ………………………….

In the capacity of ……………………

Duly authorized to sign the Tenders on behalf of …………………………….

ANNEXTURE N°3:

MODEL BID BOND

Addressed to the Contracting Authority

Whereas the undertaking …………………………. Hereinafter referred to as the “bidder” has submitted his tender on …………….. for the ………………………………………………, hereinafter referred to as “the tender” and to which must be attached a bid bond equivalent to …………………FCFA.

We …………….. (name and address of the bank), represented by …………………………. (names of signatories), hereinafter referred to as “the Bank” hereby declare to guarantee payment to the Contracting Authority of the maximum sum of ……………………………….., that the bank pledges to pay in full to the Contracting Authority, bidding itself, its successors and assignees.

The conditions of this commitment are as follows:

If the Bidder withdraws his offer during the validity period specified by the Bidder in the tender; or

If the Bidder, having been notified of the award of the contract by the Contracting Authority during the period of Bid validity:

- Fails or refuses to sign the contract, even though required to do so;

- Fails or refuses to furnish the final bond for the contract (final bond) as provided for by the contract.

We undertake to pay the Contracting Authority an amount up to the maximum of the sum referred to above upon receipt of his first written demand, without the Contracting Authority having to substantiate his demand, provided that in its demand the Contracting Authority shall note that the amount claimed by him is due, because one or the other or both of the above condition(s) has (have) been fulfilled and he shall specify which condition(s) took effect.

This bond shall enter into force from the date of signature and from the date set by the Contracting Authority for the submission of Tenders.  It shall remain valid up till the thirtieth day inclusive following the end of the deadline for the validity of Tenders.  Any request by the Contracting Authority to cause it to take effect should reach the bank by registered mail with an acknowledgement of receipt before the end of this period of validity.

This bond shall, for purposes of its interpretation, be submitted to Cameroon law.  Cameroon courts shall be the only jurisdictions competent to rule on this commitment and its consequences.

Signed and authenticated by the bank

at ………………………, on ……………………..

(Bank’s signature)

ANNEXTURE N° 4:

MODEL FINAL BOND

Bank: ……………………..

Reference of the Bond No: …………………………………..

Addressed to The Mayor of Idabato Council.

Hereinafter referred to as “The Contracting Authority”

Whereas ……………………. (Name and address of contractor) hereinafter referred to “the Contractor”, pledge, in execution of the contract, to carry out the works of ……………………. …………………………….;

Whereas it is stipulated in the contract that the contractor shall furnish the Contracting Authority a final bond of two percent (2%) of the amount of the contract as security for compliance with the contractor’s performance obligations in accordance with the Contract.

Whereas we have agreed to provide the Contractor with this guarantee;

We …………………………………………………. (Name and address of bank),

Represented by ……………………………………   (Name of signatories)

hereinafter referred to as “the Bank”, and we pledge to pay to the Contracting Authority within a maximum deadline of eight (8) weeks upon his simple written request declaring that the contractor has not fulfilled his contractual obligations, without being able to defer the payment nor raise any contest for whatever reason, the sum of …………………….. …………………………………… (in letters and in words).

We hereby agree that no change or addendum or any other amendment shall release us of any obligation incumbent onus by virtue of this bond and we hereby derogate by the present to the notification of any amendment, addendum or change.

This bond shall enter into force upon signature.  It shall be released within thirty (30) days from the date of the provisional reception of the works.

After this date the caution shall no longer be valid and shall be returned to us without any request on our part.

Any request for payment formulated by the Contracting Authority by virtue of this bond should be done by registered mail with acknowledgement of receipt to reach the bank during the period of validity of this commitment.

This bond shall, for purposes of its interpretation and execution, be subject to Cameroon law.  Cameroon courts shall be the only jurisdictions competent to rule on this pledge and its consequences.

Signed and authenticated by the bank at ………………… on ……………………

[Signature of the bank]

ANNEXTURE N° 5:

MODEL OF START-OFF ADVANCE BOND

Bank reference: …………………………………….

Address: ……………………………………………

We, the undersigned,……………………………(bank, address) hereby declare by the present to guarantee on behalf of    ……………………………….. (the Holder) to the benefit of the Contracting Authority (the Beneficiary) the payment, without contest and upon receipt of the first written request by the beneficiary, declaring that ………………. (the holder) has not fulfilled his obligations relating to the reimbursement of the start-off advance according to the terms of Jobbing Order N°:………./JO/IC/ICITB/PIB 2026  of ………….. relating to the ……………. …………………………………………….. of the total sum corresponding to the advance of thirty percent (30%)  of the amount inclusive of all taxes of  Jobbing Order N°:………./ JO/IC/ICITB/PIB 2026  , payable upon notification of the corresponding Service Order to start work that is, …………………………..F CFA.

This bond shall enter into force and shall take effect upon reception of the respective parts of this advance into the accounts of ……………..  (The holder) opened in the…………………… bank under N° ………………………………………………………

This bond shall remain in force up till the reimbursement of the advance in accordance with the SAC.  However, the amount of the guarantee shall be proportionately reduced on the progressive reimbursement of the advance.

The applicable law and jurisdiction shall be those of the republic of Cameroon.

Signed and authenticated by the bank at ………………… on …………………….

Signature of the bank

ANNEXTURE N° 6:

MODEL OF PERFORMANCE BOND (GUARANTEE RETENTION)

Bank: ……………………..

Reference of the Bond N°: …………………………………..

Addressed to the Mayor of Idabato Council.

Hereinafter referred to as “The Contracting Authority”

Whereas ……………………. (Name and address of contractor) hereinafter referred to “the Contractor”, pledge, in execution of the contract, to carry out the works of …………………….

Whereas it is stipulated in the contract that the guarantee retention fixed at ten percent (10%) of the amount of the contract may be replaced by a joint guarantee;

Whereas we have agreed to provide the Contractor with this guarantee;

We………………………………………………….. (Name and address of bank),

Represented by …………………………………… (Name of signatories) and hereinafter referred to as “the Bank”;

Hence, we hereby affirm that on behalf of the Contractor, we guarantee and are responsible to the Contracting Authority for a maximum amount of  …………………………. (in figures and in letters) corresponding to ten percent (10%) of the contract amount.

And we pledge to pay to the  Contracting Authority within a maximum deadline of eight (8) weeks upon his simple written request declaring that the contractor has not fulfilled his contractual obligations or is indebted to the  Contracting Authority within the meaning of the contract, amended where need be, by its additional clauses, without being able to defer the payment nor raise any contest for whatever reason, any sum(s) within the limits of the amount equal to ten percent (10%) of the total amount of the works featuring in the final detailed account, without the Contracting Authority having to prove or give the reasons nor the motive for the amount of the sum indicated above.

We hereby agree that no change or addendum or any other amendment shall release us of any obligation incumbent onus by virtue of this bond and we hereby derogate by the present to the notification of any amendment, addendum or change.

This bond shall enter into force upon signature.  It shall be released within thirty (30) days from the date of the final reception of the works and upon released issued by the Contracting Authority.

Any request for payment formulated by the Contracting Authority by virtue of this bond should be done by registered mail with acknowledgement of receipt to reach the bank during the period of validity of this commitment.

This bond shall, for purposes of its interpretation and execution, be subject to Cameroon law.  Cameroon courts shall be the only jurisdictions competent to rule on this pledge and its consequences.

Signed and authenticated by the bank at ………………… on ……………………

[Signature of the bank]

ANNEXTURE N° 7:

ATTESTATION OF SITE VISIT

I, Mr……………………………the undersigned Mayor of Idabato Council, attest to the visit of the Enterprise………………………………………….to Idabato

for the project of for the supply and installation of 30 solar streets lights at Idabato II.

This attestation is delivered to him to serve its purpose.

Done at…………………………… the …………………….

Signature of the Mayor of  Idabato Council

REPUBLIQUE DU CAMEROUN                                                                                              REPUBLIC OF CAMEROON

Paix-Travail-Patrie                                                                                                                                                                 peace – work -fatherland

MINISTERE DE LA DECENTRALISATION                                                                                   MINISTRY OF DECENTRALISATION

----------	                                             ------------

ET DU DEVELOPMENT LOCAL                                                                                                         AND LOCAL DEVELOPMENT

-----------	                                   -----------

REGION DU SUD OUEST                                                                                                                 SOUTH WEST REGION

------------                                                                                                                                                             ----------

DEPARTEMENT DU NDIAN                                                                                                                      NDIAN DIVISION

------------                                                                                                                                                         ----------

COMMUNE DE IDABATO                                                                                                              IDABTO COUNCIL

------------                                                                                                                                                          -----------

COMMISSION DE PASSATION DES MARCHES                                                                             TENDER’S BOARD COMMISSION

IDABATO COUNCIL INTRENAL TENDER BOARD

OPEN NATIONAL INVITATION TO TENDER

N°-----/ONIT/IC/ICITB/PIB 2026 OF ………/……./2026

FOR THE CONSTRUCTION OF MINI GRID FOR RURAL ELECTRIFICATION IDABATO II, PHASE I (13KVA)

FINANCING:  PUBLIC INVESTMENT BUDGET MINEE 2026

List of commercial banks and financial institutions authorized to issue bonds for Public Contracts

- BICEC

- Union Bank of Cameroon Plc

- ECOBANK

- United Bank of Africa

- Afriland first Bank

- SCB – Credit Agricole

- SGBC

- Amity Bank Plc

- Standard Chartered Bank

- National Financial Credit

- CBC

- CITI Bank