[image: image5.png]TRAVAR
=





	 REPUBLIQUE DU CAMEROUN
	                REPUBLIC OF CAMEROON

	PAIX TRAVAIL PATRIE

          ----------------------
MINISTERE DE LA DECENTRALISATION ET
 DU DEVELOPPEMENT LOCAL
           ----------------------
	                    PEACE WORK FATHERLAND

                  ----------------------

                     MINISTRY OF DECENTRALIZATION   AND LOCAL DEVELOPMENT
                   -----------------------

	 REGION DU SUD OUEST                     
	                     SOUTH WEST REGION                 

	        ----------------------
	                                          ----------------------

	 DEPARTEMENT DU NDIAN
           ----------------------
	                    NDIAN  DIVISION
                         ----------------------

	COMMUNE D’EKONDO TITI
	                   EKONDO TITI COUNCIL


IDABATO COUNCIL INTERNAL TENDERS BOARD


No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026
(EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF A VIP TOILET AT GS IDABATO II
FUNDING: PUBLIC INVESTMENT BUDGET 2026 


TABLE OF CONTENTS
	Documents


	
	DESCRIPTION
	PAGE

	
	No I 
	Tender Notice
	2

	
	No II
	General Regulations of the Invitation to Tender
	9

	
	No III
	Special Regulations for Invitation to Tender
	26

	
	No IV
	Special Administrative Conditions 
	32

	
	No V*
	Special Technical conditions 
	45

	
	No VI
	Price Schedule
	53

	
	No VII
	Bill of Quantities and Estimates 
	57

	
	N° VIII
	Sub-detail of prices
	61

	
	No  IX
	Model of contract 
	63

	
	No  X
	Forms and models to be used 
	68

	
	
	· Annex 1: Model Declaration of intent to Tender
	· 

	
	
	· Annex 2: Model Bid letter 
	· 

	
	
	· Annex 3: Model Bid Bond
	· 

	
	
	· Annex 4: Model Final Bond
	· 

	
	
	· Annex 5: Model of start off advance bond
	· 

	
	
	· Annex6: Model of Retention fund
	· 

	
	No XI
	List of commercial banks and financial institutions authorized to issue bid bonds for Public Contracts
	77

	
	No XII
	Drawings
	79



	REPUBLIQUE DU CAMEROUN
	                REPUBLIC OF CAMEROON

	PAIX TRAVAIL PATRIE

          ----------------------
MINISTERE DE LA DECENTRALISATION ET

 DU DEVELOPPEMENT LOCAL
           ----------------------
	                    PEACE WORK FATHERLAND

                  ----------------------

                     MINISTRY OF DECENTRALIZATION   AND LOCAL DEVELOPMENT
                   -----------------------

	 REGION DU SUD OUEST                     
	                     SOUTH WEST REGION                 

	        ----------------------
	                                          ----------------------

	 DEPARTEMENT DU NDIAN

           ----------------------
	                    NDIAN  DIVISION

                         ----------------------

	COMMUNE D’EKONDO TITI
	                   EKONDO TITI COUNCIL


IDABATO COUNCIL INTERNAL TENDERS BOARD


No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026
(EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF A VIP TOILET AT GS IDABATO II
FUNDING:  PUBLIC INVESTMENT BUDGET 2026


IDABATO COUNCIL INTERNAL TENDERS BOARD
TENDER NOTICE
Open National Invitation to Tender No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026

(EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO II

Funding: Public Investment Budget 2026
FINANCING; PIB 2026
1. Subject of the invitation to tender:

Within the framework of the 2026 Public Investment Budget, the Mayor of Idabato Council on behalf of the Minister of Basic education hereby launches an Open National Invitation to Tender by emergency procedure 
FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO II

Nature of services

The works comprise the outcome of the preliminary studies carried out and the detailed information provided in the technical specifications.
2. Execution deadline
            The maximum deadline provided by the Project Owner or Delegated Contracting Authority for the execution of the works forming the subject of this invitation to tender is three (03) months.
4. Estimated cost

The estimated cost after preliminary studies is 10 000 000 FRS.
5. Participation and origin

Participation is open to duly legalized Cameroonian enterprises that fulfill the requirements of this invitation to tender.
 6. Financing
Services which form the subject of this invitation to tender shall be funded by the
Public Investment Budget of the 2026 financial year budgetary head:………………
7. Bid bond

Each bidder must include in his administrative documents, a bid bond issued by a first-rate banking establishment approved by the Ministry in charge of finance and whose list is found in document No. 12 of the Tender File, of an amount of 
200 000 CFAF and valid for thirty (30) days beyond the date of validity of bids
8. Consultation of tender file:

The file may be consulted during working hours at the secretariat of the Mayor of Idabato Council as soon as this notice is published.
9.     Acquisition of tender file:

The file may be obtained from the secretariat of the mayor of Idabato Council as soon as this notice is published upon presentation of a treasury receipt attesting to the payment of a non-refundable fee of 15.000 FCFA, payable at the Idabato Council Treasury.

10.    Submission of bids:

Each bid drafted in English or French in seven (07) copies including the original and six (06) copies marked as such, should reach the secretariat of the Mayor of Idabato Council not later than …../…./2026 at 10am and should carry the inscription:
Open National Invitation to Tender 

No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026

(EMERGENCY PROCEDURE)

The works is FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO II

 “To be opened only during the Bid - opening session”
11. Admissibility of bids

Under pain of being rejected, only originals or certified true copies from the issuing service or administrative authorities (Senior Divisional Officers, Divisional Officers, etc.) of the documents required must imperatively be produced in accordance with the special conditions of the Invitation to tender. They must not be older than three (03) months.

Any bid not in conformity with the prescriptions of this notice and tender file shall be declared inadmissible. Especially the absence of a bid bond issued by an approved bank by the Ministry in charge of Finance or the non-respect of the models of the Tender File documents shall lead to outright rejection of the bid without appeal. 
12. Opening of bids:

The bids shall be opened in a single (01) phase on the …./…./2026  at 11am local time by the Tenders Board of the Contracting Authority at the Conference Hall of  Idabato Council. Only bidders may attend or their duly accredited representatives with Power of Attorney.

13.  Evaluation criteria
i.        Main Eliminatory Criteria


A bid shall be rejected if:


· It lacks bid bond;

· Absence of  a copy of categorization

· The technical score is less than the minimum required;

· It has any fake or forged document;
· It lacks any quantified unit price;
· It carries any false information.

· It does not respect the model documents
ii.   .
Main Qualification criteria


The criteria for qualification of candidates should be on the following:

· Access to credit or other financial sources (5  million francs at least)

         Yes / No

· References of similar jobs; Yes / No

· Availability of material and essential equipment
          Yes / No

· Experience of supervisory staff



 Yes / No

· Methodology 

Yes/No

· Turnover as in business license above or equal to 5 million francs CFA;

· Qualified personnel relevant to the job.

Non-respect of two (02) of the above criteria shall entail rejection of the bid. 
14. Award
The Contracting Authority shall award the contract to the bidder whose bid was judged essentially in conformity with the Tender File and who has the required technical and financial capacities to execute the contract satisfactorily and whose bid was evaluated as the lowest by including, where necessary, proposed rebates
15. Validity of bids

Bidders will remain committed to their bids for ninety (90) days from the deadline set for the submission of tenders
16. Complementary information

Complementary technical information may be obtained from the secretariat of the mayor of Idabato Council, Ndian Division from Monday to Friday between 7.30am and 3.30pm.Tel: 652 30 28 93/675 81 81 82
Done at Idabato, the …………………

The Mayor of Idabato Council
(Contracting Authority

Copies:

· SDO/NDIAN
· DDMINMAP /NDIAN
· ARMP(for publication and archives)
· Chairperson of TB (for information) 

· Notice board.

AVIS D’APPEL D’OFFRES 
No……/AONO/MAIRE DE LA COMMUNE D’IDABATO/CIPM/2026 du …/…/2026  POUR LES TRAVAUX DE CONSTRUCTION D’UN TOILLETE VIP A IDABATO II
(PROCEDURE D’URGENCE)

1- OBJET DE L’APPEL D’OFFRES:

Dans le cadre de l’exécution du Budget d’Investissement Public pour l’exercice 2026, le Maire de la commune d’Idabato, Autorité Contractante, lance un Appel d’Offres National Ouvert en procédure d’urgence pour les travaux de construction d’un toillete VIP a Idabato II
2- CONSISTANCE DES TRAVAUX :

Les travaux à exécuter sont définis dans le descriptif des travaux joint au dossier de consultation

3- FINANCEMENT :
Le financement des prestations objets du présent Appel d’Offres est assuré par le Budget d’Investissement  Public de la République du Cameroun, exercice 2026 ; imputation budgétaire : ………………

4- PARTICIPATION ET ORIGINE:

Le présent Appel d’Offres est ouvert à toutes les Entreprises de Travaux Publics de droit Camerounais, justifiant des capacités technique, financière et juridique, leur permettant de réaliser les prestations objet du présent Appel d’Offres.

5-COUT PREVISIONNEL :

Le  cout prévisionnel de l’opération a l’issue des études préliminaires  de 10 000 000frs CFAF .
6- CONSULTATION DU DOSSIER D’APPEL D’OFFRES :

Le dossier peut être consulté aux heures ouvrables dans les locaux abritant la Mairie d’Idabato, dѐs publication du présent avis. 

7- ACQUISITION DU DOSSIER D’APPEL D’OFFRES 

Le Dossier d’Appel d’Offres peut être obtenu dès publication du présent avis, à la secrétariat de le Maire de Idabato, contre présentation d’une quittance de versement au trésor public d’une somme non remboursable de quenze mille (15 000) francs CFA, délivrée par la Recette des Finances de Idabato, représentant les frais d’achat du dossier.

8- REMISE DES OFFRES :

Les offres rédigées en français ou en anglais en sept (07) exemplaires dont l’original et six (06) copies marqués comme tels devront parvenir à la secrétariat de le Maire de Idabato, au plus tard le …./…./2026 à 10 heures et devront porter la mention :

No……/AONO/MAIRE DE LA COMMUNE D’IDABATO/CIPM/2026 du …/…/2026 POUR LES TRAVAUX DE CONSTRUCTION D’UN TOILLETE VIP A IDABATO II
                                                (PROCEDURE D’URGENCE)
« À n’ouvrir qu’en séance de dépouillement »

9- RECEVABILITE DES OFFRES

 Les offres devront être accompagnées d’un cautionnement provisoire (garantie de soumission) établi selon le modèle dans le DAO par un établissement bancaire de premier ordre agrée par le Ministère en charge des Finances et dont le montant est de, deux cent mille
 (200 000) FCFA. L’absence du cautionnement provisoire ou sa non-conformité au modèle joint dans le DAO entraine à l’ouverture le rejet systématique de l’offre. Le cautionnement provisoire sera valide pour trente (30) jours au-delà de la validité des offres des soumissionnaires.

Dans le cas où le soumissionnaire est attributaire du marché, le cautionnement provisoire sera libéré dès signature de la lettre-commande.

Sous peine de rejet, seuls les originaux ou les copies certifiées par les services émetteurs ou les Autorités Administratives (Préfets ou Sous-Préfets) des pièces administratives exigées seront présentées.  

10- OUVERTURES DES PLIS :

Elle sera effectuée le …/…./2026ures à la mairie d’Idabato dans une salle apprêtée à cet effet par la Commission interne de Passation des Marchés de la commune d’Idabato. 

Les soumissionnaires peuvent assister à cette séance d’ouverture des plis ou se faire représenter par une personne ayant une parfaite connaissance de leur DAO et disposant d’un document attestant de sa capacité de représentation.

11- DELAI  D’EXECUTION : 

Le délai d’exécution prévu  par l’Autorité Contractante pour la réalisation  des travaux  est de   trois (03) mois  à compter de la date de notification  de l’Ordre de Service  de commencer les travaux.

12- PRINCIPAUX CRITÈRES ÉLIMINATOIRES:

· Absence de la copie de categorization

· L’absence du cautionnement provisoire;

· Faux documents ou documents falsifiés ;

· Fausse déclaration ;

· Absence d'un prix unitaire quantifié;

· Note technique inférieure au seuil requis ;
· Non- respect de pièces modèles ;
13- PRINCIPAUX CRITERES  DE QUALIFICATION :

Les critères  essentiels  seront les suivants :

1. L’accès à une ligne de crédit ou autres ressources financières (5 millions FCFA

minimum)

2. Les références de l’Entreprise ;

3. La disponibilité du matériel et des équipements essentiels ;

4. L’expérience du personnel d’encadrement ;

5. La méthodologie

6. Chiffre d’affaires d’au moins 5 millions FCFA

7. Personnel qualifié approprié

Le non-respect de deux (02)critères entraînera l’élimination de l’offre.

14- DUREE DE VALIDITE DES OFFRES

Les soumissionnaires restent engagés par leur offre pendant une durée de quatre-vingt-dix (90) jours à partir de la date limite fixée pour la remise des offres.
15- RENSEIGNEMENTS COMPLEMENTAIRES 

Les renseignements complémentaires peuvent être obtenus au secrétariat de le Maire de la commune d’Idabato, aux heures ouvrables ; Tel : 652 30 28 93/675 81 81 82
Fait à Idabato, le …………………….. 




                                                                

LE MAIRE

(AUTORITE CONTRACTANTE)
Ampliations:                                                                                                                       

· PREFET/NDIAN
· ARMP/BUEA

· P/CIDPM/d’Idabato
· CHRONO/ ARCHIVES

· AFFICHAGE

IDABATO COUNCIL INTERNAL TENDERS BOARD


No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026
(EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO II

FUNDING:  PUBLIC INVESTMENT BUDGET 2026

GENERAL REGULATIONS OF THE INVITATION TO TENDER

TABLE OF CONTENTS

A.  GENERAL PROVISIONS.

Article 1:
Scope of the Tender

Article 2:
Funding
Article 3:
Fraud and Corruption

Article 4:
Candidates allowed to bid
Article 5:
Materials, equipment and related services

Article 6:
Qualification of bidder

Article 7:
Site visit 

B. TENDER FILE

Article 8:
Content of Tender File

Article 9:
Clarifications on Tender File and Petition

Article 10:
Amendment of the Tender File

C. PREPARATION OF BIDS

Article 11:
Cost of Bidding

Article 12:
Language of Bid

Article 13:
Bid documents

Article 14:
Contract Amount

Article 15:
Currency and payment

Article 16:
Validity of Bid

Article 17:
Bid bond

Article 18:       Varying proposals by bidders
Article 19:
Preparatory meeting to the establishment of Bids

Article 20:
Format and signature of Bids

D. SUBMISSION OF BIDS

Article 21:
Sealing and marking of Bids

Article 22:
Deadline for submission of Bids

Article 23:
Late Bids

Article 24:
Modification, substitution and withdrawal of Bids

E. OPENING AND EVALUATION OF BIDS

Article 25:
Opening of envelopes and Petitions

Article 26:
Confidential character of the procedure

Article 27:
Clarification on the bid and contact with Contracting Authority

Article 28:
Determination of conformity of Bids

Article 29:
Qualification of the Bidders

Article 30:
Correction of errors

Article 31:      Conversion to a single currency

Article 32:
Evaluation and comparison of Bids at the financial level

Article 33:
Preference granted to national Bidders.

F. AWARD OF THE CONTRACT.

Article 34:
Award

Article 35:
The right of the contracting Authority to declare an Invitation to Tender 

                      Unsuccessful or cancel a procedure.

Article 36:
Notification of the award of the contract

Article 37:
Publication of Result and Petitions

Article 38:
Signing of the contract

Article 39:      Final bid bond
GENERAL RULES OF THE INVITATION TO TENDER

A – GENERAL PROVISIONS
ARTICLE 1:
Scope of the Tender

1.1:
The mayor of Idabato council (Contracting Authority), launches an Open National Invitation to Tender No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026

(EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO II

 1.2.:
The successful bidder must complete the works within the time-limit indicated in the Special Regulations and which takes effect from the date of notification of the Administrative Order commence works.

1.3:
In this Tender file, the term “Contracting Authority” shall refer to the Mayor of Idabato Council, and the term “day” means a calendar day.

Article 2:
FUNDING

The Works forming the subject of this invitation to tender shall be funded by the 2026 Public Investment budget.

Article 3:
Fraud and Corruption

3.1:
The Contracting Authority requires of bidders and contractors to strictly respect rules of professional ethics during the award and execution of public contracts. By virtue of this principle, the Contracting Authority:

a)   Defines, within the context of this clause, the following expressions in the following 

      manner:

i) Shall be guilty of “corruption” whoever offers, gives, requests or accepts any advantage in view of influencing the action of a public official during the award or execution of the works

ii) Is involved in “fraudulent maneuvers” whoever deforms or distorts fact in order to influence the award or execution of a contract;

iii) “Collusive practices” mean any form of agreement between two persons or among several bidders (whether the Contracting Authority is aware or not) aimed at artificially maintaining the prices of bids at levels not corresponding with those resulting from the forces of competition;

iv) And “coercive practices” mean any form of harm against persons or their properties or threats to influence their action during the award or execution of a contract.

b)   Will reject any award proposal if it determines that the proposed successful bidder is directly or through the intermediary of an agent, guilty of corruption or is involved in fraudulent maneuvers, collusive or coercive practices for the award of this contract. 

3.2.   The Minister in charge of Public contracts may provisionally suspend a bidder for duration of two years for any of the following reasons:

a)   Attempt to influence the award procedure

b)   Conflict of interest

c)   Initiating crime

d)   Fraud

e)   Corruption

f)
Use of non-authentic documents.

The suspension notwithstanding, criminal procedures may be instituted against the bidder.
Article 4:
Candidates allowed to bid.

4. The invitation to tender is addressed to all Cameroonian contractors, who fulfill the following conditions:
a) The bidder must not be excluded from tendering for public contracts.

b) The bidder must be legally and financially autonomous

c) The bidder must be bound by the rules and regulations of public contracts

Article 5:
Materials, Supplies, Equipment and Related Services.

5.1. The use of local materials is highly encouraged (if necessary) 
Article 6:   Qualification of Bidder

6. 1.  Bidders must where applicable:

a) Issue their representatives with a power of Attorney thereby making the former bound by their bids and

b) Demonstrate a pre-financing capacity at least 50% of the cost of the project, tax inclusive.

6.2. Bidders and their Engineers must equally present sufficiently detailed proposals to demonstrate that they conform to the technical specifications and execution time-limits set in the Special 

b)   The General Regulations of the Invitation to Tender Regulations of the Invitation to Tender.

Article 7:  SITE VISIT.

7.1. Bidders are advised and under their responsibility to visit and inspect the work site and its environs with their engineers and obtain all the information which may be necessary for the preparation of the Tender File and the execution of the works. The related cost of the visit to the site shall be borne by the bidder.
7.2. Proof of effective visit to the site shall be established by a report of site visit duly signed by the director of the said enterprise with pictures showing the site.
B – TENDER FILE

Article 8:
Content of Tender File

8.1. The Tender File describes the works forming the subject of the contract, sets the consultation procedure of contractors and specifies the terms of the contract. Beside the addendum (addenda) published in accordance with Article 10 of the General Regulations of the Invitation to Tender, it shall include the following documents:

a)   The Tender Notice
c)   The Special Regulations of the Invitation to Tender

d)   The Special Administrative Clauses

e)    The Special Technical Conditions

f)   The Unit Price Schedule (Official price list) 

           g)   The Bill of Quantities and Estimates

          h)   Sub-detail of unit prices

          i)    The execution schedule (work plan)

          j)   Charts and other elements of the technical file

         k)   Model forms for equipment, personnel and references of the Bidder

          l)  Model declaration of intent to Bid

       m)    Model Bid letter

       n)   Model Bid Bond

      o)   Model contract

      p) Attestation of site visit

  q)  List of commercial banks approved by the Ministry in charge of Finance authorized to issue bid bonds.

8.2. The bidder must examine and respect all the rules, forms, conditions and specifications contained in the Tender File. He shall furnish all the information requested and prepare a bid in conformity with all aspects of the said file. Any inadequacy may lead to the rejection of his bid.
Article 9:   Clarifications on the Tender File and Petitions.

9.1. Any bidder who wants to obtain clarifications on the Tender file may request them from the Contracting Authority (The mayor of Idabato Council in writing at the address indicated in the Special Regulations of the Invitation to Tender. The Contracting Authority shall reply in writing to any request for clarification received at least fourteen (14) days prior to the deadline for the submission of bid.
A copy of the Contracting Authority’s response, indicating the question posed but not mentioning the author, shall be addressed to all bidders who bought the Tender File.

9.2.   Between the publication of the tender notice including the pre-qualification phase of candidates and the opening of bids, any bidder who feels aggrieved in the public contracts award procedure may lodge a complaint to the Contracting Authority.

9.3.   The complaint must be addressed to the Contracting Authority with copies to the body in charge of the regulation of public contracts and the chairperson of the Tenders Board. It must reach the Contracting Authority not later than fourteen (14) days before the opening of bids.

9.4.   The Contracting Authority has five (5) days to react. A copy of the reaction shall be forwarded to the body in charge of the regulation of public contracts.

Article 10:   Amendment of the Tender File.

10.1.  The Contracting Authority may at any moment, prior to the deadline for the submission of bids and for whatever reason, be at his initiative or in reply to a request for clarification formulated by a bidder, amend the Tender file by publishing an addendum.

10.2   Any published addendum shall be an integral part of the Tender file in accordance with article 8.1 of the General Regulation of the Invitation to Tender and must be communicated in writing or made known to all bidders who bought the tender file. The latter must acknowledge receipt of the addenda in writing to the Contracting Authority.

10.3.  In order to give bidders sufficient time to take account of the addendum in the preparation of their offers, the Contracting Authority may postpone as is necessary, the deadline for the submission of offers, in accordance with provision of Article 22 of the General Regulation of the Invitation to Tender.

C – PREPARATION OF BIDS
Article 11:
Cost of Bidding.

The bidder shall bear all costs associated with the preparation and submission of his bid, and the Contracting Authority will in no case whatsoever be responsible or liable for those costs, regardless of the conduct or outcome of the bidding process.

Article 12:
Language of Bid.

The bid as well as all correspondences and documents relating to the bid exchanged between the bidder and the contracting Authority shall be in English or French. 
Article 13:
     Bid Documents

13.1. The Bid shall include the documents detailed in the Special Regulations of the Invitation to Tender, duly filled and compiled in three volumes:
a)   Volume 1:
Administrative File
 It includes:   

i)    All documents attesting that the bidder:

· has subscribed to all declaration provided for by the laws and regulations;

· has paid all taxes, duties, contribution, fees or deduction of whatever nature;

· is not winding up or is bankrupt;

· is not the subject of an exclusion order or forfeiture provided for by the regulation in force;

ii)   The bid bond established in accordance with the provisions of Article 17 of the 

      General Regulations of the Invitation to Tender; 

iii)  The written confirmation (power of Attorney) empowering the representative of the enterprise to commit the bidder, in accordance with the provision of Article 6(1) of the General Regulations of the Invitation to Tender.

b)   Volume 2:
Technical Documents

B.1. Information on qualification.

The special regulations lists the documents to be furnished by bidders to justify the qualification criteria mentioned in Article 6(1) of the Special Regulations of the Invitation to Tender.

B.2. Methodology.

The Special Regulations of the invitation to tender specifies the constituent elements of the Technical documents of the Bidders especially: a methodological statement based on an analysis of the works and specifying the organization and programme which the bidder intends to put in place or use in executing the works (installations, schedule, attestation of site visit, etc...).

B.3. Proof of Acceptance of Conditions of the Contract.

The bidder shall submit duly initialed copies of administrative and technical documents relating to the contract, namely:

1. The special Administrative conditions (SAC)

2. The Special Technical Conditions (STC)

3. Model contract

B. 4. Observations (optional)

A commentary on the technical choices of the project and possible proposals.

C)   Volume 3:
Financial Documents

The special conditions specify the elements that will help in justifying the cost of the works, namely:

1. The signed and dated original bid letter prepared according to the attached model, stamped at the prevailing rate; 

2. The duly filled Unit Price Schedule;

3. The duly filled detailed estimate;

4. The sub detail of prices

In this regard, the bidders shall use the documents and models provided in the Tender file, subject to the provisions of Article 17(1) of the General Regulations of the Invitation to tender concerning the other possible forms of guarantees.
Article 14:      Contract Amount

14.1.  Except otherwise stated in the Tender file, the amount of the contract shall cover all the works described in article 1.1 of the General Regulations of the Invitation to Tender, on the basis of the unit price schedule and the detailed Bill of Quantities and Estimates presented by the bidder. The amount of the contract shall not be subject to review.

14.2. The bidder shall fill the unit prices and totals of all items on the schedule and bill of quantities and estimates.

14.3. If a price revision / updating clause is provided for in the contract, the date of establishment of the initial prices, as well as the price revision / updating conditions for the said price must be specified.  
Article 15:
Currency and Payment.

15.1. The amount of the bid shall be in CFA francs.

a) Prices shall be entirely drawn in CFA francs. 

15.2.   For national invitations to tenders, the currency shall be the CFA francs.

Article 16:
Validity of Bids

16.1.   Bids must remain valid for ninety (90) days as stated in the Special Regulations from the date of submission of the bids fixed by the Contracting Authority, in application of Article 22 of the Special Regulations. A bid valid for a shorter period shall be rejected by the Contracting Authority as not being in conformity.

16.2.   Under exceptional circumstances, the Contracting Authority may seek the approval of bidders to extend the validity time-limit. The request and the responses that will be given shall be in writing. 

16.3.
Where the contract does not include a price revision and the validity period of bids is prolonged for more than sixty (60) days the amounts payable to the bidder retained shall be updated by application of the formula featuring in the request for extension that the Contracting Authority addressed to bidders. The updating period shall run from the date of notification of the contract or the Service Order to start of execution of works by the retained bidder, as specified in the Special Administrative Clauses. The effect of updating shall not be taken into account for purposes of evaluation.

Article 17:
Bid bond.

17.1.   In pursuant to Article 13 of the General Regulations, the bidder shall furnish bid bonds as specified in the Special Regulations and the bid bond shall be an integral part of his bid.

17.2. The bid bond must conform to the model presented in the Tender file; other models may be authorized subject to the prior approval of the Contracting Authority. The bid  bond will remain valid for thirty (30) days beyond the original date set for the validity of offers or any other validity time-limit requested by the Contracting Authority and accepted by the bidder, in accordance with the provisions of Article 16(2) of the General Regulations.

17.3.
Any bid without an acceptable bid bond shall be rejected by the Tenders Board for non-conformity. 

17.4.   The bid bonds not retained shall be returned within fifteen (15) days after publication of the award result. 

17.5.   The bid bond of the successful bidder shall be released as soon as the latter signs the contract.

17.6.   The bid bond may be seized:

a)   If the bidder withdraws his or her bid during the period of validity;

b)   If the retained bidder fails in his obligation to register the contract in accordance to Article 37 of the General Regulations
Article 18:          VARYING PROPOSALS BY BIDDERS
18.1 Where the works can be executed within variable deadlines, the Special Regulations shall specify these deadlines and shall indicate the method retained for the evaluation of the completion deadline proposed by the bidder within the specified deadlines. Bids that propose deadlines beyond those specified shall be considered as not being in conformity.

18.2 Except in the case mentioned in article 18(3) below, bidders wishing to offer technical variants must first assess the basic solution of the Contracting Authority as described in the Tender File and furnish in addition all the information which the Contracting Authority needs for a complete evaluation of the proposed variant, including the plans, calculations, technical specifications, sub-details of prices and proposed construction methods and all other useful information. If necessary, the Contracting Authority will examine only the technical variants of the bidder whose bid is in compliance with the basic solution has been evaluated as the lowest bid.

18.3 When according to the Special Regulations the bidders are authorised to directly submit the technical variants for certain parts of the works, these parts of the works must be described in the technical specifications. Such variants shall be evaluated on their own merit in accordance with the provisions of article 31(2) (g) of the General Regulations.
Article 19:
Preparatory Meeting to the Establishment of Bids.




Not applicable.
Article 20:
Format and signature of BidS

20.1.   The bidder shall submit one (01) original and six (06) copies.  In case of discrepancy, the original shall be considered as authentic.

20.2.    The original and copies of the bids must be typed or written in indelible ink (photocopies shall be accepted in the case of copies) and shall be signed by the person(s) duly empowered to sign on behalf of the bidder, in accordance with Article 6(1a) or 6(2c) of the General Regulations, as the case may be.  

20.3.   The bid shall bear no modification, cancellation or alteration unless such corrections are initialed by the signatory (ies) of the bid.
D. SUBMISSION OF BIDS

Article 21:
Sealing, MARKING of Bids

21.1:     The bidder shall seal the original and copies of the bid in separate envelopes (internal envelopes) by marking on these envelopes “ADMINISTRATIVE, TECHNICAL OR FINANCIAL”, as the case may be. The envelopes shall then be placed in another envelope which will equally be sealed but which will not give any indication regarding the identity of the bidder
21.2.     The external and internal envelopes:

a)   Should be addressed to the Contracting Authority at the address indicated in the Special Regulations; 

b)   Should bear the name and identification number of the project as indicated in the Special Regulations and bear the inscription “TO BE OPENED ONLY DURING BID OPENING SESSION”.
21.3.    The internal envelopes should equally carry the name and address of the bidder in a way as to enable the Contracting Authority return the sealed bid if it is late in accordance with Article 23 of the General Regulations and to meet the provisions of article 24 of the General regulations.

21.4.    If the external envelope is not sealed and marked as indicated in paragraphs 20(1) and 20(3) above, the Contracting Authority shall not be responsible if the bid is misplaced or opened prematurely.

Article 22:   Deadline for Submission of Bids.

22.1.   Bids must be received by the Contracting authority at the address specified in Document 1 Article 7 of the special Regulations not later than the date and time stated in the Special Regulations.

22.2.   The Contracting Authority may, at his discretion, extend the deadline set for the submission of bids by publishing an addendum in accordance with the provisions of Article 10 of the General Regulations. In which case, all rights and obligations of the Contracting Authority and bidders previously subject to the initial deadline will thereafter be subject to the deadline as extended.
Article 23:    Late Bids

Any bid received by the Contracting Authority after the deadline for submission of bids shall be declared late and consequently rejected in accordance with Article 22 of the General Regulations.
Article 24:
Modification, Substitution and Withdrawal of Bids.

24.1.   A bidder may modify or withdraw his bid after submitting it, on condition that the written notification of the modification or withdrawal is received by the Contracting Authority prior to the end of the deadline for submission. The said notification must be signed by an authorized representative in application of Article 19(2) above.  The modification or the corresponding replacement bid must be attached to the written notification. As the case may be, the envelopes must bear the inscription “WITHDRAWAL”, and “REPLACEMENT BID” or “MODIFICATION”.
24.2.   The notification of modification or withdrawal should be prepared, sealed, marked and forwarded in accordance with the provisions of Article 20 of the General Regulations. The withdrawal may equally be notified by writing but should in this case be confirmed by a duly signed written notification whose date, post mark being authentic, shall not be posterior to the deadline for submission, of bids

24.3.   Bids being requested to be withdrawn in application of Article 23(1) shall be returned unopened.

24.4.   No bid may be withdrawn during the interval between the submission of bids and the expiry of the validity of bids specified by the model tender. The withdrawal of a bid by a bidder during this interval may lead to the confiscation of the bid bond in accordance with the provisions of Article 17(6) above.

E.   OPENING OF ENVELOPES AND EVALUATION OF BIDS.

Article 25:
Opening of envelopes and Petitions

25.1.    The Competent Tenders Board shall open the bids in a single phase and in the presence of bidders or their duly authorized representatives with power of Attorney who choose to attend at the time, on the date and at the place specified in the special Regulations. They shall sign a register attesting to their presence.

25.2.   All bids shall be opened successively and the name of the bidder announced aloud. Only rebates and variants of offers announced to the hearing of everyone during the opening of bids shall be submitted for evaluation. 

25.3.  Bids (and modifications received in accordance with the provisions of Article 23 of the General Regulations) which were not opened and read to the hearing of everyone during the bid opening session for whatever reason, shall not be submitted for evaluation. 

25.4.   Bid opening minutes are recorded on the spot mentioning the admissibility of bids, their administrative regularity, prices, rebates and deadlines. A copy of the said minutes to which is attached the attendance sheet is handed over to all the participants at the end of the session.

25.5.   At the end of each bid opening session, the chairperson of the Tenders Board immediately hands over to the person designated by ARMP an initialed copy of the bids presented by bidders.

25.6.   In case of petition as provided for by the Public Contracts Code, it should be addressed to the Public Contracts Authority with copies being sent to the body in charge of the Regulation of Public Contracts and the Contracting Authority. It must reach within a maximum deadline of three (3) working days after the opening of bids in the form of a letter to which is obligatorily attached a sheet of the petition duly signed by the petitioner and possibly by the chairperson of the Tenders Board. 
The Independent observer attaches to his report the sheet that was handed to him, including any related comments or observations.
Article 26:
Confidential Character of the Procedure.

25.1. No information relating to the examination, clarification, evaluation and comparison of bids and verification of the qualification of bidders and the recommendation for the award shall be given to bidders nor to any person concerned with the said procedure before the announcement of the award.

25.2.   Notwithstanding, between the opening of bids and the award of the contract, if a bidder wishes to contact the Contracting Authority about his bid, he may do so in writing.

Article 27:
Clarification on the Bids and Contact with the Contracting Authority.

26.1.   To ease the examination, evaluation and comparison of bids, the chairperson of the Tenders Board may, if he desires, request any bidder to give clarifications on his bid. This request for clarification and the response given are formulated in writing but, however, no change on the amount or content of the bid should be sought, offered or authorized except it is necessary to confirm the correction of calculation errors discovered by the Evaluation Sub-Committee during the evaluation in accordance with the provisions of Article 28 of the General Regulations.

27.2. Subject to the provisions of paragraph 1 above, bidders shall not contact members of the Tender Board and the Evaluation Sub-Committee for questions related to their bids, between the opening of bids and the award of the contract.

Article 28:           Determination of Conformity of Bids.

28.1.   The Evaluation Sub-Committee shall carry out a detailed examination of bids to determine if they are complete, if the required guarantees are furnished, if the documents were correctly signed and if generally the bids are in proper order.

28.2.    The Evaluation Sub-committee shall determine if the bid is essentially in conformity with the conditions fixed in the Tender File based on the content without recourse to external elements of proof.

28.3.   A bid that conforms to the Tender File shall essentially be a bid that respects all the terms, conditions and specifications of the Tender File, without substantial divergence or reservation. A substantial divergence or reservation is that:

            i)    Which substantially limits the scope, quality or realization of the works;

           ii)    Which substantially limits and is not in conformity with the Tender File, the rights of the contracting Authority or the obligations of the bidder in relation to the contract;

           iii)    Whose correction would unjustly affect the competitiveness of the other bidders who presented bids that essentially conformed to the Tender File.

28.4.   If a bid is essentially not in conformity it shall be rejected by the competent Tenders Board and shall not eventually be rendered in conformity.

28.5.   The Contracting Authority reserves the right to accept or reject any modification, divergence or reservation.  Modification, divergences, variants and other factors which are beyond the requirements of the Tender File shall not be considered during the evaluation of bids. 

Article 29:
Qualification of the Bidder.

The Evaluation sub-committee shall ensure that the successful bidder, who has an offer substantially in conformity with the provisions of the Tender File, fulfils the qualification criteria stipulated in Article 6 of the special Regulations. It is essential to avoid any arbitrariness in determining qualification.
Article 30:
Correction of Errors.

30.1.   The evaluation sub-committee shall verify bids considered essentially in conformity with the Tender File to correct the possible calculation errors. The Evaluation subcommittee shall correct the errors in the following manner:

a)   Where there is incoherence between the unit price and quantity, the unit price being   authentic, the total price shall be corrected, unless the Evaluation subcommittee judges that it is a gross error of decimal point in the unit price in which case the total price as presented shall be authentic and the unit price corrected. 

b)    If the total obtained by addition or subtraction of the totals is not exact, the subtotals shall be considered authentic and the total corrected.

c)    Where there is a difference between the price indicated in words and in figures, the  amount in words shall be considered authentic, unless the amount is linked to an   arithmetical error confirmed by the sub detail of the said price, in which case the amount in figures shall prevail subject to paragraphs (a) and (b) above.

30.2.   The amount featuring in the bid shall be corrected by the Evaluation subcommittee, in accordance with the error correction procedure above and with confirmation by the bidder, the said amount shall be deemed to commit him.

30.3. If the bidder who presented the lowest bid refuses the correction thus carried out, his bid shall be rejected and the bid bond may be seized.
Article 31: Conversion into a single currency

31.1 To facilitate the evaluation and comparison of bids, the Evaluation sub-committee shall convert the prices of bids expressed in various currencies into those in which the bid is payable in CFA francs. 

31.2 The conversion shall be done using the selling rate fixed by the Bank of Central African States (BEAC) under the conditions defined by the Special Regulations.
32. Evaluation and Comparison of Bids at the Financial Level.

32.1.   Only bids considered as being in conformity, as per the provisions of Article 27 above, shall be evaluated and compared by the Evaluation subcommittee.

32.2.   By evaluating the bids, the Evaluation subcommittee shall determine for each bid the evaluated amount of bid by rectifying the amount as follows:

a)    By correcting any possible error in accordance with provisions of Article 29.2 of the 

       General Regulations;

b)    By excluding projected sums and where necessary provisions for the unforeseen occurrences featuring in the bill of quantities and estimates by adding the amount of works done under approval and supervision where they are valued in a competitive manner as specified in the Special Regulation;

c)    By appropriately adjusting any other modification, divergences or quantifiable reservation on technical or financial basis.

d)   By taking into consideration the various execution deadlines proposed by the bidders, if they are authorized by the Special Regulations;

32.3.   If the bid judged the lowest bid is considered abnormally low or strongly unbalanced in relation to the estimates of the Contracting Authority, the Evaluation subcommittee may, from the sub details of prices furnished by the bidder for any element or all the elements of the bill of quantities and estimates, verify if these prices are compatible with the construction methods and 
proposed calendar.  In the case where the justifications presented by the bidder are not satisfactory to it, the Contracting Authority may reject the bid.

Article 33:      Preference Granted to National Bidders.

If this provision is mentioned in the Special Regulations, national Contractors may benefit from a margin of national preference during the evaluation of bids as provided for in the Public contracts Code.
F. AWARD OF CONTRACT.

Article 34:   Award

34.1.   The Contracting Authority shall award the contract to the bidder whose bid was judged essentially in conformity with the Tender File and who has the required technical and financial capacities to execute the contract satisfactorily and whose bid was evaluated as the lowest by including, where necessary, proposed rebates.

Article 35:
The Right of the Contracting Authority to Declare an Invitation to Tender unsuccessful or Cancel a Procedure.

The Contracting authority reserves the right to cancel a procedure of invitation to tender after the authorization of the Authority in charge of Public Contracts where the bids have been opened or to declare an invitation to tender unsuccessful after the advice of the competent Tenders Board, without any claims being entertained.

Article 36:
Notification of Award of the Contract.

Prior to the expiration of the period of bid validity set in the Special Regulations, the Contracting Authority shall notify the successful bidder in writing confirmed by registered mail or by any other means that his bid was retained. This letter will indicate the amount the Contracting Authority will pay the contractor to execute the works and the execution deadline.
Article 37:
Publication of Results of Award and Petitions.

37.1.  The Contracting Authority shall communicate to any bidder or administration concerned, upon request addressed to it within a maximum deadline of five (5) days after publication of the award results, the Independent Observer’s report as well as the minutes of the award session of the related contract to which shall be attached the evaluation report of the bids.

37.2.   The Contracting Authority is bound to communicate the reasons for the rejection of bids of the bidders concerned who so request.

37.3.   After publication of the award results, bids that are not withdrawn within fifteen (15) days shall be destroyed, without any claims for compensation being entertained. Only the copy destined for the body in charge of regulation shall be kept.

37.4. In case of petition, it should be addressed to the Authority in charge of Public Contracts, with copies to the body in charge of the Regulation of Public Contracts, the Contracting Authority and the chairperson of the Tenders Board.  It must take place within a maximum deadline of five (5) working days after the publication of the results.

Article 38:
Signing of the Contract.

38.1.   After publication of the results, the draft contract entered into by the successful bidder is submitted to the Tenders Board.

38.2.   The Contracting Authority has a deadline of seven (7) days to sign the contract from the date of acceptance of the draft contract approved by the competent Tenders Board and entered into by the successful bidder.

38.3. The contract must be notified to the successful bidder five (5) days following its date of signature.

Article 39:   Final Bond
39.1    Within twenty (20) days of the notification by the Contracting Authority, the contractor shall furnish the Contracting Authority with a final bond, to guarantee the complete execution of the works. 

39.2    The bond whose rate stands at (3%) percent of the amount of the contract inclusive of all taxes, may be replaced by a guarantee from a banking establishment approved by the Ministry in charge of Finance of the Republic of Cameroon which list can be found in document No. 12 in the Tender File.
39.3   Small and medium-sized enterprises (SME) constituted of national capital and managed by nationals may, in lieu of the guarantee, provide a statutory lien or a bond issued by a banking establishment or first rate financial institution approved in accordance with the instruments in force.

39.4     Failure to produce the final bond within the prescribed time limit shall likely cause the termination of the contract under the terms laid down in the General Administrative Condition

IDABATO COUNCIL INTERNAL TENDERS BOARD


No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026
(EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO II
FUNDING: PUBLIC INVESTMENT BUDGET 2026 


No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026

(EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO II

FUNDING:  PUBLIC INVESTMENT BUDGET 2026
	1
	INTRODUCTION

	
	Definition of Works:  The subject of this tender is 
FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO II

Name and Address of the Contracting Authority:

The Mayor of Idabato council
Tender No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026

(EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO  II

	2
	Execution Period: three (03) months

	3
	Funding:  Public Investment Budget (PIB) 2026
Budget head No

	4
	Origin of materials, equipment and related services should be approved by the project engineer.

	5
	EVALUATION GRILL

	
	MAIN ELIMINATORY CRITERIA

As in the Tender file, a bid shall be rejected if:

· It lacks bid bond;

· The technical score is less than the minimum required;

· It has any fake or forged document;

· It lacks any quantified unit price;
· It carries any false information;
· It does not conform to the model documents;
A. ADMINISTRATIVE DOCUMENTS:

S/N

DOCUMENTS 
YES

NO

SCORE

1

Declaration of intent to Tender with 1500frs fiscal stamp affixed.

2

The group agreement, where need be.

3

The power of Attorney, where need be.

4

A certificate of non-bankruptcy established by the court or Chamber of Commerce and Industry of the place of residence of the bidder dated not more than three months old.

5

An Attestation of Bank Account issued by a Commercial bank approved by the Ministry in charge of Finance and approved by COBAC

6

Original Treasury Receipt of purchase of Tender File.

7

The bid bond.
8

An Attestation of Non-Exclusion from Public Contracts delivered by ARMP

9

An Attestation for bidding purposes for this tender of not more than 3 months old issued by the National Social Insurance Fund.

10

An Attestation of Tax Clearance of not more than three (03) months old issued by the Tax Department certifying that the Bidder has effected all statutory declarations in issues of taxes for the current financial year.

11

Current Business License certified by the Department of Taxation.

12

A valid Tax Payer’s card certified by the Department of Taxation.

13

Current Business Registration Papers in conformity with OHADA Laws.

14
Attestation of localization and location plan of the Enterprise
N.B: Bids must obligatorily be prepared on the basis of clarity and to ease exploitation (e.g spiral binding, table of content, colour separators etc).
B. TECHNICAL DOCUMENTS:

The technical documents shall be evaluated following the binary method: Yes/No.

Article 24 of the Public Contracts Code stipulates that Bids shall be rejected when they do not conform to the specifications referred to in the Tender File.

No
Qualification Criteria

Sub-Criteria

EVALUATION

1

Turnover above or equal to 5 million CFA frs

-Is the annual turnover in Business License above or equal to 5 million CFA frs?

YES

NO

SCORE

2

Access to Credit line (Pre-Financing Capacity or solvency)

Has the bidder shown proof of Pre-financing or Solvency Capacity above or equal to 5 million CFA frs?

3

Bidder’s References of similar jobs.

-Has the bidder carried out at least one (01) similar job?

-Are the references justified by certified copies of Contracts and minutes of Acceptance report?
4

Availability of Materials and Essential Equipment

-Has the bidder submitted a list of materials and equipment needed for the construction?

-1 Pick-up
-1 Dump truck
-1 Concrete Mixer
· 01 Concrete Vibrator
-small tools (wheel barrow, buckets, spades, etc)

-Proof of ownership or hiring possibilities of necessary equipment (Receipt of purchase; certified copies of title deeds; attestation of hiring).

5

Experience of supervisory staff.

-Table of Personnel

-Is the project supervisor a qualified HND holder or an Engineer in Civil Works?

-Does he/she have at least 1 year work experience?

-Has the bidder included certified certificates/diplomas, CVs duly signed and dated not more than 3 months by the proposed personnel?

6

Qualified Personnel Relevant to the job.

-Other support staff. At least:
-2 Drivers
-General labour

7.

Methodology 

-Organigram of the enterprise

-Has the Bidder proposed an adequate work plan and methodology for the construction?

-Has the bidder proposed measures to protect and secure the environment?

-Has the bidder a site visit Report with pertinent remarks and suggestions endorsed by himself/herself and his engineer?

-Has the bidder an attestation of site visit dully signed by him/herself?
8.

Proof of Acceptance of the contract conditions

-Specimen contract Documents No. 4 and 9. Each page initialed and the last page signed, dated and stamped.

-Technical specifications (Document No. 5) Each page initialed and the last page signed, dated and stamped.

N.B: The Final score for each qualification criteria shall be determined by the average of the Sub-criteria (˂ 50% = NO; ≥50% = YES.

The non-respect of 02 criteria shall entail rejection of the bid.
C. FINANCIAL DOCUMENTS

S/N

DOCUMENTS
YES

NO

SCORE

a

Bid letter (dated, signed and affixed with a 1500frs fiscal s

amp)

b

Unit Price Schedule Available 

c

Cost Estimate Available

d

Sub-Detail of Prices Available

*Incomplete or the absence of any financial document shall or the non- respect of technical specifications in the elaboration of sub detailed of prices shall entail rejection of the bid.


	
	

	6
	PRICE AND CURRENCY OF BID

	
	-   Prices shall be inclusive of taxes and in CFA francs.
-     The amount of the contract is non revisable.


	7
	PREPARATION AND SUBMISSION OF BIDS

	
	PRESENTATION OF BIDS

	
	Bids and all the documents shall be drafted in English or French and made out in CFA Francs, in figures and in full and shall spell out the amounts exclusive of taxes on the VAT, the amounts of VAT and amounts inclusive of taxes

Each bidder shall give all the justifications laid down in decree No 2004/275 of 24/09/04 governing public contracts.

Each bid shall be made up of three envelopes:

· Envelope A: for administrative documents 

· Envelope B: for technical documents 

· Envelope C: for financial documents 

The constituent documents of each envelope shall be numbered according to the order of the tender file.

The entire constituent documents of (envelopes A, B and C), shall be sealed in a large anonymous external envelope labeled as follows:

OPEN NATIONAL INVITATION TO TENDER 

No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026

(EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO  II

 “TO BE OPENED ONLY DURING THE BID OPENING SESSION”

Envelopes bearing any other inscriptions shall be rejected
The external anonymous envelope shall contain three (03) stamped envelopes:

1st Envelope labeled as follows: 

Volume I: “Administrative Documents”

Name and address of Bidder:

Invitation to tender No……….
2nd Envelope labeled as follows: 

Volume II: “Technical Documents”

Name and address of Bidder:

Invitation to tender No……….
3nrd Envelope labeled as follows: 

Volume III: “Financial Documents”

Name and address of Bidder:

Invitation to tender No……….
Any bid that shall not include the above documents or contain documents non-compliant with models shall be rejected

	8
	VALIDITY OF BIDS:

The period of validity of bid is 90 days from the date of submission of bids

	9
	BID BOND

Bidders shall furnish bid bonds of 200 000 CFA Franc issued by a Commercial Bank approved by the Ministry in charge of Finance and recognized by COBAC. 

	10
	EXECUTION PERIOD 

Bids are called on the basis of a maximum execution period of three (03) months

	11
	MANNER OF SUBMISSION

The number of copies of the bid shall be seven (07) inclusive of the original.

Address of the Contracting Authority to be used for the submission of Bids: 

“OPEN NATIONAL INVITATION TO TENDER 

No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026

(EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO  II

 “TO BE OPENED ONLY DURING BID OPENING SESSION”

	12
	SUBMISSION OF BIDS

Place, date and time-limit for submission of Bids:

Bidders shall submit their bids at the secretariat of the mayor of Idabato Council on or before the …./…/2026 at10 am local time.

	13
	OPENING OF BIDS
Place, date and time of opening of Bids;

Bids shall be opened at the conference hall of Idabato Council on the … /…./2026 at11am local time. The Bids shall be opened in one (01) phase.

	14
	AWARD OF THE CONTRACT 

The contract shall be awarded to the lowest bidder who shall be technically and financially qualified.

	15
	Final bond

	
	The final bond shall be set at 3% of the amount of the contract, inclusive of all taxes.

The guarantee must be returned or released within one month following the date of provisional acceptance of the works, following a release order issued by the Contracting Authority upon request by the contractor. 




SUMMARY FOR THE EVALUATION GRILL

IDABATO COUNCIL INTERNAL TENDER’S BOARD

THE EVALUATION No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF ..…/.…/2026

(THROUGH EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO  II

GENERAL INFORMATION

a)     Contracting authority:


                             The Mayor of Idabato Council
b)     Tender’s board: 




Idabato council internal Tender’s board
c)    Date and hour of commencement of sitting:

 …./…./2026  from     ..….am to    …….Pm 

d)    Chairperson:





……………………………………………..
e)     Secretary:





………………………………………………
f)    Member


                                           ……………………………………………..
h)     Other Participants:



………………………………………
2)
AGENDA
3)  RESOLUTIONS

 MAIN ELIMINATORY CRITERIA

As in the Tender file, a bid shall be rejected if:

· It lacks bid bond; YES/NO
· The technical score is less than the minimum required; YES/NO
· It has any fake or forged document; YES/NO
· It lacks any quantified unit price; YES/NO
· It carries any false information; YES/NO

· It does not conform to the model documents; YES/NO
A) ADMINISTRATIVE DOCUMENTS









	S/N
	DOCUMENTS
	ENTERPRISE NAME:



	
	
	YES
	NO

	1
	Declaration of intention to tender with 1500fs fiscal stamp affixed.   
	
	

	2
	Group agreement where need be. 
	
	

	3
	The power of Anthony, where need be.
	
	

	4
	A certificate of non-bankruptcy established by the court or Chamber of Commerce and Industry of the place of residence of the bidder dated not more than three months old.
	
	

	5
	An Attestation of Bank Account issued by a Commercial bank approved by the Ministry in charge of Finance and approved by COBAC.
	
	

	6
	Original Treasury Receipt of purchase of Tender File.
	
	

	7
	The bid bond.
	
	

	8
	An Attestation of Non-Exclusion from Public Contracts delivered by ARMP.
	
	

	9
	An Attestation of bidding purposes for this tender of not more than 3 months old issued by the National Social Insurance Fund.
	
	

	10
	An Attestation of Tax Clearance of not more than three (03) months old issued by the Tax Department certified that the Bidder has effected all statutory declarations in issues of taxes for the current financial year.
	
	

	11
	Current Business License certified by the Department of Taxation.
	
	

	12
	A valid Tax Payers card certified by the Department of Taxation.
	
	

	13
	Current Business Registration Papers in conformity with OHADA Laws.
	
	

	14
	Attestation of localization and location plan of the Enterprise.
	
	

	Total percentage %
	

	Conclusion:
	.


A) TECHNICAL DOCUMENTS.
	S/N
	QUALIFICATION CRITERIA
	YES
	NO

	1
	Turnover above or equal to 5 million CFA
	
	

	2
	Access to credit line 5 million ( pre-Financing capacity or solvency)
	
	

	3
	Bidder’s references of similar jobs
	
	

	4
	Availability of materials and essential equipment.   
	
	

	5
	Experience of supervisory staff   
	
	

	6
	Qualified personnel’s relevant to jobs 
	
	

	7
	Methodology
	
	

	8
	Prove of acceptance of the contract conditions
	
	

	Total percentage %
	

	Conclusion:
	


B) FINANCIAL DOCUMENTS.

	S/N
	DOCUMENTS
	YES
	NO

	a
	Bid letter ( dated, signed and affixed with a 1500frs  fiscal stamp)
	
	

	b
	Unit price schedule available 
	
	

	c
	Cost estimate available.
	
	

	d
	Sub-Detail of prices Available.
	
	

	Total percentage %
	

	Financial proposition HT (Amount) = 
	



IDABATO COUNCIL INTERNAL TENDERS BOARD


No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026
(EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO  II
FUNDING:  PUBLIC INVESTMENT BUDGET 2026

SPECIAL ADMINISTRATIVE CLAUSES (SAC)

TABLE OF CONTENTS

Chapter 1: General Provisions.

Article 1: Subject of the Jobbing Order
Article 2:  Method of concluding the Jobbing Order
Article 3:  Definitions and duties

Article 4:  Language, applicable law and regulations

Article 5: Jobbing Order Documents

Article 6: General applicable texts

Article 7: Communication
Article 8: Administrative Orders

Article 9: Personnel of the contractor
Chapter 2: Financial Clauses.

Article 10:  Guarantees and securities

Article11:  Amount of the Jobbing Order
Article 12:  Place and method of payment
Article 13:  Method of evaluation of work done

Article 14:  Evaluation of materials on site

Article 15:  Advance on Start off payment

Article 16:  Payment on account 

Article 17:  Penalties for delay

Article
18:  Registration and stamp duty

Chapter 3:  Execution of the Works 

Article 19:  Execution time limit of the Jobbing Order
Article
20:  Roles and obligation of the Contractor
Article
21:  Roles and obligations of the Contracting Authority

Article22:  Roles and obligations of the Chief of Service   

Article
23:  Insurance of structures and civil liabilities 

Article24:  Documents to be furnished by the contractor
Article25:  Organization and safety on the site
Article
26:  Access to project sites
Article
27:  Setting out of structures 

Article
28:  Work site journal.


Chapter 4: ACCEPTANCE
Article29:  Provisional acceptance
Article 30: Documents to furnish after execution 

Article
31:  Guarantee period
Article
32:  Final acceptance

Chapter 5: Miscellaneous Provisions

Article 33:  Termination of the Jobbing Order
Article
34:  Force Majeure

Article
35:  Litigation

Article
36:  Drafting and dissemination of the Jobbing Order
Article
37: and last: Validity of the Jobbing Order.

CHAPTER 1:

GENERAL PROVISIONS

Article 1: SUBJECT of the JOBBING ORDER
The subject of this contract is FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO  II
ARTICLE 2:  Method of AWARDING the JOBBING ORDER
The Jobbing Order shall be awarded after a call for Open National Invitation to Tender for duly registered Cameroonians (Small and medium size enterprises) in conformity with Decree N ̊ 2018/366 of 20/06/2018 to institute the Public Contracts Code: Circular No 001/CAB/PR of 19 June 2012 relating to award and control of execution of Public Contract.
 Article 3: Definitions and duties
General Definitions: In the application of the dispositions of the present contract, it is specified that:
a) The Contracting Authority is the mayor of Idabato council. 

In that capacity, he preserves originals of documents and transmits copies to the Public Contract Regulatory Agency.
     b) The authority in charge of control of effective realization the works is the Divisional Delegate of Public Contracts for Ndian
      c)   The Contract Manager shall be the Mayor of Idabato Council; he ensures that Administrative, Technical and Financial clauses of this contract are respected. He also ensures that the deadline for the execution of the works is respected.
       d)    The Project manager is the Divisional Delegate of Public Works for Ndian.
       e)    The Contractor shall be the successful bidder.

Security.
a) The authority to incur expenditure shall be the Mayor of Idabato Council.
b) The authority to approve payment shall be the Mayor of Idabato Council.
c) The official in charge of payment shall be the relevant Public Treasurer in accordance with the specifications in the credit card.
d) The official competent to furnish information within the context of execution of this contract shall be the Mayor of Idabato Council
ARTICLE 4:  Language, applicable law and regulations

4.1 The language to be used shall be either English or French

4.2 The contractor shall be bound to observe the laws, regulations and ordinances in force in Cameroon and in the execution of the contract.
Article 5:  CONTRACT Documents

The Contractual documents, which form part of this contract, are in order of priority.

1. Special Administrative Clauses (SAC)  

2. Special Technical Clauses (STC) 

3. Estimates of Quantities
4. Plans (Drawings)
5. The bidder’s tender and its annextures in all provisions not contrary to the Special Administrative Clauses (SAC) and the Special Technical Conditions (STC)referred to above;

6. The bid letter or commitment letter,

7. Norms in force in the Republic of Cameroon 

8. Texts on the protection of the environment 

9. Procedures of the Idabato Council Internal Tenders Board

10. The particular element necessary for the determination of the contract price, such as in order of priority: (the unit price schedule, the lump sum prices)

ARTICLE 6:  General applicable texts

This contract shall be governed by the following texts:

· Law No. 96/12 of 05 August 1996 on the management of the environment.
· Law No. ../.. of ../../2016 on the finance law of the Republic of Cameroon for the 2016 financial year;
· Decree No. 2018/366 of 20th June 2018 to institute the public Contract code and subsequent circulars 

· Decree No. 2003/651/PM of 16th April 2003 to lay down the procedure for implementing the Tax and customs system applicable to public contracts

· Decree No 093/CAB/PM of 5th November 2002 fixing the modalities of payments bids and security bonds on public contracts.

· Decree No. 2001/048 of 23 February 2001 relating to the setting up, organization and functioning of the Public contract Regulatory Agency.

· Decree No. 2012/076 of 08 March 2012 to amend and supplement some provisions of Decree No. 2001/048 of 23 February 2001 relating to the setting up, organization and functioning of the Public Contracts Regulatory Agency (ARMP).

· Decree No. 2012/074 of 8 March 2012 Relating to the setting up, organization and functioning of Tenders Boards;

· Decree No. 2012/075 of 8 March 2012 to organize the Ministry of Public Contracts;
· Circular No 004/CAB/PM of 30th December 2005 relating to the application of the Public Contracts code.

· Order No. 033/CAB/PM of 13 February 2007 enforcing the General Administrative clauses applicable to public works, supplies and services contract;

· Circular No. 001/CAB/PR/ of 19 June 2012 relating to the award and control of execution of Public contracts.

· Decree No. 2013/271 of 05 August 2013 to amend and supplement some provisions of Decree No. 2012/074 of 8 March 2012 relating to the setting up, organization and functioning of Tenders Boards;

· Circular letter N° 004/LC/MINMAP/CAB of 26 August 2013 defining modalities for prior visa to the signing of certain contracts.

· Decree 2018/366 of 20 June 2018 and Arrête No. 0204/A/MINMAP of 03 July 2018  relating to the setting up, organization and functioning of Tenders Boards;

· Circular No……….. of ……/12/2024 bearing instructions relating to the Finance law implementation, the follow-up and control of execution of the state budget, Administrative Public Establishments, Regional and local Authorities and the other subsidized bodies for the 2026 financial year. 

· Letter No; 00908/MINTP/DR of 1997 to publish guidelines for the consideration of environmental impact of road maintenance;
Article 7:   Communication

7.1 All notifications and written communication within the framework of this contract shall be sent to the following  address:
a) In the case where the contractor is the addressee : beyond the time-limit of  15 days fixed in Article 6 (1) of  the GAC to make his domicile known to the Contract Manager and immediately after completion of the works, correspondences shall be validly addressed to the Council where the project is located.
b) In the case where the contracting Authority is the addressee: The Mayor of Mundemba Council with copies addressed to the Contract Manager and the Engineer.

7.2 The contractor shall address all written notifications or correspondences to the Engineer with a copy to the Contract Manager.
Article 8:      Administrative orders

8.1 The administrative order to start execution shall be notified by the Contract Manager of the contract.

8.2 It shall be signed by the Contracting Authority. Administrative Orders with financial incidence likely to notify the time-limits shall be signed by the Contracting Authority and notified by the Contract Manager
8.3 Administrative Orders of a technical nature linked to the normal progress of the work and without financial incidence shall be signed directly by the Contract Manager and notified by the Engineer.

8.4 Administrative Orders Serving as warnings shall be signed by the Contract Manager.

8.5 The contractor has the time-limit of fifteen (15) days to issue reservations on any service order received. Having reservations shall not free the enterprise of executing the administrative orders received.

Article 9: Contractor’s equipment and personnel (Article 15 of GAC supplemented)
09.1 Any modification, even partial, made to the technical bid shall only occur after the written approval of the Contract Manager. In case of modification, the contractor shall have himself replaced by a member of staff of equal competence (qualifications and experiences).
09.2 In any case, the lists of supervisory staff to be used shall be subject to the approval of the Project Owner in the days following notification of the Administrative Order to start execution. The Project Manager has five (5) days to notify his opinion in writing with a copy sent to the Contract Manager. Beyond this time-limit, the staff list shall be considered as approved.
09.3 Any unilateral modification on the supervisory staff made in the technical bid prior to and during the works shall be a reason for termination of the contract as mentioned in article 45 below or the application of penalties.
CHAPTER 2:  FINANCIAL CLAUSES
Article 10:  Guarantees and securities

10.1  Final bond.

The final bond shall be set at 3% of the amount of the contract, inclusive of all taxes.

The guarantee must be returned or released within one month following the date of provisional acceptance of the works, following a release order issued by the Contracting Authority upon request by the contractor. 

10.2  Guarantee Retention

A guarantee of 10% of the amount of the contract all taxes inclusive (ATI) shall be retained at the public treasury from every part payment.

10.3  Guarantee of  start off payment

The contractor may be granted a start off amount of 20% of the contract amount (inclusive of taxes) upon request.

The start-off payment shall be guaranteed at 100% by a Cameroonian bank recognized by the Ministry in charge of Finance.
Article 11:  Amount of the CONTRACT

The amount of this contract as per the attached bill of quantities and cost estimates is 

____________________________(in figures) ______________________________(in words) CFA. Francs tax inclusive.
Article 12: Place and method of payment
All payments will be made through the contractor’s bank account No ………………………………….opened in ………………………………………..

The contractor shall be paid upon certification by the Control Engineer of the various phases of completed work. These installment payments shall be signed in seven (07) copies by the project control engineer and the contractor, and then forwarded to the authorizing officer for payment. The contractor is responsible for all the expenditures resulting from the studies and follow – up of the job. All vouchers for payment must carry the visa of the contracting Authority.
Article 13: Method of evaluation of work done

The work done shall be evaluated using their unit price.
Article 14: Evaluation of materials on site

14.1The contractor shall be paid for usable materials intended for the execution of the works mobilized on site in the event where the contract is prematurely terminated as provided for by the Regulations in force especially the public contract code.

14.2 No security shall be requested for payment on account of supplies or materials which are already on site

Article 15:  Start off payment

On the written request of the entrepreneur and in accordance with regulation of public contract, he will be granted a start-off payment of 20% (tax inclusive) of the amount of the contract without justification. This sum should be guaranteed 100% by a banking establishment accepted by MINFI according to the COBAC conditions. 
The start-off payment will be proportionately deducted from each part payment and should be totally reimbursed when the accumulated payments reaches 80% of the value of the contract. All bills .shall be verified and approved by the Control Engineer and only after the visa of the contract manger before submission to the Controller of Finance – Mundemba for financial VISA.

Article 16: Payment on account

16.1 The amount of payment on account shall not exceed the value of the technical execution phases carried out.

16.2 Payment on account may be spread over the duration of the execution of the contract according to technical execution phases as defined in the contract.
16.3 Before 30th day of every month, the contractor and the Engineer shall establish a detailed situation of work done, taking into account all the quantities executed and that are payable.
16.4 Monthly payment bill
        Latest 5th day of the following month, the contractor shall transmit to the Engineer, his payment bill.
 The Engineer shall within seven (07) days sign and transmit the payment bills to the Contract Manager who in turn has up to fourteen (14) days to sign the bills and transmit to the accounting officer.

       Payments on account must take place within thirty (30) days from the date of transmission to the accounting officer of approved detailed accounts.
16.5 All payment vouchers must carry the visa of contract manger.
Article 17: Penalties for Delay

17.1 Failure to finish the complete works within the deadline by the entrepreneur will attract the following penalties for lateness.

· 1/2000 of the amount of the contract from the 1st to the 30th day of lateness 

· 1/1000 of the amount of the contract after 30th day of lateness

Penalties will be applied automatically without notice and per single due date of the appointed time except to legally defined circumstances beyond one’s control or “force majeure”. These penalties shall be applied on part payments of the works

It is specified that no bonus is foreseen in case of anticipated delivery. 

17.2 The cumulated amount of penalties for delay shall be limited to ten percent (10%) of the initial contract inclusive of all taxes.

Article 18: Registration and stamp duty

Seven (07) original copies of the present contract will be stamped and registered at the Regional Centre of Taxes Limbe, at the expense of the contractor, in accordance with the regulations in force.
CHAPTER 3: EXECUTION OF THE WORKS
Article 19: EXECUTION TIME LIMIT (DURATION) OF the CONTRACT.

The duration of the contract is three (03) months from the date of notification of the Administrative Order to start.
Article 20: Roles and obligationS of the CONTRACTOR
The contractor has as mission to ensure the execution of works as described in the technical estimate under the control of the engineer and this in accordance with the existing contract rules and regulations and also respecting all technical norms and specification.
Article 21: 
Roles and obligationS of the Contracting Authority

The authorizing officer shall make the site available for the works without interruption. The Contracting Authority shall authorize the contractor to install a site of the work and allocate any necessary installation for the use of the contractor.

The chief of brigade and his controllers shall have access to the building site or supplied site without prior notice at any time according to article 47 and 151(b) of decree Nº 2018/366 of 20 June 2018 of the public contract code.
Article 22: 
Roles and obligationS of the CONTRACT MANAGER
The Contract manger shall within 20 days of notification to commence works provide the contractor with necessary plans and documents relating to the works. He shall notify the administrative order to start execution.
Article 23: Insurance of structures and civil liabilities

The contractor shall take out a third party risk insurance concerning persons, property, or liabilities from an insurance company governed by the “CIMA” insurance code (ACTIVA ,ZENITHE INSURANCE PLC,CHANAS and ATLANTIQUE ASSURANCES) found in document No. 12 in the Tender File.
Article 24: Documents to be furnished by the contractor

24.1  Program of  works and Quality Assurance Plan

Within a maximum deadline of thirty (30) days from the date of notification of the administrative order to commence execution, the contractor shall submit in five (5) copies for the approval of the Chief of Service after the endorsement of the Engineer the execution programmed of the works, his work schedule, his draft Quality Assurance Plan and environmental management plan.

This programmed will be exclusively presented according to the furnished models.

Two (2) copies of these documents will be returned to him within a deadline of between eight and fifteen days from the date of reception with:

Either the indication “GOOD FOR EXECUTION”;

Or, the indication of their rejection including the reasons for the said rejection without which the execution programmed of work submitted by the contractor for validation shall be consider validated.

The Contractor has eight (8) days to present a new one.

The Contract Manager then has a deadline of five (5) days to give his approval or possibly make remarks.  In this case, the procedure is started all over without this affecting the contractual time-limit.

The approval given by the Contract Manager does not in any way release the contractor of his responsibilities.  Meanwhile, works executed before the approval of the programme shall neither be ascertained nor paid for.  The updated and approved schedule will become the contractual schedule.

The Contractor will constantly update on site, a schedule that will take account of the real progress of the site.  Significant modifications may only be made on the contractual programme upon receiving the approval of the Contracting Authority.

a) The Contractor shall indicate in this programmed the equipment and methods which he intends to use as well as the personnel he intends to employ.

b) The approval granted by the 

c)  Contracting Authority shall in no way diminish the responsibility of the contractor with regard to the harmful consequences which their implementation may cause both towards third parties and the respect of clauses of the jobbing order.
24.2  Execution Plan

a) The execution plan documents (calculations and drawings) necessary for the realization of all the parts of the structure must be submitted for the endorsement of the Engineer at least one month prior to the date provided for the commencement of realization of the corresponding part of the structure.

b) The Engineer has a deadline of fifteen days to examine and make known his observations.  The Contractor then has a deadline of eight days to present a new file including the said observations.
Article 25:
Organization and Safety on Site

25.1  Signs at the work site must be placed within a maximum deadline of one (01) month after the notification of the administrative order to commence work.

25.2  The contractor shall respect all standards safety measures during the execution, shall clear the site upon completion of the works.

Article 26:
ACCESS TO PROJECT SITES


Representatives of the Contracting Authority shall, in the course of their control activities of the physical execution of Public Contracts as prescribed in Articles 34(1), 64(3) and 69 (3) of Decree No. 2012/075 of 8th March 2012 to organize the Ministry of Public Contracts, regularly be on the field in order to ascertain the effective execution of projects.

In this regard, they shall have free access to sites and all documents or information relating to the execution of the projects.
Article 27:
Setting out of Structures

The engineer shall within a maximum of fifteen (15) days following the date of notification of the service order to commence work, make himself available to the contractor for the setting out of the structures.
Article 28:
WorkSite Journal

The worksite journal must be jointly signed systematically by the Engineer and the Contractor or his representative during site meetings and at each site visit.
Chapter IV:
ACCEPTANCE
Article 29:
Provisional ACCEPTANCE
Before the Provisional Acceptance, the Contractor shall request in writing to the Contract manager with a copy to the Engineer to a Technical Acceptance that shall amongst others ascertain that:

29.1 Tests and checks are carried out;

29.2 The folding up of the site installations and the restitution of the site as it was;

29.3 The acceptance committee shall comprise the following members:

· The Authorizing Officer





                          President

· The Follow-up Engineer 





                         Secretary
· Council Development Officer







 Member

· DDMINMAP/NDIAN                                                                                                 Observer
· The Contractor                                                                                                            Member
The Acceptance will be done on the project site and in the presence of the Contractor. 

The Contractor shall be informed of the reception by mail at least ten (10) days prior to such a date. His absence is equivalent to acceptance without reservation of the outcome of the Acceptance Committee.

The Acceptance committee will verify the quality and the conformity of work executed, as per the terms of the contract and will decide whether or not the job can be received.  

In case of nonconformity, the Contractor will be invited to re-do the poorly done work. In case of conformity, the commission will receive the job and will write a report that will be signed by all of its members and the contractor on the spot. 
Article 30:
Final ACCEPTANCE
Final Acceptance shall take place after the date of expiry of the guarantee period.

The procedure for final Acceptance shall be the same as for provisional Acceptance.
Article 31: DOCUMENTS TO FURNISH AFTER EXECUTION



Not applicable
Article 32:
Guarantee Period

The guarantee period shall be one(01) year to run from the date of the provisional acceptance of the works.
CHAPTER V:
MISCELLANEOUS PROVISIONS
Article 33:
Termination of the CONTRACT

The contract may be terminated as provided for in Part III Paragraph 2 of Decree No. 2004/275 of 24 September 2004 instituting the Public Contracts Code and equally under the conditions laid down in Articles 74, 75 and 76 of the GAC especially in case of:

· Delay of more than fifteen (15) days in the execution of a administrative Order or unjustified stoppage of more than seven (7) calendar days;

· Delay in work resulting in penalties of more than 10% of the amount of the works;

· Refusal to repeat poorly executed works;

· Default by the contractor;

· Persistent request for payments.
Article 34:
Force Majeure

If the contractor were to raise the issue of force majeure concluded after its signature by the mayor of  Idabato  council, (the Contracting Authority) and shall only come into force after its notification to the contractor, by the Contracting Authority. The thresholds below which claims shall not be admitted are:

Rainfall:
200mm in 24hours depending on the nature of the soil

Wind:

40m/s

Flood:

decennial flood frequency

In the event of circumstances beyond his control hindering the progress of the works, the contractor shall only be relieved of his responsibilities if he notifies the Administration in writing of his intention to invoke these circumstances of force majeure within fifteen (15) days of the occurrence of the event.  However, the Administration still reserves the right to appreciate the circumstances of the force majeure.
Article 35:
Litigation

Any dispute arising from this contract shall be resolved amicably.  Failure to arrive at a compromise amicably, the matter shall be referred to the competent court in Ndian Division of the South West Region, Republic of Cameroon.

Article 36:
Drafting and Dissemination of this CONTRACT

Fifteen (15) copies of this contract shall be produced at the cost of the contractor and furnished to the Chief of Service.
Article 37:
Validity of the CONTRACT

The contract shall be considered valid after signature by the mayor of Idabato council and after registration. 

Also, it shall be considered enforceable after notification to the contractor.

IDABATO COUNCIL INTERNAL TENDERS BOARD


No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026
(EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO II
FUNDING:  PUBLIC INVESTMENT BUDGET 2026

CHAPTER I:  GENERAL PROVISIONS

Article 01: WORK DESCRIPTION


The purpose of this Open National Invitation to tender is for the construction of VIP toilet at GS Idabato II
Article 02:  GENERAL OBLIGATIONS OF THE CONTRACTOR


The contractor shall execute the works in compliance with the special technical provisions.  Control missions shall be carried out by the Project Engineer and shall comprise:


a)  Technical control:


Before execution of works

· Examination of the general proposals made by the contractor concerning the structures of the construction site, work planning and possible sub-contractors;

· Verification of the bills of quantities drawn by the contractor;

· Verification of execution plans for approval, technical conditions and all the documents relating to the modifications that shall be necessary for a proper execution of works;

· Reception of materials and equipment required for a proper execution of works;

· Control of the putting in place of activities aimed at sensitizing the beneficiary populations.

During or after execution of works

· Control of characteristics of the materials used and their compliance with the prescribed norms: rip-rap irons aggregate for concrete, duct mould, etc.

· Control of the execution of works, notably:

· Clearing and maintenance of the area where the structure will be put up, that is weeding and felling of trees, if necessary;

· Repairing and cleaning the entrances to the structure site.

b)  Environmental control

It shall consist of checking that the contractor executes the works specified in the Special technical conditions, and in the tender file as a whole, in compliance with the provisions relating to environmental protection or the laws and ministerial instructions referred to in article 22 of the special administrative conditions.

Article 03:  PUTTING IN PLACE PERSONNEL AND MATERIALS


To ensure a proper execution of works, the contractor shall put in place teams made up as follows, for information only:

· The foreman (HND-level) who shall control the works and shall have at least three years of work experience in the execution of building construction works, public works;

· Specialized personnel: bricklayers, bar benders, topographers, specialized workers, etc.
Article 04:  START AND DURATION OF WORKS


The duration of works shall be three (03) months with effect from the date of notification by the Project Manager of the Administrative Order to start work.

CHAPTER II:  TECHNICAL CONDITIONS

This technical description of estimates is intended to define the content of the works.  It specifies the quality of materials and the mode of execution in keeping with the rules and in compliance with the constituent documents of the contract.


Description of tasks


The main tasks to be carried out shall be the following:

· See Nature of Works under technical document (sectors by sectors activities to be carried out).as planned.

Article 06:  QUALITY AND PREPARATION OF MATERIALS

Every material used and supplies shall be of high quality and put up in keeping with the rules and with great care.

They shall meet the general specifications and the general requirement set out by the CSTB.  All relevant materials to be used by the contractor or put at his disposal shall be subject to the approval of the Project Engineer.

TECHNICAL REQUIREMENTS


The contractor shall comply with the laws in force concerning fire protection, thermal insulation, acoustical insulation and ventilation; even if provisions have not been made in the plans and written documents.


It should be noted that all the works to be carried out or modified following amendments brought in keeping with the rules, shall be charged to the contractor.

CHAPTER III:  MODE OF EXECUTION OF WORKS

Article 07:  PLAN OF EXECUTION

I – Plan of execution:

· Construction drawing and details at the appropriate scales;

· Work planning;

· Method and technical approach to execution;

· Organization of the Personnel;

Acceptation of the difficulties of the field

The contractor will have to accept all the difficulties that he may encounter and relating to the configuration of the sites, the nature of the soils, the stone and brick works, and solids existing in the soil.

Moreover, the contractor shall take note of the location of the old networks: telephone, water, electricity or other that may be found in the field.  Therefore, he shall not remove any existing meter or pipe without informing the Chief of Service of their presence.

Site survey

The contractor shall take over the site as he shall find it.  He shall therefore be supposed to have perceived all the difficulties that he may encounter and relating to the configuration of the site, the nature of the soils, neighboring constructions, etc…

TECHNICAL SPECIFICATIONS

The construction phases will be as follows:

· See Nature of Works Technical document

· PREPARATION WORKS AND STUDIES:  The contractor shall carry out site studies which will enable him/her to evaluate the quantities that will be necessary for the execution of the contract.

NB:  Errors or omissions resulting from the exploitation of the constituent documents of the contract shall be taken into consideration.

CHAPTER IV: PARTICULAR TECHNICAL TERMS NOTE BOOK

general description
in general in these descriptions, the project manager has taken the duty of informing entrepreneurs on the quality of structures to be constructed, in their numbers, their dimensions and their locations. It is worth noting that these descriptions don’t have a limitative character and the contractor is expected to execute in the limit of his prices without exception nor reservations, all the works as his profession warrants and which are going to be indispensable for the completion of the projected structures.

The fact that a contractor accepts without modifications of the prescriptions of the technical documents which were given to him implies his total acceptance of the terms of these documents and he is thus expected to assume his total responsibility as a contractor.

During the period between the temporal and final acceptance, the contractor will be held responsible for the repairs of any disorder that may occur, in the works he did previously.

CONSTRUCTION OF STRUCTURE

All the provisions mentioned in the descriptive estimates and on the “plans” have to be respected obligatorily, as much as in the choice of material and the method of construction.

The contractor should make provisions for all indispensable works in order to assure the smooth and perfect accomplishment of his task in accordance with the rules and regulations.

Furthermore, the contractor having rendered account of the disposition of the site, its accesses and servitudes recognizes by his professional knowledge that he cannot claim for an additional increase in the contract amount.

SITE PUT AT THE DISPOSAL OF THE CONTRACTOR

It can be put at the disposal of the contractor during the execution of his work a piece of land defined for the installation of his site. In this case the contractor shall keep this site clean and in good shape at the end of his contract. This land shall thus be handed back to the lawful owner at the end of the contract.

The site shall be constantly cleaned; materials shall be disposed of in a place chosen by the control Engineer. The waste material shall be removed from site once every week.

The appreciation of the present article is reserved exclusively on the control engineer

SIGN – POSTS

The contractor shall put in place at his expense sign-posts indicating work in conformity with the plans put at his disposal by the control engineer.

STRUCTURAL STABILITY

Analysis

 The control engineer has the right to ask at any time, laboratory analysis on any used materials on site before it is used, at the expense of the contractor. The laboratory for this analysis will be the choice of the control engineer.

Verification of dimensions

The contractor shall verify all the dimensions of the plans and assure their conformity. He shall inform the control engineer immediately in case of any omissions or errors.

The contractor shall not modify any architectural plan without the consent of the control engineer.

In case the contractor does not comply with the above prescriptions, he shall be liable to any error noted during construction and the consequences of all nature that these errors might provoke.


CHARACTERISTICS OF THE DESCRIPTIVE ESTIMATE

I: PRELIMINARY WORKS / STUDIES

Studies 

The contractor shall carry out site studies which will enable him to evaluate the quantities that will be necessary for the execution of the contract.

Setting out 

The contractor shall execute the setting out of the structure following the plans. This setting out shall be verified by the control engineer before the commencement of any work.

Site security

· Site office 

The contractor shall construct a temporal site office with a site store

·  Hygiene 

The contractor shall ensure total hygiene and security of the site.

II: EARTHWORKS

The contractor shall carry out earth works according to the existing norms. This task comprises:

· Excavation of trenches and backfilling 

· Trenches for the reinforced concrete and masonry wall in foundation

· Backfilling of foundation trenches and other backfilling for flooring, including evacuation of excess or borrowed soil

III: FOUNDATION

The contractor shall bear in mind that the following points have to be strictly respected:

·  Lean concrete (10cm) thick mixed at 150 kg/m3 for the bottom of trenches

· Reinforced concrete mixed at 350 kg/m3 for ground beams, pillars and footings 

· 10cm thick mass concrete floor dosed at 350kg/m3
· Foundation wall with 20 x 20 x 40cm of filled blocks 

IV: FACE WORK

The elevation work comprises

· Plastering of walls with cement mortar mixed at 350 kg/m3
· Reinforced concrete mixed at 350 kg/m3for tie beams, pillars and lintels

· Mass concrete for steps and gutter and ramp mixed at 350 kg/m3
· Floor screed mixed at 350 kg/m3
1- Bearing walls 

Bearing walls shall be with hollow cement blocks measuring 15 x 20 x 40 as indicated in the designs. These blocks shall conform to the regulations. They shall be supplied by the contractor and approved by the contract engineer

2- Open-work windows

To ensure light and ventilation, parts of windows shall be made of open-work windows. They shall conform to all the prescribed norms and be approved by the contract engineer.

3- Coating

· The bearing surface shall be clean, free from any trace of dust or product resulting from the removal of the formwork. It shall enable the coating to stick firmly; otherwise it shall be treated by wire brushing, staking out or bush-hammering.

· The bearing surface shall be watered to make it deeply wet but then cleaned on the surface during the application of the coating.

· After roofing-in, coating shall start only on clock works that have been complete for at least two weeks.

· Coating shall comprise three coats.

· Bond Coat Or Dash Bond Coat

Batching of the dash bond coat shall be 350 kg/m3; the mortar shall be batched so as to obtain proper workability. A dash bond coat measuring 1cm thick shall evenly cover the surface to be coated

· Second coat

It shall be put on the bond coat three days after. The capacity of this coat shall be obtained by close and even tightening of mortar with a 

steel float. The surface shall be rough and obtained by applying a ruler to it. It shall be 1.0 cm thick. 

· Finishing coat

It shall measure about 0.5 cm and shall be put up at least 8 days after the second coat.

4-  Fine Joints:
Whenever block works are astride an expansion joint, a fine joint shall be drawn with wire in order to make edge clean

5- Topping:


It shall be 4 cm thick and shall be fitted in the slab with coarse sand 400 kg/m3 mortar. Finishing and polishing shall be made with cement grout.

V: METAL WORKS

All works of locksmith will be executed with metal sheet, in tube or metallic angle bars, according to specifications of the descriptive estimate.

All metallic elements must receive two coats of anti-rust paint of high quality before usage.

VI: ELECTRICITY

1 – Cable sleeves:

With insulation orange tubes, diameter of 16 mm embedded into the clock work.

2- Cable:

VGV or TH cables shall be used. As a general rule, the following sections shall be taken:

· 1.5 mm2 for lighting circuits 

· 2.5 mm2 for outlets circuits

Each circuit shall comprise at most 08 appliances and shall be protected by 10A fuses for lighting circuits and 16A for outlets circuits.

3- Equipment

Models shall be approved by the contract engineer before they are put up.

VII: CARPENTARY AND JOINERY

Content of works

1- Framework:

Trusses:

Trusses shall be made with solid wood treated with wood preservative (selenium) or carbonyl with section 3 x 15. The tie beam and principal rafter shall be doubled. Joints shall be nailed.

Ridge poles

They shall be made with solid wood treated with carbonyl, section 8x8 and fixed to the trusses by steel staples, diameter 6; they shall be fixed to the gables and partition walls by steel, diameter 6.

2- Roofing
It shall be made with sheet steel (tôlebac)6/10e or its equivalent fixed to ridge poles by lag screws, 8x80 with accessories.

· The ridge of the roof shall be raised and covered with ridge sheet, 50

· Gables shall have sheet steel edges or shall be made with acroter

· Rainwater shall be collected into a heavy metal gutter and shall flow into rainwater pipes

3- Fascia Board
Front and back sides

The fascia board shall be 30 cm large. It shall be made with tôlebac

4- Ceiling
The ceiling shall be made with selected and treated plywood 4 mm thick. The boards shall be 60 cm x 120 cm double-faced, fixed to lath joists measuring 4cm x 8 cm; they shall be separated ones from the others by a hollow joint of 5mm

· Peripheral over strips, inside and outside

· Cellar flap to be put in easily accessible places

· Vent holes perforated on the external boards on the right side of each board

Regulations to observe

In the construction of the structures referred to in the specifications, the contractor shall conform to all laws regulation and norms in force at the moment of execution of work, notably.

· DTU No 30: Framework and stairs in wood

· DTU No. 40:, 42: Roofing large steel sheets and bands

· Norm NF P 21.202: design and assembling 

· Rules CB 71: designs and design of wood frameworks.

VIII: PAINTING 

Paint works shall include rubbing down, flatting and filling-in the paint coating

1- Primer:

· Walls: pantex 800

· Ceilings: pantex 800

2-Finishing 

Walls and ceilings:

· Ceilings: pantex 800: 02 coats

· External walls: pantex 1300: 02 coats

· Internal walls: pantex 800: 02 coats 

· Wall base: 20 cm of alkyd paint: 02 coats

· Doors and windows: alkyd paint: 02 coats

Regulations to observe:

· DTU No 59: pain works and cleaning

· DTU No 81: resurfacing 

· DTU No 38: 4: mirror work and glazing with thick panes

· Specification of paint products and UNP testing method

IDABATO COUNCIL INTERNAL TENDERS BOARD


No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026
(EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO II
FUNDING:  PUBLIC INVESTMENT BUDGET 2026

UNIT PRICE SCHEDULE FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO II
	NO
	DESCRIPTION
	UNIT
	UNIT PRICE IN FIGURES
	UNIT PRICE IN WORDS 

	Lot 100
	GENERAL SITE INSTALLATION
	

	101
	General site installation
	ls
	
	

	102
	Excavation of vegetable top soil and site clearing
	m²
	
	

	103
	Maritime transport: transport of construction materials.
	ls
	
	

	
	SUB TOTAL Lot 100
	
	
	

	Lot 200
	FOUNDATION WORKS OF BUILDING
	

	201
	Excavation for footings, trenches and pit.
	m3
	
	

	202
	Back fill for foundation (trenches and footings)
	m3
	
	

	203
	Lean concrete dosed at 150 kg/m3 in 5cm thickness for blinding for foundation trenches, isolated footings
	m3
	
	

	204
	R.C dosed at 350kg/m3 for isolated foundation footings; 20thick, 100cm by 100cm
	m3
	
	

	205
	R.C dosed at 350kg/m3 for columns over footing(20cm x 20cm).
	m3
	
	

	206
	Elevation of concrete choked sandcrete blocks (20x20x40) in foundation, 180cm high to serve as retaining wall in pit
	m²
	
	

	207
	R.C dosed at 350kg/m3 for Grade beams and strap beams; 25cm x 20cm.
	m3
	
	

	208
	Reinforced Concrete dosed at 350kg/m3 for 12cm thick slab and 10cm slab for biofil tank.
	m3
	
	

	209
	Plastering of the inner and outer walls and slab of biofil tank with cement mortar dosed at 600kg/m3.
	m²
	
	

	
	SUB TOTAL Lot 200
	
	
	

	Lot 300
	CONCRETE AND MASONRY WORKS OF BUILDING
	

	
	Concrete works
	
	

	301
	Reinforced Concrete dosed at 350kg/m3 for columns
	m3
	
	

	302
	Reinforced Concrete dosed at 350kg/m3 for chaining beams
	m3
	
	

	303
	Reinforced Concrete dosed at 350kg/m3 for lintels
	m3
	
	

	304
	Reinforced Concrete dosed at 350kg/m3 for steps, 165cm wide
	m3
	
	

	305
	Elevation of hollow blocks of dimensions 15x20x40 cm
	m²
	
	

	306
	Elevation of hollow blocks of dimensions 10x20x40 cm
	m²
	
	

	307
	Plastering on external walls, with cement mortar dosed at 400kg/m3
	m²
	
	

	308
	Plastering on internal walls, with cement mortar dosed at 400kg/m3
	m²
	
	

	
	SUB TOTAL Lot 300
	
	
	

	Lot 400
	ROOF WORKS OF BUILDING
	

	401
	Roof trusses of well seasoned wood, assembled as shown, rafter, tie beams and struts and braces; timber section 5x15cm; all treated with fungicide and insecticide
	m3
	
	

	402
	Purlin of 8cm x 8cm as anchored on trusses; all treated with fungicide and insecticide. as shown in drawing
	m3
	
	

	403
	Deep section factory coloured alu roofing sheets 5/10, including ridge cap, fasteners and all accessories
	m²
	
	

	404
	Fascia board in tole BAC 5/10th
	m
	
	

	405
	White painted and treated, 4mm thick plywood ceiling including joist and cover joins
	m²
	
	

	406
	Smooth aluminium sheet including joist and cover joins for eave ceiling.
	m²
	
	

	
	SUB TOTAL Lot 400
	
	
	

	Lot 500
	ELECTRICAL WORKS WITHIN BUILDING
	

	
	Conduits and cabling
	
	
	

	501
	Spirail Conduit pipe: INGELEC brand (ø 20)
	roll
	
	

	502
	Joint box (300cm x 300cm)
	#
	
	

	503
	Supply and installation of lighting distribution cable 1,5mm² TH
	roll
	
	

	504
	Electric cups with screws
	cups
	
	

	
	SUB TOTAL Lot 500
	
	
	

	Lot  600
	PLUMBING WORKS WITHIN BUILDING
	

	601
	PVCΦ100mm pipes for ventilation
	m
	
	

	
	SUB TOTAL Lot 600
	
	
	

	Lot  700
	ELECTRICAL FIXTURES
	

	701
	Supply and installation of Main-Distribution board for the building, complete with connection accessories, PRAGMA F24, MERLIN GERIN
	#
	
	

	702
	Supply and fit flush mounted ceiling fluorescent lamps: 120cm long, INGELEC.
	No
	
	

	703
	Tap head Ø 20 GRK
	No
	
	

	
	SUB TOTAL Lot 700
	
	
	

	Lot  800
	PLUMBING FIXTURES
	
	
	

	801
	Supply and installation of Toilet roll holder
	#
	
	

	802
	Supply and install toilet bin
	#
	
	

	
	SUB TOTAL Lot 800
	
	
	

	Lot  900
	ELECTRICAL FIXTURES
	
	
	

	901
	Floor screeding including fine barbotine surface finish with cement mortar dosed at 600kg/m3.
	m²
	
	

	
	SUB TOTAL Lot 900
	
	
	

	Lot  1000
	JOINERY ( WOODEN AND METALLIC CARPENTRY)
	
	

	1001
	Tropical hardwood solid single panel flush door; 70 x 220cm including hard ware and locks.
	#
	
	

	1002
	Tropical hardwood solid single panel flush door; 80 x 220cm including hard ware and locks
	#
	
	

	1003
	Tropical hardwood swing window including hard ware and accessories
	#
	
	

	1004
	Supply and fit steel protectors
	m²
	
	

	
	SUB TOTAL Lot 1000
	
	
	

	Lot  1100
	MASONRY FINISHES
	
	
	

	1101
	First grade emulsion paint for exterior walls or similar.
	m²
	
	

	1102
	First grade emulsion paint for interior walls and ceilings or similar
	m²
	
	

	1103
	Apply three coats of oil paint on timber doors
	m²
	
	

	
	SUB TOTAL Lot 1100
	
	
	

	Lot  1200
	BIOFIL (BIODIGESTER) INSTALLATION OF SEPTIC TANK
	

	1201
	Layout of gravels, charcoal, grillages and fillasse
	Ls
	
	

	1202
	Construction of a soak away pit and connection to biofil tank
	Ls
	
	

	
	SUB TOTAL Lot 1200
	
	
	



IDABATO COUNCIL INTERNAL TENDERS BOARD


No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026
(EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO II
FUNDING:  PUBLIC INVESTMENT BUDGET 2026

BILL OF QUANTITIES AND COST ESTIMATE FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO II
	NO
	DESCRIPTION
	UNIT
	QTY
	UNIT PRICE
	TOTAL AMOUNT

	Lot 100
	GENERAL SITE INSTALLATION

	101
	General site installation
	ls
	1.00
	
	

	102
	Excavation of vegetable top soil and site clearing
	m²
	50.00
	
	

	103
	Maritime transport: transport of construction materials.
	ls
	1.00
	
	

	
	SUB TOTAL Lot 100
	
	
	
	

	Lot 200
	FOUNDATION WORKS OF BUILDING

	201
	Excavation for footings, trenches and pit.
	m3
	27.19
	
	

	202
	Back fill for foundation (trenches and footings)
	m3
	2.55
	
	

	203
	Lean concrete dosed at 150 kg/m3 in 5cm thickness for blinding for foundation trenches, isolated footings
	m3
	2.18
	
	

	204
	R.C dosed at 350kg/m3 for isolated foundation footings; 20thick, 100cm by 100cm
	m3
	0.49
	
	

	205
	R.C dosed at 350kg/m3 for columns over footing(20cm x 20cm).
	m3
	0.69
	
	

	206
	Elevation of concrete choked sandcrete blocks (20x20x40) in foundation, 180cm high to serve as retaining wall in pit
	m²
	24.30
	
	

	207
	R.C dosed at 350kg/m3 for Grade beams and strap beams; 25cm x 20cm.
	m3
	1.83
	
	

	208
	Reinforced Concrete dosed at 350kg/m3 for 12cm thick slab and 10cm slab for biofil tank.
	m3
	2.58
	
	

	209
	Plastering of the inner and outer walls and slab of biofil tank with cement mortar dosed at 600kg/m3.
	m²
	62.26
	
	

	
	SUB TOTAL Lot 200
	
	
	
	

	Lot 300
	CONCRETE AND MASONRY WORKS OF BUILDING

	
	Concrete works
	
	

	301
	Reinforced Concrete dosed at 350kg/m3 for columns
	m3
	0.43
	
	

	302
	Reinforced Concrete dosed at 350kg/m3 for chaining beams
	m3
	0.76
	
	

	303
	Reinforced Concrete dosed at 350kg/m3 for lintels
	m3
	0.35
	
	

	304
	Reinforced Concrete dosed at 350kg/m3 for steps, 165cm wide
	m3
	1.29
	
	

	305
	Elevation of hollow blocks of dimensions 15x20x40 cm
	m²
	44.42
	
	

	306
	Elevation of hollow blocks of dimensions 10x20x40 cm
	m²
	8.12
	
	

	307
	Plastering on external walls, with cement mortar dosed at 400kg/m3
	m²
	45.41
	
	

	308
	Plastering on internal walls, with cement mortar dosed at 400kg/m3
	m²
	66.13
	
	

	
	SUB TOTAL Lot 300
	
	
	
	

	Lot 400
	ROOF WORKS OF BUILDING

	401
	Roof trusses of well seasoned wood, assembled as shown, rafter, tie beams and struts and braces; timber section 5x15cm; all treated with fungicide and insecticide
	m3
	0.78
	
	

	402
	Purlin of 8cm x 8cm as anchored on trusses; all treated with fungicide and insecticide. as shown in drawing
	m3
	0.29
	
	

	403
	Deep section factory coloured alu roofing sheets 5/10, including ridge cap, fasteners and all accessories
	m²
	27.43
	
	

	404
	Fascia board in tole BAC 5/10th
	m
	21.22
	
	

	405
	White painted and treated, 4mm thick plywood ceiling including joist and cover joins
	m²
	10.58
	
	

	406
	Smooth aluminium sheet including joist and cover joins for eave ceiling.
	m²
	12.73
	
	

	
	SUB TOTAL Lot 400
	
	
	
	

	Lot 500
	ELECTRICAL WORKS WITHIN BUILDING

	
	Conduits and cabling
	
	
	
	

	501
	Spirail Conduit pipe: INGELEC brand (ø 20)
	roll
	1.00
	
	

	502
	Joint box (300cm x 300cm)
	#
	1.00
	
	

	503
	Supply and installation of lighting distribution cable 1,5mm² TH
	roll
	1.00
	
	

	504
	Electric cups with screws
	cups
	1.00
	
	

	
	SUB TOTAL Lot 500
	
	
	
	

	Lot  600
	PLUMBING WORKS WITHIN BUILDING

	601
	PVCΦ100mm pipes for ventilation
	m
	15
	
	

	
	SUB TOTAL Lot 600
	
	
	
	

	Lot  700
	ELECTRICAL FIXTURES

	701
	Supply and installation of Main-Distribution board for the building, complete with connection accessories, PRAGMA F24, MERLIN GERIN
	#
	1.00
	
	

	702
	Supply and fit flush mounted ceiling fluorescent lamps: 120cm long, INGELEC.
	No
	6.00
	
	

	703
	Tap head Ø 20 GRK
	No
	6.00
	
	

	
	SUB TOTAL Lot 700
	
	
	
	

	Lot  800
	PLUMBING FIXTURES

	801
	Supply and installation of Toilet roll holder
	#
	4.00
	
	

	802
	Supply and install toilet bin
	#
	4.00
	
	

	
	SUB TOTAL Lot 800
	
	
	
	

	Lot  900
	ELECTRICAL FIXTURES

	901
	Floor screeding including fine barbotine surface finish with cement mortar dosed at 600kg/m3.
	m²
	10.58
	
	

	
	SUB TOTAL Lot 900
	
	
	
	

	Lot  1000
	JOINERY ( WOODEN AND METALLIC CARPENTRY)

	1001
	Tropical hardwood solid single panel flush door; 70 x 220cm including hard ware and locks.
	#
	4.00
	
	

	1002
	Tropical hardwood solid single panel flush door; 80 x 220cm including hard ware and locks
	#
	2.00
	
	

	1003
	Tropical hardwood swing window including hard ware and accessories
	#
	4.00
	
	

	1004
	Supply and fit steel protectors
	m²
	1.44
	
	

	
	SUB TOTAL Lot 1000
	
	
	
	

	Lot  1100
	MASONRY FINISHES

	1101
	First grade emulsion paint for exterior walls or similar.
	m²
	45.41
	
	

	1102
	First grade emulsion paint for interior walls and ceilings or similar
	m²
	76.73
	
	

	1103
	Apply three coats of oil paint on timber doors
	m²
	22.24
	
	

	
	SUB TOTAL Lot 1100
	
	
	
	

	Lot  1200
	BIOFIL (BIODIGESTER) INSTALLATION OF SEPTIC TANK

	1201
	Layout of gravels, charcoal, grillages and fillasse
	Ls
	1.00
	
	

	1202
	Construction of a soak away pit and connection to biofil tank
	Ls
	1.00
	
	

	
	SUB TOTAL Lot 1200
	
	
	
	

	SUMMARY

	Lot 100
	PRELIMINARY WORKS
	
	
	
	

	Lot 200
	FOUNDATION WORKS
	
	
	
	

	Lot 300
	CONCRETE AND MASONRY WORKS
	
	
	
	

	Lot 400
	ROOF WORKS
	
	
	
	

	Lot 500
	ELECTRICAL WORKS WITHIN
	
	
	
	

	Lot 600
	PLUMBING WORKS WITHIN
	
	
	
	

	Lot 700
	ELECTRICAL FIXTURES
	
	
	
	

	Lot 800
	PLUMBING FIXTURES
	
	
	
	

	Lot 900
	FLOOR FINISHES
	
	
	
	

	Lot 1000
	JOINERY ( WOODEN AND METALLIC CARPENTRY)
	
	
	
	

	Lot 1100
	MASONRY FINISHES
	
	
	
	

	Lot 1200
	SEPTIC TANK DRESSING WORKS
	
	
	
	

	
	TOTAL WITHOUT TAXES
	
	
	
	

	
	VAT ( 19.25%)
	
	
	
	

	
	AIR (2.2% or 5.5%)
	
	
	
	

	
	 TOTAL INCLUDING TAXES
	
	
	
	

	
	NET PAYABLE
	
	
	
	



IDABATO COUNCIL INTERNAL TENDERS BOARD


No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026
(EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO II
FUNDING:  PUBLIC INVESTMENT BUDGET 2026
	 SHAPE  \* MERGEFORMAT 





1. A sub-detail presents all the stages involved in the establishment of a sales price. It is also an important element for the evaluation of the quality of the price proposed by a bidder.

It is not necessary to impose a model of presentation of on all bidders, taking into account the great diversity of software for the determination of sub-details of prices. On the other hand, they must include the following elements:

a) Detail of the sales coefficient according to the model presented after this note;

b) Cost in dry price of the materials provided for the site;

c) Cost in dry price of the supplies necessary for the site;

d) Cost of local and expatriate labour;

e) For each price on the schedule of prices, a form resulting from points 1,2, 3 and 4 above indicating the outputs leading to the unit prices;

f) The precise sub-detail of lump sums for the installation of the site camp, the carting in and out of equipment, laboratory and its equipment, development of a quarry (where need be) etc.
g) The precise sub-detail of lump sums for the building, maintenance of premises and supply of means put at the disposal of the Contracting Authority;

h) The sub-detail of dues and taxes.

2. Presentation framework of the sales coefficient, also called the coefficient of overheads

A. Overheads of the site studies

---------                                          -----------

---------                                          -----------

                                                     __________

                            Total                         C1

B. Overheads 

· Head office overheads                  ------------

· Financial overheads                      ------------

· Risks and profits                             -----------

                                                      _________

                              Total                       C2

Sales coefficient k = 100/ (100-C)

With C=C1+C2

	Description
	

	Price No: 
	Daily output: 
	Total quantity: 
	Unit: 
	Activity duration:

	Personnel
	 
	 
	 
	 

	
	Category
	Daily salary
	Paid man days
	Amount

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	Equipment
	 
	 
	 
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	Materials
	 
	Unit Price
	Consumption
	Amount

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	D
	Total direct cost (A+B+C)
	

	E
	General site expenses (....% of D)
	

	F
	General head office expenses (..% of D)
	

	G
	Cost Price (D+E+F)
	

	H
	Risk and profit (......% of G)
	

	I
	Bid Price (G+H)
	

	J
	Unit Bid Price (I/H)
	



IDABATO COUNCIL INTERNAL TENDERS BOARD


No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026
(EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO II
FUNDING:  PUBLIC INVESTMENT BUDGET 2026
	 SHAPE  \* MERGEFORMAT 





JOBBING ORDER No._________/JO/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026
FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO II

Awarded After Open National Invitation to Tender No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026
Beneficiary: ……………………………………… (Contractor and complete address)



P.O BOX……….. At …………….. Tel: …………… Fax ………………….



Business Registration No: ………………………..  At ………………….



Tax Payers No: ………………………………………………..



Account No ……………………………………………..
SUbject:  FOR THE CONSTRUCTION OF ……………AT………………

PLACE:  IDABATO II, Ndian Division - South West Region
Execution deadline: three (03) months ………….……………………………………….

Amount in FCFA: ………………………………………………………………………………

	TTC
	

	HTVA
	

	VAT (19.25%)
	

	A.I.R. (2.2% or 5.5%)
	

	Net Payable
	


FUNDING: PIB 2026





CREDIT NO………..

Budget Head: ……………………………….

Location: ……………………………………….

Subscribed on THE: ______________________







Signed on THE: __________________________







Notified on THE:  _________________________







Registered on THE: _____________________

BETWEEN:

THE REPUBLIC OF CAMEROON, represented by the Mayor of Idabato Council, hereinafter referred to as the “The Contracting Authority”

ON THE ONE HAND,

AND

THE _____________________________________________________(Enterprise)

P.O Box ____________________ Tel__________________ Fax_________________

Business Registration No ________________________________________________ 

Tax Payers No___________________________________

Represented by Mr./Mrs./Miss……………………………………………Hereinafter referred to as the “Contractor”

ON THE OTHER HAND
HEREBY AGREE AND ORDER AS FOLLOWS:

SUMMARY

	DESCRIPTION
	PAGE

	Part I: Special Administrative Clauses (SAC)
	

	Part II: Special Technical Conditions (STC)
	

	Part III: Schedule of Unit Prices
	

	Part IV: Details or Estimates
	


Page_____________________________and last of JOBBING ORDER No ________.

Awarded after Open National Invitation to Tender 
No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF.…/…/2026
With …………………………………….

For the constructio of ………………………at……………………

Execution DEADLINE THREE. (03) Months

Amount of CONTRACT IN FCFA:…………………………………………………………….

	TTC
	

	HTVA
	

	VAT (19.25%)
	

	A.I.R. (2.2% or 5.5%)
	

	Net Payable
	


	Read and approved by the Contractor

                                     At Idabato, ………………. …(date)

	Signed by the Mayor of Idabato Council 
                                                 At Idabato, ……………… (date)

	Registration




IDABATO COUNCIL INTERNAL TENDERS BOARD


No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026
(EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO II
FUNDING:  PUBLIC INVESTMENT BUDGET 2026
	 SHAPE  \* MERGEFORMAT 





FORMS AND MODELSTO BE USED
Annex No. 1:
Model declaration of intent to Tender

Annex No. 2:
Model Bid Letter

Annex No. 3:
Model Bid Bond

Annex No. 4:
Model Final Bond

Annex No. 5:
Model of start-off advance Bond

Annex No. 6:
Model Retention fund (Retention Guarantee)
ANNEX NO. 1:
MODEL DECLARATION OF INTENT TO TENDER

I the undersigned, (Indicate the name and capacity of signatory)

Representing the ……………….. Company or enterprise with head office at ………..….. Registered in the trade register of ………………………. Under No …………………………………

Having taken cognizance of all the documents featured or mentioned in the Tender file: 

Tender No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026
for the construction of VIP toilet at GS Idabato II….. after having personally taking account of the situation of the site and evaluated from my point of view and under my responsibility, the nature and difficulty of the works to be carried out;
· Hereby submit, bearing my signature, the schedule of unit prices as well as the quotations in accordance with the structure featuring in the Tender File;

· I pledge to execute the works within a deadline of three (03) months.

· I pledge to maintain my offer for a duration of ninety (90) days from the deadline of submission of tenders;

Prior to the signing of the contract, this tender accepted by you shall constitute an agreement between us.

Done at …………………………..





Signature of ………………………….

In the capacity of …………………… 

Duly authorized to sign the tenders on behalf of ……………………………..

ANNEX NO. 2:
MODEL BID LETTER

I the undersigned, (Indicate the name and capacity of signatory)

Representing the ……………….. Company or enterprise with head office at ………..….. Registered in the trade register of ………………………. Under No …………………………………

Having taken cognizance of all the documents featured or mentioned in the Tender file: 

Tender No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026
for the construction of VIP toilet at GS Idabato II after having personally taking account of the situation of the site and evaluated from my point of view and under my responsibility, the nature and difficulty of the works to be carried out;
Hereby submit, bearing my signature, the schedule of unit prices as well as the quotations in accordance with the structure featuring in the Tender File;

· Submit and commit myself to execute the works in accordance with the Tender File, in return for the prices which I myself established for each type of structure which prices reveal the amount of the tender at …………………. ( in figures and words) FCFA exclusive of VAT and at ………………….. ( in figures and in words) FCFA inclusive of all taxes.

· I pledge to execute the works within a deadline of three (03) months.

· I pledge to maintain my offer for a duration of ninety (90) days from the deadline of submission of tenders;

The Contracting Authority shall pay the sums due for this contract by crediting account No:…………. Opened in …………………. Bank ……………… branch.

Prior to the signing of the contract, this tender accepted by you shall constitute an agreement between us.

Done at …………………………..





Signature of ………………………….

In the capacity of …………………… Duly authorized to sign the tenders on behalf of ……………………………..

ANNEX NO. 3:
MODEL BID BOND

Addressed to The Mayor of Idabato Council 
Whereas the undertaking …………………………. hereinafter referred to as the “bidder” has submitted his tender on …………….. for the ………………………………………………, hereinafter referred to as “the tender” and to which must be attached a bid bond equivalent to …………………FCFA.

We …………….. (name and address of the bank), represented by …………………………. (names of signatories), hereinafter referred to as “the Bank” hereby declare to guarantee payment to the Contracting Authority of the maximum sum of ……………………………….., that the bank pledges to pay in full to the Contracting Authority, bidding itself, its successors and assignees.

The conditions of this commitment are as follows:

If the Bidder withdraws his offer during the validity period specified by the Bidder in the tender; 

Or

If the Bidder, having been notified of the award of the contract by the Contracting Authority during the period of Bid validity:

· Fails or refuses to sign the contract, even though required to do so;

· Fails or refuses to furnish the final bond for the contract (final bond) as provided for by the contract.

We undertake to pay the Contracting Authority an amount up to the maximum of the sum referred to above upon receipt of his first written demand, without the Contracting Authority having to substantiate his demand, provided that in its demand the contracting Authority shall note that the amount claimed by him is due, because one or the other or both of the above condition(s) has (have) been fulfilled and he shall specify which condition(s) took effect.

This bond shall enter into force from the date of signature and from the date set by the Contracting Authority for the submission of tenders.  It shall remain valid up till the thirtieth day inclusive following the end of the deadline for the validity of tenders.  Any request by the Contracting Authority to cause it to take effect should reach the bank by registered mail with an acknowledgement of receipt before the end of this period of validity.

This bond shall, for purposes of its interpretation, be submitted to Cameroon law.  Cameroon courts shall be the only jurisdictions competent to rule on this commitment and its consequences.

Signed and authenticated by the bank at ………………………, on ……………………..

(Bank’s signature)

ANNEX NO 4: MODEL FINAL BOND
Bank:………………………….
Reference of the Bond No……………………………………….

Addressed to The Mayor of Idabato Council
Hereinafter referred to as “The Contracting Authority”

Whereas ……………………………… (name and address of contractor) hereinafter referred to “the Contractor”, pledge, in execution of the contract, to carry out the works of ………………………….. ………………………………….

Whereas it is stipulated in the contract that the contractor shall furnish the Contracting Authority a final bond of two percent (3%) of the amount of the contract as security for compliance with the contractor’s performance obligations in accordance with the Contract.

Whereas we have agreed to provide the Contractor with this guarantee;

We,………………………………………………………..(name and address of bank)

Represented by …………………………………………..(name of signatories)

Hereinafter referred to as “the Bank”, and we pledge to play the Contracting Authority within a maximum deadline of eight (8) weeks upon his simple written request declaring that the contractor has not fulfilled his contractual obligations, without being able to defer the payment nor raise any contest for whatever reason, the sum of ………………………………..

…………………………………. (in letters and in words)

We hereby agree that no change or addendum or any other amendment shall release us of any obligation incumbent onus by virtue of this bond and we hereby derogate by the present to the notification of any amendment, addendum or change.

This bond shall enter into force upon signature. It shall be released within thirty (30) days from the date of the provisional acceptance of the works.

After this date the caution shall no longer be valid and shall be returned to us without any request on our part.

Any request for payment formulated by the Contracting Authority by virtue of this bond should be done by registered mail with acknowledgement of receipt to reach the bank during the period of validity of this commitment.

This bond shall, for purposes of its interpretation and execution, be subject to Cameroon law. Cameroon courts shall be the only jurisdictions competent to rule on this pledge and its consequences.

Signed and authenticated by the bank at ……………………….on………………………………

(Signature of the bank)

ANNEX NO 5: MODEL OF START-OFF ADVANCE BOND

Bank reference:…………………………………….

Address: ……………………………………………

We, the undersigned,………………………………(bank, address) hereby declare by the present to guarantee on behalf of    ……………………………….. (The Holder) to the benefit of the Contracting Authority, The Mayor of Idabato (the Beneficiary) 

The payment without contest and upon receipt of the first written request by the beneficiary, declaring that ………………. (the holder) has not fulfilled his obligations relating to the reimbursement of the start-off advance according to the terms of contract No:………./JO/ MAYOR IDABATO COUNCIL/ICITB/SWR/2026 of………….. Relating to the Construction of …………. …………………………………at………….. of the total sum corresponding to the advance of twenty percent (20%)  of the amount inclusive of all taxes of  contract No:………./ JO/ MAYOR IDABATO COUNCIL/ICITB/SWR/2026, payable upon notification of the corresponding Service Order to start work that is, …………………………..F CFA.

This bond shall enter into force and shall take effect upon acceptance of the respective parts of this advance into the accounts of ……………..  (The holder) opened in the  …………………… bank under No ………………………………………………………

This bond shall remain in force up till the reimbursement of the advance in accordance with the SAC.  However, the amount of the guarantee shall be proportionately reduced on the progressive reimbursement of the advance.

The applicable law and jurisdiction shall be those of the republic of Cameroon.

Signed and authenticated by the bank at ………………… on …………………….







Signature of the bank

ANNEX NO 6: MODEL OF PERFORMANCE BOND (RETENTION GUARANTEE)

Bank: ……………………..

Reference of the Bond No: …………………………………..

Addressed to the Mayor of Idabato Council
Hereinafter referred to as “The Contracting Authority”

Whereas ……………………. (Name and address of contractor) hereinafter referred to “the Contractor”, pledge, in execution of the contract, to carry out the works of construction of………………… …………at…………. 

Whereas it is stipulated in the contract that the guarantee retention fixed at ten percent (10%) of the amount of the contract may be replaced by a joint guarantee;

Whereas we have agreed to provide the Contractor with this guarantee;

We, ………………………………………………….. (Name and address of bank),

Represented by …………………………………… (Name of signatories) and hereinafter referred to as “the Bank”;

Hence, we hereby affirm that on behalf of the Contractor, we guarantee and are responsible to the Contracting Authority for a maximum amount of  …………………………. (in figures and in letters) corresponding to ten percent (10%) of the contract amount.

And we pledge to pay to the  Contracting Authority within a maximum deadline of eight (8) weeks upon his simple written request declaring that the contractor has not fulfilled his contractual obligations or is indebted to the  Contracting Authority within the meaning of the contract, amended where need be, by its additional clauses, without being able to defer the payment nor raise any contest for whatever reason, any sum(s) within the limits of the amount equal to ten percent (10%) of the total amount of the works featuring in the final detailed account, without the Contracting Authority having to prove or give the reasons nor the motive for the amount of the sum indicated above.

We hereby agree that no change or addendum or any other amendment shall release us of any obligation incumbent onus by virtue of this bond and we hereby derogate by the present to the notification of any amendment, addendum or change.

This bond shall enter into force upon signature.  It shall be released within thirty (30) days from the date of the final reception of the works and upon released issued by the Contracting Authority.

Any request for payment formulated by the Contracting Authority by virtue of this bond should be done by registered mail with acknowledgement of receipt to reach the bank during the period of validity of this commitment.

This bond shall, for purposes of its interpretation and execution, be subject to Cameroon law.  Cameroon courts shall be the only jurisdictions competent to rule on this pledge and its consequences.

Signed and authenticated by the bank at ………………… on ……………………

Signature of the bank

ATTESTATION OF SITE VISIT

I the undersigned ………………………………………………………………………

…………………………………………………………………………………………

Sub-division……………………………………………………………………………

Division………………………………………………………………………………….

South West Region.

for the construction of VIP toilet at GS Idabato II
In witness whereof this attestation is issued to serve as and when necessary.

Done at ……………….. on…………………………

                                                                         THE CONTRACTOR

IDABATO COUNCIL INTERNAL TENDERS BOARD


No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026
(EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO II
FUNDING:  PUBLIC INVESTMENT BUDGET 2026
	DOCUMENT No 12
LIST OF COMMERCIAL BANKS AND FINANCIAL INSTITUTIONS



List of commercial banks and financial institutions authorized to issue GUARANTEES for Public Contracts

1- Banks
1. BICEC

2. Union Bank of Cameroon Plc.
3. ECOBANK

4. United Bank of Africa

5. Afriland first Bank

6. SCB 

7. SGBC

8. Standard Chartered Bank

9. National Financial Credit

10. CBC

11. CITI Bank
12. Banque Atlantique

13. Banque Gabonaise pour le financement international (BGFI BANK)
11- Insurance Companies
1. Chanas Assurances

2.  Activa Assurances
3. ZENITHE INSURANCE PLC

4. ATLANTIQUE ASSURANCE


IDABATO COUNCIL INTERNAL TENDERS BOARD


No…/ONIT/MAYOR OF IDABATO COUNCIL/ICITB/SWR/2026 OF …/…/2026
(EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF VIP TOILET AT GS IDABATO II
FUNDING:  PUBLIC INVESTMENT BUDGET 2026
	 SHAPE  \* MERGEFORMAT 





REPUBLIQUE DU CAMEROON


Paix – Travail – Patrie


-----------------------------------


Ministère de Décentralisation et Développement Locale


-------------------------------------


Region du Sud Ouest


--------------------------------------


Département du Ndian


------------------------------


Arrondissement D’idabato


------------------------------


Commune D’idabato


------------------------------














REPUBLIC OF CAMEROON


Peace – Work Fatherland


----------------------------------------


Ministry of Decentralization and


 Local Development 


 -----------------------------------------


South West Region


------------------------------------------


Ndian Division


------------------------------------------


                           Idabato Sub Division


------------------------------------------


Idabato Council


------------------------------




















OPEN NATIONAL INVITATION TO TENDER





TENDER FILE








REPUBLIQUE DU CAMEROON


Paix – Travail – Patrie


-----------------------------------


Ministère de Décentralisation et Développement Locale


-------------------------------------


Region du Sud Ouest


--------------------------------------


Département du Ndian


------------------------------


Arrondissement D’idabato


------------------------------


Commune D’idabato


------------------------------








REPUBLIC OF CAMEROON


Peace – Work Fatherland


----------------------------------------


Ministry of Decentralization and


 Local Development 


 -----------------------------------------


South West Region


------------------------------------------


Ndian Division


------------------------------------------


                           Idabato Sub Division


------------------------------------------


Idabato Council


------------------------------











OPEN NATIONAL INVITATION TO TENDER





DOCUMENT N° 1


TENDER NOTICE








REPUBLIQUE DU CAMEROON


Paix – Travail – Patrie


-----------------------------------


Ministère de Décentralisation et Développement Locale


-------------------------------------


Region du Sud Ouest


--------------------------------------


Département du Ndian


------------------------------


Arrondissement D’idabato


------------------------------


Commune D’idabato


------------------------------








REPUBLIC OF CAMEROON


Peace – Work Fatherland


----------------------------------------


Ministry of Decentralization and


 Local Development 


 -----------------------------------------


South West Region


------------------------------------------


Ndian Division


------------------------------------------


                           Idabato Sub Division


------------------------------------------


Idabato Council


------------------------------











REPUBLIQUE DU CAMEROON


Paix – Travail – Patrie


-----------------------------------


Ministère de Décentralisation et Développement Locale


-------------------------------------


Region du Sud Ouest


--------------------------------------


Département du Ndian


------------------------------


Arrondissement D’idabato


------------------------------


Commune D’idabato


------------------------------








REPUBLIC OF CAMEROON


Peace – Work Fatherland


----------------------------------------


Ministry of Decentralization and


 Local Development 


 -----------------------------------------


South West Region


------------------------------------------


Ndian Division


------------------------------------------


                           Idabato Sub Division


------------------------------------------


Idabato Council


------------------------------------------











OPEN NATIONAL INVITATION TO TENDER





DOCUMENT N° 2


GENERAL REGULATIONS OF THE INVITATION TO TENDER








REPUBLIQUE DU CAMEROON


Paix – Travail – Patrie


-----------------------------------


Ministère de Décentralisation et Développement Locale


-------------------------------------


Region du Sud Ouest


--------------------------------------


Département du Ndian


------------------------------


Arrondissement D’idabato


------------------------------


Commune D’idabato


------------------------------








REPUBLIC OF CAMEROON


Peace – Work Fatherland


----------------------------------------


Ministry of Decentralization and


 Local Development 


 -----------------------------------------


South West Region


------------------------------------------


Ndian Division


------------------------------------------


                           Idabato Sub Division


------------------------------------------


Idabato Council


------------------------------














OPEN NATIONAL INVITATION TO TENDER





DOCUMENT N° 3


SPECIAL REGULATIONS OF THE INVITATION TO TENDER








REPUBLIQUE DU CAMEROON


Paix – Travail – Patrie


-----------------------------------


Ministère de Décentralisation et Développement Locale


-------------------------------------


Region du Sud Ouest


--------------------------------------


Département du Ndian


------------------------------


Arrondissement D’idabato


------------------------------


Commune D’idabato


------------------------------








REPUBLIC OF CAMEROON


Peace – Work Fatherland


----------------------------------------


Ministry of Decentralization and


 Local Development 


 -----------------------------------------


South West Region


------------------------------------------


Ndian Division


------------------------------------------


                           Idabato Sub Division


------------------------------------------


Idabato Council


------------------------------














OPEN NATIONAL INVITATION TO TENDER





DOCUMENT N° 4


SPECIAL ADMINISTRATIVE CLAUSES








REPUBLIQUE DU CAMEROON


Paix – Travail – Patrie


-----------------------------------


Ministère de Décentralisation et Développement Locale


-------------------------------------


Region du Sud Ouest


--------------------------------------


Département du Ndian


------------------------------


Arrondissement D’idabato


------------------------------


Commune D’idabato


------------------------------











REPUBLIC OF CAMEROON


Peace – Work Fatherland


----------------------------------------


Ministry of Decentralization and


 Local Development 


 -----------------------------------------


South West Region


------------------------------------------


Ndian Division


------------------------------------------


                           Idabato Sub Division


------------------------------------------


Idabato Council


------------------------------








------------------------------





------------------------------------------











OPEN NATIONAL INVITATION TO TENDER





DOCUMENT N° 5


SPECIAL TECHNICAL CONDITIONS


















































REPUBLIQUE DU CAMEROON


Paix – Travail – Patrie


-----------------------------------


Ministère de Décentralisation et Développement Locale


-------------------------------------


Region du Sud Ouest


--------------------------------------


Département du Ndian


------------------------------


Arrondissement D’idabato


------------------------------


Commune D’idabato


------------------------------








REPUBLIC OF CAMEROON


Peace – Work Fatherland


----------------------------------------


Ministry of Decentralization and


 Local Development 


 -----------------------------------------


South West Region


------------------------------------------


Ndian Division


------------------------------------------


                           Idabato Sub Division


------------------------------------------


Idabato Council


------------------------------











OPEN NATIONAL INVITATION TO TENDER





DOCUMENT N° 6


   SCHEDULE OF UNIT PRICES








REPUBLIQUE DU CAMEROON


Paix – Travail – Patrie


-----------------------------------


Ministère de Décentralisation et Développement Locale


-------------------------------------


Region du Sud Ouest


--------------------------------------


Département du Ndian


------------------------------


Arrondissement D’idabato


------------------------------


Commune D’idabato


------------------------------





REPUBLIC OF CAMEROON


Peace – Work Fatherland


----------------------------------------


Ministry of Decentralization and


 Local Development 


 -----------------------------------------


South West Region


------------------------------------------


Ndian Division


------------------------------------------


                           Idabato Sub Division


------------------------------------------


Idabato Council


------------------------------











OPEN NATIONAL INVITATION TO TENDER





DOCUMENT N° 7 


BILL OF QUANTITIES AND COST ESTIMATES








REPUBLIQUE DU CAMEROON


Paix – Travail – Patrie


-----------------------------------


Ministère de Décentralisation et Développement Locale


-------------------------------------


Region du Sud Ouest


--------------------------------------


Département du Ndian


------------------------------


Arrondissement D’idabato


------------------------------


Commune D’idabato


------------------------------








REPUBLIC OF CAMEROON


Peace – Work Fatherland


----------------------------------------


Ministry of Decentralization and


 Local Development 


 -----------------------------------------


South West Region


------------------------------------------


Ndian Division


------------------------------------------


                           Idabato Sub Division


------------------------------------------


Idabato Council


------------------------------











OPEN NATIONAL INVITATION TO TENDER





DOCUMENT No 8


SUB-DETAIL OF PRICES





REPUBLIQUE DU CAMEROON


Paix – Travail – Patrie


-----------------------------------


Ministère de Décentralisation et Développement Locale


-------------------------------------


Region du Sud Ouest


--------------------------------------


Département du Ndian


------------------------------


Arrondissement D’idabato


------------------------------


Commune D’idabato


------------------------------








REPUBLIC OF CAMEROON


Peace – Work Fatherland


----------------------------------------


Ministry of Decentralization and


 Local Development 


 -----------------------------------------


South West Region


------------------------------------------


Ndian Division


------------------------------------------


                           Idabato Sub Division


------------------------------------------


Idabato Council


------------------------------











OPEN NATIONAL INVITATION TO TENDER





DOCUMENT No 9


MODEL OF CONTRACT





REPUBLIQUE DU CAMEROON


Paix – Travail – Patrie


-----------------------------------


Ministère de Décentralisation et Développement Locale


-------------------------------------


Region du Sud Ouest


--------------------------------------


Département du Ndian


------------------------------


Arrondissement D’idabato


------------------------------


Commune D’idabato


------------------------------











REPUBLIC OF CAMEROON


Peace – Work Fatherland


----------------------------------------


Ministry of Decentralization and


 Local Development 


 -----------------------------------------


South West Region


------------------------------------------


Ndian Division


------------------------------------------


                           Idabato Sub Division


------------------------------------------


Idabato Council


                               ------------------------------








OPEN NATIONAL INVITATION TO TENDER





DOCUMENT No 10


FORMS AND MODELS TO BE USED





REPUBLIQUE DU CAMEROON


Paix – Travail – Patrie


-----------------------------------


Ministère de Décentralisation et Développement Locale


-------------------------------------


Region du Sud Ouest


--------------------------------------


Département du Ndian


------------------------------


Arrondissement D’idabato


------------------------------


Commune D’idabato


------------------------------








REPUBLIC OF CAMEROON


Peace – Work Fatherland


----------------------------------------


Ministry of Decentralization and


 Local Development 


 -----------------------------------------


South West Region


------------------------------------------


Ndian Division


------------------------------------------


                           Idabato Sub Division


------------------------------------------


Idabato Council


                               ------------------------------











OPEN NATIONAL INVITATION TO TENDER





REPUBLIQUE DU CAMEROON


Paix – Travail – Patrie


-----------------------------------


Ministère de Décentralisation et Développement Locale


-------------------------------------


Region du Sud Ouest


--------------------------------------


Département du Ndian


------------------------------


Arrondissement D’idabato


------------------------------


Commune D’idabato


------------------------------








REPUBLIC OF CAMEROON


Peace – Work Fatherland


----------------------------------------


Ministry of Decentralization and


 Local Development 


 -----------------------------------------


South West Region


------------------------------------------


Ndian Division


------------------------------------------


                           Idabato Sub Division


------------------------------------------


Idabato Council


                               ------------------------------














OPEN NATIONAL INVITATION TO TENDER





DOCUMENT No. 12 DRAWINGS








3
80

