[image: image5.jpg]REPUBLIQUE DU CAMEROUN
PAIX — TRAVAIL - PATRIE

MINISTERE DE L’ADMINISTRATION
TERRITORIAL ET DE LA DECENTRALISATION

Subject INVITATION FOR THE E’iRST ORDINARY

Objet: SESSION FOR 2013 FINANCIAL YEAR

REPUBLIC OF CAMEROON
PEACE — WORK — FATHERLAND

MINISTRY OF TERRITORIAL

ADMINISTRATION AND DECENTRALISATION

....................

P.O. Box 1424 Limbe
E-mail: idenaucouncil _1@yahoo.com
Tel: (237) 77 66 43 87

Idenau, the.. k]Z AU ..... / ‘”3 ........
THE LORD MAYOR

Le Maire






IDENAU COUNCIL INTERNAL TENDERS BOARD


No. 09 /ONIT/IC/FAKO/ICITB/PIB 2026 OF 10th February 2026
 (EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
FUNDING:  PUBLIC INVESTMENT BUDGET 2026


(ZERO TOLERANCE TO CORRUPTION IN PUBLIC CONTRACTS)

TABLE OF CONTENTS
	Documents


	
	DESCRIPTION

	
	No I 
	Tender Notice

	
	No II
	General Regulations of the Invitation to Tender

	
	No III
	Special Regulations for Invitation to Tender

	
	No IV
	Special Administrative Conditions 

	
	No V
	Special Technical conditions 

	
	No VI
	Price Schedule

	
	No VII
	Bill of Quantities and Estimates 

	
	N° VIII
	Sub-detail of prices

	
	No  IX
	Model of contract 

	
	No  X
	Forms and models to be used 

	
	
	· Annex 1: Model Declaration of intent to Tender

	
	
	· Annex 2: Model Bid letter 

	
	
	· Annex 3: Model Bid Bond

	
	
	· Annex 4: Model Final Bond

	
	
	· Annex 5: Model of start off advance bond

	
	
	· Annex6: Model of Retention fund

	
	
	· Annex7: Model Attestation of Site Visit

	
	
	· Annex 8: Model Attestation of availability of Site 

	
	No XI
	List of Commercial Banks and Financial Institutions authorized to issue bid bonds for Public Contracts

	
	No XII
	Drawings





IDENAU COUNCIL INTERNAL TENDERS BOARD


No. 09 /ONIT/IC/FAKO/ICITB/PIB 2026 OF 10th February 2026
 (EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
FUNDING:  PUBLIC INVESTMENT BUDGET 2026





TENDER NOTICE
(ZERO TOLERANCE TO CORRUPTION IN PUBLIC CONTRACTS)

Open National Invitation to Tender No. 09 /ONIT/IC/FAKO/ICITB/PIB 2026 OF 10th February 2026
FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
1. Subject of the invitation to tender:

Within the framework of the 2026 Public Investment Budget, the Mayor of Idenau Council hereby launches an Open National Invitation to Tender by Emergency Procedure FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
2. Nature of work:

The works comprise the outcome of the preliminary studies carried out and the detailed information provided for in the technical specifications.
3. Execution deadline
The maximum deadline provided for by the Project Owner for the execution of the works forming the subject of this invitation to tender is three (03) months from the date of notification.
4. 
Estimated cost
The estimated cost after preliminary studies is 20 000 000 FCFA.
5.
Participation and origin
Participation is open to duly legalized Cameroonian enterprises that fulfil the requirements of this invitation to tender.
6. 
Funding
Services, subject of this invitation to tender shall be funded by the Public Investment Budget of the 2026 financial year as follows: BUDGETARY HEAD: 
7.
Bid bond

Each bidder must include in his administrative documents, a bid bond issued by a first-rate banking establishment approved by the Ministry in charge of finance and whose list is found in document N° 12 of the Tender File, of an amount of 400 000 F CFA and valid for thirty (30) days beyond the date of validity of bids.
If the bidder is awarded the contract/jobbing order, the bid bond will be released after the final bond has been established.

The bid bond should be provided in accordance with the Circular Letter No 000019/LC/MINMAP of                            5th June 2024 relating to the modalities of constitution, deposit, conservation, restitution and withdrawal of bond on public contracts. This bid bond should be authenticated by a certificate issued by CDEC.
8.
Consultation of tender file:

The file may be consulted during working hours (7:30 am – 3:30 pm) at the General Secretariat, Idenau Council as soon as this notice is published.

9.     Acquisition of tender file:

The file may be obtained from the office of the General Secretariat, Idenau Council as soon as this notice is published against payment of a non-refundable sum of 20 000 FCFA for the tender to the Idenau Municipal Treasury with an acknowledgement receipt thereof.

10.    Submission of bids:

Each bid drafted in English or French in seven (07) copies including the original and six (06) copies marked as such, should reach the General Secretariat, Idenau Council on --------------- at 10.00 am local time and labelled.

· Envelope A : Administrative bid;

· Envelope B : Technical bid ;

· Envelope C : Financial bid.

NB: These three (03) envelopes shall be put in the fourth envelope and shall be the only one to have the label mentioned below

Open National Invitation to Tender 

No. 09/ONIT/IC/FAKO/ICITB/PIB 2026 OF 10th February 2026
FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.

 “To be opened only during the Bid - opening session”
Any document poorly drawn-up, not bound as per Article 24 of the Public Contracts Code or not produced in

Seven (7) copies shall be rejected.
11. 
Admissibility of bids
Under pain of being rejected, only originals or certified true copies from the issuing service or administrative authorities (Senior Divisional Officers, Divisional Officers, etc.) of the documents required must imperatively be produced in accordance with the Special Conditions of the Invitation to tender. They must not be older than three (03) months.

Any bid not in conformity with the prescriptions of this notice and tender file shall be declared inadmissible. Especially the absence of a bid bond issued by an approved bank by the Ministry in charge of Finance or the non-respect of the models of the Tender File documents shall lead to outright rejection of the bid without appeal. 

12. 
Opening of bids:

The bids shall be opened in a single (01) phase on --------------- at 11.00 am local time by the Idenau Council Internal  Tenders Board in the Conference Hall, located at Idenau Council premises. Only bidders may attend or their duly accredited representatives with Power of Attorney.

13.  Evaluation criteria
i.        Main Eliminatory Criteria


A bid shall be rejected if:

· It lacks a bid bond in the Administrative document in accordance with the rules and regulations in force;

· The technical score is less than the minimum required;

· It has any fake or forged document;

· Absence of quantified unit price.

· It carries any false information.

· Enterprise has any abandoned project
ii..
Main Qualification criteria


The criteria for qualification of candidates should be on the following:

· Access to credit or other financial sources (10 million francs at least):        Yes / No

· References of similar jobs: Yes / No

· Availability of material and essential equipment
:   Yes / No

· Experience of supervisory staff: Yes / No

· Methodology                 Yes/No

· Turnover as in business license above or equal to 20 million francs CFA; Yes/No
Non-respect of two (02) of the above criteria shall entail rejection of the bid. 

NB:  the marking scale for bids by award of points is banned in favour of the binary method (Yes or No).

14.
Award
The Contract shall be awarded to the contractor fulfilling the best technical and financial conditions.

15.
Validity of bids

Bidders will remain committed to their bids for ninety (90) days from the deadline set for the submission of tenders

16. 
Complementary information

Complementary technical information may be obtained from the Idenau Council from Monday to Friday between 7.30 am and 3.30 pm. Tel: 237 677 61 57 42
Done at Idenau, the …………………

The Mayor of Idenau Council
(Contracting Authority)

Copies:

· S.D.O Fako

· ARMP (FOR PUBLICATION AND ARCHIVES) 

· DDMINMAP/FAKO

· CHAIRPERSON OF ICITB (FOR INFORMATION)

· NOTICE  BOARD



AVIS D’APPEL D’OFFRES NATIONAL OUVERT

(EN PROCEDURE D’URGENCE)
(TOLERANCE ZERO A LA CORRUPTION DANS LE SYSTEME DES MARCHES PUBLICS)

No 09/AONO/CI/FAKO/CIPMCI/BIP 2026 DU 10 Fevrier 2026
FINANCEMENT: BUDGET D’INVESTISSEMENT PUBLIC (BIP) 2026
POUR LA CONSTRUCTION DE DEUX (02) LOCAUX DE STOCKAGE SECURISES AVEC DEUX (02) TOILETTES DANS FISHING PORT QUARTER IDENAU.
1. Objet de l'Appel d'Offres
Dans le cadre de l’exécution du Budget d’Investissement Public de l’exercice 2026, le Maire de la Commune d’Idenau, lance un Appel d’Offres National Ouvert en Procédure d’Urgence POUR LA CONSTRUCTION DE DEUX (02) LOCAUX DE STOCKAGE SECURISES AVEC DEUX (02) TOILETTES DANS FISHING PORT QUARTER IDENAU.
2. Consistance des travaux
Les travaux à exécuter sont définis dans le descriptif des travaux joint au dossier de consultation. 
3. Délais d’exécution
Le délai d’exécution prévu  par l’Autorité Contractante pour la réalisation  des travaux  est de  trois (03) mois, à compter de la date de notification  de l’Ordre de Service  de commencer les travaux.
4. Coût prévisionnel
Le coût prévisionnel de l’opération à l’issue des études préalables est de 20 000 000 FCFA.
5. Participation et origine
Le présent Appel d’Offres est ouvert à toutes les Entreprises de Travaux Publics de droit Camerounais, justifiant des capacités technique, financière et juridique, leur permettant de réaliser les prestations objet du présent Appel d’Offres.

6. Financement
Le financement des prestations objets du présent Appel d’Offres est assuré par le Budget d’Investissement Public de la République du Cameroun, exercice 2026.
Imputation budgétaire: 
7. Cautionnement provisoire

Chaque soumissionnaire doit joindre à ses pièces administratives une caution de soumission établie par une banque de premier ordre agréée par le Ministère chargé des Finances et dont la liste figure dans la pièce 12 du DAO, d’un montant de 400 000 F CFA.

Le cautionnement provisoire sera libéré trente (30) jours au-delà de la validité des offres des soumissionnaires. 

Dans le cas où le soumissionnaire est attributaire du marché, le cautionnement provisoire sera libéré après constitution du cautionnement définitif.

Le cautionnement de soumission devra être établi et fourni conformément à la Lettre-circulaire N°000019/LC/MINMAP du 05 juin 2024 relative aux modalités de constitution, de consignation, de conservation, de restitution et de déconsignation des cautionnements sur les marchés publics
8. Consultation du Dossier d'Appel d'Offres
Le dossier peut être consulté aux heures ouvrables dans les locaux abritant le Secrétariat General de la Mairie d’Idenau, dès publication du présent avis.

9. Acquisition du Dossier d'Appel d'Offres
Le Dossier d’Appel d’Offres peut être obtenu dès publication  du présent avis, au Secrétariat General de la Commune d’Idenau, contre présentation d’une quittance de versement d’une somme non remboursable de 20 000 FCFA délivrée par la Recette Municipal de la Commune d’Idenau, représentant les frais d’achat du dossier. 

10. Remise des offres
Chaque offre, rédigée en Anglais ou en Français en sept (07) exemplaires dont un (01) original et six (06) copies marquées comme telles, et conformément aux prescriptions du DAO, devra parvenir par envoi recommandé avec réception, ou être déposée, au Secrétariat General de la Commune d’Idenau au plus tard le ---------------- à 10.00 heure locale dans trois (03) enveloppes internes et distinctes identifiant : 

· Enveloppe A : offre administratives ;

· Enveloppe B : offre technique ;

· Enveloppe C : offre financière.

Ces trois (03) enveloppes seront contenues dans une quatrième qui devra porter impérativement la seule et unique mention suivante :

APPEL D’OFFRES NATIONAL OUVERT 
(EN PROCEDURE D’URGENCE) 
No 09/AONO/CI/FAKO/CIPMCI/BIP 2026 DU 10 Fevrier 2026
POUR LA CONSTRUCTION DE DEUX (02) LOCAUX DE STOCKAGE SECURISES AVEC DEUX (02) TOILETTES DANS FISHING PORT QUARTER IDENAU.
   « A n'ouvrir qu'en séance de dépouillement »
11. Recevabilité des offres
Sous peine de rejet, les pièces du dossier administratif requises doivent être produites en originaux ou en copies certifiées conformes par le service émetteur ou une autorité administrative (Préfet, Sous-préfet,…), conformément aux stipulations du Règlement Particulier de l’Appel d’Offres.

Elles doivent dater de moins de trois (03) mois précédant la date originale de dépôt des offres ou avoir été établies postérieurement à la date de signature de l’Avis d’Appel d’Offres.

Toute offre incomplète conformément aux prescriptions du Dossier d'Appel d'Offres sera déclarée irrecevable. Notamment l'absence de la caution de soumission délivrée par une banque de premier ordre agréée par le Ministère chargé des Finances.
12. Ouverture des plis
L’ouverture des plis est publique et sera effectué le ------------ à 11.00 heure locale par la Commission Interne de passation des marchés de la Commune d’Idenau à la salle de conférence, situé à la Mairie d’Idenau en présence de chaque soumissionnaire.


Seuls les soumissionnaires peuvent assister à cette séance d'ouverture ou se faire représenter par une personne dûment mandate.

13. Critères d’évaluation
1. Critères éliminatoires
Les critères éliminatoires seront les suivants :

· Absence de la caution de soumission dans le Dossier administrative administratif conformément à la règlementation en vigueur;

· Note technique inférieure au seuil requis ;

· Fausse déclaration;

· Présence de faux documents ou documents falsifiés.

· Absence d’un prix unitaire quantifié,

· Entreprise ayant abandonné un projet.
2. Critères essentiels
Les critères  essentiels  seront les suivants :

1. Chiffre d’affaires (minimum de 20 millions)

2. L’accès à une ligne de crédit ou autres ressources financières d’au moins 10 millions de FCFA.

3. Les références de l’Entreprise ;

4. La disponibilité du matériel et des équipements essentiels ;

5. L’expérience du personnel d’encadrement ;

6. La méthodologie ;

Le non-respect de deux (02)  critères entraînera l’élimination de l’offre.

La méthode d’évaluation des offres sera binaire (oui ou non).

14. Attribution
Le contrat sera attribué à l’entreprise qui remplira les meilleures conditions technique et financière.

15. Durée de validité des offres
Les soumissionnaires restent engagés par leur offre pendant une durée de quatre-vingt-dix (90) jours à compter de la date limite fixée pour la remise des offres.

16. Renseignements complémentaires
Les renseignements complémentaires peuvent être obtenus a la Commune d’Idenau, aux heures ouvrables ; Tel. 237 677 61 57 42
                                                                                                    Idenau, le--------------------------------

Maire de la Commune d’Idenau
(Autorité Contractante)
Ampliations:

· Préfet Fako

· ARMP (POUR PUBLICATION ET ARCHIVES) 

· DDMINMAP/FAKO

· PRESIDENT CIPM (POUR INFORMATION)

· Affichage



IDENAU COUNCIL INTERNAL TENDERS BOARD

No. 09/ONIT/IC/FAKO/ICITB/PIB 2026 OF 10th February 2026
 (EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
FUNDING:  PUBLIC INVESTMENT BUDGET 2026


GENERAL REGULATIONS OF THE INVITATION TO TENDER

TABLE OF CONTENTS

A.  GENERAL PROVISIONS.

Article 1:
Scope of the Tender

Article 2:
Funding
Article 3:
Fraud and Corruption

Article 4:
Candidates allowed to bid
Article 5:
Materials, supplies, equipment and related services

Article 6:
Qualification of bidder

Article 7:
Site visit 

B. TENDER FILE

Article 8:
Content of Tender File

Article 9:
Clarifications on Tender File and Petition

Article 10:
Amendment of the Tender File

C. PREPARATION OF BIDS

Article 11:
Cost of Bidding

Article 12:
Language of Bid

Article 13:
Bid documents

Article 14:
Contract Amount

Article 15:
Currency and payment

Article 16:
Validity of Bid

Article 17:
Bid bond

Article 18:
Varying proposals by bidders
Article 19:
Preparatory meeting to the establishment of Bids

Article 20:
Format and signature of Bids

D. SUBMISSION OF BIDS

Article 21:
Sealing and marking of Bids

Article 22:
Deadline for submission of Bids

Article 23:
Late Bids

Article 24:
Modification, substitution and withdrawal of Bids

E. OPENING AND EVALUATION OF BIDS

Article 25:
Opening of envelopes and Petitions

Article 26:
Confidential character of the procedure

Article 27:
Clarification on the bid and contact with Contracting Authority

Article 28:
Determination of conformity of Bids

Article 29:
Qualification of the Bidders

Article 30:
Correction of errors

Article 31:      Conversion to a single currency

Article 32:
Evaluation and comparison of Bids at the financial level

Article 33:
Preference granted to national Bidders.

F. AWARD OF THE CONTRACT.

Article 34:
Award

Article 35:
The right of the contracting Authority to declare an Invitation to Tender 

Unsuccessful or cancel a procedure.

Article 36:
Notification of the award of the contract
Article 37:
Publication of Result and Petitions

Article 38:
Signing of the contract
Article 39:      Final bond
GENERAL RULES OF THE INVITATION TO TENDER

A – GENERAL

ARTICLE 1:
Scope of the Tender

1.1:
The Mayor of Idenau Council (Contracting Authority), launches an Open National Invitation to Tender No. 09/ONIT/IC/FAKO/ICITB/PIB 2026 OF 10th February 2026 FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.

1.2.:
The successful bidder must complete the works within the time-limit indicated in the Special Regulations and which takes effect from the date of notification of the Service Order to commence works.

1.3:
In this Tender file, the term “Contracting Authority” shall refer to the Mayor of Idenau, and the term “day” means a calendar day.

Article 2:
FUNDING
The Works, subject of this invitation to tender shall be funded by the 2026 Public Investment budget (PIB).

Article 3:
Fraud and Corruption

3.1:
The Contracting Authority requires of bidders and contractors to strictly respect rules of professional ethics during the award and execution of public contracts. By virtue of this principle, the Contracting Authority:

a)   Defines, within the context of this clause, the following expressions in the following manner:

i) Shall be guilty of “corruption” whoever offers, gives, requests or accepts any advantage in view of influencing the action of a public official during the award or execution of the works
ii) Is involved in “fraudulent manoeuvres” whoever deforms or distorts fact in order to influence the award or execution of a contract;

iii) “Collusive practices” mean any form of agreement between two persons or among several bidders (whether the Contracting Authority is aware or not) aimed at artificially maintaining the prices of bids at levels not corresponding with those resulting from the forces of competition;

iv) And “coercive practices” mean any form of harm against persons or their properties or threats to influence their action during the award or execution of a contract.

b)   Will reject any award proposal if it determines that the proposed successful bidder is directly or through the intermediary of an agent, guilty of corruption or is involved in fraudulent manoeuvres, collusive or coercive practices for the award of this contract. 
3.2.   The Minister in charge of Public contracts may provisionally suspend a bidder for duration of two years for any of the following reasons:

a)   Attempt to influence the award procedure

b)   Conflict of interest

c)   Initiating crime

d)   Fraud

e)   Corruption

f)
Use of non-authentic documents.

The suspension notwithstanding, criminal procedures may be instituted against the bidder.
Article 4:
Candidates allowed to bid.

4. The invitation to tender is addressed to all Cameroonian contractors, who fulfil the following conditions:

a) The bidder must not be excluded from tendering for public contracts.

b) The bidder must be legally and financially autonomous

c) The bidder must be bound by the rules and regulations of public contracts

Article 5:
Materials, Supplies, Equipment and Related Services.

5.1. The use of local materials is highly encouraged (if necessary) 

Article 6:   Qualification of Bidder

6. 1.  Bidders must where applicable:
a) Issue their representatives with a power of Attorney thereby making the former bound by their bids and

b) Demonstrate a pre-financing capacity at least 50% of the cost of the project, tax inclusive.

6.2. Bidders and their Engineers must equally present sufficiently detailed proposals to demonstrate that they conform to the technical specifications and execution time-limits set in the Special Regulations of the Invitation to Tender.

Article 7:  SITE VISIT.

7.1. Bidders are advised and under their responsibility to visit and inspect the work site and its environs with their engineers and obtain all the information which may be necessary for the preparation of the Tender File and the execution of the works. The related cost of the visit to the site shall be borne by the bidder.

7.2. Proof of effective visit to the site shall be established by an attestation of site visit duly signed on honour by the representative of the enterprise with pictures attached.

B – TENDER FILE

Article 8:
Content of Tender File

8.1. The Tender File describes the works forming the subject of the contract, sets the consultation procedure of contractors and specifies the terms of the contract. Beside the addendum (addenda) published in accordance with Article 10 of the General Regulations of the Invitation to Tender, it shall include the following documents:

A)   The Tender Notice

B)   The General Regulations of the Invitation to Tender

C)   The Special Regulations of the Invitation to Tender

D)   The Special Administrative Clauses

E)    The Special Technical Conditions

F)   The Unit Price Schedule (Official price list) 

G)   The Bill of Quantities and Estimates
H) Sub-detail of unit prices

          I)    The execution schedule (work plan)

          J)   Charts and other elements of the technical file

          K)   Model forms for equipment, personnel and references of the Bidder

          L)  Model declaration of intent to Bid

         M)    Model Bid letter

         N)   Model Bid Bond

         O)   Model contract

         P) Attestation of site visit

         Q) Attestation of Availability of site 

          R)    List of commercial banks approved by the Ministry in charge of Finance authorized to issue bid bonds.

8.2. The bidder must examine and respect all the rules, forms, conditions and specifications contained in the Tender File. He shall furnish all the information requested and prepare a bid in conformity with all aspects of the said file. Any inadequacy may lead to the rejection of his bid.
Article 9:   Clarifications on the Tender File and Petitions.
9.1. Any bidder who wants to obtain clarifications on the Tender file may request them from the Contracting Authority (The Mayor of Idenau Council) in writing at the address indicated in the Special Regulations of the Invitation to Tender. The Contracting Authority shall reply in writing to any request for clarification received at least fourteen (14) days prior to the deadline for the submission of bid.
A copy of the Contracting Authority’s response, indicating the question posed but not mentioning the author, shall be addressed to all bidders who bought the Tender File.

9.2.   Between the publication of the tender notice including the pre-qualification phase of candidates and the opening of bids, any bidder who feels aggrieved in the public contracts award procedure may lodge a complaint to the Contracting Authority.

9.3.   The complaint must be addressed to the Contracting Authority with copies to the body in charge of the regulation of public contracts and the chairperson of the Tenders Board. It must reach the Contracting Authority not later than fourteen (14) days before the opening of bids.

9.4.   The Contracting Authority has five (5) days to react. A copy of the reaction shall be forwarded to the body in charge of the regulation of public contracts.
Article 10:   Amendment of the Tender File.

10.1.  The Contracting Authority may at any moment, prior to the deadline for the submission of bids and for whatever reason, be at his initiative or in reply to a request for clarification formulated by a bidder, amend the Tender file by publishing an addendum.

10.2   Any published addendum shall be an integral part of the Tender file in accordance with article 8.1 of the General Regulation of the Invitation to Tender and must be communicated in writing or made known to all bidders who bought the tender file. The latter must acknowledge receipt of the addenda in writing to the Contracting Authority.

10.3.  In order to give bidders sufficient time to take account of the addendum in the preparation of their offers, the Contracting Authority may postpone as is necessary, the deadline for the submission of offers, in accordance with provision of Article 22 of the General Regulation of the Invitation to Tender.

C – PREPARATION OF BIDS

Article 11:
Cost of Bidding.

The bidder shall bear all costs associated with the preparation and submission of his bid, and the Contracting Authority will in no case whatsoever be responsible or liable for those costs, regardless of the conduct or outcome of the bidding process.

Article 12:
Language of Bid.

The bid as well as all correspondences and documents relating to the bid exchanged between the bidder and the contracting Authority shall be in English or French. 

Article 13:
     Bid Documents

13.1. The Bid shall include the documents detailed in the Special Regulations of the Invitation to Tender, duly filled and compiled in three volumes:
a)   Volume 1: Administrative File

       It includes:   

i)    All documents attesting that the bidder:

· has subscribed to all declaration provided for by the laws and regulations;

· has paid all taxes, duties, contribution, fees or deduction of whatever nature;

· is not winding up or is bankrupt;

· is not the subject of an exclusion order or forfeiture provided for by the regulation in force;

ii)   The bid bond established in accordance with the provisions of Article 17 of the 

      General Regulations of the Invitation to Tender; 

iii)  The written confirmation (power of Attorney) empowering the representative of the enterprise to commit the bidder, in accordance with the provision of Article 6(1) of the General Regulations of the Invitation to Tender.

b)   Volume 2: Technical Documents
B.1. Information on qualification.

The special regulations lists the documents to be furnished by bidders to justify the qualification criteria mentioned in Article 6(1) of the Special Regulations of the Invitation to Tender.

B.2. Methodology
The Special Regulations of the invitation to tender specifies the constituent elements of the Technical documents of the Bidders especially: a methodological statement based on an analysis of the works and specifying the organization and programme which the bidder intends to put in place or use in executing the works (installations, schedule, attestation of site visit, etc…)
B.3. Proof of Acceptance of Conditions of the Contract.

The bidder shall submit duly initialled copies of administrative and technical documents relating to the contract, namely:

1. The special Administrative conditions (SAC)

2. The model of the contract

3. The Special Technical Conditions (STC)

C)   Volume 3:
Financial Documents
The special conditions specify the elements that will help in justifying the cost of the works, namely:

1. The signed and dated original bid letter prepared according to the attached model, stamped at the prevailing rate; 

2. The duly filled Unit Price Schedule;

3. The duly filled detailed estimate;

4. The sub detail of prices.
In this regard, the bidders shall use the documents and models provided in the Tender file, subject to the provisions of Article 17(1) of the General Regulations of the Invitation to tender concerning the other possible forms of guarantees.

Article 14:      Contract Amount

14.1.  Except otherwise stated in the Tender file, the amount of the contract shall cover all the works described in article 1.1 of the General Regulations of the Invitation to Tender, on the basis of the unit price schedule and the detailed Bill of Quantities and Estimates presented by the bidder. The amount of the contract shall not be subject to review.
14.2. The bidder shall fill the unit prices and totals of all items on the schedule and bill of quantities and estimates.

14.3. If a price revision / updating clause is provided for in the contract, the date of establishment of the initial prices, as well as the price revision / updating conditions for the said price must be specified.  

Article 15:
Currency and Payment
15.1. The amount of the bid shall be in CFA francs.

a) Prices shall be entirely drawn in CFA francs. 

15.2.   For national invitations to tenders, the currency shall be the CFA francs.

Article 16:
Validity of Bids

16.1.   Bids must remain valid for ninety (90) days as stated in the Special Regulations from the date of submission of the bids fixed by the Contracting Authority, in application of Article 22 of the Special Regulations. A bid valid for a shorter period shall be rejected by the Contracting Authority as not being in conformity.

16.2.   Under exceptional circumstances, the Contracting Authority may seek the approval of bidders to extend the validity time-limit. The request and the responses that will be given shall be in writing. 
16.3.
Where the contract does not include a price revision and the validity period of bids is prolonged for more than sixty (60) days the amounts payable to the bidder retained shall be updated by application of the formula featuring in the request for extension that the Contracting Authority addressed to bidders. The updating period shall run from the date of notification of the contract or the Service Order to start of execution of works by the retained bidder, as specified in the Special Administrative Clauses. The effect of updating shall not be taken into account for purposes of evaluation.

Article 17:
Bid bond.

17.1.   In pursuant to Article 13 of the General Regulations, the bidder shall furnish bid bonds as specified in the Special Regulations and the bid bond shall be an integral part of his bid.

17.2. The bid bond must conform to the model presented in the Tender file; other models may be authorized subject to the prior approval of the Contracting Authority. The bid  bond will remain valid for thirty (30) days beyond the original date set for the validity of offers or any other validity time-limit requested by the Contracting Authority and accepted by the bidder, in accordance with the provisions of Article 16(2) of the General Regulations.

17.3.
Any bid without an acceptable bid bond shall be rejected by the Tenders Board for non-conformity. 

17.4.   The bid bonds not retained shall be returned within fifteen (15) days after publication of the award result. 

17.5.   The bid bond of the successful bidder shall be released as soon as the latter signs the contract.

17.6.   The bid bond may be seized:

a)   If the bidder withdraws his or her bid during the period of validity;

b)   If the retained bidder fails in his obligation to register the contract in accordance to Article 37 of the General Regulations
Article 18:          VARYING PROPOSALS BY BIDDERS
18.1 Where the works can be executed within variable deadlines, the Special Regulations shall specify these deadlines and shall indicate the method retained for the evaluation of the completion deadline proposed by the bidder within the specified deadlines. Bids that propose deadlines beyond those specified shall be considered as not being in conformity.

18.2 Except in the case mentioned in article 18(3) below, bidders wishing to offer technical variants must first assess the basic solution of the Contracting Authority as described in the Tender File and furnish in addition all the information which the Contracting Authority needs for a complete evaluation of the proposed variant, including the plans, calculations, technical specifications, sub-details of prices and proposed construction methods and all other useful information. If necessary, the Contracting Authority will examine only the technical variants of the bidder whose bid is in compliance with the basic solution has been evaluated as the lowest bid.

18.3 When according to the Special Regulations the bidders are authorized to directly submit the technical variants for certain parts of the works, these parts of the works must be described in the technical specifications. Such variants shall be evaluated on their own merit in accordance with the provisions of article 31(2) (g) of the General Regulations.
Article 19:
Preparatory Meeting to the Establishment of Bids.




Not applicable.
Article 20:
Format and signature of BidS
20.1.   The bidder shall submit one (01) original and six (06) copies.  In case of discrepancy, the original shall be considered as authentic.

20.2.    The original and copies of the bids must be typed or written in indelible ink (photocopies shall be accepted in the case of copies) and shall be signed by the person(s) duly empowered to sign on behalf of the bidder, in accordance with Article 6(1a) or 6(2c) of the General Regulations, as the case may be.  

20.3.   The bid shall bear no modification, cancellation or alteration unless such corrections are initialled by the signatory (ies) of the bid.
D. SUBMISSION OF BIDS

Article 21:
Sealing, MARKING of Bids

21.1:     The bidder shall seal the original and copies of the bid in separate envelopes (internal envelopes) by marking on these envelopes “ADMINISTRATIVE, TECHNICAL OR FINANCIAL”, as the case may be. The envelopes shall then be placed in another envelope which will equally be sealed but which will not give any indication regarding the identity of the bidder.

21.2.     The external and internal envelopes:

a)   Should be addressed to the Contracting Authority at the address indicated in the Special Regulations; 

b)   Should bear the name and identification number of the project as indicated in the Special Regulations and bear the inscription “TO BE OPENED ONLY DURING BID OPENING SESSION”.

21.3.    The internal envelopes should equally carry the name and address of the bidder in a way as to enable the Contracting Authority return the sealed bid if it is late in accordance with Article 23 of the General Regulations and to meet the provisions of article 24 of the General regulations.

21.4.    If the external envelope is not sealed and marked as indicated in paragraphs 20(1) and 20(3) above, the Contracting Authority shall not be responsible if the bid is misplaced or opened prematurely.

Article 22:
Deadline for Submission of Bids.

22.1.   Bids must be received by the Contracting authority at the address specified in Document 1 Article 7 of the special Regulations not later than the date and time stated in the Special Regulations.

22.2.   The Contracting Authority may, at his discretion, extend the deadline set for the submission of bids by publishing an addendum in accordance with the provisions of Article 10 of the General Regulations. In which case, all rights and obligations of the Contracting Authority and bidders previously subject to the initial deadline will thereafter be subject to the deadline as extended.
Article 23:
Late Bids

Any bid received by the Contracting Authority after the deadline for submission of bids shall be declared late and consequently rejected in accordance with Article 22 of the General Regulations. 
Article 24:
Modification, Substitution and Withdrawal of Bids.

24.1.   A bidder may modify or withdraw his bid after submitting it, on condition that the written notification of the modification or withdrawal is received by the Contracting Authority prior to the end of the deadline for submission. The said notification must be signed by an authorized representative in application of Article 19(2) above.  The modification or the corresponding replacement bid must be attached to the written notification. As the case may be, the envelopes must bear the inscription “WITHDRAWAL”, and “REPLACEMENT BID” or “MODIFICATION”.
24.2.   The notification of modification or withdrawal should be prepared, sealed, marked and forwarded in accordance with the provisions of Article 20 of the General Regulations. The withdrawal may equally be notified by writing but should in this case be confirmed by a duly signed written notification whose date, post mark being authentic, shall not be posterior to the deadline for submission, of bids

24.3.   Bids being requested to be withdrawn in application of Article 23(1) shall be returned unopened.

24.4.   No bid may be withdrawn during the interval between the submission of bids and the expiry of the validity of bids specified by the model tender. The withdrawal of a bid by a bidder during this interval may lead to the confiscation of the bid bond in accordance with the provisions of Article 17(6) above.

E.   OPENING OF ENVELOPES AND EVALUATION OF BIDS.

Article 25:
Opening of envelopes and Petitions

25.1.    The Competent Tenders Board shall open the bids in a single phase and in the presence of bidders or their duly authorized representatives with power of Attorney who choose to attend at the time, on the date and at the place specified in the special Regulations. They shall sign a register attesting to their presence.

25.2.   All bids shall be opened successively and the name of the bidder announced aloud. Only rebates and variants of offers announced to the hearing of everyone during the opening of bids shall be submitted for evaluation. 

25.3.  Bids (and modifications received in accordance with the provisions of Article 23 of the General Regulations) which were not opened and read to the hearing of everyone during the bid opening session for whatever reason, shall not be submitted for evaluation. 

25.4.   Bid opening minutes are recorded on the spot mentioning the admissibility of bids, their administrative regularity, prices, rebates and deadlines. A copy of the said minutes to which is attached the attendance sheet is handed over to all the participants at the end of the session.

25.5.   At the end of each bid opening session, the chairperson of the Tenders Board immediately hands over to the person designated by ARMP an initialled copy of the bids presented by bidders.

25.6.   In case of petition as provided for by the Public Contracts Code, it should be addressed to the Public Contracts Authority with copies being sent to the body in charge of the Regulation of Public Contracts and the Contracting Authority. It must reach within a maximum deadline of three (3) working days after the opening of bids in the form of a letter to which is obligatorily attached a sheet of the petition duly signed by the petitioner and possibly by the chairperson of the Tenders Board. The Independent observer attaches to his report the sheet that was handed to him, including any related comments or observations.
Article 26:
Confidential Character of the Procedure.

26.1: No information relating to the examination, clarification, evaluation and comparison of bids and verification of the qualification of bidders and the recommendation for the award shall be given to bidders nor to any person concerned with the said procedure before the announcement of the award.

26.2.   Notwithstanding, between the opening of bids and the award of the contract, if a bidder wishes to contact the Contracting Authority about his bid, he may do so in writing.
Article 27:
Clarification on the Bids and Contact with the Contracting Authority.

27.1.   To ease the examination, evaluation and comparison of bids, the chairperson of the Tenders Board may, if he desires, request any bidder to give clarifications on his bid. This request for clarification and the response given are formulated in writing but, however, no change on the amount or content of the bid should be sought, offered or authorized except it is necessary to confirm the correction of calculation errors discovered by the Evaluation Sub-Committee during the evaluation in accordance with the provisions of Article 28 of the General Regulations.

27.2.    Subject to the provisions of paragraph 1 above, bidders shall not contact members of the Tender Board and the Evaluation Sub-Committee for questions related to their bids, between the opening of bids and the award of the contract.

Article 28:           Determination of Conformity of Bids.

28.1.   The Evaluation Sub-Committee shall carry out a detailed examination of bids to determine if they are complete, if the required guarantees are furnished, if the documents were correctly signed and if generally the bids are in proper order.

28.2.    The Evaluation Sub-committee shall determine if the bid is essentially in conformity with the conditions fixed in the Tender File based on the content without recourse to external elements of proof.

28.3.   A bid that conforms to the Tender File shall essentially be a bid that respects all the terms, conditions and specifications of the Tender File, without substantial divergence or reservation. A substantial divergence or reservation is that:

i)    Which substantially limits the scope, quality or realization of the works;

           ii)    Which substantially limits and is not in conformity with the Tender File, the rights of the contracting Authority or the obligations of the bidder in relation to the contract;

           iii)    Whose correction would unjustly affect the competitiveness of the other bidders who presented bids that essentially conformed to the Tender File.

28.4.   If a bid is essentially not in conformity it shall be rejected by the competent Tenders Board and shall not eventually be rendered in conformity.

28.5.   The Contracting Authority reserves the right to accept or reject any modification, divergence or reservation.  Modification, divergences, variants and other factors which are beyond the requirements of the Tender File shall not be considered during the evaluation of bids. 

Article 29:
Qualification of the Bidder.

The Evaluation sub-committee shall ensure that the successful bidder, who has an offer substantially in conformity with the provisions of the Tender File, fulfils the qualification criteria stipulated in Article 6 of the special Regulations. It is essential to avoid any arbitrariness in determining qualification.

Article 30:
Correction of Errors.

30.1.   The evaluation sub-committee shall verify bids considered essentially in conformity with the Tender File to correct the possible calculation errors. The Evaluation subcommittee shall correct the errors in the following manner:

a)   Where there is incoherence between the unit price and quantity, the unit price being   authentic, the total price shall be corrected, unless the Evaluation subcommittee judges that it is a gross error of decimal point in the unit price in which case the total price as presented shall be authentic and the unit price corrected. 

b)    If the total obtained by addition or subtraction of the totals is not exact, the subtotals shall be considered authentic and the total corrected.

c)    Where there is a difference between the price indicated in words and in figures, the  amount in words shall be considered authentic, unless the amount is linked to an   arithmetical error confirmed by the sub detail of the said price, in which case the amount in figures shall prevail subject to paragraphs (a) and (b) above.

30.2.   The amount featuring in the bid shall be corrected by the Evaluation subcommittee, in accordance with the error correction procedure above and with confirmation by the bidder, the said amount shall be deemed to commit him.

30.3. If the bidder who presented the lowest bid refuses the correction thus carried out, his bid shall be rejected and the bid bond may be seized.
Article 31:
Conversion into a single currency

31.1 To facilitate the evaluation and comparison of bids, the Evaluation sub-committee shall convert the prices of bids expressed in various currencies into those in which the bid is payable in CFA francs. 

31.2 The conversion shall be done using the selling rate fixed by the Bank of Central African States (BEAC) under the conditions defined by the Special Regulations.
ARTICLE 32. Evaluation and Comparison of Bids at the Financial Level.

32.1. Only bids considered as being in conformity, as per the provisions of Article 27 above, shall be evaluated and compared by the Evaluation subcommittee.

32.2. By evaluating the bids, the Evaluation subcommittee shall determine for each bid the evaluated amount of bid by rectifying the amount as follows:

a)  By correcting any possible error in accordance with provisions of Article 29.2 of the 

       General Regulations;

b) By excluding projected sums and where necessary provisions for the unforeseen occurrences featuring in the bill of quantities and estimates by adding the amount of works done under approval and supervision where they are valued in a competitive manner as specified in the Special Regulation;

c)  By appropriately adjusting any other modification, divergences or quantifiable reservation on technical or financial basis.

d)   By taking into consideration the various execution deadlines proposed by the bidders, if they are authorized by the Special Regulations;

32.3.   If the bid judged the lowest bid is considered abnormally low or strongly unbalanced in relation to the estimates of the Contracting Authority, the Evaluation subcommittee may, from the sub details of prices furnished by the bidder for any element or all the elements of the bill of quantities and estimates, verify if these prices are compatible with the construction methods and proposed calendar.  In the case where the justifications presented by the bidder are not satisfactory to it, the Contracting Authority may reject the bid.
Article 33:      Preference Granted to National Bidders.

If this provision is mentioned in the Special Regulations, national Contractors may benefit from a margin of national preference during the evaluation of bids as provided for in the Public contracts Code.

F. AWARD OF CONTRACT.

Article 34:   Award

34.1.   The Contracting Authority shall award the contract to the bidder whose bid was judged essentially in conformity with the Tender File and who has the required technical and financial capacities to execute the contract satisfactorily.
Article 35:
The Right of the Contracting Authority to Declare an Invitation to Tender unsuccessful or Cancel a Procedure.

The Contracting authority reserves the right to cancel a procedure of invitation to tender after the authorization of the Authority in charge of Public Contracts where the bids have been opened or to declare an invitation to tender unsuccessful after the advice of the competent Tenders Board, without any claims being entertained.
Article 36:
Notification of Award of the CONTRACT.

Prior to the expiration of the period of bid validity set in the Special Regulations, the Contracting Authority shall notify the successful bidder in writing confirmed by registered mail or by any other means that his bid was retained. This letter will indicate the amount the Contracting Authority will pay the contractor to execute the works and the execution deadline.

Article 37:
Publication of Results of Award and Petitions.

37.1.  The Contracting Authority shall communicate to any bidder or administration concerned, upon request addressed to it within a maximum deadline of five (5) days after publication of the award results, the Independent Observer’s report as well as the minutes of the award session of the related contract to which shall be attached the evaluation report of the bids.

37.2.   The Contracting Authority is bound to communicate the reasons for the rejection of bids of the bidders concerned who so request.

37.3.   After publication of the award results, bids that are not withdrawn within fifteen (15) days shall be destroyed, without any claims for compensation being entertained. Only the copy destined for the body in charge of regulation shall be kept.

37.4. In case of petition, it should be addressed to the Authority in charge of Public Contracts, with copies to the body in charge of the Regulation of Public Contracts, the Contracting Authority and the chairperson of the Tenders Board.  It must take place within a maximum deadline of five (5) working days after the publication of the results.

Article 38:
Signing of the CONTRACT.

38.1.   After publication of the results, the draft contract entered into by the successful bidder is submitted to the Tenders Board.

38.2.   The Contracting Authority has a deadline of seven (7) days to sign the contract from the date of acceptance of the draft contract approved by the competent Tenders Board and entered into by the successful bidder.

38.3. The contract must be notified to the successful bidder five (5) days following its date of signature.
Article 39:   Final OR PERFORMANCE Bond

39.1    Within twenty (20) days of the notification by the Contracting Authority, the contractor shall furnish the Project Owner with a final bond, to guarantee the complete execution of the works. 

39.2    The bond whose rate varies between 2 and 5 per cent of the amount of the contract inclusive of all taxes, may be replaced by a guarantee from a banking establishment approved according to the instruments in force with the Project Owner  as beneficiary or by a joint or several guarantee.

39.3   Small and medium-sized enterprises (SME) constituted of national capital and managed by nationals may, in lieu of the guarantee, provide a statutory lien or a bond issued by a banking establishment or first rate financial institution approved in accordance with the instruments in force.

39.4     Failure to produce the final bond within the prescribed time limit shall likely cause the termination of the contract under the terms laid down in the General Administrative Conditions.




IDENAU COUNCIL INTERNAL TENDERS BOARD

No. 09/ONIT/IC/FAKO/ICITB/PIB 2026 OF 10th February 2026
 (EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
FUNDING:  PUBLIC INVESTMENT BUDGET 2026


OPEN NATIONAL INVITATION TO TENDER

	
	INTRODUCTION

	1
	Definition of Works:  The subject of this tender is FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU. 

Name and Address of the Contracting Authority: The Mayor of Idenau Council;
Tender No 09/ONIT/IC/FAKO/ICITB/PIB 2026 of 10th February 2026 FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.

	2
	Execution Period: three (03) months

	3
	Funding:  Public Investment Budget (PIB)2026
Budget head No:

	4
	Origin of materials, equipment and related services should be approved by the project engineer.

	5
	

EVALUATION GRILL

	
	MAIN ELIMINATORY CRITERIA

As in the Tender file, a bid shall be rejected if:

· It lacks a bid bond in the Administrative document;

· The technical score is less than the minimum required;

· It has any fake or forged document;

· It carries any false information.

· Absence of quantified unit price;

· Enterprise has any abandoned project. 
A. ADMINISTRATIVE DOCUMENTS:

S/N

DOCUMENTS 
YES

NO

SCORE

1

Declaration of intent to Tender with 1500 frs fiscal stamp affixed.

2

A certificate of non-bankruptcy established by the court or Chamber of Commerce and Industry at the place of residence of the bidder dated not more than three months old.

3

An Attestation of Bank Account issued by a Commercial bank approved by the Ministry in charge of Finance and approved by COBAC

4

Original Treasury Receipt of purchase of Tender File.

5

The bid bond.

The bid bond should be provided in accordance with the Circular Letter No 000019/LC/MINMAP of 5th June 2024 relating to the modalities of constitution, deposit, conservation, restitution and withdrawal of bond on public contracts, with its consignment receipt delivered by CDEC at the opening of bids.
6

An Attestation of Non-Exclusion from Public Contracts delivered by ARMP

7

Clearance certificate for this tender of not more than 3 months old issued by the National Social Insurance Fund.

8

An Attestation of Tax Clearance (Non-Indebtedness) of not more than three (03) months old issued by the Tax Department certifying that the Bidder has effected all statutory declarations in issues of taxes for the current financial year.

9

A valid Tax Payer’s card certified by the Department of Taxation.

10

Current Business Registration Papers in conformity with OHADA Laws.

11

The group agreement and power of Attorney, where need be.

12
Site visit attestation
B. TECHNICAL DOCUMENTS:

The technical documents shall be evaluated following the binary method: Yes/No.

Article 24 of the Public Contracts Code stipulates that Bids shall be rejected when they do not conform to the specifications referred to in the Tender File.

S/N

Qualification Criteria

Sub-Criteria

EVALUATION

1

Turnover above or equal to 20 million FCFA
-Is the annual turnover in Business License above or equal to 20 million FCFA?

YES

NO

SCORE

2

Access to Credit line (Pre-Financing Capacity or Solvency)

Has the bidder shown proof of                     pre-financing or Solvency Capacity above or equal to 10 million CFA frs?

3

Bidder’s References of similar jobs.

-Has the bidder carried out at least two (02) similar jobs within the past three years?

-Are the references of Contracts and minutes of Acceptance report justified by copies certified by the issuing authority 

4

Availability of Materials and Essential Equipment

-Has the bidder submitted a list of equipment needed for the construction?

-Grader  (01); Excavator (01)
-Dump truck (01)

-Concrete Mixer (01), Concrete vibrator (01)
-Pick-up (01)

-small tools (wheel barrow, buckets, spades, etc)

-Proof of ownership or hiring possibilities of necessary equipment (Receipt of purchase; certified copies of title deeds; attestation of hiring).

5

Experience of supervisory staff.

-Table of Personnel

-Is the project supervisor a qualified Engineer currently registered in the National Order of Civil Engineers?

-Does he/she have at least 5 years work experience?

-Has the bidder included certified certificates/diplomas, CVs duly signed and dated not more than 3 months by the proposed personnel? 
Availability certificate

Foreman: Civil Engineering higher technician (with at least three (3) years’ experience) with certified certificate or diploma not more than three months old.
Signed and dated CV with availability certificate

Similar projects supervised ≥ (03)   

-1 Builder
-1 Carpenter

-1 Electrician (Nil)
· 1 Plumber (Nil)
7.

Methodology 

-Organigram of the enterprise

-Has the Bidder proposed an adequate work plan and methodology for the construction?

-Has the bidder proposed measures to protect and secure the environment?

-Has the bidder a site visit Report with pertinent remarks and suggestions endorsed by himself/herself and his engineer?

-Has the bidder an attestation of site visit dully signed by the representative of the enterprise?

Are the bids prepared on the basis of clarity and easy exploitation (e.g spiral binding, table of content, colour separators etc).

8.

Proof of Acceptance of the contract conditions

-Specimen contract Documents No. 4 and 9 each page initialled and the last page signed, dated and stamped.

Technical specifications (Document No. 5) Each page initialled and the last page signed, dated and stamped.

NOTE: The number of “YES” points obtained shall be converted to percentage and only bids with a technical mark of over 70% shall go through the financial analysis.
C. FINANCIAL DOCUMENTS

S/N

DOCUMENTS
YES

NO

SCORE

1
Bid letter (dated, signed and affixed with a 1500frs fiscal stamp)

2
Unit Price Schedule Available 

3
Cost Estimate Available

4
Sub-Detail of Prices Available



	6
	PRICE AND CURRENCY OF BID

	
	-   Prices shall be inclusive of taxes and in CFA francs.
-     The amount of the contract is not revisable.


	7
	PREPARATION AND SUBMISSION OF BIDS

	
	PRESENTATION OF BIDS

	
	Bids and all the documents shall be drafted in English or French and made out in CFA Francs, in figures and in full and shall spell out the amounts exclusive of taxes on the VAT, the amounts of VAT and amounts inclusive of taxes

Each bidder shall give all the justifications laid down in decree No 2018/366 of 20/06/2018 governing public contracts.

Each bid shall be made up of three envelopes:

· Envelope A: for Administrative bid 

· Envelope B: for Technical bid 

· Envelope C: for Financial bid 

The constituent documents of each envelope shall be numbered according to the order of the tender file.The entire constituent documents of (envelopes A, B and C), shall be sealed in a large anonymous external envelope labelled as follows:

OPEN NATIONAL INVITATION TO TENDER 

N° 09/ONIT/IC/FAKO/ICITB/PIB 2026 of 10th February 2026
FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.

“TO BE OPENED ONLY DURING THE BID OPENING SESSION”

Envelopes bearing any other inscriptions shall be rejected.
The external anonymous envelope shall contain three (03) stamped envelopes:

1st Envelope labelled as follows: 

Volume I: “Administrative Bid”

Name and address of Bidder:

Invitation to tender No……….
2nd Envelope labelled as follows: 

Volume II: “Technical Bid”

Name and address of Bidder:

Invitation to tender No……….
3rd Envelope labelled as follows: 

Volume III: “Financial Bid”

Name and address of Bidder:

Invitation to tender No……….
Any bid that shall not include the above documents or contain documents non-compliant with models shall be rejected

	
	VALIDITY OF BIDS:

The period of validity of bid is ninety (90) days from the date of submission of bids. 

	8
	BID BOND

Bidders shall furnish bid bonds of an amount of 400 000 FCFA issued by a Commercial Bank approved by the Ministry in charge of Finance and recognized by COBAC. 

	9
	EXECUTION PERIOD 

The maximum execution period is three (03) months

	10
	MANNER OF SUBMISSION

The number of copies of the bid shall be seven (07) inclusive of the original.

Address of the Contracting Authority to be used for the submission of Bids: 

“OPEN NATIONAL INVITATION TO TENDER 

No 09/ONIT/IC/FAKO/ICITB/PIB 2026 OF 10th February 2026 
FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
 “TO BE OPENED ONLY DURING BID OPENING SESSION”

	11
	SUBMISSION OF BIDS

Place, date and time-limit for submission of Bids:

Bidders shall submit their bids at the office of the General Secretariat of Idenau Council on or before the ………at 10 am local time.

	12
	OPENING OF BIDS
Place, date and time of opening of Bids;

Bids shall be opened at the Conference hall of Idenau Council situated at the Council Building on the ……….. at 11 a.m. local time. The Bids shall be opened in one (01) phase.

	13
	AWARD OF THE CONTRACT
The Jobbing Order shall be awarded to the lowest bidder who shall be technically and financially qualified.

	14
	FINAL OR PERFORMANCE BOND

	
	The final bond shall be set at 2% of the amount of the contract, inclusive of all taxes.

The guarantee must be returned or released within one month following the date of provisional acceptance of the works, following a release order issued by the Contracting Authority upon request by the contractor. 





IDENAU COUNCIL INTERNAL TENDERS BOARD

No. 09 /ONIT/IC/FAKO/ICITB/PIB 2026 OF 10th February 2026
 (EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
FUNDING:  PUBLIC INVESTMENT BUDGET 2026


SPECIAL ADMINISTRATIVE CLAUSES (SAC)

TABLE OF CONTENTS

Chapter 1: General Provisions.

Article 1: Subject of the Contract
Article 2:  Method of awarding the Contract
Article 3:  Definitions and duties

Article 4:  Language, applicable law and regulations

Article 5: Contract Documents

Article 6: General applicable texts

Article 7: Communication
Article 8: Administrative Orders

Article 9: Contractor’s equipment and personnel
Chapter 2: Financial Clauses.

Article 10:  Guarantees and securities

Article11:  Amount of the Contract
Article 12:  Place and method of payment

Article 13:  Method of evaluation of work done

Article 14:  Evaluation of materials on site

Article 15:  Advance on Start off payment

Article 16:  Payment on account 

Article 17:  Penalties for delay

Article
18:  Registration and stamp duty

Chapter 3:  Execution of the Works 

Article 19:  Execution time limit of the Contract 

Article
20:  Roles and obligation of the Contractor
Article
21:  Roles and obligations of the Contracting Authority

Article22: Roles and obligations of the Contract Manager   

Article
23:  Insurance of structures and civil liabilities 

Article24: Documents to be furnished by the contractor
Article25: Organization and safety on site
Article
26:  Access to project sites
Article
27:  Setting out of structures 

Article
28: Work site journal.


Chapter 4:

ACCEPTANCE
Article29:  Provisional acceptance
Article
30:  Guarantee period
Article
31:  Final acceptance

Chapter 5: Miscellaneous Provisions

Article 32:  Termination of the Contract
Article
33:  Force Majeure

Article
34:  Litigation

Article
35:  Drafting and dissemination of the Contract 

Article
36: and last: Validity of the Contract.

CHAPTER 1:

GENERAL PROVISIONS

Article 1: SUBJECT of the CONTRACT
The subject of this Contract is FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
ARTICLE 2:  Method of AWARDING the CONTRACT
The Contract shall be awarded after a call for Open National Invitation to Tender for duly registered Cameroonians (Small and medium size enterprises) in conformity with Decree N° 2018/366 of 20/06/2018 to institute the Public Contracts Code; 
Article 3:  Definitions and duties

3.1 General Definitions: In the application of the dispositions of the present Jobbing Order, it is specified that:

a) The Contracting Authority shall be the Mayor of Idenau Council; in this respect he preserves the original documents relating to the jobbing order and transmits copies to the Public Contract Regulatory Agency.
b) The representative of the Authority in-charge of public contracts: Divisional Delegate of Public Contracts. He ensures the effective and qualitative execution of the job and the entire system.
c) The Contract Manager shall be; the CDO Idenau Council. In this capacity, he shall ensure the respect of the administrative, technical and financial clauses of this jobbing order.
d) The Contract Engineer shall be the Divisional Delegate of Public Works. In this capacity, he ensures the overall quality of the work, visa all payments and advice the Contracting Authorityand the Contracting Authority on issues related to the project. 
e) The Contractor shall be the successful bidder.
NOTE: The Divisional Control Brigade of MINMAP Fako, has the right to visit the site at any time without any prior notice. The controller shall verify and report on the quality, effectiveness of work and present activities of all the stakeholders of the jobbing order.
3.2 The Authority to approve any payment shall be the:  Vote Holder
And if it is the final or last payment, there must be a final endorsement from the Divisional Delegate of Public Contracts Fako.
3.3 The official in charge of payment shall be the: Municipal Treasurer of Idenau.
3.4 The official competent to furnish information within the context of execution of this contract shall be the: Contracting Authority
SECURITY.
a) The authority to incur expenditure shall be the Mayor of Idenau Council
b) The authority to approve payment shall be the Mayor of Idenau Council
c) The official in charge of payment shall be the Municipal Treasurer in accordance with the specifications on the credit card.

d) The official competent to furnish information within the context of execution of this contract shall be the Contract engineer.

ARTICLE 4:  Language, applicable law and regulations

4.1 The language to be used shall be either English or French

4.2 The contractor shall be bound to observe the laws, regulations and ordinances in force in Cameroon and in the execution of the contract.
Article 5:  CONTRACT Documents

The Contractual documents, which form part of this contract are in order of priority.

1. Special Administrative Clauses (SAC)  

2. Special Technical Clauses (STC) 

3. Estimates of Quantities

4. Plans (Drawings)

5. The bidder’s tender and its annexure in all provisions not contrary to the Special Administrative Clauses (SAC)  and the Special Technical Conditions (STC)referred to above;

6. The bid letter or commitment letter,

7. Norms in force in the Republic of Cameroon 

8. Texts on the protection of the environment 

9. Procedures of the Idenau Council Internal Tenders Board

10. The particular element necessary for the determination of the contract price, such as in order of priority: (the unit price schedule, the lump sum prices)

ARTICLE 6:  General applicable texts

This contract shall be governed by the following texts:

· Law No. 96/12 of 05 August 1996 on the management of the environment.

· Law No. 2015/019 of 21/12/2015 on the finance law of the Republic of Cameroon for the 2015 financial year;

· Decree No. 2018/366 of 20 June 2018 to institute the Public Contract Code and subsequent circulars.
· Decree No. 2003/651/PM of 16th April 2003 to lay down the procedure for implementing the Tax and customs system applicable to public contracts

· Decree No 093/CAB/PM of 5th November 2002 fixing the modalities of payments bids and security bonds on public contracts.

· Decree No. 2001/048 of 23 February 2001 relating to the setting up, organization and functioning of the Public contract Regulatory Agency.

· Decree No. 2012/076 of 08 March 2012 to amend and supplement some provisions of Decree No. 2001/048 of 23 February 2001 relating to the setting up, organization and functioning of the Public Contracts Regulatory Agency (ARMP).

· Decree No. 2012/074 of 8 March 2012 Relating to the setting up, organization and functioning of Tenders Boards;

· Decree No. 2012/075 of 8 March 2012 to organize the Ministry of Public Contracts;

· Circular No 004/CAB/PM of 30th December 2005 relating to the application of the Public Contracts code.
· Order No. 033/CAB/PM of 13 February 2007 enforcing the General Administrative clauses applicable to public works, supplies and services contract;

· Circular No. 001/CAB/PR/ of 19 June 2012 relating to the award and control of execution of Public contracts.

· Decree No. 2013/271 of 05 August 2013 to amend and supplement some provisions of Decree No. 2012/074 of 8 March 2012 relating to the setting up, organization and functioning of Tenders Boards;

· Circular letter N° 004/LC/MINMAP/CAB of 26 August 2013 defining modalities for prior visa to the signing of certain contracts.

· Circular No 0001879/C/MINFI of 31/12/2025 bearing instructions relating to the implementation of the Finance laws, the monitoring and the control of execution of the budgets of the State and other public entities for the 2026 financial year.

· Letter No; 00908/MINTP/DR of 1997 to publish guidelines for the consideration of environmental impact of road maintenance;
Article 7:   Communication

7.1 All notifications and written communication within the framework of this contract shall be sent to the following  address:

a) In the case where the contractor is the addressee : beyond the time-limit of  15 days fixed in Article 6 (1) of  the GAC to make his domicile known to the Contract Manager and immediately after completion of the works, correspondences shall be validly addressed to the Council where the project is located.
b) In the case where the contracting Authority is the addressee: The Mayor of Idenau Council with copies addressed to the Contract Manager and the Contract Engineer.

7.2 The contractor shall address all written notifications or correspondences to the Contract Engineer with a copy to the Contract Manager.

Article 8:      Administrative orders

8.1 The administrative order to start execution shall be notified by the Contract Engineer of the contract.

It shall be signed by the Contracting Authority. 
8.2 Administrative Orders with financial incidence likely to notify the time-limits shall be signed by the Contracting Authority and notified by the Contract Manager.

8.3 Administrative Orders of a technical nature linked to the normal progress of the work and without financial incidence shall be signed directly by the Contract Manager and notified by the Contract Engineer.

8.4 Administrative Orders serving as warnings shall be signed by the Contracting Authority.

8.5 The contractor has the time-limit of fifteen (15) days to issue reservations on any service order received. Having reservations shall not free the enterprise of executing the service orders received.
Article 09:
Contractor’s equipment and personnel (Article 15 of GAC supplemented)

09.1 Any modification, even partial, made to the technical bid shall only occur after the written approval of the Contracting Authority. In case of modification, the contractor shall have a personnel replaced by a member of staff of equal competence (qualifications and experiences).

09.2 In any case, the lists of supervisory staff to be used shall be subject to the approval of the Contracting Authority in the days following notification of the Administrative Order to start execution. Contracting Authority has fifteen days to notify his opinion in writing with a copy sent to the Contract Engineer. Beyond this time-limit, the staff list shall be considered as approved.

09.3 Any unilateral modification on the supervisory staff made in the technical bid prior to and during the works shall be a reason for termination of the contract as mentioned in article 45 below or the application of penalties.

Replacement of any personnel by the contractor without the written authorisation of the Contracting Authority shall be one hundred thousand Francs (100 000) for each personnel changed.
CHAPTER 2:  FINANCIAL CLAUSES

Article 10:  Guarantees and securities

10.1     Final or Performance bond.

The final bond shall be set at 2% of the amount of the contract, inclusive of all taxes.

The guarantee must be returned or released within one month following the date of provisional acceptance of the works, after a release order issued by the Contracting Authority upon request by the contractor. 
10.2 Guarantee Retention

A guarantee of 10% of the amount of the contract all taxes inclusive (ATI) shall be retained at the public treasury from every part payment. This retention guarantee can be surety at 100% by a Cameroonian bank or insurance company recognised by the Ministry in charge of Finance.
10.3 Guarantee of  start off payment

The contractor may be granted a start off amount of 20% of the contract amount (inclusive of taxes) upon request. The start-off payment shall be guaranteed at 100% by a Cameroonian bank recognized by the Ministry in charge of Finance or insurance company. Confer Art. 159-161 of the Public Contracts Code.
Article 11:  Amount of the CONTRACT
The amount of this Contract as per the attached bill of quantities and cost estimates is 

____________________________ (in figures) ______________________________ (in words) CFA. Francs tax inclusive.

Article 12: Place and method of payment

All payments will be made through the contractor’s bank account No ………………………………….opened in ………………………………………..
The contractor shall be paid upon certification by the Contract Engineer of the various phases of completed work. These instalment payments shall be signed in seven (07) copies by the Contract Engineer and the contractor, and then forwarded to the authorizing officer for payment. The contractor is responsible for all the expenditures resulting from the studies and follow – up of the job.

 All vouchers for payment must have the visa of the Contracting Authority.
Article 13: Method of evaluation of work done

The work done shall be evaluated using their unit price.

Article 14: Evaluation of materials on site

14.1 The contractor shall be paid for usable materials intended for the execution of the works mobilized on site in the event where the contract is prematurely terminated as provided for by the Regulations in force especially the public contract code.

14.2 No security shall be requested for payment on account of supplies or materials which are already on site.
Article 15:  Start off payment

On the written request of the entrepreneur and in accordance with regulation of public contract, he will be granted a start-off payment of 20% (tax inclusive) of the amount of the contract without justification. This sum should be guaranteed 100% by a banking establishment accepted by MINFI according to the COBAC conditions. 
The start-off payment will be proportionately deducted from each part payment and should be totally reimbursed when the accumulated payments reach 80% of the value of the contract. (Art. 160 (1-6) of the Public Contracts code). 

All bills .shall be verified and approved by the Contract Engineer and only after the visa of MINMAP, for last payment, before submission to the Controller of Finance – Limbe for financial VISA.

Article 16: Payment on account

16.1 The amount of payment on account shall not exceed the value of the technical execution phases carried out.

16.2 Payment on account may be spread over the duration of the execution of the contract according to technical execution phases as defined in the contract.

16.3 All payment vouchers must carry the visa of the Contracting Authority.

Article 17: Penalties for DelayS (Article 34 of GAC)
A. Penalties for Delay
17.1 Failure to finish the complete works within the deadline by the entrepreneur will attract the following penalties for lateness.

· 1/2000 of the amount of the contract from the 1st to the 30th day of lateness 

· 1/1000 of the amount of the contract after 30th day of lateness

Penalties will be applied automatically without notice and per single due date of the appointed time except to legally defined circumstances beyond one’s control or “force majeure”. These penalties shall be applied on part payments of the works

It is specified that no bonus is foreseen in case of anticipated delivery. 

17.2 The cumulated amount of penalties for delay shall be limited to ten percent (10%) of the initial contract inclusive of all taxes.

B. Specific Penalties
Independently of penalties for overrun of contractual time-limit, the contractor shall be liable for the following special penalties for non-observation of provisions of the contract:
- Late submission of final bond = 50 000 FRS

- Late submission of Insurance = 50 000 FRS

- Late submission of the Performance programme = 50 000 FRS. 

Payable at the Municipal Treasury of Idenau
Article 18: Registration and stamp duty

Seven (07) original copies of the present contract will be stamped and registered at the Regional Centre of Taxes Limbe, at the expense of the contractor, in accordance with the regulations in force.
CHAPTER 3: EXECUTION OF THE WORKS

Article 19: EXECUTION TIME LIMIT (DURATION) OF the contract.

The duration of the contract is three (03) months from the date of notification of the Administrative Order to start.

Article 20: Roles and obligationS of the CONTRACTOR
The contractor has as mission to ensure the execution of works as described in the technical estimate under the control of the contract engineer and this in accordance with the existing contract rules and regulations and also respecting all technical norms and specification.

Article 21: 
Roles and obligationS of the Contracting Authority

The Contracting Authority shall make the site available for the works without interruption. The Contracting Authority shall authorize the contractor to install a site of the work and allocate any necessary installation for the use of the contractor.

Article 22: 
Roles and obligationS of the CONTRACT ENGINEER
The Contract Engineer shall within 20 days of notification to commence works provide the contractor with necessary plans and documents relating to the works. 

Article 23: Insurance of structures and civil liabilities

The contractor shall take out a third party risk insurance concerning persons, property, or liabilities from an insurance company governed by the “CIMA” insurance code.

Article 24: Documents to be furnished by the contractor

24.1 Programme of  works and Quality Assurance Plan
Within a maximum deadline of thirty (30) days from the date of notification of the Service Order to commence execution, the contractor shall submit in five (5) copies for the approval of the Contract Manager after the endorsement of the Contract Engineer the performance programme of the works, his work schedule, his draft Quality Assurance Plan and environmental management plan.

This programme will be exclusively presented according to the furnished models.

Two (2) copies of these documents will be returned to him within a deadline of between eight and fifteen days from the date of reception with:

Either the indication “GOOD FOR EXECUTION” or, the indication of their rejection including the reasons for the said rejection.

The Contractor has eight (8) days to present a new one.

The Contract Engineer then has a deadline of five (5) days to give his approval or possibly make remarks.  In this case, the procedure is started all over without this affecting the contractual time-limit.

The approval given by the Contract Engineer does not in any way release the contractor of his responsibilities.  Meanwhile, works executed before the approval of the programme shall neither be ascertained nor paid for.  The updated and approved schedule will become the contractual schedule.

The Contractor will constantly update on site, a schedule that will take account of the real progress of the site.  Significant modifications may only be made on the contractual programme upon receiving the approval of the Contracting Authority.

a) The Contractor shall indicate in this programme the equipment and methods which he intends to use as well as the personnel he intends to employ.

b) The approval granted by the Contract Engineer shall in no way diminish the responsibility of the contractor with regard to the harmful consequences which their implementation may cause both towards third parties and the respect of clauses of the jobbing order.
24.2 Execution Plan

a) The execution plan documents (calculations and drawings) necessary for the realization of all the parts of the structure must be submitted for the endorsement of the Contract Engineer at least one month prior to the date provided for the commencement of realization of the corresponding part of the structure.

b) The Contract Engineer has a deadline of fifteen days to examine and make known his observations.  The Contractor then has a deadline of eight days to present a new file including the said observations.

Article 25:
Organization and Safety on Site

25.1 Signs at the work site must be placed within a maximum deadline of one (01) month after the notification of the service order to commence work.

25.2 The contractor shall respect all standards safety measures during the execution, shall clear the site upon completion of the works.
Article 26:
ACCESS TO PROJECT SITES

Representatives of the Contracting Authority shall, in the course of their control activities of the physical execution of Public Contracts as prescribed in Articles 34(1), 64(3) and 69 (3) of Decree No. 2012/075 of 8th March 2012 to organize the Ministry of Public Contracts, regularly be on the field in order to ascertain the effective execution of projects.

In this regard, they shall have free access to sites and all documents or information relating to the execution of the projects.
Article 27:
Setting out of Structures

The engineer shall within a maximum of fifteen (15) days following the date of notification of the service order to commence work, make himself available to the contractor for the setting out of the structures.

Article 28:
Work Site Journal

The worksite journal must be jointly signed systematically by the Contract Engineer and the Contractor or his representative during site meetings and at each site visit.

Chapter IV:
ACCEPTANCE

Article 29: 

CERTIFICATE OF SUBSTANTIAL COMPLETION 

(Provisional ACCEPTANCE)
Before the signing of the certificate of substantial completion (provisional acceptance), the Contractor shall request in writing to the Contract Manager with a copy to the Contract Engineer and MINMAP for a Technical Acceptance that shall amongst others ascertain that:

29.1 Tests and checks are carried out;

29.2 The folding up of the site installations and the restitution of the site as it was;

29.3 The acceptance committee shall comprise the following members:

· The Contracting Authority                                             


 
Chairperson
· The Divisional Delegate of Public Contracts                                            
Observer 

· The CDO                                                                                                     
Member       

· The Contract Engineer                                                                


Secretary

· The Stores Accountant                                                                              
Member 

· The Contractor                                                                                            
Member                                         

The signing of the certificate of substantial completion will be done on the project site and in the presence of the Contractor. The Contractor shall be informed of the reception by mail at least ten (10) days prior to such a date. His absence is equivalent to acceptance without reservation of the outcome of the Acceptance Committee.

The Acceptance committee will verify the quality and the conformity of work executed, as per the terms of the contract and will decide whether or not the job can be received.  

In case of nonconformity, the Contractor will be invited to re-do the poorly done work. In case of conformity, the commission will receive the job and will write a report that will be signed by all of its members and the contractor on the spot. 

Article 30:
Guarantee Period

The guarantee period shall be one (01) year to run from the date of the provisional acceptance of the works.

Article 31:
Final ACCEPTANCE
The certificate of Final Completion (Acceptance) shall take place after the date of expiry of the guarantee period. The procedure for final Acceptance shall be the same as for provisional Acceptance.

CHAPTER V:
MISCELLANEOUS PROVISIONS

Article 32:
Termination of the contract
The contract may be terminated as provided for in Decree No. 2018/366 of 20 June 2018 to institute the Public Contracts Code especially in case of:

· Delay of more than fifteen (15) days in the execution of a Service Order or unjustified stoppage of more than seven (7) calendar days;

· Delay in work resulting in penalties of more than 10% of the amount of the works;

· Refusal to repeat poorly executed works;

· Default by the contractor;

· Persistent on payment for services.

Confer Art. 180-182 of the Public Contracts Code.

Article 33:
MAJOR IMPEDIMENT
The contractor shall raise the issue of major impediment, concluded after its signature by the Mayor of Idenau Council, the Contracting Authority. This shall only come into force after its notification to the contractor, by the Contracting Authority. The thresholds below which claims shall not be admitted are:

Rainfall:
200 mm in 24 hours depending on the nature of the soil

Wind:

40m/s   
Flood:

decennial flood frequency

In the event of circumstances beyond his control hindering the progress of the works, the contractor shall only be relieved of his responsibilities if he notifies the Administration in writing of his intention to invoke these circumstances of force majeure within fifteen (15) days of the occurrence of the event.  
However, the Administration still reserves the right to appreciate the circumstances of the force majeure.
Article 34:
Litigation

Any dispute arising from this contract shall be resolved amicably.  Failure to arrive at a compromise amicably, the matter shall be referred to the competent court in Fako Division of the South West Region, Republic of Cameroon.

Article 35:
Drafting and Dissemination of this contract
Ten (10) copies of this contract shall be produced at the cost of the contractor and furnished to the Contract Manager.

Article 36:
and last:
Validity of the contract
The contract shall be considered valid after signature by the Mayor of Idenau Council and after registration. 

Also, it shall be considered enforceable after notification to the contractor. 



IDENAU COUNCIL INTERNAL TENDERS BOARD

No. 09/ONIT/IC/FAKO/ICITB/PIB 2026 OF 10th February 2026
 (EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
FUNDING:  PUBLIC INVESTMENT BUDGET 2026


CHAPTER I:  GENERAL PROVISIONS

Article 01: WORK DESCRIPTION

The purpose of this Open National Invitation to Tender is FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
Article 02:  GENERAL OBLIGATIONS OF THE CONTRACTOR

The contractor shall execute the works in compliance with the special technical provisions.  Control missions shall be carried out by the Contract Engineer and shall comprise:


a)  Technical control:

Before execution of work

· Examination of the general proposals made by the contractor concerning the structures of the construction site, work planning and possible sub-contractors;

· Verification of the bills of quantities drawn by the contractor;

· Verification of execution plans for approval, technical conditions and all the documents relating to the modifications that shall be necessary for a proper execution of works;

· Reception of materials and equipment required for a proper execution of works;

· Control of the putting in place of activities aimed at sensitizing the beneficiary populations.

During or after execution of works

· Control of characteristics of the materials used and their compliance with the prescribed norms: 

Rip-rap irons aggregate for concrete, duct mould, etc.

· Control of the execution of works, notably:

· Clearing and maintenance of the area where the structure will be put up, that is weeding and felling of trees, if necessary;

· Repairing and cleaning the entrances to the structure site.

b)  Environmental control

It shall consist of checking that the contractor executes the works specified in the Special technical conditions, and in the tender file as a whole, in compliance with the provisions relating to environmental protection or the laws and ministerial instructions referred to in article 22 of the special administrative conditions.

Article 03:  PUTTING IN PLACE PERSONNEL AND MATERIALS


To ensure a proper execution of works, the contractor shall put in place teams made up as follows, for information only:

· The foreman (HND-level) who shall control the works and shall have at least three years of work experience in the execution of building construction works, public works;

· Specialized personnel: bricklayers, bar benders, topographers, specialized workers, etc.
· Personnel of the contractor must be those mentioned in the technical bid of the enterprise. Any change of personnel shall not be tolerated without the written request to the Contracting Authority.

Article 04:  START AND DURATION OF WORKS


The duration of works shall be three (03) Months with effect from the date of notification by the Contract Engineer of the Administrative Order to start work.

CHAPTER II:  TECHNICAL CONDITIONS

This technical description of estimates is intended to define the content of the works.  It specifies the quality of materials and the mode of execution in keeping with the rules and in compliance with the constituent documents of the contract.


Description of tasks


The main tasks to be carried out shall be the following:

· See Nature of Works under technical document (sectors by sectors activities to be carried out) as planned.

Article 06:  QUALITY AND PREPARATION OF MATERIALS

Every material used and supplies shall be of high quality and put up in keeping with the rules and with great care.

They shall meet the general specifications and the general requirement set out by the CSTB.  All relevant materials to be used by the contractor or put at his disposal shall be subject to the approval of the Project Engineer.

TECHNICAL REQUIREMENTS


The contractor shall comply with the laws in force concerning fire protection, thermal insulation, acoustical insulation and ventilation; even if provisions have not been made in the plans and written documents.


It should be noted that all the works to be carried out or modified following amendments brought in keeping with the rules, shall be charged to the contractor.

CHAPTER III:  MODE OF EXECUTION OF WORKS

Article 07:  PLAN OF EXECUTION

I – Performance programme:

· Construction drawing and details at the appropriate scales;

· Work planning;

· Method and technical approach to execution;

· Organization of the Personnel;

Acceptation of the difficulties of the field

The contractor will have to accept all the difficulties that he may encounter and relating to the configuration of the sites, the nature of the soils, the stone and brick works, and solids existing in the soil.

Moreover, the contractor shall take note of the location of the old networks: telephone, water, electricity or other that may be found in the field.  Therefore, he shall not remove any existing meter or pipe without informing the Contract Manager of their presence.

Site survey

The contractor shall take over the site as he shall find it.  He shall therefore be supposed to have perceived all the difficulties that he may encounter and relating to the configuration of the site, the nature of the soils, neighbouring constructions, etc…

TECHNICAL SPECIFICATIONS

The construction phases will be as follows:

· See Nature of Works Technical document

· PREPARATION WORKS AND STUDIES:  The contractor shall carry out site studies which will enable him/her to evaluate the quantities that will be necessary for the execution of the contract.

NB:  Errors or omissions resulting from the exploitation of the constituent documents of the contract shall be taken into consideration.

CHAPTER IV: PARTICULAR TECHNICAL TERMS NOTE BOOK

GENERAL DESCRIPTION

In these descriptions, in general the project manager has taken the duty of informing entrepreneurs on the quality of structures to be constructed, in their numbers, their dimensions and their locations. It is worth noting that these descriptions do not have a limitative character and so the contractor is expected to execute within the remit of his prices without reservations nor exceptions all the works as professionally warranted.

The fact that a contractor accepts without modifications on the prescriptions of the technical document which were given to him implies his total acceptance of the terms of these documents and he is thus expected to assume his total responsibility as a contractor.

During the period between the temporal and final receptions, the contractor will be held responsible for the repairs of any disorder that may occur, in the works he did previously.

CONSTRUCTION OF STRUCTURE

All the dispositions mentioned in the descriptive estimates and on the architectural drawings have to be respected obligatorily, as much as in the choice of material and the method of construction. 

Poorly executed portions of works shall simply be redone at expense of contractor.

The contractor should make provisions for all indispensable works in order to assure the smooth and perfect accomplishment of his task in accordance with the rules and regulations binding both in this tender and regulatory instruments of public contracts applicable in the Republic of Cameroon.

Furthermore the contractor having rendered account of the dispositions of the site, its accesses and servitudes recognizes by his professional knowledge that he cannot pretend to ask for any contractual price increment.

SITE PUT AT THE DISPOSAL OF THE CONTRACTOR

A piece of land may be set at the disposal of the contractor before and/or during execution for the provisional installation of his site store/office.

In this case, the contractor shall keep this site clean and in good shape, possibly as before at the end of the project.

The site will be constantly made tidy and reject-materials shall be disposed of in a place chosen by the control/follow-up engineer. The wastes shall be removed from the site once every week. The appreciation of the present article is reserved exclusively to the control engineer.

SIGN-POSTS

The contractor shall put in place at his expense sign-posts indicating the works in conformity with the plans put at his disposal by the control/follow-up engineer and bearing all relevant or necessary information.

STRUCTURAL STABILITY

Analysis

The control engineer has the right to ask at any time, laboratory analysis on any used materials on site before it is used, at the expense of the contractor. The Laboratory for these analyses will be the choice of the engineer.

Verification of dimensions

The contractor shall verify all dimensions of plans and assure their conformity. He shall inform the control engineer immediately, in case of any omissions or errors.

The contractor shall not modify any architectural plan without the consent of the control engineer.

In the case the contractor does not comply with the above prescriptions, he shall be liable to any error noted during construction and the consequences of all nature that these errors might provoke.

CHARACTERISTICS OF THE DESCRIPTIVE ESTIMATES

I- PRELIMINARY WORKS/STUDIES

Studies 

The contractor shall carry-out site studies which will enable him to evaluate the quantities that will be necessary for the execution of the contract.

Setting-out

The contractor shall execute the setting-out of the structure following the plans. This setting-out shall be verified by the control engineer before the commencement of any works.

Site security

The contractor shall construct a temporal site office with a site store. He shall ensure total hygiene and security of the site.  

II- EARTH WORKS

The contractor shall carry-out earth works according to the existing norms. This task comprises:

· Excavation of trenches and backfilling

· Trenches for reinforced concrete and masonry wall in foundation

· Backfilling of foundation trenches and other backfilling for flooring, including evacuation of excess or borrowed soil.

III- FOUNDATION

The contractor shall bear in mind that the following particularities have to be strictly observed:

· Lean concrete (5 cm thick) mixed at 150 Kg/m3 for the bottom of trenches

· Reinforced concrete mixed at 350 Kg/m3 for ground beams, pillars and footings

· 8 cm thick mass concrete floor batched at 350 Kg/m3 with wire mesh grid 10 cm x 10 cm

· Foundation walls with mortar-chocked sandcrete blocks 20 x 20 x 40 cm

IV- ELEVATION WORKS

The elevation works comprise:

· Plastering of walls with cement mortar mixed at 350 K/m3
· Reinforced concrete mixed at 350 Kg/m3 for tie beams, pillars and lintels

· Mass concrete for steps and gutter and ramp mixed at 350 Kg/m3
· Floor screed mixed at 350 Kg/m3
1- Bearing walls

Bearing walls shall be of hollow cement blocks measuring 15 x 20 x 40 cm as indicated in the drawings and designs.

These blocks shall conform to the regulations. They shall be supplied by the contractor and approved by the contract engineer.

2- Coating:
· The bearing surface shall be clean, free from any trace of dust or product resulting from the removal of the formwork. It shall enable the coating to stick firmly; otherwise it shall be treated by wire brushing, staking-out or bush-hammering.

· The bearing surface shall be watered to make it deeply wet but then cleaned on the surface during the application of the coating.

· After roofing-in, coating shall start only on block works that have been complete for at least two weeks.

· Coating shall comprise three (03) coats.

Bond coat or dash bond coat 

Batching of the dash bond coat shall be 350 Kg/m3; the mortar shall be batched so as to obtain proper workability. A dash bond coat measuring 1 cm thick shall evenly cover the surface to be coated.

Second coat

It shall be put on the bond coat three days after. The capacity of this coat shall be obtained by close and even tightening of mortar with a steel float. The surface shall be rough and obtained by applying a ruler to it. It shall be 1 cm thick.

Finishing coat

It shall measure about 0.5 cm and shall be put up at least 8 days after the second coat.

3- Fine joints:
Whenever block works are astride an expansion joint, a fine joint shall be drawn with wire in order to make edge clean.

4- Topping: 
It shall be 4 cm thick and shall be fitted in the slab with coarse sand in a 400 Kg/m3 mortar. Finishing and polishing shall be made with cement grout.

V- METAL WORKS
All works of locksmith will be executed with metal sheet, in tube or metallic angle bars, according to specifications of the descriptive estimate.

All metallic elements must receive two coats of anti-rust paint of high quality before usage.

VI- ELECTRICAL WORKS

i- Cable sleeves:
They will be with insulation orange tubes, of diameter 16 mm embedded into the block work.

ii- Cable:
VGV or TH cables shall be used. As general rule, the following sections shall be taken:

· 1.5 mm2 for lighting circuits 
· 2.5 mm2 for outlet circuits
Each circuit shall comprise at most 08 appliances and shall be protected by 10 A fuses for lighting circuits and 16 A for outlet circuits.
iii- Equipment :
Models shall be approved by the contract engineer before they are installed or fitted.

VII- CARPENTRY AND JOINERY

Content of works

1- Framework:

Trusses shall be of solid wood (small leaf) treated by immersion or diligent brushing with wood-preservative (XYLAMON or CARBONYL). They shall be of section (5 x 15) cm2. The tie beam and principal rafter shall be doubled and respective joints nailed.

Ridge poles shall be made with solid wood treated with carbonyl of section (5 x 8) cm2 and fixed to trusses by steel staples, of diameter 6 mm. They shall be fixed to the gables and partition walls by steel rods of 6 mm diameter.

2- Roofing:
It shall be of profiled sheets (TOLE BAC) 6/10 and fixed to ridge poles by lag screws (8 x 80) complete.

· The ridge of the roof shall be raised and covered with ridge sheet, 50 cm large.

· Gables shall have block masonry to touch the roof.

The fascia boards shall be 30 cm large with smooth aluminium sheets.

3- Ceiling:
The ceiling shall be made with selected, seasoned and treated plywood 4 mm thick. The boards shall be                       60 cm x 120 cm double-faced, fixed to joists of dimensions 4 cm x 8 cm. They shall be separated one from the other by a hollow joint of 5 mm.

· Peripheral cover strips (angle battens) inside and outside

· Cellar flap to be placed at easily accessible points

· Vent holes perforated on the external boards on the right-side of each board.

REGULATIONS TO OBSERVE

In the construction of structures referred to in the specifications, the contractor shall conform to all laws and regulations, norms in force at the time of execution of works, notably:

· NORM NF P21.202 : ROOFING AND ROOFING SHEETS

· RULES CB 66/71: METAL AND WOOD DESIGN

· DTU No. 30: FORMWORK AND STAIRS IN WOOD

· DTU No.59: PAINT WORKS AND CLEANING

· DTU No.81 : RESURFACING

· SPECIFICATION OF PAINT PRODUCTS AND UNP TESTING METHODS

VIII- PAINTING

Paint works shall include rubbing-down, flatting and filling-in the paint coating.

i- Primer : PANTEX 800 for walls and ceiling

ii- Finishing: as indicated below

· ceiling..................PANTEX 800 in 02 coats

· external walls.................PANTEX 1300 in 02 coats

· internal walls...................PANTEX 800 in 02 coats

· wall base..........................15 cm of alkyl paint in 02 coats

· doors and openings................02 coats of alkyl paint

IX- DRAINAGE

Drainage works shall comprise:

· Construction of concrete gutters round the building

· Protecting the immediate surroundings of the building with mass concrete

FURTHER TECHNICAL SPECIFICATIONS 

A)      EXCAVATION FOR FOUNDATION AND WALL FOOTINGS
           A - 1     EXCAVATION
-     The site of the works shall be cleared of vegetable soil and filled to the level given on the drawings or as shall be decided by the Engineer.       

Excavations shall be of the width and length necessary for the construction or the foundations or other works below the ground.  The depths of the excavation shall be decided by the Engineer.  The contractor shall record on a suitable plan, which shall be deposited with the Engineer, the depth of every foundation as constructed.

-
Any obstacle encountered during the excavation shall be reported to the Engineer and shall be dealt with as then instructed.

-
The contractor shall by pumping or other approved means maintain the excavation free from water and immediately before concreting and other work be constructed therein the bottom shall be cleaned and if in loose or disturbed ground shall be well rammed and the whole shall be approved.  

           A – 2    BACKFILLING
· Natural hollows or pockets where soft ground has been taken out below the level of foundations or similar shall be filled with earth filling as instructed.                    

· Earth filling shall be in layers not exceeding 15 cm thick, each layer being well rammed to the same degree of consolidation as the surrounding ground using a roller or plate compactor.

· Filling behind or at the sides of the foundations or other work under the ground shall consist entirely of earth surplus from the excavations and shall be deposited as the works proceeds in layers not exceeding 30 cm thick, each layer being well rammed.

· Filling behind retaining walls or similar shall consist of approved selected earth deposited gently against the back of the wall in layers not exceeding 60 cm in depth unless otherwise instructed.

           A – 3     PREPARATION OF GROUND BEHIND PERMANENT

 CONSTRUCTION
Plain or lean concrete in foundations shall be placed in direct contact with the bottom of the excavation, the concrete being deposited in such a manner as not to be mixed with the earth.

 The bottom of excavation for reinforced concrete work shall be covered with a “blinding” layer of lean concrete dosage 150 Kg/m3 not less than 5 cm thick finished to a smooth surface.  The required cover of concrete under the reinforcement shall be entirely above the blinding layer.

           B           CONSTRUCTION OF FOUNDATION AND CONCRETE FLOORING
         B – 1       FILLING            (same as A.2)  

         B – 2       FIXING REINFORCEMENT

   -       Reinforcement shall be accurately fixed and maintained in the position described on the drawings or elsewhere.  Bars intended to be in contact at passing points shall be securely wired together at all such points by binding wires which shall tightly embrace the bars with which they are intended to be in contact. 

                -       Immediately before concreting, the reinforcement shall be examined for accuracy of placing and cleanliness and corrected if necessary.

                -       The concrete cover of reinforcement shall be as described on the drawings and shall be provided and maintained by means of distant pieces of cement mortar of 2.5 cm thickness (sugar blocks) 

         B – 3      SHUTTERING
   -      Shuttering for concrete shall be rigidly constructed of approved material and shall be true to the shape and dimensions described on the working drawings. 

                -      Timber or plywood shall be well seasoned, free from loose knots and faces in contact with concrete shall be free from adhering grouts, projecting nails, splits or other defects. Joints shall be sufficiently tight to prevent the leakage of cement grouts and to avoid the formation of blemishes or fins.      

   -      An approved mould oil or other material shall be applied to faces of shuttering in contact with wet concrete to prevent adherence of the concrete.  

Such coatings shall be insoluble in water, non-staining, and not injurious to the concrete.   

         B – 4     COMPACTION
· Compaction equipment shall be approved by the control Engineer.

Fill materials shall be compacted in layers of 0.15 m and evenly spread out at near optimum moisture content.

          B - 5 MASONRY
This shall comprise of concrete hollow blocks or cracked black stones with a mixture as desired in the bill of quantities. The stone surface shall be flat irrespective of the size, except otherwise advised by the engineer and laid in an orderly manner to obtain a truly level and straight surface. 

B - 6       CONCRETING WORKS
 B - 6.1    CEMENT
The cement shall be ordinary setting Portland cement: 50 Kg/bag.  All cement shall be fresh when delivered and consignments shall be used in order of delivery. Admixtures shall be used only if approved.

            B- 6.2     AGGREGATES
· Materials used as aggregates shall be obtained from a source known to produce aggregates satisfaction for concrete and shall be chemically inert, strong, hard, and durable, of limited porosity and free from adhering coatings, clay lumps, and organic or other impurities that may cause corrosion of the concrete.

· Fine aggregate shall be clean, natural sand and shall be free from coagulated lumps.

· Coarse aggregate shall be crushed stone and shall be angular.  After twenty- four hours immersion in water, a previously-dried sample of the Coarse aggregate shall not have gained in weight more than 10%.

    The grading shall be size 15/25 mm.

B-6.3     WATER
Water shall be clean, fresh and free from organic or inorganic matter in solution or suspension.  Water shall be obtained from a public supply and shall be taken from any other source only if approved.  No water from excavation shall be used.

            B-6.4    STEEL BARS
· Steel bars shall be new twisted (ribbed) bars and of structural or intermediate grade edition.

· Steel bars shall be free from rust, oil, defects, grease or distortion.

· The space layout of the bars shall be as shown on the drawings.

· The steel bars shall be laid out evenly 25 mm above the sub-base level.

          B-6.5     CONCRETE PROPORTION CONSISTENCY
               -    This shall range from 150 to 450 Kg/m3 as specified on the bills of quantity. 

· The comprehensive strength shall be ascertained by crushing 15 cm diameter concrete cylinders, the cylinders being made on the works and tested as instructed      

· Lean concrete for blinding shall be of 150 kg/m3 dosage.

· Water content shall in no case exceed 22.5 litres per bag of cement or 180 litres per cubic meter of concrete for 400 Kg/m3 dosage or 82.5 litres per cubic metre for lean concrete.

          B-6.6      MIXING CONCRETE
The cement and aggregates shall be thoroughly mixed together in the proportions described in a batch-type manual mix, unless otherwise approved. 

The water shall not be admitted to the mix until all the cement and aggregate constituting the batch are in place and well churned.  Mixing shall continue until the concrete is uniform in colour and for not more than five minutes after all the materials and water are in the batch.

No partly-set or tempered concrete shall be used.  Partly-set of excessively wet concrete shall not be used on the works and shall be immediately removed therefrom. 

          B-6.7      PLACING OF CONCRETE
· Before proceeding to place the concrete, the shuttering shall be re-aligned if necessary and water and rubbish therein shall be removed by approved means.  

Immediately prior to placing the concrete, the shuttering shall be well wetted except in wet weather and all openings closed.

· Each layer of concrete while being placed shall be consolidated by approved methods of mechanical vibration to form a dense material.

· Concrete shall be placed continuously until completion of the part of work between construction joints as specified hereinafter.  At the completion of    a  specified or approved part a construction joint of the form and position

Herein after specified shall be made.  If topping of concrete placing be unavoidable elsewhere, a construction joint shall be made where the work is stopped.

         B-6.8      CONSTRUCTION JOINTS
· Construction joints shall be rebated and of an approved shape and shall be vertical or horizontal.

· Construction joints shall  be provided in the positions described on the drawings or elsewhere and where not so described shall be in accordance with the following:-

i) a joint shall be formed horizontally at the top of a foundation

ii) concrete in the splay at the junction of a wall and a slab shall be placed without a joint at the same time as that in a foundation.

· Before placing new concrete against concrete that has already hardened, the face of the old concrete shall be roughened and scum and loose aggregate removed there-from, and immediately before placing the new concrete the face shall be thoroughly wetted and a coating of neat cement grout applied thereto.   

The new concrete shall be well rammed against the prepared face before the grout sets. Newly placed concrete shall be protected by approved means from rain, sun and drying winds.  Exposed faces of concrete shall be kept moist by approved means for seven days after placing. Concrete placed below the ground shall be protected from falling earth during and after placing

         B-7.1      DRAINAGE
  The contractor shall make necessary excavation for the drainage and concreting of the same as specified in the plan.  Elevations of the drainage are indicated in the working drawings or as shall be decided by the Engineer.   The Contractor shall furnish all labour and materials required in the complete construction of the drainage system as specified in the plan. 

                  B-7.2      EQUIPMENT
The contractor shall use a mechanical batch concrete mixer (0.5 m3 minimum capacity) at least on the concreting works.  A concrete poker vibrator will also be used in consolidating concrete.  A hydraulic hammer to crack concrete.

A water pump machine to drain water in the basement (in case).  An excavator or equivalent for earth works.

B-7.3      CONCRETE HOLLOW BLOCKS
All concrete hollow blocks shall be 15 cm x 20 x 40 cm or 20 x 20 x 40 cm dimension  as stated in the bill of quantities, obtained from a good quality fine aggregate and  shall be load bearing (engineering).   The CHB shall be locally made to produce 35 units per 50 Kg of ordinary Portland cement with good vibration.   Machine vibrated blocks are preferable. 

        B-7.4     PLASTERING
Mixture shall be 2.5 (volumetric) mortar mixture.  Plastering for the concrete poured structure such as floor and beams and intermediate columns shall be minimized so that extra care shall be exercised by the Contractor in setting up the measurements as specified in the drawings. Plastering for the CHB wall shall in no case be more than 2.5 cm and less than 2.0 cm thick. 

 B-8    PURLINS
Purlins shall be of 5 x 7.5 cm and 4.0 m seasoned hard timber (small leaf) as shown in the working drawings.

B-9    PAINTING
Painting wherever shall be of good quality specified in the bill of quantities. All metal surfaces are to be carefully scrubbed down with a steel wire brush.  Ensure that these surfaces are clean, dry and free from grease before painting.  Painting shall comprise of two coats where the second shall be done within 24 hours to provide for good adhesion. The external walls shall be painted with PANTEX 1300 while the internal walls shall be painted with PANTEX 800.

 C            ROOF COVER
Aluminium roofing sheets and ridging shall be of minimum gauge 6/10 mm profiled aluminium sheet as specified in the working drawings.

  D  ELECTRICITY
All electrical installations shall be in conformity with its plan and specifications.

E CLADDING
 It shall be stone work, bound by cement mortar dosed at 200 Kg/m3
F GENERAL
        -     Each phase of work completed must be inspected and approved by the control Engineer before further works especially those that will bear upon the completed phase.

        -      The contractor shall keep the surroundings clean of all equipment and debris at the end of works at no extra cost to the Council (Making good).

    -           Materials will be pre inspected by the control Engineer before use for installations. Failure to do so, all work done using such material which are not pre-inspected will not be accepted.

G PLUMBING & SANITARY INSTALLATION

· Sanitary Installations: The installation of WC (French), sink, shower, stand taps and connection to the Idenau Water Authority shall be carried out by a qualified and skilled plumber.

· Sanitary evacuation: This shall be done with the aid of soak away. A circular hole shall be dug into permeable ground and filled with broken stones. It shall be placed at about 3 m from the building so as to prevent the water from the soakaway from affecting its foundation.  The top shall be closed with a layer of concrete of about 10 cm thick. There shall be a septic tank constructed as an in-situ waste water treatment plant respecting all building norms.
H TILING

· Floor tiles 30 x 30 cm: These ceramic tiles shall be laid on a hardened concrete subfloor. A cement screed paste shall be buttered on the subfloor before laying the tiles with the thinnest possible mortar joint. After laying, the joints are filled with white or grey cement, which will later be followed by cleaning with a moist and soft tissue.

· Wall tiles: The walls of the toilets shall be finished with ceramic tiles (25 x 40 cm). They shall be bedded on a cement screed paste surface. However, this requires a careful preparation of the surface, making it to be level with cement-sand mortar, clean and dry.





IDENAU COUNCIL INTERNAL TENDERS BOARD

No. 09 /ONIT/IC/FAKO/ICITB/PIB 2026 OF 10th February 2026
 (EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
FUNDING:  PUBLIC INVESTMENT BUDGET 2026


	N° 
	DESCRIPTION OF WORKS
	UNIT
	
	UNIT PRICE in figures
	UNIT PRICE in words

	 
	LOT 100: PRELIMINARY WORKS AND STUDIES FOR THE CONSTRUCTION OF 02 LOCK-UP STORES (4M x 5M) WITH A VERANDA OF 1.5 M WIDE AND ONE TOILETS IN IDENAU.
	 
	 
	 
	 

	101
	Site installations including setting out of the foundation.
	LS
	
	
	

	102
	Clearing of vegetation from the site and cleaning of the site including Manual Landscaping.
	LS
	
	
	

	103
	Work Program with complete Execution Plans to scale 1/50 following the sketch (drawing) in the tender file and as built plan.
	LS
	
	
	

	 
	SUB-TOTAL LOT 100
	 
	
	
	

	 
	LOT 200: EARTH WORKS.
	 
	
	
	

	201
	Excavation of foundation trenches and footings.
	M³
	
	
	

	203
	Backfilling of the foundation and compaction . 
	M³
	
	
	

	 
	SUB-TOTAL LOT 200
	 
	
	
	

	 
	LOT 300: FOUNDATION WORKS. 
	 
	
	
	

	301
	Lean concrete for blinding dosed at 150 kg/m³.
	M³
	
	
	

	302
	20 x 20 x 40 cm filled sand crete masonry hollow blocks for foundation walls. 
	M²
	
	
	

	303
	Expansion joint from foundation to elevation
	LS
	
	
	

	304
	Reinforced concrete for isolated Pad Foundation Footings, pillars and ground (grade) beams dosed at 350 kg/m³ including admixture.
	M³
	
	
	

	305
	Hollow block floor (decking)
	M²
	
	
	

	 
	SUB-TOTAL LOT 300
	 
	
	
	

	 
	LOT 400: MASONRY - ELEVATION WORKS.
	 
	
	
	

	401
	Sand crete masonry hollow blocks (15 x 20 x 40) cm for wall elevation works.
	M²
	
	
	

	402
	Reinforced concrete dosed at 350kg/m³ for pillars, lintels and beams.
	M³
	
	
	

	403
	Plastering on all masonry work and dressing of the external reinforced concrete pillars and beams (eave/roof) dosed at 400 kg/m³.
	M²
	
	
	

	404
	5 cm thickness sand crete floor (rough finished).
	M²
	
	
	

	 
	SUB-TOTAL LOT 400
	 
	
	
	

	 
	LOT 500: ROOFING AND CEILING WORKS.
	 
	
	
	

	501
	Assembled rafters (double hard wood 4 cm x 15 cm). Roof Trusses, diagonal and horizontal bracing between roof trusses and well treated with the appropriate pesticides such as carbonyl, xylamon or selenium etc.
	M³
	
	
	

	502
	Purlins and battens hard wood (4 x 7.5) cm, well treated with the appropriate pesticides such as carbonyl, xylamon or selenium etc.
	M³
	
	
	

	503
	Ceiling work in 4 mm thick plywood including joist.
	M²
	
	
	

	504
	Fascia boards, well treated with the appropriate pesticides such as carbonyl, xylamon or selenium etc, with tole bac (lining) attached.
	ML
	
	
	

	505
	Aluminium roofing sheets in Tole Bac 6/10 e.
	M²
	
	
	

	506
	Aluminium top ridge cover (50 cm wide/width).
	ML
	
	
	

	507
	Aluminium gutters at eaves.
	ML
	
	
	

	508
	P.V.C. diameter (Ø) 10 mm pipes for roof (rain) water drainage including all necessary accessories (8m apart).
	LS
	
	
	

	509
	Smooth tole lisse for external (eaves) ceiling complete.
	ML
	
	
	

	510
	Angle Battens (lining) in hard wood for aesthetics.
	ML
	
	
	

	 
	SUB-TOTAL LOT 500
	 
	
	
	

	 
	LOT 600: ELECTRICITY.
	 
	
	
	

	601
	Flexible Conduit pipe of diameters (Ø) 13 mm, 20 mm e.t.c.
	Roll
	
	
	

	602
	Lighting cables of 3 x 1.5 mm² U1000R02V.
	Roll
	
	
	

	603
	Supply cables of 3 x 2.5 mm².
	Roll
	
	
	

	604
	Conduit cups (Legrand).
	U
	
	
	

	605
	Light switches, two (02) ways.
	U
	
	
	

	606
	Light switches, one (01) way.
	U
	
	
	

	607
	Sockets of 2P + E.
	U
	
	
	

	608
	Control panel (plexo) 2-way complete with all its contents.
	U
	
	
	

	609
	Junction (Connection) boxes complete with all its contents.
	U
	
	
	

	610
	 Earthing (earth cable and earth rods).
	LS
	
	
	

	611
	Fluorescent tube 120 cm.
	U
	
	
	

	612
	Round lamps for toilets
	U
	
	
	

	612
	Provisional sum for all other electrical accessories regarding security measures including provisions for individual meter or sub meter.
	LS
	
	
	

	 
	SUB-TOTAL LOT 600
	 
	
	
	

	 
	LOT 700: METAL, ALUMINIUM AND GLASS WORKS.
	 
	
	
	

	701
	Manual Aluminium rolling doors complete of dimensions (size: 1.50 x 2.10) m including all the necessary accessories and locks at the front of every Lock-up Store.
	U
	
	
	

	702
	Wooden door in hard wood (90*210)CM complete with frame
	U
	
	
	

	 
	Alu/glass window for toilets
	M²
	
	
	

	703
	Wooden door in hard wood (80*210)CM complete with frame
	U
	
	
	

	704
	Metallic protector above the door of size (1.50 x 0.4) m.
	M²
	
	
	

	 
	SUB-TOTAL LOT 700
	 
	
	
	

	 
	LOT 800: PAINTING WORKS.
	 
	
	
	

	801
	Two coats of quality paint (to be approved by the contract engineer) on ceiling.
	M²
	
	
	

	802
	Two coats of pantex 800 on internal walls.
	M²
	
	
	

	803
	Two coats of quality paint (to be approved by the contract engineer) on external walls.
	M²
	
	
	

	804
	Aplication of 2 coats of oil paint on metallic elements after antirust priming. 
	M²
	
	
	

	 
	SUB-TOTAL LOT 800
	 
	
	
	

	 
	LOT 900: EXTERNAL WORKS (V.R.D).
	 
	
	
	

	901
	Protecting the surrounding building (Block of Lock-up Stores) with mass concrete dosed at 350 kg/m³ and of 8 cm thickness.
	M²
	
	
	

	902
	Mass concrete cast-in-situ Gutters all round the Block of Lock-up Stores of size (40 x 40) cm and of thickness 10 cm dosed at 350 kg/m³.
	ML
	
	
	

	903
	Reinforced concrete external Access Ramps across the external drainage gutters round the building in front of every Lock-up Store of thickness 15 cm thick and 1.50 m wide dosed at 350 kg/m³.
	u
	
	
	

	 
	 
	 
	
	
	

	 
	LOT 1000; PLUMBING/SANITATION
	 
	
	
	

	1001
	Pipes for supply and evacuation of water including all accessories
	ls
	
	
	

	1002
	WC PARMA Model
	u
	
	
	

	1003
	Pedestal Wash hand basin
	u
	
	
	

	1004
	Towel hanger
	u
	
	
	

	1005
	Soap carrier
	u
	
	
	

	1006
	Septic tank
	u
	
	
	

	1007
	Sock away pit
	u
	
	
	

	1008
	Inspection chambers
	u
	
	
	

	 
	Tiles work
	 
	
	
	

	1009
	Floor tiles (30x30)cm, quality shall be approved by contract engineer
	m²
	
	
	

	1010
	mosaic tiles for toilet floor
	m²
	
	
	

	1011
	Ceramic tiles for toilet walls
	m²
	
	
	

	 
	SUB-TOTAL LOT 1000
	 
	 
	
	





IDENAU COUNCIL INTERNAL TENDERS BOARD

No. 09 /ONIT/IC/FAKO/ICITB/PIB 2026 OF 10th February 2026
 (EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
FUNDING:  PUBLIC INVESTMENT BUDGET 2026



	N° 
	DESCRIPTION OF WORKS
	UNIT
	Q’TY
	UNIT PRICE
	AMOUNT

	 
	LOT 100: PRELIMINARY WORKS AND STUDIES FOR THE CONSTRUCTION OF 02 LOCK-UP STORES(4M x 5M) WITH A VERANDA OF 1.5M WIDE AND ONE TOILETS IN IDENAU.
	 
	 
	 
	 

	101
	Site installations including setting out of the foundation.
	LS
	1.00
	
	

	102
	Clearing of vegetation from the site and cleaning of the site including Manual Landscaping.
	LS
	1.00
	
	

	103
	Work Program with complete Execution Plans to scale 1/50 following the sketch (drawing) in the tender file and as built plan.
	LS
	1.00
	
	

	 
	SUB-TOTAL LOT 100
	 
	 
	
	

	 
	LOT 200: EARTH WORKS.
	 
	 
	
	

	201
	Excavation of foundation trenches and footings.
	M³
	29.42
	
	

	203
	Backfilling of the foundation and compaction . 
	M³
	8.48
	
	

	 
	SUB-TOTAL LOT 200
	 
	 
	
	

	 
	LOT 300: FOUNDATION WORKS. 
	 
	 
	
	

	301
	Lean concrete for blinding dosed at 150 kg/m³.
	M³
	11.39
	
	

	302
	20 x 20 x 40 cm filled sandcrete masonry hollow blocks for foundation walls. 
	M²
	7.90
	
	

	303
	Expansion joint from foundation to elevation
	LS
	1.00
	
	

	304
	Reinforced concrete for isolated Pad Foundation Footings, pillars and ground (grade) beams dosed at 350 kg/m³ including addmixture.
	M³
	11.74
	
	

	305
	Hollow block floor (decking)
	M²
	50.24
	
	

	 
	SUB-TOTAL LOT 300
	 
	 
	
	

	 
	LOT 400: MASONRY - ELEVATION WORKS.
	 
	 
	
	

	401
	Sandcrete masonry hollow blocks (15 x 20 x 40) cm for wall elevation works.
	M²
	221.67
	
	

	402
	Reinforced concrete dosed at 350kg/m³ for pillars, lintels and beams.
	M³
	6.42
	
	

	403
	Plastering on all masonry work and dressing of the external reinforced concrete pillars and beams (eave/roof) dosed at 400 kg/m³.
	M²
	469.45
	
	

	404
	5 cm thickness sancrete floor (rough finished).
	M²
	79.93
	
	

	 
	SUB-TOTAL LOT 400
	 
	 
	
	

	 
	LOT 500: ROOFING AND CEILING WORKS.
	 
	 
	
	

	501
	Assembled rafters (double hard wood 4 cm x 15 cm). Roof Trusses, diagonal and horizontal bracing between roof trusses and well treated with the appropriate pesticides such as carbonyl, xylamon or selenium etc.
	M³
	2.50
	
	

	502
	Purlins and battens hard wood (4 x 7.5) cm, well treated with the appropriate pesticides such as carbonyl, xylamon or selenium etc.
	M³
	2.52
	
	

	503
	Ceiling work in 4 mm thick plywood including joist.
	M²
	64.59
	
	

	504
	Fascia boards, well treated with the appropriate pesticides such as carbonyl, xylamon or selenium etc, with tole bac (lining) attached.
	ML
	38.56
	
	

	505
	Aluminium roofing sheets in Tole Bac 6/10 e.
	M²
	73.14
	
	

	506
	Aluminium top ridge cover (50 cm wide/width).
	ML
	28.19
	
	

	507
	Aluminium gutters at eaves.
	ML
	26.37
	
	

	508
	P.V.C. diameter (Ø) 10 mm pipes for roof (rain) water drainage including all necessary accessories (8m apart).
	LS
	1.00
	
	

	509
	Smooth tole lisse for external (eaves) ceiling complete.
	ML
	38.56
	
	

	510
	Angle Battens (lining) in hard wood for aesthetics.
	ML
	158.55
	
	

	 
	SUB-TOTAL LOT 500
	 
	 
	
	

	 
	LOT 600: ELECTRICITY.
	 
	 
	
	

	601
	Flexible Conduit pipe of diameters (Ø) 13 mm, 20 mm e.t.c.
	Roll
	2.00
	
	

	602
	Lighting cables of 3 x 1.5 mm² U1000R02V.
	Roll
	2.00
	
	

	603
	Supply cables of 3 x 2.5 mm².
	Roll
	2.00
	
	

	604
	Conduit cups (Legrand).
	U
	8.00
	
	

	605
	Light switches, two (02) ways.
	U
	2.00
	
	

	606
	Light switches, one (01) way.
	U
	5.00
	
	

	607
	Sockets of 2P + E.
	U
	2.00
	
	

	608
	Control panel (plexo) 2-way complete with all its contents.
	U
	2.00
	
	

	609
	Junction (Connection) boxes complete with all its contents.
	U
	3.00
	
	

	610
	 Earthing (earth cable and earth rods).
	LS
	1.00
	
	

	611
	Fluorescent tube 120 cm.
	U
	6.00
	
	

	612
	Round lamps for toilets
	U
	2.00
	
	

	612
	Provisional sum for all other electrical accessories regarding security measures including provisions for individual meter or sub meter.
	LS
	1.00
	
	

	 
	SUB-TOTAL LOT 600
	 
	 
	
	

	 
	LOT 700: METAL, ALUMINIUM AND GLASS WORKS.
	 
	 
	
	

	701
	Manual Aluminium rolling doors complete of dimensions (size: 1.50 x 2.10) m including all the necessary accessories and locks at the front of every Lock-up Store.
	U
	2.00
	
	

	702
	Wooden door in hard wood (90*210)CM complete with frame
	U
	1.00
	
	

	 
	Alu/glass window for toilets
	M²
	0.72
	
	

	703
	Wooden door in hard wood (80*210)CM complete with frame
	U
	2.00
	
	

	704
	Metallic protector above the door of size (1.50 x 0.4) m.
	M²
	3.00
	
	

	 
	SUB-TOTAL LOT 700
	 
	 
	
	

	 
	LOT 800: PAINTING WORKS.
	 
	 
	
	

	801
	Two coats of quality paint (to be approved by the contract engineer) on ceiling.
	M²
	64.59
	
	

	802
	Two coats of pantex 800 on internal walls.
	M²
	281.67
	
	

	803
	Two coats of quality paint (to be approved by the contract engineer) on external walls.
	M²
	187.78
	
	

	804
	Application of 2 coats of oil paint on metallic elements after antirust priming. 
	M²
	6.00
	
	

	 
	SUB-TOTAL LOT 800
	 
	 
	
	

	 
	LOT 900: EXTERNAL WORKS (V.R.D).
	 
	 
	
	

	901
	Protecting the surrounding building (Block of Lock-up Stores) with mass concrete dosed at 350 kg/m³ and of 8 cm thickness.
	M²
	11.333
	
	

	902
	Mass concrete cast-in-situ Gutters all round the Block of Lock-up Stores of size (40 x 40) cm and of thickness 10 cm dosed at 350 kg/m³.
	ML
	16.19
	
	

	903
	Reinforced concrete external Access Ramps across the external drainage gutters round the building in front of every Lock-up Store of thickness 15 cm thick and 1.50 m wide dosed at 350 kg/m³.
	u
	2
	
	

	 
	 
	 
	 
	
	

	 
	LOT 1000; PLUMBING/SANITATION
	 
	 
	
	

	1001
	Pipes for supply and evacuation of water including all accessories
	ls
	1.00
	
	

	1002
	WC PARMA Model
	u
	2.00
	
	

	1003
	Pedestal Wash hand basin
	u
	2.00
	
	

	1004
	Towel hanger
	u
	2.00
	
	

	1005
	Soap carrier
	u
	2.00
	
	

	1006
	Septic tank
	u
	1.00
	
	

	1007
	Sock away pit
	u
	1.00
	
	

	1008
	Inspection chambers
	u
	2.00
	
	

	 
	Tiles work
	 
	 
	
	

	1009
	Floor tiles (30x30)cm, quality shall be approved by contract engineer
	m²
	56.99
	
	

	1010
	mosaic tiles for toilet floor
	m²
	14.98
	
	

	1011
	Ceramic tiles for toilet walls
	m²
	40.84
	
	

	 
	SUB-TOTAL LOT 1000
	 
	 
	
	

	
	SUMMARY
	 
	 
	
	

	 
	LOT 100: PRELIMINARY WORKS AND STUDIES FOR THE CONSTRUCTION OF 02 LOCK-UP STORES(4M x 5M) WITH A VERANDA OF 1.5M WIDE AND ONE TOILETS IN IDENAU.
	 
	 
	
	

	 
	LOT 200: EARTH WORKS.
	 
	 
	
	

	 
	LOT 300: FOUNDATION WORKS. 
	 
	 
	
	

	 
	LOT 400: MASONRY - ELEVATION WORKS.
	 
	 
	
	

	 
	LOT 500: ROOFING AND CEILING WORKS.
	 
	 
	
	

	 
	LOT 600: ELECTRICITY.
	 
	 
	
	

	 
	LOT 700: METAL, ALUMINIUM AND GLASS WORKS.
	 
	 
	
	

	 
	LOT 800: PAINTING WORKS.
	 
	 
	
	

	 
	LOT 900: EXTERNAL WORKS (V.R.D).
	 
	 
	
	

	 
	LOT 1000; PLUMBING/SANITATION
	 
	 
	
	

	 
	GENERAL TOTAL 
	 
	 
	
	

	 
	GENERAL TOTAL WITHOUT TAXES
	 
	 
	
	

	 
	VAT (19.25 %)
	 
	 
	
	

	 
	AIR (5.5 %)
	 
	 
	
	

	 
	GRAND TOTAL ALL TAXES INCLUSIVE
	 
	 
	
	

	 
	NET TO BE PAID
	 
	 
	
	





IDENAU COUNCIL INTERNAL TENDERS BOARD

No. 09/ONIT/IC/FAKO/ICITB/PIB 2026 OF 10th February 2026
 (EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
FUNDING:  PUBLIC INVESTMENT BUDGET 2026

	 SHAPE  \* MERGEFORMAT 





	DESIGNATION: 

	
	Daily output: 
	Total q'ty:
	Unit:
	Days :

	A-PERSONNEL
	Category
	No
	Daily wage
	Days paid
	Amount

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	TOTAL A
	

	B-EQUIPMENT
	Type
	No
	Daily rate
	Days break up
	Amount

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	TOTAL B
	

	C-MATERIALS & OTHERS
	Type
	Unit
	Unit cost
	Q'ty
	Amount

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	TOTAL C
	

	D
	TOTAL DIRECT COST 
	A+B+C
	

	E
	GENERAL SITE EXPENSES
	D*x%
	

	F
	GENERAL OFFICE EXPENSES 
	D*x%
	

	G
	GENERAL COST FOR CONTROL AND FOLLOW-UP OF WORK
	x%*D
	

	H
	NET COST 
	D+E+F+G
	

	I
	RISK + BENEFITS 
	H*x%
	

	P
	TOTAL COST WITHOUT TAX 
	H + I
	

	V
	UNIT COST WITHOUT TAX 
	P/Q'TY
	





IDENAU COUNCIL INTERNAL TENDERS BOARD

No. 09 /ONIT/IC/FAKO/ICITB/PIB 2026 OF 10th February 2026
 (EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
FUNDING:  PUBLIC INVESTMENT BUDGET 2026

	 SHAPE  \* MERGEFORMAT 





JOBBING ORDER N°_________/JO/IC/FAKO/ICITB/PIB 2026
Awarded after Open National Invitation to Tender

N° 09/ONIT/IC/FAKO/ICITB/PIB 2026 OF 10th February 2026 FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
Beneficiary: ……………………………………… 


P.O BOX……….. At …………….. Tel: …………… Fax ………………….



Business Registration No: ………………………..  At ………………….



Tax Payers No: ………………………………………………..



Account No ……………………………………………..

SUbject: FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
PLACE: Idenau Municipality, Fako Division - South West Region
Execution deadline: Three (03) months ………….……………………………………….

Amount in FCFA: ………………………………………………………………………………

	ATI
	

	TWT
	

	VAT (19.25%)
	

	A.I.R. (2.2% or 5.5%)
	

	Net Payable
	


FUNDING: PIB 2026




CREDIT NO………..

Budget Head: ……………………………….

Location: ……………………………………….
Subscribed on THE: ______________________







Signed on THE: __________________________







Notified on THE:  _________________________







Registered on THE: _____________________

BETWEEN:

THE REPUBLIC OF CAMEROON, represented by the Mayor of Idenau Council, hereinafter referred to as the “The Contracting Authority”

ON THE ONE HAND,

AND

THE Enterprise:
P.O Box ____________________ Tel__________________ Fax_________________

Business Registration No ________________________________________________ 

Tax Payers No___________________________________

Represented by Mr./Mrs./Miss……………………………………………Hereinafter referred to as the “Contractor”

ON THE OTHER HAND
HEREBY AGREE AND ORDER AS FOLLOWS:

SUMMARY

	DESCRIPTION
	PAGE

	Part I: Special Administrative Clauses (SAC)
	

	Part II: Special Technical Conditions (STC)
	

	Part III: Schedule of Unit Prices
	

	Part IV: Details of Estimates
	


Page_____________________________and last of Jobbing order No ________.

Awarded after Open National Invitation to Tender

N° 09/ONIT/IC/FAKO/ICITB/PIB 2026 OF 10TH FEBRUARY 2026 FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
BENEFICIARY: ……………………………
PLACE:……………………………..

Execution DEADLINE: THREe (03) Months

Amount of CONTRACT IN FCFA:…………………………………………
	ATI
	

	TWT
	

	VAT (19.25%)
	

	A.I.R. (2.2% or 5.5%)
	

	Net Payable
	


	Read and approved by the Contractor

At Idenau, the ………………. …

	Signed by the Mayor of Idenau
(Contracting Authority)
At Idenau, the ………………… 

	Registration







IDENAU COUNCIL INTERNAL TENDERS BOARD

No. 09 /ONIT/IC/FAKO/ICITB/PIB 2026 OF 10th February 2026
 (EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
FUNDING:  PUBLIC INVESTMENT BUDGET 2026

	 SHAPE  \* MERGEFORMAT 





FORMS AND MODELS TO BE USED
Annex No. 1:
Model declaration of intent to Tender

Annex No. 2:
Model Bid Letter

Annex No. 3:
Model Bid Bond

Annex No. 4:
Model Final Bond

Annex No. 5:
Model of start-off advance Bond

Annex No. 6:
Model Retention fund (Retention Guarantee)
Annex No. 7:
Model Attestation of Site visit

ANNEX N°1:
MODEL DECLARATION OF INTENT TO TENDER

I the undersigned, …………………………….. (Indicate the name and capacity of signatory)

Representing the ……………….. Company or enterprise with head office at ………..….. Registered in the trade register of ………………………. Under No …………………………………

Having taken cognizance of all the documents featured or mentioned in the Tender file                                                N° 09/ONIT/IC/FAKO/ICITB/PIB 2026 OF 10th February 2026
FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
After having personally taking account of the situation of the site and evaluated from my point of view and under my responsibility, the nature and difficulty of the works to be carried out;

· Hereby submit, bearing my signature, the schedule of unit prices as well as the quotations in accordance with the structure featuring in the Tender File;

· I pledge to execute the works within a deadline of three (03) months.

· I pledge to maintain my offer for a duration of ninety (90) days from the deadline of submission of tenders;

Prior to the signing of the jobbing order, this tender accepted by you shall constitute an agreement between us.

Done at …………………………..





Signature of ………………………….

In the capacity of …………………… 

Duly authorized to sign the tenders on behalf of ……………………………..

ANNEX N° 2:
MODEL BID LETTER

I the undersigned, …………………………….. (Indicate the name and capacity of signatory)

Representing the ……………….. Company or enterprise with head office at ………..….. Registered in the trade register of ………………………. Under No …………………………………

Having taken cognizance of all the documents featured or mentioned in the Tender file: 

 N° …../ONIT/IC/FAKO/ICITB/PIB 2026 OF ……..

FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
After having personally taking account of the situation of the site and evaluated from my point of view and under my responsibility, the nature and difficulty of the works to be carried out;

· Hereby submit, bearing my signature, the schedule of unit prices as well as the quotations in accordance with the structure featuring in the Tender File;

· Submit and commit myself to execute the works in accordance with the Tender File, in return for the prices which I myself established for each type of structure which prices reveal the amount of the tender at …………………. ( in figures and words) FCFA exclusive of VAT and at ………………….. ( in figures and in words) FCFA inclusive of all taxes.

· I pledge to execute the works within a deadline of three (03) months.

· I pledge to maintain my offer for a duration of ninety (90) days from the deadline of submission of tenders;

The Contracting Authority shall pay the sums due for this contract by crediting account No:…………. Opened in …………………. Bank ……………… branch.

Prior to the signing of the jobbing order, this tender accepted by you shall constitute an agreement between us.

Done at …………………………..





Signature of ………………………….

In the capacity of …………………… 
Duly authorized to sign the tenders on behalf of ……………………………..

 ANNEX NO. 3:
MODEL BID BOND

Addressed to the Mayor of Idenau Council
Whereas the undertaking …………………………. hereinafter referred to as the “bidder” has submitted his tender on …………….. for the ………………………………………………, hereinafter referred to as “the tender” and to which must be attached a bid bond equivalent to …………………FCFA.

We …………….. (name and address of the bank), represented by …………………………. (names of signatories), hereinafter referred to as “the Bank” hereby declare to guarantee payment to the Contracting Authority of the maximum sum of ……………………………….., that the bank pledges to pay in full to the Contracting Authority, bidding itself, its successors and assignees.

The conditions of this commitment are as follows:

If the Bidder withdraws his offer during the validity period specified by the Bidder in the tender; 

Or

If the Bidder, having been notified of the award of the contract by the Contracting Authority during the period of Bid validity:

· Fails or refuses to sign the contract, even though required to do so;

· Fails or refuses to furnish the final bond for the contract (final bond) as provided for by the contract.

We undertake to pay the Contracting Authority an amount up to the maximum of the sum referred to above upon receipt of his first written demand, without the Contracting Authority having to substantiate his demand, provided that in its demand the contracting Authority shall note that the amount claimed by him is due, because one or the other or both of the above condition(s) has (have) been fulfilled and he shall specify which condition(s) took effect.

This bond shall enter into force from the date of signature and from the date set by the Contracting Authority for the submission of tenders.  It shall remain valid up till the thirtieth day inclusive following the end of the deadline for the validity of tenders.  Any request by the Contracting Authority to cause it to take effect should reach the bank by registered mail with an acknowledgement of receipt before the end of this period of validity.

This bond shall, for purposes of its interpretation, be submitted to Cameroon law.  Cameroon courts shall be the only jurisdictions competent to rule on this commitment and its consequences.

Signed and authenticated by the bank at ………………………, on ……………………..

(Bank’s signature)

ANNEX NO 4: MODEL FINAL BOND
Bank:………………………….Reference of the Bond No…………………………………………..
Addressed to The Mayor of Idenau Council
Hereinafter referred to as “The Contracting Authority”

Whereas ……………………………… (name and address of contractor) hereinafter referred to “the Contractor”, pledge, in execution of the contract, to carry out the works of ………………………….. ………………………………….

Whereas it is stipulated in the contract that the contractor shall furnish the Contracting Authority a final bond of two percent (2%) of the amount of the contract as security for compliance with the contractor’s performance obligations in accordance with the Contract.

Whereas we have agreed to provide the Contractor with this guarantee;

We,……………………………………………………….. (name and address of bank)

Represented by …………………………………………..(name of signatories)

Hereinafter referred to as “the Bank”, and we pledge to play the Contracting Authority within a maximum deadline of eight (8) weeks upon his simple written request declaring that the contractor has not fulfilled his contractual obligations, without being able to defer the payment nor raise any contest for whatever reason, the sum of ………………………………..

…………………………………. (in letters and in words)

We hereby agree that no change or addendum or any other amendment shall release us of any obligation incumbent onus by virtue of this bond and we hereby derogate by the present to the notification of any amendment, addendum or change.

This bond shall enter into force upon signature. It shall be released within thirty (30) days from the date of the provisional acceptance of the works.

After this date the caution shall no longer be valid and shall be returned to us without any request on our part.

Any request for payment formulated by the Contracting Authority by virtue of this bond should be done by registered mail with acknowledgement of receipt to reach the bank during the period of validity of this commitment.

This bond shall, for purposes of its interpretation and execution, be subject to Cameroon law. Cameroon courts shall be the only jurisdictions competent to rule on this pledge and its consequences.

Signed and authenticated by the bank at ……………………….on………………………………

(Signature of the bank)

ANNEX NO 5: MODEL OF START-OFF ADVANCE BOND

Bank reference:…………………………………….

Address: ……………………………………………

We, the undersigned,………………………………(bank, address) hereby declare by the present to guarantee on behalf of    ……………………………….. (The Holder) to the benefit of the Contracting Authority, The Mayor of Idenau Council (the Beneficiary) 

The payment without contest and upon receipt of the first written request by the beneficiary, declaring that ………………. (the holder) has not fulfilled his obligations relating to the reimbursement of the start-off advance according to the terms of Jobbing Order No:………./JO/IC/FAKO/ICITB/2026 of………….. Relating to the Construction of …………. …………………………………at………….. of the total sum corresponding to the advance of twenty percent (20%)  of the amount inclusive of all taxes of  Jobbing Order No:………./C/IC/FAKO/ICITB/2026, payable upon notification of the corresponding Service Order to start work that is, …………………………..F CFA.

This bond shall enter into force and shall take effect upon acceptance of the respective parts of this advance into the accounts of ……………..  (The holder) opened in the …………………… bank under No ………………………………………………………

This bond shall remain in force up till the reimbursement of the advance in accordance with the SAC.  However, the amount of the guarantee shall be proportionately reduced on the progressive reimbursement of the advance.

The applicable law and jurisdiction shall be those of the republic of Cameroon.

Signed and authenticated by the bank at ………………… on …………………….







Signature of the bank

ANNEX N°6: MODEL OF RETENTION GUARANTEE
Bank: ……………………..

Reference of the Bond No: …………………………………..

Addressed to The Mayor of Idenau Council
Hereinafter referred to as “The Contracting Authority”

Whereas ……………………. (Name and address of contractor) hereinafter referred to “the Contractor”, pledge, in execution of the contract, to carry out the works of construction of………………… …………at…………. 

Whereas it is stipulated in the contract that the guarantee retention fixed at ten percent (10%) of the amount of the contract may be replaced by a joint guarantee;

Whereas we have agreed to provide the Contractor with this guarantee;

We, ………………………………………………….. (Name and address of bank),

Represented by …………………………………… (Name of signatories) and hereinafter referred to as “the Bank”;

Hence, we hereby affirm that on behalf of the Contractor, we guarantee and are responsible to the Contracting Authority for a maximum amount of  …………………………. (in figures and in letters) corresponding to ten percent (10%) of the contract amount.

And we pledge to pay to the  Contracting Authority within a maximum deadline of eight (8) weeks upon his simple written request declaring that the contractor has not fulfilled his contractual obligations or is indebted to the  Contracting Authority within the meaning of the contract, amended where need be, by its additional clauses, without being able to defer the payment nor raise any contest for whatever reason, any sum(s) within the limits of the amount equal to ten percent (10%) of the total amount of the works featuring in the final detailed account, without the Contracting Authority having to prove or give the reasons nor the motive for the amount of the sum indicated above.

We hereby agree that no change or addendum or any other amendment shall release us of any obligation incumbent onus by virtue of this bond and we hereby derogate by the present to the notification of any amendment, addendum or change.

This bond shall enter into force upon signature.  It shall be released within thirty (30) days from the date of the final reception of the works and upon released issued by the Contracting Authority.

Any request for payment formulated by the Contracting Authority by virtue of this bond should be done by registered mail with acknowledgement of receipt to reach the bank during the period of validity of this commitment.

This bond shall, for purposes of its interpretation and execution, be subject to Cameroon law.  Cameroon courts shall be the only jurisdictions competent to rule on this pledge and its consequences.

Signed and authenticated by the bank at ………………… on ……………………

Signature of the bank

ATTESTATION OF SITE VISIT

I the undersigned, __________________________________________________________representing the ____________________________________________________________enterprise, P. O. Box ___________

Hereby attest to have visited the site or locality within the framework of ___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
Done at …………………………………………….. on………………………………………………………….

NB: Attach photos.
Signature - Representative of the enterprise




IDENAU COUNCIL INTERNAL TENDERS BOARD

No. 09/ONIT/IC/FAKO/ICITB/PIB 2026 OF 10th February 2026
 (EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
FUNDING:  PUBLIC INVESTMENT BUDGET 2026

	DOCUMENT No 11
LIST OF COMMERCIAL BANKS AND FINANCIAL INSTITUTIONS



List of commercial banks and financial institutions authorized to issue BID bonds for Public Contracts

I-Banks

1. BICEC

2. Union Bank of Cameroon Plc.

3. ECOBANK

4. United Bank of Africa

5. Afriland first Bank

6. SCB

7. SGBC

8. Standard Chartered Bank

9. National Financial Credit

10. CBC

11. CITI Bank

12. Banque Atlantique

13. Banque Gabonaise pour le financement international (BGFI BANK)

II- Insurance companies
1. Chanas assurances

2. Activa Assurances
3. Zenithe Assurances
4. Prudential Beneficial Insurance

5. CPA

6. Etc.




IDENAU COUNCIL INTERNAL TENDERS BOARD

No. 09/ONIT/IC/FAKO/ICITB/PIB 2026 OF 10th February 2026
 (EMERGENCY PROCEDURE)

FOR THE CONSTRUCTION OF TWO (2) LOCK-UP STORES WITH TWO (2) TOILETS AT FISHING PORT QUARTER IDENAU.
FUNDING:  PUBLIC INVESTMENT BUDGET 2026

	 SHAPE  \* MERGEFORMAT 





REPUBLIQUE DU CAMEROUN


Paix–Travail–Patrie


---------------


MINISTERE DE LA DECENTRALISATION ET DU DEVELOPPEMENT LOCAL


----------------


REGION DU SUD-OUEST


---------------


DEPARTEMENT DU FAKO


---------------


COMMUNE D’IDENAU





E-mail:� HYPERLINK "mailto:idenaucouncil@yahoo.com" �idenaucouncil@yahoo.com�








REPUBLIC OF CAMEROON


Peace – Work – Fatherland


---------------


MINISTRY OF DECENTRALIZATION AND LOCAL DEVELOPMENT


---------------


SOUTH WEST REGION


---------------


FAKO DIVISION


---------------


IDENAU COUNCIL





P.O. Box 1424 Limbe


Tel: +237 677 61 57 42





OPEN NATIONAL INVITATION TO TENDER





TENDER FILE








REPUBLIQUE DU CAMEROUN


Paix–Travail–Patrie


---------------


MINISTERE DE LA DECENTRALISATION ET DU DEVELOPPEMENT LOCAL


----------------


REGION DU SUD-OUEST


---------------


DEPARTEMENT DU FAKO


---------------


COMMUNE D’IDENAU





E-mail:� HYPERLINK "mailto:idenaucouncil@yahoo.com" �idenaucouncil@yahoo.com�








REPUBLIC OF CAMEROON


Peace – Work – Fatherland


---------------


MINISTRY OF DECENTRALIZATION AND LOCAL DEVELOPMENT


---------------


SOUTH WEST REGION


---------------


FAKO DIVISION


---------------


IDENAU COUNCIL





P.O. Box 1424 Limbe


Tel: +237 677 61 57 42





OPEN NATIONAL INVITATION TO TENDER





DOCUMENT N° 1


TENDER NOTICE








REPUBLIQUE DU CAMEROUN


Paix–Travail–Patrie


---------------


MINISTERE DE LA DECENTRALISATION ET DU DEVELOPPEMENT LOCAL


----------------


REGION DU SUD-OUEST


---------------


DEPARTEMENT DU FAKO


---------------


COMMUNE D’IDENAU





E-mail:� HYPERLINK "mailto:idenaucouncil@yahoo.com" �idenaucouncil@yahoo.com�








REPUBLIC OF CAMEROON


Peace – Work – Fatherland


---------------


MINISTRY OF DECENTRALIZATION AND LOCAL DEVELOPMENT


---------------


SOUTH WEST REGION


---------------


FAKO DIVISION


---------------


IDENAU COUNCIL





P.O. Box 1424 Limbe


Tel: +237 677 61 57 42





REPUBLIQUE DU CAMEROUN


Paix–Travail–Patrie


---------------


MINISTERE DE LA DECENTRALISATION ET DU DEVELOPPEMENT LOCAL


----------------


REGION DU SUD-OUEST


---------------


DEPARTEMENT DU FAKO


---------------


COMMUNE D’IDENAU





E-mail:� HYPERLINK "mailto:idenaucouncil@yahoo.com" �idenaucouncil@yahoo.com�








REPUBLIC OF CAMEROON


Peace – Work – Fatherland


---------------


MINISTRY OF DECENTRALIZATION AND LOCAL DEVELOPMENT


---------------


SOUTH WEST REGION


---------------


FAKO DIVISION


---------------


IDENAU COUNCIL





P.O. Box 1424 Limbe


Tel: +237 677 61 57 42





REPUBLIQUE DU CAMEROUN


Paix–Travail–Patrie


---------------


MINISTERE DE LA DECENTRALISATION ET DU DEVELOPPEMENT LOCAL


----------------


REGION DU SUD-OUEST


---------------


DEPARTEMENT DU FAKO


---------------


COMMUNE D’IDENAU





E-mail:� HYPERLINK "mailto:idenaucouncil@yahoo.com" �idenaucouncil@yahoo.com�








REPUBLIC OF CAMEROON


Peace – Work – Fatherland


---------------


MINISTRY OF DECENTRALIZATION AND LOCAL DEVELOPMENT


---------------


SOUTH WEST REGION


---------------


FAKO DIVISION


---------------


IDENAU COUNCIL





P.O. Box 1424 Limbe


Tel: +237 677 61 57 42





OPEN NATIONAL INVITATION TO TENDER





DOCUMENT N° 2


GENERAL REGULATIONS OF THE INVITATION TO TENDER








REPUBLIQUE DU CAMEROUN


Paix–Travail–Patrie


---------------


MINISTERE DE LA DECENTRALISATION ET DU DEVELOPPEMENT LOCAL


----------------


REGION DU SUD-OUEST


---------------


DEPARTEMENT DU FAKO


---------------


COMMUNE D’IDENAU





E-mail:� HYPERLINK "mailto:idenaucouncil@yahoo.com" �idenaucouncil@yahoo.com�








REPUBLIC OF CAMEROON


Peace – Work – Fatherland


---------------


MINISTRY OF DECENTRALIZATION AND LOCAL DEVELOPMENT


---------------


SOUTH WEST REGION


---------------


FAKO DIVISION


---------------


IDENAU COUNCIL





P.O. Box 1424 Limbe


Tel: +237 677 61 57 42





OPEN NATIONAL INVITATION TO TENDER





DOCUMENT N° 3


SPECIAL REGULATIONS OF THE INVITATION TO TENDER








REPUBLIQUE DU CAMEROUN


Paix–Travail–Patrie


---------------


MINISTERE DE LA DECENTRALISATION ET DU DEVELOPPEMENT LOCAL


----------------


REGION DU SUD-OUEST


---------------


DEPARTEMENT DU FAKO


---------------


COMMUNE D’IDENAU





E-mail:� HYPERLINK "mailto:idenaucouncil@yahoo.com" �idenaucouncil@yahoo.com�








REPUBLIC OF CAMEROON


Peace – Work – Fatherland


---------------


MINISTRY OF DECENTRALIZATION AND LOCAL DEVELOPMENT


---------------


SOUTH WEST REGION


---------------


FAKO DIVISION


---------------


IDENAU COUNCIL





P.O. Box 1424 Limbe


Tel: +237 677 61 57 42





OPEN NATIONAL INVITATION TO TENDER





DOCUMENT N° 4


SPECIAL ADMINISTRATIVE CLAUSES








REPUBLIQUE DU CAMEROUN


Paix–Travail–Patrie


---------------


MINISTERE DE LA DECENTRALISATION ET DU DEVELOPPEMENT LOCAL


----------------


REGION DU SUD-OUEST


---------------


DEPARTEMENT DU FAKO


---------------


COMMUNE D’IDENAU





E-mail:� HYPERLINK "mailto:idenaucouncil@yahoo.com" �idenaucouncil@yahoo.com�








REPUBLIC OF CAMEROON


Peace – Work – Fatherland


---------------


MINISTRY OF DECENTRALIZATION AND LOCAL DEVELOPMENT


---------------


SOUTH WEST REGION


---------------


FAKO DIVISION


---------------


IDENAU COUNCIL





P.O. Box 1424 Limbe


Tel: +237 677 61 57 42





OPEN NATIONAL INVITATION TO TENDER





DOCUMENT N° 5


SPECIAL TECHNICAL CONDITIONS














REPUBLIQUE DU CAMEROUN


Paix–Travail–Patrie


---------------


MINISTERE DE LA DECENTRALISATION ET DU DEVELOPPEMENT LOCAL


----------------


REGION DU SUD-OUEST


---------------


DEPARTEMENT DU FAKO


---------------


COMMUNE D’IDENAU





E-mail:� HYPERLINK "mailto:idenaucouncil@yahoo.com" �idenaucouncil@yahoo.com�








REPUBLIC OF CAMEROON


Peace – Work – Fatherland


---------------


MINISTRY OF DECENTRALIZATION AND LOCAL DEVELOPMENT


---------------


SOUTH WEST REGION


---------------


FAKO DIVISION


---------------


IDENAU COUNCIL





P.O. Box 1424 Limbe


Tel: +237 677 61 57 42





OPEN NATIONAL INVITATION TO TENDER





DOCUMENT N° 6


   SCHEDULE OF UNIT PRICES








REPUBLIQUE DU CAMEROUN


Paix–Travail–Patrie


---------------


MINISTERE DE LA DECENTRALISATION ET DU DEVELOPPEMENT LOCAL


----------------


REGION DU SUD-OUEST


---------------


DEPARTEMENT DU FAKO


---------------


COMMUNE D’IDENAU





E-mail:� HYPERLINK "mailto:idenaucouncil@yahoo.com" �idenaucouncil@yahoo.com�








REPUBLIC OF CAMEROON


Peace – Work – Fatherland


---------------


MINISTRY OF DECENTRALIZATION AND LOCAL DEVELOPMENT


---------------


SOUTH WEST REGION


---------------


FAKO DIVISION


---------------


IDENAU COUNCIL





P.O. Box 1424 Limbe


Tel: +237 677 61 57 42





OPEN NATIONAL INVITATION TO TENDER





DOCUMENT N° 7 


BILL OF QUANTITIES AND COST ESTIMATES








REPUBLIQUE DU CAMEROUN


Paix–Travail–Patrie


---------------


MINISTERE DE LA DECENTRALISATION ET DU DEVELOPPEMENT LOCAL


----------------


REGION DU SUD-OUEST


---------------


DEPARTEMENT DU FAKO


---------------


COMMUNE D’IDENAU





E-mail:� HYPERLINK "mailto:idenaucouncil@yahoo.com" �idenaucouncil@yahoo.com�








REPUBLIC OF CAMEROON


Peace – Work – Fatherland


---------------


MINISTRY OF DECENTRALIZATION AND LOCAL DEVELOPMENT


---------------


SOUTH WEST REGION


---------------


FAKO DIVISION


---------------


IDENAU COUNCIL





P.O. Box 1424 Limbe


Tel: +237 677 61 57 42





OPEN NATIONAL INVITATION TO TENDER





DOCUMENT No 8


SUB-DETAIL OF PRICES





REPUBLIQUE DU CAMEROUN


Paix–Travail–Patrie


---------------


MINISTERE DE LA DECENTRALISATION ET DU DEVELOPPEMENT LOCAL


----------------


REGION DU SUD-OUEST


---------------


DEPARTEMENT DU FAKO


---------------


COMMUNE D’IDENAU





E-mail:� HYPERLINK "mailto:idenaucouncil@yahoo.com" �idenaucouncil@yahoo.com�








REPUBLIC OF CAMEROON


Peace – Work – Fatherland


---------------


MINISTRY OF DECENTRALIZATION AND LOCAL DEVELOPMENT


---------------


SOUTH WEST REGION


---------------


FAKO DIVISION


---------------


IDENAU COUNCIL





P.O. Box 1424 Limbe


Tel: +237 677 61 57 42





OPEN NATIONAL INVITATION TO TENDER





DOCUMENT No 9


MODEL OF JOBBING ORDER





REPUBLIQUE DU CAMEROUN


Paix–Travail–Patrie


---------------


MINISTERE DE LA DECENTRALISATION ET DU DEVELOPPEMENT LOCAL


----------------


REGION DU SUD-OUEST


---------------


DEPARTEMENT DU FAKO


---------------


COMMUNE D’IDENAU





E-mail:� HYPERLINK "mailto:idenaucouncil@yahoo.com" �idenaucouncil@yahoo.com�








REPUBLIC OF CAMEROON


Peace – Work – Fatherland


---------------


MINISTRY OF DECENTRALIZATION AND LOCAL DEVELOPMENT


---------------


SOUTH WEST REGION


---------------


FAKO DIVISION


---------------


IDENAU COUNCIL





P.O. Box 1424 Limbe


Tel: +237 677 61 57 42





OPEN NATIONAL INVITATION TO TENDER





DOCUMENT No 10


FORMS AND MODELS TO BE USED





REPUBLIQUE DU CAMEROUN


Paix–Travail–Patrie


---------------


MINISTERE DE LA DECENTRALISATION ET DU DEVELOPPEMENT LOCAL


----------------


REGION DU SUD-OUEST


---------------


DEPARTEMENT DU FAKO


---------------


COMMUNE D’IDENAU





E-mail:� HYPERLINK "mailto:idenaucouncil@yahoo.com" �idenaucouncil@yahoo.com�








REPUBLIC OF CAMEROON


Peace – Work – Fatherland


---------------


MINISTRY OF DECENTRALIZATION AND LOCAL DEVELOPMENT


---------------


SOUTH WEST REGION


---------------


FAKO DIVISION


---------------


IDENAU COUNCIL





P.O. Box 1424 Limbe


Tel: +237 677 61 57 42





OPEN NATIONAL INVITATION TO TENDER





REPUBLIQUE DU CAMEROUN


Paix–Travail–Patrie


---------------


MINISTERE DE LA DECENTRALISATION ET DU DEVELOPPEMENT LOCAL


----------------


REGION DU SUD-OUEST


---------------


DEPARTEMENT DU FAKO


---------------


COMMUNE D’IDENAU





E-mail:� HYPERLINK "mailto:idenaucouncil@yahoo.com" �idenaucouncil@yahoo.com�








REPUBLIC OF CAMEROON


Peace – Work – Fatherland


---------------


MINISTRY OF DECENTRALIZATION AND LOCAL DEVELOPMENT


---------------


SOUTH WEST REGION


---------------


FAKO DIVISION


---------------


IDENAU COUNCIL





P.O. Box 1424 Limbe


Tel: +237 677 61 57 42





OPEN NATIONAL INVITATION TO TENDER





DOCUMENT No. 12 DRAWINGS








3
85

