	-* REPUBLIC OF CAMEROON

       Peace_Work_Fatherland
	
	     REPUBLIQUE DU CAMEROUN

               Paix_Travail_Patrie

	
	
	
	
	
	
	
	

	SOUTH WEST REGION
	
	
	           REGION DU SUD_OUEST

	
	
	
	
	
	
	
	

	          MANYU DIVISON

	
	
	      DEPARTEMENT DE LA MANYU

	
	
	
	
	
	
	
	

	EYUMOJOCK COUNCIL
	
	
	          COMMUNE D’EYUMOJOCK

	
	
	
	
	
	
	
	
	

	    Ref No. EC/
	
	
	
	
	EYUMOJOCK, the
	


[image: image1.jpg]



                            EYUMOJOCK COUNCIL TENDERS BOARD


N°:- 005/ONIT/CA/EC/TB/PIB 2026 of  24/04/2026
FOR THE REHABILITATION OF TWO INTEGRATED HEALTH CENTRE WITHIN THE MUNICIPALITY. BABONG/MKPOT, MANYU   DIVISION, SOUTH WEST REGION.

TABLE OF CONTENTS
Document No. 1: Tender Notice

                

Note relating to the tender notice

                 

Invitation to tender

Document No. 2: General Regulations of the invitation to tender

                 

Note relating to the General Regulations of the invitation to tender

                

General Regulations of the invitation to tender

Document No. 3: Special Regulations of the invitation to tender

                  

Note relating to the Special Regulations of the invitation to tender

                  

Special Regulations of the invitation to tender

Document No. 4: Special Administrative Conditions

                 

Note relating to the Special Administrative Conditions

                  

Special Administrative Conditions

Document No. 5: Special Technical Conditions

                  

Note relating to the preparation of the Special Technical Conditions

Document No. 6: Schedule of prices 

                   

Note relating to the schedule of prices 

Document No. 7: Bill of quantities and estimates

                  

Note relating to the bill of quantities and estimates

Document No. 8: The sub-detail of prices

Document No. 9: Model contract

Document No. 10: Forms and Standard documents to be used

                  

  Note relating to forms and standard documents

                  

  Table of standard documents

Document No. 11: Preliminary studies




  Note relating to preliminary studies

Document No. 12: List of banking establishments and financial bodies authorised to 
                              Issue bonds for public contracts

Note relating to banking establishments and financial bodies authorised to issue bonds

DOCUMENT No. 1 TENDER NOTICE

	REPUBLIQUE DU CAMEROUN
	
	REPUBLIC OF CAMEROON

	PAIX – TRAVAIL – PATRIE

~~~~~~~~
	
	PEACE – WORK – FATHERLAND

~~~~~~~~

	REGION DU SUD OUEST

~~~~~~~~

DEPARTEMENT DE LA MANYU

~~~~~~~~

COMMUNE D’ EYUMOJOCK

~~~~~~~~

COMMISSION DE PASSASION DE MARCHES PUBLIC DE LA COMMUNE D’EYUMOJOCK

~~~~~~~~


	
	SOUTH WEST REGION

~~~~~~~~

MANYU DIVISION

~~~~~~~~

EYUMOJOCK COUNCIL

~~~~~~~~

EYUMOJOCK COUNCIL TENDER BOARD

~~~~~~~~


EYUMOJOCK COUNCIL INTERNAL TENDERS BOARD

TENDER NOTICE
No005/ONIT/CA/EC/TB/PIB2026 of 24/04/2026
FOR THE REHABILITATION OF FOUR (04) INTEGRATED HEALTH CENTRE WITHIN EYUMOJOCK MUNICIPALITY. BABONG/MKPOT, MANYU   DIVISION, SOUTH WEST REGION.

FINANCING: PUBLIC INVESTMENT BUDGET 2026
1. Subject of the invitation to tender:
Within the framework of Public Investment Budget 2026, the Lord Mayor of Eyumojock Council, Contracting Authority hereby launches an OPEN NATIONAL INVITATION TO TENDER BY EMERGENCY PROCEDURE FOR THE REHABILITATION OF FOUR (04) INTEGRATED HEALTH CENTRES WITHIN EYUMOJOCK MUNICIPALITY. BABONG/MKPOT, MANYU   DIVISION, SOUTH WEST REGION. 
2. Nature of works

           The works comprise the preliminary studies carried out and the detailed information provided for in                   
the technical specification and the quantitative estimates. 
3. Participation and Origin:
The tender is open to duly legalized Cameroonian enterprises that fulfil the requirements of invitation to tender.

4. Financing
These projects shall be financed by the relevant credit allocation in the Public Investment Budget 2026 as per the imputation: 

	Project Description
	Imputation
	Amount

	 The Rehabilitation of FOUR IntegratedHealth Centre Babong /Mkpot
	60 40 412 33000007 0731464211
RECORD NUMBER: JB06557
	10.000.000 FCFA


5. Consultation of tender file:
The tender file can be consulted and obtained as from the date of publication of this invitation to tender at the Eyumojock Council Secretariat.
The file may be consulted during working hours at the Eyumojock Council, MINMAP Manyu or ARMP, Buea as soon as this notice is published.
6. Acquisition of Tender File:

The file may be obtained from the Eyumojock Council Secretariat as soon as this notice is published against payment of the sum of Twenty thousand (20.000) CFA francs, payable at the Municipal Treasury before the opening date for a non refundable fee representing the cost of the tender file.
7. Submission of Offers:

Each bid drafted in English or French in five (05) copies including one original and FOUR (04) copies marked as such, should be submitted against receipt to the Contract Bureau of Eyumojock Council not later than, 25/05/2026 at 10.00 am
OPEN NATIONAL INVITATION TO TENDER 
            No 005/ONIT/CA/EC/TB/PIB2026 of, 24/04/2026
FOR THE REHABILITATION OF FOUR (04) INTEGRATED HEALTH CENTRE WITHIN EYUMOJOCK MUNICIPALITY. BABONG/MKPOT, MANYU   DIVISION, SOUTH WEST REGION.

             “To be opened only during the bid-opening session”

8. Admissibility of Offers:
Each bidder must include in his Administrative documents, a bid bond issued by a first-rate banking establishment approved by the Ministry in charge of finance and whose list is found in document No.12 of the tender file, of an amount of Two hundred Thousand (200 000) CFA francs for a validity period of sixty (60) days from the date of opening.  

On pain of being rejected, only originals or true copies certified by the issuing service or administrative authorities must imperatively be produced in accordance with the Special Regulations of the invitation to tender. They must obligatorily be not older than three (3) months preceding the date of submission of offers or may be established after the signature of the tender notice. Any offer not in conformity with the prescriptions of this notice and tender file shall be declared inadmissible. Especially the absence of a bid bond issued by a first-rate bank approved by the Minister in charge of Finance or the non respect of the models of the tender file documents shall lead to a pure and simple rejection of the offer.

9. Opening of Bids:
The offers shall be opened in single phase. Te opening of Administrative Offers (Envelope A) and Financial Offers (Envelope C) on, 25/05/2026 at 11 am local time by the Eyumojock Council Tenders Board situated at the Conference Hall of Eyumojock Council. 

10. Delivery Deadline
The maximum Execution deadline provided for by the Contracting Authority shall be three (03) months.

11. Main eliminatory criteria

Bids shall be rejected when:

· They lack or non conformity of bid security;
· False declaration or forged documents;

· They are incomplete or for non conformity of  administrative documents;
· Incomplete Technical or financial Documents;
· Technical characteristics which are not in conformity with those specified in the special Technical conditions.
12.    Main qualification criteria

The criteria relating to the qualification of candidates could indicatively be on the following:

· Turnover of at least fifteen million (15 000 000)     

      
Yes/No

· Access to a credit or other financial resources



Yes/No
· Expenditure schedule or other contracts under execution

Yes/No

· Contractor’s references






Yes/No

· Availability of material and essential equipment


          Yes/No

· Experience of supervisory staff





Yes/No

The non respect of three (03) criteria shall cause the elimination of the offer.
13.  Contract Award
The contract shall be awarded to the lowest bidder who satisfies the Administrative and Technical dispositions. 

14. 
Validity of Offers

Bidders will remain committed to their offers for sixty (60) days from the deadline set for the submission of tenders.
15.     Complementary Information

Complementary technical information may be obtained during working hours from the Eyumojock Council (TEL 670992818 / 679505198). 

Done at Eyumojock, on the 27/04/2026
THE MAYOR OF EYUMOJOCK COUNCIL

(CONTRACTING AUTHORITY
Copies:

 -ARMP (for Publication and Archiving)

-Chairperson of TB and where need be, the SCCB (for information)

-Notice Boards (for information)
-Contracts Award Service (for Archiving)
	REPUBLIQUE DU CAMEROUN
	
	REPUBLIC OF CAMEROON

	PAIX – TRAVAIL – PATRIE

~~~~~~~~
	
	PEACE – WORK – FATHERLAND

~~~~~~~~

	REGION DU SUD OUEST

~~~~~~~~

DEPARTEMENT DE LA MANYU

~~~~~~~~

COMMUNE D’ EYUMOJOCK

~~~~~~~~

COMMISSION DE PASSASION DE MARCHES PUBLIC DE LA COMMUNE D’EYUMOJOCK

~~~~~~~~


	
	SOUTH WEST REGION

~~~~~~~~

MANYU DIVISION

~~~~~~~~

EYUMOJOCK COUNCIL

~~~~~~~~

EYUMOJOCK COUNCIL TENDER BOARD

~~~~~~~~


NOTICE D’APPEL D’OFFRES
No 005/ONIT/CA/EC/TB/PIB2026 du, 24/04/2026 Pour La Réhabilitation du Centre de quatre centres  de sante integres au sein de la municipalite BABONG/MKPOT, Département de la Manyu, Région du Sud-ouest. 

FINANCEMENT : BUDGET DINVESTISSEMENT PUBLIQUE 2026
1. Sujet de l'appel d'offres :

Dans le cadre du BUDGET d’Investissement Publique 2026, le Maire de la Commune d’Eyumojock, Maître d'Ouvrage lance un APPEL D'OFFRES NATIONAL OUVERT PAR PROCEDURE D’URGENCE POUR La Réhabilitation du Centre de quatre centres  de sante integres au sein de la municipalite BABONG/MKPOT, , Département de la Manyu, Région du Sud-ouest comme suit :
2. Nature des Travaux 

Les travaux comportent les études préliminaires effectuées et les informations détaillées TWOnies dans les spécifications techniques et les évaluations quantitatives.  
	Project Description
	Imputation
	Amount

	 Pour La Réhabilitation du Centre de quatre centres de sante integres au sein de la municipalite BABONG/MKPOT,
	60 40 412 0 33000007 0731464211
	10.000.000 FCFA


3. Participation et Origine :   
L'appel d’offre est ouvert aux entreprises camerounaises dûment légalisées qui remplissent les conditions de l'appel d'offres. 

4. Financement 

Ces projets seraient financés par l'attribution appropriée de crédit dans la CA 2019 de la Budget  selon l'imputation : 

5. Consultation de Dossier D'appel D'offres: 

Le dossier de l'appel d'offres peut être consulté et obtenu à partir de la date de la publication de cet appel d'offres à la Mairie d’Eyumojock. Le dossier peut être consulté pendant des heures de travail à la Commune d’Eyumojock dès publication de cette notice. 
6. Acquisition de Dossier D'appel D'offres : 
Le dossier peut être obtenu à partir de la Commune d’Eyumojock avant deux jours de la date d’ouverture (porte 31 et 37 de bâtiment de finances) dès publication de cette notice contre le paiement de la somme de vingt mille (20,000) FRANCS CFA pour chaque lot et  deux jours avant la date d’ouverture, payable à la Trésorerie de Municipal d’Eyumojock, des frais non remboursables représentant le coût du dossier d’appel d’offres. 
7. Soumission des offres : 

Chacun offre sera rédigé en anglais ou en français dans cinq (05) copies comprenant un original et quatre (04) copies marquées comme tels, devrait être déposées contre reçu à la Commune d’Eyumojock au plus tard le, 25/05/2026,  à 10.00 précises et devrait porter l'inscription

APPEL D'OFFRES NATIONAL OUVERT 
No005/ONIT/CA/EC/TB/2026 du, 24/04/2026 POUR LA REHABILITATION DU CENTRE DE QUATRE CENTRES DE SANTE INTEGRES AU SEIN DE LA MUNICIPALITE BABONG/MKPOT, DEPARTEMENT DE LA MANYU, RÉGION DU SUD-OUEST
            "A ouvrir seulement pendant la session de dépouillement" 

8. Admissibilité des offres : 

Chaque soumissionnaire doit inclure dans ses documents administratifs, une caution bancaire émis par un établissement bancaire de premier ordre approuvé par le ministère responsable des finances et dont la liste est trouvée dans le document le numéro 12 du dossier d’appels d’offres, d'un montant de deur CENT MILLE (200 000) FCFA pour une période de validité de soixante (60) jours à compter de la date d’ouverture.   

Sous peine de rejet, seulement les originaux ou les copies certifiées conformes par les services émetteurs ou les autorités administratives, doivent impérativement être produits selon les règlements spéciaux de l'appel d'offres. Ils doivent obligatoirement être datant au moins de trois (3) mois de la soumission des offres. Les offres non conformes avec les prescriptions du Dossier d’Appel d’Offre seront déclarées irrecevables. Particulièrement l'absence du cautionnement provisoire délivré par une banque agréée par le Ministre des Finances entraînera le rejet pur et simple de l’offre sans aucun recours, de même que le non respect des modèles des pièces du Dossier d’Appel d’Offre.
9. Ouverture des offres : 

Les offres seront ouvertes en une seule phase. L'ouverture des offres Administratives (Enveloppe A), et OFFRES Financières (Enveloppe C) se fera le 25/05/2026 à 11 H, heure local dans la salle de Conférence de la Commune d’Eyumojock.  

10. Délai d’exécution 
Le délai d’exécution maximum est fixé à Trois (03) mois. 
11. Principaux critère éliminatoires 
L'offre sera rejetée quand : 

· Absence ou non conformité de la garantie de soumission ;

· Fausse déclaration ou faux documents ;

· Non conformité des offres administratives ; 

· Non conformité des offres financières ;
· Caractéristiques techniques non conformes aux spécifications techniques contenues dans les cahiers de charge ; 

12. Critères Principaux de Qualification 

Les critères concernant la qualification sont les suivants : 

· Chiffre d'affaires d’au moins de quinze millions (15 0050 0050) F CFA        
oui/Non 

· Capacité de préfinancement



 

 
Oui/Non 

· Programme de dépense ou d'autres contrats sous l'exécution 

Oui/Non 

· Les références des travaux similaires





Oui/Non 

· Disponibilité d'équipement matériel





Oui/Non 

· Expérience de personnel de supervision 




          Oui/Non 

Non le respect de 3 critères causera l'élimination de l'offre. 
13. Attribution du Contrat 
Le contrat sera attribué au plus bas soumissionnaire qui a satisfait la disposition administrative et technique.
14. Validité des offres 

La durée de validité des offres est de 60 jours à compter de la date limite fixée pour la remise des offres
15. L'information Complémentaire 

L'information technique complémentaire peut être obtenue à toutes heures de travail à la Commune d’Eyumojock (TEL 670992818 / 679505198).
Fait à Eyumojock, Le 27/04/2026
LE MAIRE DE LA COMMUNE D’EYUMOJOCK

(AUTORITE CONTRACTANTE)
Copie : 

 - ARMP (pour la Publication et Archives) 

- Président de la Commission (pour Information) 

- Panneaux de Notification (pour Information) 

- Service de Marchés (pour Archiver)  

Document No. 2: GENERAL REGULATIONS
                           OF THE INVITATION TO
TENDER.

Table of Contents
A. General

Article 1: Scope of the tender…………………………………………………………

Article 2: Financing……………………………………………………………………

Article 3: Fraud and corruption………………………………………………………..

Article 4: Candidates admitted to compete……………………………………………

Article 5: Building materials, materials, supplies, equipment and authorised services…

Article 6: Qualification of bidder……………………………………………………….

Article 7: Visit of site of works…………………………………………………………

B. Tender File……………………………………………………………………………

Article 8: Content of Tender File……………………………………………………….

Article 9: Clarifications on Tender File…………………………………………………

Article 10: Modification of the Tender File…………………………………………….

C. Preparation of Tenders

Article 11: Tender fees…………………………………………………………………..

Article 12: Language of bid……………………………………………………………..

Article 13: Constituent documents of the bid…………………………………………...

Article 14: Amount of bid……………………………………………………………….

Article 15: Currency of bid and payment………………………………………………..

Article 16: Validity of bids……………………………………………………………...

Article 17: Bid bond…………………………………………………………………….

Article 18: Varying proposals by bidders……………………………………………….

Article 19: Preparatory meeting to the establishment of bids…………………………...

Article 20: Form and signature of bids………………………………………………….

D. Submission of bids……………………………………………………………………

Article 21: Sealing and marking of bids………………………………………………...

Article 22: Date and time-limit for submission of bids…………………………………

Article 23: Out of time-limit bids……………………………………………………….

Article 24: Modification, substitution and withdrawal of bids………………………….

E. Opening of bids and evaluation of offers……………………………………………

 Article 25: Opening of bids…………………………………………………………….

Article 26: Confidential nature of the procedure……………………………………….

Article 27: Clarifications on the offer and contact with Contracting Authority……….

Article 28: Determination of their conformity…………………………………………

Article 29: Qualification of the bidder

Article 30: Correction of errors………………………………………………………..

Article 31: Conversion into a single currency………………………………………….

Article 32: Evaluation of financial offers………………………………………………

Article 33: National preference…………………………………………………………

F. Award of the contract…………………………………………………………………

Article 34: Award……………………………………………………………………….

Article 35: Right of the Contracting Authority to declare an invitation to tender unsuccessful or to cancel a procedure………………………………………………….

Article 36: Cancellation of invitation to tender or declared unsuccessful………………

Article 37: Notification of the award of the contract……………………………………

Article 38: Signature of the contract…………………………………………………….

Article 39: Final bond…………………………………………………………………..
GENERAL RULES OF THE INVITATION TO TENDER

A. General

Article 1: Scope of the tender

The Lord Mayor of Eyumojock Council, the Contracting Authority, launches an OPEN NATIONAL INVITATION TO TENDER BY EMERGCY PROCEDURE No 005/ONIT/CA/EC/TB/PIB2026 of, 25/05/2026 FOR THE REHABILITATION OF TWO INTEGRATED HEALTH CENTRE WITHIN EYUMOJOCK MUNICIPALITY. BABONG/MKPOT. MANYU DIVISION, SOUTH WEST REGION.

1.1  The bidder retained or the successful bidder must complete the works within the time- limit indicated in the Special Regulations and which time-limit runs from the date of notification of the Administrative Order.

1.2  In this Tender File, the terms “Contracting Authority” and Delegated Contracting Authority” are interchangeable and the term “day” means a calendar day.

Article 2: Financing

 
The works forming the subject of this invitation to tender shall be financed by the 

         2026 PUBLIC INVESTMENT BUDGET.

Article 3: Fraud and Corruption

3.1 The Contracting Authority requires of bidders and contractors the strict respect of rules of professional ethics during the Award and Execution of Public Contracts. By virtue of this principle, the Contracting Authority:
a) Defines, within the context of this clause, the following expressions in the             following manner:

i) Shall be guilty of “corruption” whoever offers, gives, requests or accepts any advantage in view of influencing the action of a public official during the award or execution of a contract;

ii)  is involved in “fraudulent manoeuvres” whoever deforms or distorts facts in order to influence the award or execution of a contract;

iii)   “collusive practices” mean any form of agreement between two or among several bidders (whether the Contracting Authority is aware or not) aimed at artificially maintaining the prices of offers at levels not corresponding with those which will result from the forces of competition;

iv)  And “coercive practices” mean any form of harm against persons or their property or threats against them in order to influence their action during the award or execution of a contract.

b)    Will reject any award proposal if it determines that the proposed successful bidder is directly or through the intermediary of an agent, guilty of corruption or is involved in fraudulent manoeuvres, collusive or coercive practices for the award of this contract.   

Article 4: Candidates Allowed to Compete



 Participation to the present call for tender is opened to all duly registered enterprises based in Cameroon.

Article 5: Building materials, materials, supplies equipment and authorised services


Building materials, the contractor’s materials, supplies, equipment and services forming the subject of this contract must originate from stores meeting the criteria of origin defined in the Special Regulations of the invitation to tender and all expenditure done within the context of the contract shall be limited to the said building materials, materials, supplies, equipment and services.

Article 6: Qualification of Bidder

6.1  As an integral part of their offer, bidders must:

A) Submit a power of attorney making the signatory of the offer bound by the offer and  

B)  Update the information included in their request for pre-qualification which may   have changed (or provide this information, in case of open invitation to tender).


Where necessary, bidders should update the information relating to the following points:

i. Access to a credit line or availability of other sources of funding; considering the scope of the services, the production of recent balance sheets and turnovers may be required;

ii. Orders acquired and contracts awarded;

iii. Pending litigations; and

iv. Availability of indispensable equipment.

6.2   Bids presented by two or more associated undertakings (joint-contracting) must satisfy the following conditions:

a) The offer must include all the information listed in article 6(1) above;

b)  The offer and the contract must be signed in a way that is binding on all members of the group;

c) The nature of the group (joint or several) must be specified and justified with the production of a joint venture agreement in due form;

d) The member of the group designated as the representative will represent all the undertakings vis à vis the Contracting Authority with regard to the execution of the Contract.

e) In case of joint co-contracting, the co-contractors shall share the sums which are paid by the Contracting Authority into a single account; on the other hand, each undertaking is paid in its own account by the Contracting Authority where it is several co-contracting.

   6.3 Bidders must equally present sufficiently detailed proposals to demonstrate that they conform to the technical specifications and delivery time-limits set in the Special Regulations of the invitation to tender.

Article 7: Visit of Works Site

    7.1 The bidder is advised to visit and inspect the works and its environs and obtain by himself and under his own responsibility, all the information which may be necessary for the preparation of the offer and the execution of the works. The related cost of the visit of the site shall be borne by the bidder.

    7.2 The Contracting Authority shall authorise the bidder and his employees or agents to enter the premises and the land for the said visit but only on the express condition that the bidder, his employees and agents free the Contracting Authority, his employees and agents of any responsibility that may ensue and indemnify them if necessary and that they shall remain responsible for any deadly or corporal accident, loss of material damages, costs and fees incurred from this visit.

     7.3 The Contracting Authority may organise a visit of the site of the works during the preparatory meeting to establishing the offers mentioned in Article 19 of the General Regulations of the invitation to tender.
B. TENDER FILE

Article 8: Content of Tender File

   8.1 The Tender file describes the works forming the subject of the contract, sets the consultation procedure of contractors and specifies the terms of the contract.  Besides the addendum (addenda) published in accordance with Article 10 of the General Regulations of the invitation to tender, it includes the following documents:-

a. The letter of invitation to tender (for restricted invitation to tender);

b. The tender notice;

c. The General Regulations of the invitation to tender;

d. The Special Regulations of the invitation to tender;

e. The Special Administrative Conditions;

f. The Special Technical Conditions;

g. The price schedule;

h. The bill of quantities and estimates;

i. The sub details of prices;

j. The execution schedule;

k. Charts and other elements of the technical file;

l. Model of forms presenting the equipment, personnel and references;

m. Model tender letter;

n. Model bid bond;

o. Model final bond;

p. Model of bond of start-off advance;

q. Model of bank guarantee in replacement of the retention fund;

r. Model contract;

s. Form relating to preliminary studies;

t. List of banking establishments and financial bodies approved by the Ministry in charge of finance authorised to issue bonds.

 8.2 The bidder must examine all the rules, forms, conditions and specifications contained in the Tender File. It is up to him to furnish all the information requested and prepare an offer in conformity with all aspects of the said file. Any inadequacy may lead to a rejection of his offer.

Article 9: Clarifications on the Tender File

9.1 Any bidder who wants to obtain clarifications on the Tender File may request them from the Contracting Authority in writing or by electronic mail (fax or e-mail) at the Contracting Authority’s address indicated in the Special Regulations of the invitation to tender.

9.2 The complaint must be addressed to the Contracting Authority with copies to the body in charge of the regulation of public contracts and the chairperson of the Tenders Board.

It must reach the Contracting Authority not later than TWOteen (14) days before the opening of bids.

9.4 The Contracting Authority has five (5) days to react. A copy of the reaction shall be forwarded to the body in charge of the Regulation of Public Contracts.

Article 10:  Amendment of the Tender File

 10.1 The Contracting Authority may at any moment, prior to the deadline for the submission of  offers and for any reason, be it at his initiative or in reply to a request for clarification formulated by a bidder, amend the Tender File by publishing an addendum.

    10.2 Any published addendum shall be an integral part of the Tender File, in accordance with Article 8.1 of the General Regulations of the invitation to tender and must be communicated in writing or made known to all bidders who bought the Tender File. The latter must acknowledge receipt of the addenda in writing to the Contracting Authority.

10.3 In order to give bidders sufficient time to take account of the addendum in the preparation of their offers, the Contracting Authority may postpone as is necessary, the deadline for the submission of offers, in accordance with provisions of Article 22 of the General Regulations of the invitation to tender.

C. PREPARATION OF OFFERS

Article 11: Tender costs

The candidate shall bear the costs related to the preparation and presentation of his offer and the Contracting Authority shall in no case be responsible for these costs nor pay for them whatever the evolution or outcome of the invitation to tender procedure. 

Article 12: Language of Offer

The offer as well as any correspondence and all documents concerning the offer exchanged between the bidder and the Contracting Authority shall be written in English or French. Complementary documents and the forms provided by the bidder may be written in another language on condition that a precise translation into either English or French of the passages concerning the offer is included; in which case for reasons of interpretation, the translation shall be considered to be authentic.

Article 13: Constituent Documents of the Offer

 13.1 The offer presented by the bidder shall include the documents detailed in the Special Regulations of the invitation to tender, duly filled and put together in three volumes:

a) Volume 1:  Administrative Offer

           It includes:

          All documents attesting that the bidder:

              - has subscribed to all declarations provided for by the laws and regulations;

              - paid all taxes, duties, contributions, fees or deductions of whatever nature;

              -  is not winding up or bankrupt;

              -  is not the subject of an exclusion order or forfeiture provided for by the law in force; 

           ii)   The bid bond established in accordance with the provisions of Article 17 of the General Regulations of the invitation to tender;

           iii)  the written confirmation empowering the signatory of the offer  to commit the bidder, in accordance with the provisions of Article 6(1) the General Regulations of invitation to tender.

b) Volume 2: Technical Offer

b.1 Information on qualifications



The Special Conditions lists the documents to be furnished by bidders to justify the qualification criteria mentioned in Article 6(1) of the Special Conditions of the invitation to tender.

b.2 Methodology 


The Special Conditions of the invitation to tender specifies the constituent elements of the technical offer of the bidders especially: a methodological statement on an analysis of the works and specifying the organisation and programme which the bidder intends to put in place or use to execute the works (installations, schedule, PAQ, PGE, sub-contracting, attestation of visit of the site, where necessary, etc).

b.3 Proof of acceptance of conditions of the contract

       The bidder shall submit duly initialled copies of administrative and technical documents relating to the contract, namely:

1. The Special Administrative Conditions (SAC);

2. The Special Technical Conditions (STC).

c) Volume 3: Financial Offer


The Special Conditions specify the elements that will help in justifying the cost of the works, namely:

1. The signed and dated original offer prepared according to the attached model, stamped at the prevailing rate;

2. The  duly filled Unit Price Schedule;

3. The duly filled detailed estimates;

4. The sub-details of prices and/or breakdown of all-in prices;

In this regard, the bidders will use the documents and models provided in the Tender File, subject to the provisions of Article 17(1) of the General Regulations of the invitation to tender concerning the other possible forms of guarantees.

      13.2    If in accordance with the provisions of the Special Regulations of Invitation to Tender, the bidders present offers for several lots of the same invitation to tender, they could indicate rebates offered in case of award of more than one lot.

Article 14:  Offer price 

     14.1    Except otherwise stated in the Tender File, the amount of the contract shall cover all the works described in article 1.1 of the General Regulations of the invitation to tender, on the basis of the price schedule and the detailed bill of quantities and estimates presented by the bidder .

     14.2   The bidder shall fill the unit prices and totals of all items on the schedule and bill of quantities and estimates.

    14.3   Subject to contrary provisions provided for in the Special Regulations and in the Special Administrative Conditions, all dues, taxes and fees payable by the bidder on grounds of the contract or on any other ground, thirty (30) days prior to the submission of the offers, shall be included in the prices and in the total amount of the offer presented by the bidder.

14.4 If a price revision/updating clause is provided for in the contract, the date of establishment of the initial price, as well as the price revision/updating conditions for the said price must be specified. This is with the understanding that any contract of duration less than one (1) year shall not be subject to a price revision.

      14.5 All unit prices must be justified by sub-details established in accordance with the structure proposed in annex 8.

Article 15: Currency of offer and payment

For national invitations to tender, the currency shall be the CFA franc.

Article 16: Validity of offers

16.1 Offers must remain valid during the period stated in the Special Regulations from the date of submission of the bids fixed by the Contracting Authority, in application of Article 22 of the Special Regulations. An offer valid for a shorter period shall be rejected by the Contracting Authority as not being in conformity.

16.2 Under exceptional circumstances, the Contracting Authority may seek the approval of bidders to extend the validity time-limit.  The request and the responses that will be given shall be in writing (or by fax). The validity of the bid bond provided for in Article 17 of the General Regulations shall equally be extended for a corresponding duration. A bidder may refuse to extend the validity of his offer without losing his bid bond. A bidder who consents to an extension shall not be asked to modify his offer nor shall he be authorised to do so.

16.3 Where the contract does not include a price revision clause and that the period of validity of offers is extended for more than sixty (60) days, the amounts payable to the bidder retained shall be updated by application of the formula featuring in the request for extension that the Contracting Authority addressed to bidders. The updating period shall run from the date of notification of the contract or the Administrative Order for start of execution of works by the retained bidder, as specified in the Special Administrative Conditions. The effect of updating shall not be taken into account for purposes of evaluation.

Article 17: Bid bond

17.1   In application of Article 13 of the General Regulations, the bidder shall furnish a bid bond of the amount specified in the Special Regulations and which bid bond shall be a full part of his offer.

17.2 The bid bond must conform to the model presented in the Tender File; other models may be authorised subject to the prior approval of the Contracting Authority. The bid bond will remain valid for sixty (60) days beyond the original date set for the validity of offers or any other validity time-limit  requested by the Contracting Authority and accepted by the bidder, in accordance with the provisions of Article 16 (2) of the General Regulations.

17.3   Any offer without an acceptable bid bond shall be rejected by the Tenders Board as not in conformity.  The bid bond of associated enterprises must be established in the name of the group submitting the offer and mention each member of the associated grouping.

17.4   The bid bonds of bidders who are not retained shall be returned within fifteen (15) days after publication of the award result.

17.5   The bid bond of the successful bidder shall be released as soon as the latter would have signed the contract and furnished the required final bond.

17.6    The bid bond may be seized:

       if the bidder withdraws his offer during the period of validity;

a) if the retained bidder:

i) Fails in his obligation to register the contract in application of Article 37 of the General Regulations;

ii) Fails in his obligation to furnish the required final bond in application of Article 38 of the General Regulations.

Article 18: Varying proposals of bidders

18.1 Where the works can be executed within variable deadlines, the Special Regulations shall specify these deadlines and shall indicate the method retained for the evaluation of the completion deadline proposed by the bidder within the specified deadlines. Offers that propose deadlines beyond those specified shall be considered as not being in conformity.

18.2 Except in the case mentioned in Article 18(3) below, bidders wishing to offer technical variants must first assess the basic solution of the Contracting Authority as described in the Tender File and furnish in addition all the information which the Contracting Authority needs for a complete evaluation of the proposed variant, including the plans, calculations, technical specifications, sub-details of prices and proposed construction methods and all other useful information. If necessary, the Contracting Authority will examine only the technical variants of the bidder offer conforming with the basic solution has been evaluated as the lowest bid.

18.3 When according to the Special Regulations the bidders are authorised, to directly submit the technical variants for certain parts of the works, these parts of the works must be described in the technical specifications. Such variants shall be evaluated according to their own merit in accordance with the provisions of Article 31(2) (g) of the General Regulations.

Article 19: Preparatory Meeting to the Establishment of Offers

19.1   Except otherwise stipulated in the Special Regulations, a bidder may be invited to take part in a preparatory meeting which will hold at the date and place indicated in the Special Regulations.

19.2 The subject of the preparatory meeting shall be to furnish clarifications and answer any questions which may be raised at this stage.

19.3    As much as possible, the bidder is requested to submit any question in writing or by telex in a way as to reach the Contracting Authority at least one week before the meeting The Contracting Authority may not reply to questions received late. In this case, the questions and answers shall be transmitted according to the methods set in Article 19(4) below.  

19.4    The minutes of the meeting, including the text of the questions asked and the replies given, including questions prepared after the meeting, shall be forwarded immediately to everyone who bought the Tender File. Any modification of documents of the Tender File listed in Article 8 of the General Regulations which may prove to be necessary at the end of the preparatory meeting shall be done by the Contracting Authority by publishing an addendum in accordance with the provisions of Article 10 of the General Regulations and not through the minutes of the preparatory meeting.

19.5 The fact that a bidder does not attend a preparatory meeting for the establishment of offers shall not be a reason for disqualification.

Article 20: Form and Signature of Offer

20.1 The bidder shall prepare an original of the constituent documents described in Article 13 of the General Regulations in a volume clearly indicated “ORIGINAL”. In addition, the bidder shall submit the number required in the General Regulations, bearing “COPY”. In case of discrepancy, the original shall be considered as authentic.

20.2  The original and copies of the offer must be typed or written in indelible ink (photocopies shall be accepted in the case of copies) and shall be signed by the person(s) duly empowered to sign on behalf of the bidder, in accordance with Article 6(1a) or 6(2c) of the General Regulations, as the case may be. All the pages of the offer containing alterations or changes must be initialled by the signatory (ies) of the offer.

20.3 The offer shall be bearing no modification, suppression or alteration unless such corrections are initialled by the signatory (ies) of the offer.

D. SUBMISSION OF OFFERS

Article 21:  Sealing and Marking of Offers

21.1 The bidder shall seal the original and each copy of the offer in separate envelopes (internal envelopes) by marking on these envelopes “ORIGINAL” and “COPY”, as the case may be. The envelopes shall then be placed in another envelope which will equally be sealed but which will not give any indication regarding the identity of the bidder.


21.2 The external and internal envelopes:

a) should be addressed to the Contracting Authority at the address indicated in the Special Regulations;

b) Should bear the name and identification number of the project as indicated in the Special Regulations  and  bear the inscription “TO BE OPENED ONLY ON THE DAY AND AT THE TIME FIXED FOR THE OPENING OF BIDS” as specified in the Special Regulations.

21.3 The internal envelopes should equally carry the name and address of the bidder in a way as to enable the Contracting Authority return the sealed offer if it is late in accordance with Article 23 of the General Regulations and to meet the provisions of Article 24 of the General Regulations.  

21.4 If the external envelope is not sealed and marked as indicated in paragraphs 21(1) and 21(2) above, the Contracting Authority shall not be responsible if the offer is misplaced or opened prematurely. 

Article 22: Date and time-limit for submission of offers  

22.1 The offers must be received by the Contracting Authority at the address specified in Article 21(2) of the Special Regulations not later than the date and time stated in the Special Regulations.

22.2 The Contracting Authority may, at his discretion, postpone the deadline set for the submission of the offers by publishing an addendum in accordance with the provisions of Article 10 of the General Regulations.  In this case, all the rights and obligations of the Contracting Authority and bidders previously governed by the initial date will henceforth be governed by the new date.

Article 23: Late offers

Any offer received by the Contracting Authority beyond the deadline for the submission of offers in accordance with Article 22 of the General Regulations shall be declared late and consequently rejected.

Article 24: Modification, Substitution and Withdrawal of Offers

24.1 A bidder may modify or withdraw his offer after submitting it, on condition that the written notification of the modification or withdrawal is received by the Contracting Authority prior to the end of the time-limit prescribed for the submission of the offers. The said notification must be signed by an authorised representative in application of Article 20(2) of the General Regulations. The modification or the corresponding replacement offer must be attached to the written notification. As the case may be, the envelopes must bear the inscription “WITHDRAWAL”, and “REPLACEMENT OFFER” or “MODIFICATION”.

24.2 The notification of modification or withdrawal should be prepared, sealed, marked and forwarded in accordance with the provisions of Article 21 of the General Regulations. The withdrawal may equally be notified by telex but should in this case be confirmed by a duly signed written notification whose date, post mark being authentic, shall not be posterior to the time-limit set for the submission of offers.

24.3 Offers being requested to be withdrawn in application of Article 24(1) shall be returned unopened.

24.4 No offer may be withdrawn during the interval between the submission of offers and the expiry of the validity of offers specified by the model tender. The withdrawal of an offer by a bidder during this interval may lead to the confiscation of the bid bond in accordance with the provisions of Article 17(6) of the General Regulations.

E. OPENNING OF ENVELOPES AND EVALUATION OF OFFERS

Article 25: Opening of envelopes and petitions

25.1 The competent Tenders Board shall open the envelopes in single or double phases and in the presence of the representatives of bidders who wish to attend at the date, time and address specified in the Special Regulations. Representatives of bidders shall sign a register attesting to their presence.

25.2 Firstly, envelopes marked “withdrawal” shall be opened and the contents announced to the hearing of everyone, while the envelope containing the corresponding offer shall be returned to the bidder unopened. Withdrawal shall be allowed only if the corresponding notification contains a valid empowerment of the signatory to request this withdrawal and if this notification is read to the hearing of everyone. Then the envelopes marked “Replacement offer” are opened and announced to the hearing of everyone and the new corresponding offer substituted for the preceding one which will be sent to the bidder concerned unopened. The replacement of the offer shall only be allowed if the corresponding notification contains a valid empowerment of the signatory requesting the replacement and read to the hearing of everyone. Lastly, the envelopes marked “modification” shall be opened and their contents read to the hearing of everyone with the corresponding offer. The modification of the offer shall only be allowed if the corresponding notification contains a valid empowerment of the signatory requesting the modification and read to the hearing of everyone. Only offers which were opened and announced to the hearing of everyone during the opening of bids shall then be evaluated.

25.3 All envelopes shall be opened successively and the name of the bidder announced aloud as well as the possible modification mentioned, the price offered, including any rebates [in case of opening of financial offers] and any variant, where necessary, the existence of a 

guarantee of the offer if it is required and any other details which the Contracting Authority deems useful to be mentioned. Only rebates and variants of offers announced to the hearing of everyone during the opening of bids shall be submitted for evaluation.

25.4 Offers (and modifications received in accordance with the provisions of Article 24 of the General Regulations) which were not opened and read to the hearing of everyone during the bid-opening session for whatever reason, shall not be submitted for evaluation.

25.5 Bid-opening minutes are recorded on the spot mentioning the admissibility of offers, their administrative regularity, prices, rebates and time-limits as well as the composition of the Evaluation sub-committee. A copy of the said minutes to which is attached the attendance sheet is handed over to all the participants at the end of the session.

25.6 At the end of each bid-opening session, the chairperson of the Tenders Board immediately hands over to the focal point designated by ARMP an initialled copy of the offers presented by bidders.

25.7 In case of petition as provided for by the Public Contracts Code, it should be addressed to the Public Contracts Authority with copies being sent to the body in charge of the Regulation of Public Contracts and the Contracting Authority.



It must reach within a maximum deadline of three (3) working days after the opening of bids in the form of a letter to which is obligatorily attached a sheet of the petition form duly signed by the petitioner and possibly by the chairperson of the Tenders Board.



The Independent Observer attaches to his report the sheet that was handed to him, including any related commentaries or observations.

Article 26: Confidential Character of the Procedure

26.1 No information relating to the examination, clarification, evaluation and comparison of offers and verification of the qualification of the bidders and the recommendation for the award shall be given to bidders or to any person concerned with the said procedure before the announcement of the award. 

26.2 Any attempt by a bidder to influence the Evaluation Sub-Committee of bids or the Contracting Authority in his award decision may cause the rejection of his offer.

26.3 Notwithstanding the provisions of paragraph 26.2, between the opening of bids and the award of the contract, if a bidder wishes to enter into contact with the Contracting Authority with reasons having to with his offer may do so in writing. 

Article 27: Clarifications on the offers and contact with the Contracting Authority

27.1 To ease the examination, evaluation and comparison of offers, the chairperson of the Tenders Board may, if he desires, request any bidder to give clarifications on his offer. This request for clarification and the response given are formulated in writing but no change on the amount or content of the offer is sought, offered or authorised, except it is necessary to confirm the correction of calculation errors discovered by the Evaluation Sub-Committee during the evaluation in accordance with the provisions of Article 29 of the General Regulations.

27.2 Subject to the provisions of paragraph 1 above, bidders shall not contact members of the Tenders Board and the Evaluation Sub-Committee for questions related to their offers, between the opening of envelopes and the award of the contract.

Article 28: Determination of Conformity of Offers

28.1 The Evaluation Sub-Committee shall carry out a detailed examination of offers to determine if they are complete, if the required guarantees are furnished, if the documents were correctly signed and if generally the offers are in proper order.

28.2 The Evaluation Sub-Committee shall determine if the offer is essentially in conformity with the conditions fixed in the Tender File based on the content without recourse to external elements of proof.  

28.3 An offer that conforms to the Tender File shall essentially be an offer that respects all the terms, conditions and specifications of the Tender File, without substantial divergence or reservation.  A substantial divergence or reservation is that:

i) which substantially limits the scope, quality or realisation of the works;

ii) which substantially limits and is not in conformity with the Tender File, the rights of the Contracting Authority or the obligations of the bidder in relation to the contract; or

iii) Whose correction would unjustly affect the competitiveness of the other bidders who presented offers that essentially conformed with the Tender File.

28.4 If an offer is essentially not in conformity it shall be rejected by the competent Tenders Board and shall not eventually be rendered in conformity.

28.5 The Contracting Authority reserves the right to accept or reject any modification, divergence or reservation. Modifications, divergences, variants and other factors which are beyond the requirements of the Tender File shall not be considered during the evaluation of offers.

Article 29: Qualification of the bidder


  The Evaluation Sub-Committee shall ensure that the successful bidder having an offer substantially in conformity with the provisions of the Tender File, fulfils the qualification criteria stipulated in Article 6 of the Special Regulations. It is essential to avoid any arbitrariness in determining qualification.

Article 30: Correction of errors

30.1 The Evaluation Sub-Committee shall verify offers considered essentially in conformity with the Tender File to correct the possible calculation errors. The Evaluation Sub-Committee shall correct the errors in the following manner:

(a) where there is an incoherence between the unit price and the total obtained by multiplying the unit price by the quantity, the unit price being authentic, the total price shall be corrected, unless the Evaluation sub-committee judges that it is a gross error of decimal point in the unit price in which case the total price as presented shall be authentic and the unit price corrected.

(b) If the total obtained by addition or subtraction of the totals is not exact, the sub totals shall be considered authentic and the total corrected.

(c) Where there is a difference between the price indicated in letters and in figures, the amount in letters shall be considered authentic, unless the amount is linked to an arithmetical error confirmed by the sub-detail of the said price, in which case the amount in figures shall prevail subject to paragraphs (a) and (b) above.

30.2 The amount featuring in the offer shall be corrected by the Evaluation Sub-Committee, in accordance with the error correction procedure above and with confirmation by the bidder, the said amount shall be deemed to commit him.

30.3 If the bidder who presented the lowest bid refuses the correction thus carried out, his offer shall be rejected and the bid bond may be seized. 

Article 31: Conversion into a single currency

31.1 To facilitate the evaluation and comparison of offers, the Evaluation Sub-Committee shall convert the prices of offers expressed in various currencies into those in which the offer is payable in CFA francs. 

31.2 The conversion shall be done using the selling rate fixed by the Bank of Central African States (BEAC) under the conditions defined by the Special Regulations.

Article 32: Evaluation of Financial Offers 

32.1 Only offers considered as being in conformity, as per the provisions of Article 28 of the General Regulations, shall be evaluated and compared by the Evaluation Sub-Committee.

32.2 By evaluating the offers, the Evaluation Sub-Committee shall determine for each offer the evaluated amount of the offer by rectifying the amount as follows:

a) By correcting any possible error in accordance with the provisions of Article 30.2 of the General Regulations;

b) By excluding projected sums and where necessary provisions for the unforeseen occurrences featuring in the bill of quantities and estimates but by adding the amount of works done under State supervision where they are costed in a competitive manner as specified in the Special Regulations.

c)  By converting into a single currency the amount resulting from the rectifications (a) and (b) above, in accordance with the provisions of Article 31(2) of the General Regulations;

d) By appropriately adjusting any other modification, divergence or quantifiable reservation on technical or financial basis.

e) By taking into consideration the various execution time-limits proposed by the bidders, if they are authorised by the Special Regulations;

f) If need be, in accordance with the provisions of Article 13(2) of the General Regulations and the Special Regulations by applying the rebates offered by the bidder for the award of more than one lot, if this invitation to tender is launched simultaneously for several lots.

g)  If need be, in accordance with the provisions of the Special Regulations and the Technical Specifications, the proposed technical variants, if they are permitted, shall be evaluated according to their own merit and independently of the fact that the bidder offered or not a price for the technical solution specified by the Contracting Authority in the Special Regulations.

32.3 The estimated effect of price revision formulae featuring in the GAC and SAC applied during the period of execution of the contract shall not be considered during the evaluation of offers.


The Contracting Authority reserves the right to accept or reject any modification, difference or reservation. The modifications, differences, variants or other factors which exceed the requirements of the tender file are not taken into account during the evaluation of offers.

32.4 If the offer judged the lowest bid is considered abnormally low or strongly unbalanced in relation to the estimates of the Contracting Authority, the Evaluation Sub-Committee may, from the sub-details of prices furnished by the bidder for any element or all the elements of the bill of quantities and estimates, verify if these prices are compatible with the construction methods and proposed calendar. In the case where the justifications presented by the bidder are not satisfactory to it, the Contracting Authority may reject the offer.


Article 33: Preference Granted National Bidders

If this provision is mentioned in the Special Regulations, national contractors may benefit from a margin of national preference during the evaluation of offers as provided for in the Public Contracts Code.

F. AWARD OF THE CONTRACT

Article 34: Award 

34.1 The Contracting Authority shall award the contract to the bidder whose offer was judged essentially in conformity with the Tender File and who has the required technical and financial capacities to execute the contract satisfactorily and whose offer was evaluated as the lowest by including, where necessary, proposed rebates

34.2  If, according to Article 13(2) of the General Regulations, the invitation to tender comprises several lots, the lowest offer shall be determined by evaluating this contract with other lots to be awarded concurrently, by taking into account the rebates offered by the bidders in the case of more than one lot, as well as their financial situation at the time of award.

Article 35:  The right by the Contracting Authority to declare an invitation to tender unsuccessful or cancel a procedure 


The Contracting Authority reserves the right to cancel a procedure of invitation to tender after the authorisation of the Prime Minister where the offers have been opened or to declare an invitation to tender unsuccessful after the advice of the competent Tenders Board, without any claims being entertained.

Article 36: Notification of the award of the contract

            Before the expiry of the validity of the offers set in the Special Regulations, the Contracting Authority shall notify the successful bidder by telecopy confirmed by registered mail or by any other means that his offer was retained. This letter will indicate the amount the Contracting Authority will pay the contractor to execute the works and the execution time- limit.

Article 37: Publication of results of award and petitions

37.1 The Contracting Authority shall communicate to any bidder or administration concerned, upon request addressed to it within a maximum deadline of five (5) days after publication of the award results, the Independent Observer’s report as well as the minutes of the award session of the related contract to which shall be attached the evaluation report of the offers.

37.2 The Contracting Authority is bound to communicate the reasons for the rejection of offers of the bidders concerned who so request.

37.3 After publication of the award results, offers that are not withdrawn within fifteen (15) days shall be destroyed, without any claims for compensation being entertained. Only the copy destined for the body in charge of regulation shall be kept.

37.4 In case of petition, it should be addressed to the Public Contracts Authority, with copies to the body in charge of the regulation of public contracts, the Contracting Authority or Delegated Contracting Authority and the chairperson of the Tenders Board.

It must take place within a maximum deadline of five (5) working days after the publication of the results.

Article 38: Signing of the Contract

38.1 After publication of the results, the draft contract subscribed by the successful bidder is submitted to the Tenders Board and the competent Specialised Contracts Control Board, where need be for approval.

38.2 The Contracting Authority has a deadline of seven (7) days to sign the contract from the date of reception of the draft contract approved by the competent Tenders Board and subscribed by the successful bidder.

The contract must be notified to the holder within five (5) days of its date of signature.

Article 39:  Final Bond 

39.1 Within twenty (20) days of the notification by the Contracting Authority, the contractor shall furnish the Contracting Authority with a final bond, in the form stipulated in the Special Regulations, in accordance with the model provided in the Tender File.

39.2 The bond whose rate varies between 2 and 5 percent of the amount of the contract may be replaced by a guarantee from a banking establishment approved according to the instruments in force with the Contracting Authority as beneficiary or by a joint or several guarantee.

39.3 Small and medium-sized enterprises (SME) constituted of national capital and managed by nationals may, in lieu of the guarantee, provide a statutory lien or a bond issued by a banking establishment or first rate financial institution approved in accordance with the instruments in force.

39.4 Failure to produce the final bond within the prescribed time limit shall likely cause the termination of the contract under the terms laid down in the General Administrative Conditions.     

DOCUMENT No.3: SPECIAL REGULATIONS OF THE
                              INVITATION TO TENDER

SPECIAL REGULATIONS OF THE INVITATION TO TENDER

	
	Introduction

	1.1
	Definition of works: FOR THE REHABILITATION OF TWO INTEGRATED HEALTH CENTRE WITHIN EYUMOJOCK MUNICIPALITY. BABONG/MKPOT, MANYU DIVISION, SOUTH WEST REGION.
Name and address of the Contracting Authority: THE LORD MAYOR OF EYUMOJOCK COUNCIL

Reference of Invitation to Tender: No 005/ONIT/EC/TB/PIB2026 of  , 28/04/2026

	1.2
	Execution Deadline: Three (03) months

	2.1
	Source of financing : Public Investment Budget (PIB) 2026

	5.1
	Origin of building materials, equipment, materials, supplies and equipment and related services should come from the local market and respect the norms applicable in Cameroon.

	6
	Main qualification criteria of bidders

	6.1
	Among others:

-Turnover of at Least fifty million (15.0050.0050):             
                         Yes/No

-Access to a Credit or Other Financial Resources:
 
                           Yes/No

-Expenditure schedule or other contracts under execution
                           Yes/No

-Contractor’s  References       




                           Yes/No

-Availability of material and essential equipment

                           Yes/No

-Experience of supervisory staff




                           Yes/No

The non respect of three (03) criteria leads to Elimination of the Offer

	6.2
	In case of a group of enterprises

	7.3
	Visit of site of the works and preparatory meeting

	12
	Language of offer English or French 

	13.1
	The list of documents referred to in Article 13 of the General Regulations must be completed, grouped in three volumes respectively inserted in internal envelopes and detailed as follows:

Envelope A- Volume 1: Administrative Documents

For international invitations to tender, they will notably include:

a. Declaration of intention to tender, stamped for local bidders (according to the attached model);

b. The group agreement, where need be;

c. The power of attorney;

d. A certificate of non-bankruptcy established by the High Court or the Chamber of Commerce and Industry of the place of residence of the bidder dated not more than three (3) months preceding the date of submission of offers;

e. An attestation of address of the bidder’s banks issued by a bank approved by the Ministry in charge of finance and the budget of Cameroon or by a first rate foreign bank;

f. Receipt of purchase of the Tender File;

g. The Bid Bond and attached receipt from Caisse des Dépôts et Consignations (CDEC)
h. An Attestation of Non-exclusion from public contracts delivered by the Director General of the Public Contracts Regulatory Agency (Original);

i. A  certificate of visit of the site;

In addition, bidders installed in Cameroon should produce the following documents:
j.  An attestation less than three (3) months old signed by the Director General of the National Social Insurance Fund certifying that the bidder has fulfilled his obligations towards the fund;
k. A Categorisation Certificate issued by the Authority in charge of Public Contracts (CIRCULER LETTER N 000006/LC/MINMAP/CAB OF 05/02/2026)
l. An attestation less than three months old signed by the Director of Taxes certifying that the bidder has effected all statutory declarations in issues of taxes for the current financial year (a taxation certificate, a taxpayer’s card, business licence, a certificate attesting the payment of taxes and the plan and attestation of localization);

m. A certified copy of National Identity Card.

In case of a group of companies each member of the group must present a complete administrative file, documents e, f, g, I being presented only by the representative of the group.

Envelope B- Volume II: Technical offer

n. Information of qualifications

The Special Regulations specify the list of documents to be furnished by bidders to justify the qualification criteria mentioned in article 6 of the Special Regulations.

o. Technical proposals

The Special Conditions of the invitation to tender specifies the constituent elements of the technical offer of the bidders especially: a methodological statement on an analysis of the works and specifying the organisation and programme which the bidder intends to put in place or use to execute the works (installations, schedule, PAQ, PGE, sub-contracting, attestation of visit of the site, where necessary, etc). 
p.  Proofs of acceptance of the contract conditions

The bidder shall submit duly initialled copies of administrative and technical documents relating to the contract, namely:

q. The Special Administrative Conditions (SAC);

r. The Special Technical Conditions (STC).                                                                                                                                  

Envelope C- Volume III: Financial offer

c.1 The offer proper, generally prepared according to the attached model, stamped at the prevailing rate and dated;

c.2 The duly filled Unit price schedule;

c.3 The duly filled detailed estimates;

c.4 The sub-details of prices and/or the breakdown of all-in a prices

N.B The various parts of the same file must obligatorily be separated by colour dividers both in the original and in the copies in a way as to facilitate examination.             

	
	Price and currency of offer

	14.4
	The prices of the contract are not revisable

	
	Preparation and submission of offers

	16.1
	Period of validity of offers:

The period of validity of offers is 60  days from the date of submission of offers

	17.1
	Amount of guarantee of the offer

Each bidder must include in his administrative documents, a bid bond issued by a first-rate banking establishment approved by the Ministry in charge of finance and whose list is found in document No. 12 of the tender file, of an amount of three hundred thousand (300 000) CFA francs for a validity period of sixty (60) days from the date of opening. 

	18.1
	Offers are called on the basis of an execution deadline of works between a minimum and maximum three (03) days. The evaluation method features in Article 32(2e) of the General Regulations. The execution deadline proposed by the successful bidder shall become the contractual execution deadline.

	20.1
	The number of copies of the offer which must be filled and sent:

The number of copies of the bid shall five (5) inclusive of the original. 

	21.2
	Address of the Contracting Authority to be used for the submission of offers:

Name and address of the Contracting Authority: The Lord Mayor of Eyumojock Council
Reference of Invitation to Tender: No 005/ONIT/EC/TB/PIB2026
of , 28/042026

	25.1
	Venue, date and time of opening of bids

Tenders shall be opened at the Conference Hall of  EYUMOJOCK COUNCIL on  , 25/05/2026 at 10 am

	
	Opening and comparison of offers

	31.2
	Currency retained for the conversion into a single currency: the CFA franc

	
	Award of the Contract

	39.1

39.2
	The contract shall be awarded to the bidder with the lowest financial offer.

The successful bidder must furnish a final bond of two per cent (2%) of the contract amount within twenty (20) days of notification of the Contract Award.


14.2: Essential Criteria  

The technical tender will be valued according to the following notation grid: 

A – General Presentation ………………………………………Yes / No

B-   Contractor’s References for the past Three years ………. Yes / No 

B - Experience of Supervisory Staff ……………………... ….   Yes / No 

C – Availability of Materials  and essential equipment…….    Yes / No 

D – Self-Financing Capacity…………………….. ……………...   Yes / No

(The Non respect of (02) criteria shall cause elimination of the offer)
	S/N
	CRITERIA
	SUB-CRITERIA
	YES
	NO

	01-
	General

 Presentation
	Spiral Bind
	
	

	
	
	Clarity
	
	

	
	
	Readable
	
	

	
	
	Separate in Color page a part from white
	
	

	
	Reference of the Company
	
	

	
	References of the Company in similar work carried out during the last three (3) years.
	Two (02) contracts registered (1st & last page), two (02) Reception PVs corresponding to the attached contracts
	
	

	
	
	Works Overseer (Works Co-coordinator) either be a Senior Civil Engineering technician or Rural Engineering technician (Bac +2 with at least five years of working experience in similar works)
	
	

	
	
	Certified true copy of certificate not more than three months old.
	
	

	
	
	A commitment letter signed by the employee and identification document, Tel. No,
	
	

	
	
	CV signed by the candidate
	
	

	2-
	Site Personnel
	Site foreman ( Civil Engineering technician or Rural Engineering technician Bac with at least five years of working experience in similar works)
	
	

	
	
	Certified true copy of certificate not more than three months old.
	
	

	
	
	A commitment letter signed by the employee and identification document, Tel. No,
	
	

	
	
	CV signed by the candidate
	
	

	
	
	Electrician, (Bac with at least five years of working experience in similar works)
	
	

	
	
	Certified true copy of certificate not more than three months old.
	
	

	
	
	A commitment letter signed by the employee and identification document, Tel. No,
	
	

	
	
	Certified true copy of certificate not more than three months old.
	
	

	
	
	Other Personnel (One Electrician, two builders and one Carpenter) Cap +
	
	

	
	
	Certified true copy of certificate
	
	

	
	
	Attestation of availability signed by the candidate
	
	

	
	
	CV signed by the candidate
	
	

	
	
	Certified true copy of certificate
	
	

	
	
	Attestation of availability signed by the candidate
	
	

	
	
	CV signed by the candidate
	
	

	
	
	Certified true copy of certificate
	
	

	
	
	Attestation of availability signed by the candidate
	
	

	
	
	CV signed by the candidate
	
	

	
	
	Certified true copy of certificate
	
	

	
	
	Attestation of availability signed by the candidate
	
	

	
	
	Certified true copy of certificate
	
	

	
	Equipment
	Pick-up 4 x 4 (Justification of Ownership or hiring)
	
	

	
	
	Concrete Mixer  (Justification of Ownership or hiring)
	
	

	
	
	Vibrator  (Justification of Ownership or hiring)
	
	

	
	
	List of Small Construction equipment or assorted tools signed by the head of the company
	
	

	03
	Methodology
	Comprehension of works
	
	

	
	
	Planning of execution
	
	

	
	
	Organisation
	
	

	
	
	A Certificate of Visit of site signed by the Mayor of Eyumojock Council or Chief of Centre IHC Ekok or Afap
	
	

	04
	Self-Financing Capacity
	Turnover
	
	

	
	
	Access to credit or financial resources
	
	


SUMMARY OF TECHNICAL QUALIFICATION CRITERIONSS
	No.
	CRITERIA
	MARKS

	I
	General Presentation
	

	II
	References of the Company
	

	III
	Methodology
	

	IV
	Self-Financing Capacity
	

	                                                           Total
	


The Technical offer to be validated, it must have at least 70% of the scores.
DOCUMENT No. 4: SPECIAL ADMINISTRATIVE
                  CONDITIONS (SAC)

Table of Contents

CHAPTER I: GENERAL

Article 1     - Subject of the contract

Article 2     - Award procedure

Article 3     - Definitions and duties (Article 2 of GAC supplemented)

Article 4     - Language, applicable law and regulations

Article 5     - Constituent documents of the contract (Article 4 of GAC)

Article 6     - General applicable instruments

Article 7     - Communication (GAC Articles 6 and 10 supplemented)

Article 8     - Administrative Orders (Article 8 of GAC supplemented)

Article 9     - Contracts with conditional phases (Article 15 of GAC)

Article 10   - Contractor’s personnel (Article 15 of GAC supplemented) 

CHAPTER II: FINANCIAL CLAUSES

Article 11   - Guarantees and securities (Articles 29 and 41 of GAC supplemented)

Article 12   - Amount of contract (Articles 18 and 19 supplemented)

Article 13   - Place and method of payment 

Article 14   - Price variation (Article 20 of GAC)

Article 15   - Price revision formulas

Article 16   - Price updating formulas (Article 21 of GAC)

Article 17   - Work under State supervision (Article 22 of GAC supplemented) 

Article 18   - Evaluation of works (Article 23 supplemented)

Article 19   - Evaluation of supplies (Article 24 of GAC) supplemented) 

Article 20   - Advances (Article 28 of GAC) 

Article 21   - Payments for the works (Articles 26, 27 and 30 of GAC supplemented)

Article 22   - Interests on overdue payments (Article 31 of GAC supplemented)

Article 23   - Penalties for delay (Article 32 of GAC supplemented)

Article 24   - Payment in case of a group of enterprises (Article 33 of GAC)

Article 25   - Final detailed account (Article 35 of GAC)

Article 26   - General detailed account (Article 35 of GAC)

Article 27   - Tax and customs schedule (Article 36 of GAC)

Article 28   - Stamp duty and registration (Article 37 of GAC)

CHAPTER III: EXECUTION OF THE WORKS

Article 29   - Execution deadline (Article 38 of GAC)

Article 30   - Role and responsibility of the contractor (Article 40 of GAC)

Article 31   - Making available documents and site (Article 42 of GAC) 

Article 32   - Insurance of structures and civil responsibility (Article 45 of GAC)

Article 33   - Nature of the works (article 46 of GAC)

Article 34   - Documents to be furnished by the contractor (Article 49 supplemented)

Article 35   - Organization and security of sites (Article 50 of GAC)

Article 36   - Implantation of structures (Article 52 of GAC)

Article 37   - Sub-contracting (article 54 of GAC)

Article 38   - Site laboratory and trials (Article 55 of GAC)

Article 39   - Site logbook (Article 56 of GAC supplemented)

Article 40   - Use of explosives (Article 60 of GAC) 

CHAPTER IV: ACCEPTANCE

Article 41   - Provisional acceptance (Article 67 of GAC)

Article 42   - Documents to be furnished after execution (Article 68 of GAC)

Article 43   - Guarantee time-limit (Article 70 of GAC)

Article 44   - Final acceptance (Article 72 of GAC)

 CHAPTER V: MISCELLANEOUS PROVISIONS

Article 45   - Termination of the contract (Article 74 of GAC)

Article 46   - Force majeure (Article 75 of GAC)

Article 47   - Differences and disputes (Article 79 of GAC)

Article 48   - Drafting and dissemination of this contract

Article 49 and last: Entry into force of the contract.

CHAPTER I: GENERAL
Article 1:  Subject of contract

            The subject of this contract shall be FOR THE REHABILITATION OF TWO INTEGRATED HEALTH CENTRE WITHIN EYUMOJOCK MUNICIPALITY. BABONG/MKPOT, Manyu Division, South West Region. 
Article 2: Contract Award Procedure

            This contract shall be awarded following OPEN NATIONAL INVITATION TO TENDER BY EMERGENCY PROCEDURE No 005/ONIT/EC/TB/PIB2026 of, 24/04/2026.
 

Article 3: Definitions and Duties (Article 2 of GAC Supplemented)

3.1            a)  The Contracting Authority shall be THE MAYOR OF EYUMOJOCK COUNCIL

  In this respect, he preserves the original documents relating to the contract ensures the transmission of 
copies to ARMP through the focal point designated to this effect.
b) The Project Owner shall be the Mayor of Eyumojock Council (Authorising Officer) In his capacity, he shall respect the administrative, technical, financial conditions and contractual time-limits.
c) The Representative of the Authority In-charge of Public Contracts (MINMAP, Manyu):- He  ensures the quality of award and execution as well as the general effectiveness of the Public Contract system.
        d) The Contract Engineer shall be the Divisional Chief of Service, State Property MINDCAF Manyu hereinafter referred to as the Engineer;

e) The Project Manager shall be the Council Development 0fficer of Eyumojock Council.
     He examines, verifies, testifies and approves the quality and quantity of all works executed. In this capacity, he shall notify the contractor through a service orders related to the execution of the said project; he is qualified to prescribe all the dispositions that he judges necessary and confirms all works well done. He works in collaboration with the Contract Manager (if any provision is made for one).


Any project modification must be submitted by the Project Manager, through the Engineer and Contract Manager (if any provision is made for one), to the Contracting Authority, for his approvals before the contract can be executed. The Project Manager is responsible for any modification carried out without nt the Delegated Contracting Authority’s approvals.
f) The Verificator:- The Controller in charge at the Control  of Execution Brigade of MINMAP   Manyu :- He reports on the proper execution of the tasks, verifies the regular presence and roles of each stakeholder
3.2.1- The authority in charge of ordering payment shall be: Mayor of Eyumojock Council 

3.2.2- The authority in charge of the clearance of expenditures shall be the Mayor of Eyumojock Council; 

3.2.3. The body or official in charge of payment shall be the Municipal Treasurer of Eyumojock Council
3.2.4- The officials competent to furnish information within the context of execution of this contract shall be the Mayor of Eyumojock Council, the the Divisional Chief of Service, State Property MINCAP for Manyu or the Engineer.

· .

Article 4: Language Applicable, Law and Regulation

1. The language to be used shall be English and/or French.

2. The contractor shall be bound to observe the law, regulations and ordinances in force in Cameroon and these both within his own organization and in the execution of the contract.

If in Cameroon the regulations, laws and administrative and fiscal measures in force at the date of signature of this contract are amended after the signature of the contract, the possible direct resulting costs shall be taken into account without gain or loss for either party.

Article 5: Constituent Documents of the Contract (Article 9 of GAC)
The constituent contractual documents of this contract are in order of priority: 

1)  The tender or Commitment Letter; 

2)  The Bidder’s Tender and its Annexes in all provisions not contrary to the Special Administrative Conditions (SAC) and the Special Technical Conditions (STC) referred to above;

3)  The Special Administrative Conditions (SAC); 

4)  The Special Technical Conditions (STC);

5)  The particular elements necessary for the determination of the contract price such as, in order of priority: the unit price schedule, the statement of all-in prices, detailed estimates, the breakdown of all-in prices and the sub-details of unit prices;

6)  Plans, calculation notes, trial documents, geotechnical documents, topographic documents;  

7)  The General Administrative Conditions applicable on Public Works Contracts that went into effect by Order No. 033/CAB/PM of 13 February 20057;

8)  The General Technical Condition(s) applicable on the services forming the subject of the contract.

ARTICLE 6: General Instruments in force
This contract shall be governed by the following general instruments:

1. Framework Law No. 96/12 of 5 August 1996 on the Management of the Environment;

2. The Mining Code;

3. Instruments Governing the various Professional Bodies;

4. Decree No. 20054/275 of 24 September 20054 to Institute the Public Contracts Code;

5. Decree No. 20051/048 of 23 February 20051 Relating to the Setting up, Organization and Functioning of the Public Contracts Regulatory Agency;

6. Decree No. 2005/651/PM of 16 April 2005 to Lay Down the Procedure for Implementing the Tax and Customs System applicable to Public Contracts;
7. Letter No; 005908/MINTP/DR of 1997 Relating to the Publication of Directives for the Consideration of Environmental impact of Road Maintenance.
8. DTU for Building Works;
9. Applicable Standards;
10. Other Instruments Specific to the domain concerned with the contract.
Article 7: Communication (Articles 6 and 10 supplemented)

1.  All notifications and written communication within the framework of this contract shall be sent to the following address: 
a) In the case where the contractor is the addressee: beyond the time-limit of 15 days fixed in Article 6(1) of the GAC to make his domicile  known to the Contracting Authority and immediately after completion of the works, correspondences shall be validly addressed to the Council, in which the work was done;
b) In the case where the Contracting Authority is the addressee:
The correspondences shall be addressed to the person with a copy addressed to the Contracting Authority, Project Manager and Contract Engineer where need be. 

2.  The contractor shall address all written notifications or correspondences to the Engineer with a copy to the Contracting Authority.
Article 8: Administrative Orders (Article 8 of GAC)

1. The Administrative Order to start execution shall be signed by the Contracting Authority and notified by the Contract Engineer;

2. Administrative Orders with financial incidence likely to modify the time-limits shall be signed by the Contracting Authority and notified by the Engineer;

3. Administrative Orders of a technical nature linked to the normal progress of the work and without financial incidence shall be signed directly by Contracting Authority and notified by the Engineer;

4. Administrative Orders serving as warnings shall be signed by the Contracting Authority;

5. The Contractor has a time-limit of fifteen (15) days to issue reservations on any Administrative Order received. Having reservations shall not free the Enterprise of Executing the Administrative Orders received.

Article 9: Contracts with Conditional Phases (Article 9 of GAC)
1.  The contract has one phase.

Article 10: Contractor’s Staff (Article 15 of GAC Supplemented)

1. Any modification, even partial, made to the technical offer shall only occur after the written approval of the Contract Engineer. In case of modification, the contractor shall have himself replaced by a member of staff of equal competence (qualifications and experiences).

2. In any case, the lists of supervisory staff to be used shall be subject to the approval of the Engineer within fifteen (15) days of the notification of the Administrative Order to start execution. The Engineer has eight (8) days to notify his opinion in writing with a copy being sent to the Contract Manager. Beyond this time-limit, the staff list shall be considered as approved.

3. Any unilateral modification on the supervisory staff made in the technical offer prior to and during the works shall be a reason for termination of the contract as mentioned in Article 45 below or the Application of Penalties.

CHAPTER II: FINANCIAL CONDITIONS

Article 11 Guarantees and Securities (Articles 29 and 41 of GAC)

1.  Final bond;

The final bond shall be set at 2 % of the amount of the contract, inclusive of all taxes.

The guarantee must be returned or released within one month following the date of Provisional Acceptance of the works, following a release issued by the Contracting Authority upon request by the contractor.

2. Performance bond

The retention fund shall be set at 10 % of the amount of the contract, inclusive of all taxes.

The return or release of the retention fund or security shall be done within one month after Final Acceptance by release issued by the Contracting Authority upon request by the contractor.

3. Guarantee of Start-Off Advance;

The contractor may be granted a Start Off amount of 20% of the contract amount (inclusive of taxes) upon request.

The Start-Off payment shall be guaranteed at 1005% by a Cameroonian Bank recognized by the Ministry in charge of Finance. 

Article 12: Amount of the Contract (Articles 18 and 19 of GAC Supplemented) 

The amount of this contract as it emerges from the attached is 10 0050 0050 (twenty Million) CFA Francs Inclusive of all Taxes; that is 

· Amount Exclusive of VAT______________________________ (In words and figures) CFA Francs per lot;

· Amount of VAT: ______________________(In words and figures),   CFA Francs.

The amount of the contract calculated under the conditions laid down in Article 19 of the GAC, results from the application to the amount exclusive of the Value Added Tax (VAT) and the possible rebate granted by the contractor.

Article 13: Place and Method of Payment

1. In return for the payments to be done by the Contracting Authority to the contractor under the conditions laid down in the contract, the contractor is bound by these provisions to execute the contract in accordance with the provisions of the contract.

2. The Contracting Authority shall release the sums due in the following manner:

For payments in CFA francs (amount in words and figures exclusive of taxes) by credit to Account No ……………… opened in the name of the contractor in the ……………..  BANK.

Article 14: Price Variation (Article 20 of GAC)

1. Prices shall be firm not revisable   
 Article 15: Price Revision Formulae (Article 21 of GAC)

The prices on the Unit Price Schedule shall not be revisable.

Article 17: Work under State Supervision (Article 22 of GAC Supplemented)

1. The percentage of works under State Supervision shall be 2% of the amount of the contract and its additional clauses, where need be.

2. In the case where the contractor were invited to execute works under State supervision, the submitted and duly justified expenditures shall be reimbursed to him under the following conditions:

· The quantities considered shall the hours used or the quantities of building materials and materials used that was the subject of joint job cost sheets;

· The remunerations and salaries effectively paid to local labour shall be increased by forty percent (40 %)to take account of  social benefits; 

· The hours put in by the heavy equipment shall be counted at the rate featuring in the sub-detail of prices;

· Building materials and materials shall be reimbursed at cost price duly justified at the place of use, marked up by ten percent for loss, stocking and handling;

· The amount for services thus calculated, including the hours put by heavy equipment shall be marked up by 25 % to take into account the overheads, profits and the contractor’s unforeseen.

Article 18: Evaluation of works (Article 23 of GAC)

This contract is at unit price, all-in price or unit and all-in price.

Article 19: Evaluation of Supplies (Article 24 of GAC Supplemented)

1. The contractor shall be paid for usable materials intended for the execution of the works mobilized on site in the event where the Jobbing Order is prematurely terminated as provided for by the Regulation in force especially the Public Contract Code. 

2. No security shall be requested for payments on account of supplies.

Article 20: Advances (Article 28 of GAC)

1. The Contracting Authority shall grant a Start-Off Advance equal to 20 % of the amount of the contract to the contractor after presentation of a caution of the same amount from his Bank. 

2. The time-limit for payment of the start-off advance is fixed at________ days from the date of its request by the contractor.

Article 21: Payment for Works (Articles 26, 27 and 30 of GAC Supplemented)

1. Establishment of works executed;

Before the 30th of each month, the contractor and the Engineer shall jointly establish a job cost sheet which summarises and fixes the quantities executed and established for each item on the schedule during the month and capable of giving entitlement to payment.

2. Monthly detailed account.


Not more than the fifth (5th) of the month following the month of the services, the contractor shall hand over to the Engineer two draft provisional monthly detailed accounts in seven copies (one detailed account exclusive of VAT and the other inclusive of taxes), according to the agreed model and establishing the total amount of the sums to which he may lay claim as result of the execution of the contract since the start of the contract.


Only the detailed account exclusive of VAT shall be paid to the contractor. The detailed account of the amount of the taxes shall be the subject of an entry between the budgets of __________ and the Ministry in charge of Finance


The amount exclusive of VAT of the account on payment shall be paid to the contractor as follows:

·  98.9 % paid directly to the account of the contractor;

· 1.1 % paid to the Public Treasury as AIR due by the contractor.


The Engineer has a time-limit of seven (7) days to forward to the Contracting Authority the detailed accounts he has approved.


The Contracting Authority and Contract Engineer have a maximum time-limit of twenty-one (21) days to sign the detailed accounts and forward them to the Accountant in charge of payment.


Or The Engineer transmits to the paying body the detailed accounts he has approved so that they are in its possession not later than ________ of the month. In this case, a copy of the detailed account and the corresponding job cost sheets is forwarded within the same deadlines to the Contracting Authority for a follow-up file.

A copy of the corrected detailed account is returned to the contractor, if need be.

Payments shall be done by_________ within a maximum deadline of _______ calendar days from the date of submission of the approved detailed accounts.

Article 22: Interest on Over-Due Payments (Article 31 of the GAC)

Possible interests on overdue payments are paid by statement of sums due in accordance with Article 88 of Decree No. 20054/275 of 24 September 20054 to institute the Public Contracts Code.

Article 23: Penalties for Delays (Article 32 of GAC supplemented)
1. The amount set for penalties for delays is as follows:

a) One two thousandth (1/20050th)  of the initial contract amount all taxes inclusive per calendar day of delay from the first to the 30th day beyond the contractual time-limit;

b) One one thousandth (1/10050th) of the initial amount of the contract inclusive of all taxes per calendar day beyond the 30th day.

2. The cumulated amounts of penalties for delay shall be limited to ten percent (10 %) of the initial contract inclusive of all taxes.

Article 24: Payment in Case of a Group of Enterprises (Article 33 of GAC)

1. In the case of a Group of Enterprises, indicate the method of payment of joint and sub-contractors, where need be.

2. Indicate the method of payment of sub-contractors, where need be.

Article 25: Final Detailed Account (Article 34 of the GAC)

1.  After completion of the works and within a maximum time-limit of 30 days after the date of Provisional Acceptance, the contractor shall establish, based on joint reports, the draft final detailed account of works executed and which detailed account summarises the total sums to which the contractor may be entitled as a result of the execution of the whole contract.

2. The Contracting Authority has 30 days to notify the corrected and approved draft to the Engineer.

3. The contractor has 30 days maximum to return the signed final detailed account.

Article 26: General and Final Detailed Account (Article 35 of the GAC)

1. The Contracting Authority or the Engineer has 30 days maximum to establish the general detailed account and forward to the contractor after final acceptance 


At the end of the guarantee period which results in the final acceptance of the works, the Contracting Authority draws up the general and final detailed accounts of the contract which he has had signed jointly by the contractor and the Engineer. This detailed account includes:

· The Final Detailed Account, 

· The Balance

· The summary of monthly payments on account.


The signing of the general and final detailed account without reservation by the contractor definitely binds the two parties except with regard to interest on overdue payments.

2. The contractor has 30 days maximum to return the signed final detailed account. 

 Article 27: Tax and Customs Regulations (Article 36 of the GAC)

1) Decree No. 2005/651 of 16 April 2005 to Lay Down the conditions for implementing the Tax Regulations and Customs Procedures Applicable to Public Contracts. The taxes applicable  to this contract include notably:

· Taxes and Dues Relating to Industrial and Commercial Profits, including the AIR which is a deduction on Company Taxes;

· Registration Dues in accordance with the Tax Code;

· Dues and Taxes attached to the execution of services provided for in the contract;

· Duties and Taxes of entry into Cameroonian Territory (Customs Duties, VAT, Computer Tax);

· Council Dues and Taxes;

· Dues and Taxes Relating to the Extraction of Building Materials and Water.

These elements must be included in the costs which the undertaking imputes on its running costs and constitute one of the elements of the sub-details of prices exclusive of taxes.

All taxes inclusive prices means VAT included.

Article 28: Stamp Duty and Registration of Contracts (Article 37 of GAC) 

Seven (7) original copies of the contract will be stamped by and at the cost of the contractor, in accordance with the applicable regulations.

CHAPTER III: Execution of Works

Article 29: Execution Time-Limit of the Contract (Article 38 of GAC)

1. The time-limit for the execution of the works forming the subject of this contract shall be three (03) months.

2. This time-limit shall run from the date of notification of the Administrative Order to commence execution of the works.

Article 30: Role and Responsibilities of the Contractor (Article 40 of GAC)

The Detailed and General Plan of progress of the works shall be communicated to the Engineer in TWO (04) copies at the beginning of each month.

Article 31: Provision of Documents and Site (Article 42 of GAC)

A Reproducible Copy of the Plans featuring in the Tender File shall be submitted by the Contracting Authority or Project Manager.

Article 32: Insurance of Structures and Civil Liabilities (Article 45 of GAC)

The following Insurance Policies are required within the scope of this contract in the minimum amounts indicated hereafter:

· Insurance against risks of damages caused to third parties by its paid personnel in active service at work, by the equipment they use in the works;

· Comprehensive insurance  of the site;

· Insurance covering its ten-year obligation.

Article 34: Documents to be furnished by the Contractor (Article 49 of GAC Supplemented)

1. Programme of works, Quality Assurance Plan and others to be specified.

a) Within a minimum deadline of thirty (30) days from the date of notification of the Administrative Order to commence execution, the contractor shall submit in five (5) copies for the approval to the Contracting Authority after the endorsement of the Engineer of the execution programme of the works, his supply calendar, his draft Quality Assurance Plan and the Environment Management Plan.

This programme will be exclusively presented according to the furnished models.

Two (2) copies of these documents will be returned to him within a deadline of between eight and fifteen days from the date of reception with:

· Either the indication “GOOD FOR EXECUTION”;

· Or the indication of their rejection including the reasons for the said rejection.

The contractor has eight (8) days to present a new one. The Engineer then has a deadline of five (5) days to give his approval or possibly make remarks. In this case, the procedure is started all over without this affecting the contractual time-limit.

2. The approval given by the Engineer does not in any way release the contractor of his responsibilities. Meanwhile, works executed before the approval of the programme shall neither be ascertained nor paid for. The updated and approved schedule will become the contractual schedule.

The contractor will constantly update on site, a schedule that will take account of real progress of the site. Significant modifications may only be made on the contractual programme upon receiving the approval of the Project Manager.

b) The Environment Management Plan should bring out notably; the choice, technical conditions of the site and basic life, conditions of the backfill of the extraction sites and conditions for reinstating the works and installation sites;

c) The contractor shall indicate in this programme the equipment and methods which he intends to use as well as the personnel he intends to employ;

d) The approval granted by the Engineer shall in no way diminish the responsibility of the contractor with regard to the harmful consequences which their implementation may cause both towards third parties and the respect of clauses of the contract.

3. Execution draft;

a)  The execution plan documents (calculations and drawings) necessary for the realisation of all the parts of the structure must be submitted for the endorsement of the Engineer at least one month prior to the date provided for the commencement of realisation of the corresponding part of the structure.

b) The Engineer has a deadline of fifteen days to examine and make known his observations. The contractor then has a deadline of eight days to present a new file including the said observations.

4. Others, where need be. 

Article 35: Organisation and Safety of Sites (Article 50 of GAC)

1. Signs at the beginning and end of each section must be placed within a maximum deadline of one month after the notification of the Administrative Order to commence work.

2. Services to inform in case of interruption of traffic or along the deviated itinerary: [To be specified in accordance with Article 50(2) of the GAC].

3. Indicate the special measures demanded of the contractor, other than those provided for in the GAC, for rules of hygiene and safety and for circulation around or in the site.

Article 36: Implantation of Structures

 
The Engineer shall notify within seven (07) days following the date of notification of the Administrative Order to commence work, the basic points and levels of the project.

Article 37: Sub-Contracting (Article 54 of GAC)


The part of the works to be sub-contracted shall be 30 % of the initial amount of the contract and its additional clauses.

Article 38: Site Laboratory and Trials (Article 55 of GAC)

1. Indicate if necessary the modalities for carrying out the trials and geotechnical studies provided for in the Special Technical Conditions.

2. The Engineer has a deadline of ten (10) days to approve the contractor’s personnel and laboratory as soon as the request is formulated.

Article 39: Site Logbook (Article 56 of GAC supplemented)

1. The Site logbook must be systematically jointly signed by the Engineer and the contractor’s representative during site meetings and every day activity.

2. It is a joint document in a single copy. Its pages must be numbered and initialled. No page should be removed. The erased or cancelled parts must be mentioned on the margin for validation.

CHAPTER IV: ACCEPTANCE

Article 41: Provisional Reception (Article 67 of GAC)


Before the Provisional Acceptance, the contractor shall request in writing to the Contracting Authority with a copy to the Engineer, the organisation of a technical visit prior to the Provisional Acceptance.

1. Tests included in the operations prior to acceptance the structure (Hall)

2. Possible ascertainment of the folding up of the site installations and the restitution of the site as was;

3. The Acceptance Commission shall comprise the following members for guideline only:

i. The Contracting Authority The Mayor of Eyumojock Council or his representative, as Chairperson;

ii. The DD MINMAP as member; 

iii. The Contract Engineer, as Rapporteur;
iv. The Council Development Officer of Eyumojock Council
v. The Stores Accountant of Eyumojock Council as member

vi. The Contractor or his Representative, as member.

The contractor shall be convened to the reception by mail at least 10 days prior to the reception. He is bound to attend (or be represented).

He takes part in the reception as an observer. His absence is equivalent to reception without reservation of the conclusion of the Reception Commission.

After the visit of the site, the Commission shall examine the minutes of the preliminary operations to the reception and shall proceed to Provisional Reception of the works if there is need.

The visit for Provisional Reception shall be the subject of minutes of provisional reception signed on the spot by all the members of the Commission.

The minutes of the provisional reception report shall specify or set the date of completion of the works.

4.  The guarantee period commences from the date of reception.

Article 42: Documents to be furnished after execution (Article 68 of GAC)

1. The documents to be furnished in three copies within a time-limit of 30 days after Provisional Acceptance are plans of sticking together “recollement”.

2. The non supply of the plans and documents can give rise to a deduction on the guarantee in place at the sum of …………………. (………………) Francs CFA.

Article 43: Guarantee Period (Article 70 of GAC)

The guarantee period shall be one year to run from the date of the Provisional Acceptance of the works.

Article 44: Final Acceptance (Article 72 of GAC)

1. Final Reception shall take place within a maximum deadline of fifteen (15) days from the date of expiry of the guarantee.

2. The procedure for final reception shall be the same as for provisional reception.

CHAPTER V: SUNDRY PROVISIONS

Article 45: Termination of the Contract (Article 74 of the GAC)


The contract may be terminated as provided for in Part III Paragraph IV of Decree No. 20054/275 of 24 September 20054 and equally under the conditions laid down in Articles 74, 75 and 76 of the GAC especially in cases of:

· Delay of more than fifteen (15) calendar days  in the Execution of an Administrative Order  or unjustified stoppage of more than seven (7) calendar days;

· Delay in work resulting in penalties of more than 10 % of the amount of the works;

· Refusal to repeat poorly Executed works;

· Default by the contractor;

· Persistent non-payment for services.

Article 46: Case of Force Majeure (Article 75 of GAC)

1. If the contractor were to raise the issue of force majeure, the thresholds below which claims shall not be admitted are:

               Rainfall: 2005 millimetres in 24 hours;

· Wind: 40 metres per second;

· Flood: decennial flood frequency.
Article 47: Disagreements and Disputes (Article 79 of GAC)


Where no amicable solution can be found for a disagreement, this agreement is brought before the competent Cameroonian jurisdiction, subject to the following provisions.

Article 48: Production and Dissemination of this Contract


Seven (07) of this contract shall be produced at the cost of the contractor and furnished to the Contracting Authority.

Article 49 and Last: Entry into Force of the Contract

This contract shall be final only upon its Signature by the Contracting Authority. It shall enter into force as soon as it is notified to the contractor by the Contracting Authority.

Document No.5 Special Technical

                         Conditions (STC)
PARTICULAR TECHNICAL TERMS NOTEBOOK
GENERAL DESCRIPTION


In general in these descriptions, the Engineer has taken the duty of informing entrepreneurs on the quality of structures to be constructed, in their numbers, their dimensions and their locations. It is worth noting that these descriptions don’t have a limitative character and the contractor is expected to execute in the limit of his prices without exception nor reservations, all the works as his profession warrants and which are going to be indispensable for the completion of the projected structures.


The fact that a contractor accepts without modifications of the prescriptions of the technical documents which were given to him implies his total acceptance of the terms of these documents and he is thus expected to assume his total responsibility as a contractor.


During the period between the temporal and final receptions, the contractor will be held responsible for the repairs of any disorder that may occur, in the works he did previously.

CONSTRUCTION OF STRUCTURE


All the dispositions mentioned in the descriptive estimates and on the “plans” have to be respected obligatorily, as much as in the choice of material and the method of construction. -


The contractor should make provisions for all indispensable works in order to assure the smooth and perfect accomplishment of his task in accordance with the rules and regulations.


Furthermore the contractor haven rendered account of the disposition of the site, its accesses and servitudes, recognizes by his professional knowledge that he cannot pretend to ask for any contractual price increment.

SITE PUT AT THE DISPOSAL OF THE CONTRACTOR


lt can be put at the disposal of the contractor during the execution of his work a piece of land defined for the installation of his site. In this case the contractor shall keep this site clean and in good shape at the end of his contract. This land shall thus be handed back to the lawful owner at the end of the contract.


The site shall be constantly cleaned Materials shall be disposed off in a place chosen by the control engineer. The waste material shall be removed from site once every week.


The appreciation of the present article i~ reserved exclusively on the control engineer

SIGN — POSTS


The contractor shall put in place at his expense sign-posts indicating work in conformity with the plans put at his disposal by the control engineer

DOCUMENTS TO BE FURNISHED BY THE CONTRACTOR


The contractor shall submit to the control engineer ten (10) days after the notification of the contract the following documents:

· A program of execution of work

· A project of the site installation

· A project of planning of work

· Working diagrams

The above clauses are formal (categorical)


By submitting a proposal, or signing a contract, is an indication of the contractor’s acceptance without reserve the above clauses.


No petition will be accepted after the submission of proposals on the signing of the contract. It is thus necessary for the contractor to submit to the project manager all questions judged necessary (by him) or important for the total comprehension of the plans and descriptive estimates.

STRUCTURAL STABILITY

Analysis


The control engineer has the right to ask at any time, laboratory analysis on any used materials on site before it is used, at the expense of the contractor. The laboratory for this analysis will be the choice of the control engineer.

Verification of dimensions


The contractor shall verify all the dimensions of the plans and assure their conformity. He shall inform the control engineer immediately in case of any omissions or errors.


The contractor shall not modify any architectural plan without the consent of the control engineer.


In case the contractor does not comply with the above prescriptions, he shall be liable to any error noted during construction and the consequences of all nature that these errors might provoke.

CHARACTERISTICS OF THE DESCRIPTIVE ESTIMATE 

I: PRELIMINARY WORKS AND STUDIES

Studies

The contractor shall carry out site studies which will enable him to evaluate the quantities that will be necessary for the execution of the contract.

Setting out

The contractor shall execute the setting out of the structure following the plans. This setting out shall be verified by the control engineer before the commencement of any work.

Site security

-
Site office

The contractor shall construct a temporal site office with a site store

-
Hygiene

The contractor shall ensure total hygiene and security of the site


II: EARTH WORK


The contractor shall carry out earth works according to the existing norms


This task comprises:

· Excavation of trenches and backfilling

· Trenches for the isolated footings for pillar according to plans

· Trenches for the reinforced concrete and masonry wall in foundation.

· Backfilling of foundation trenches and other backfilling for flooring, including evacuation of excess or borrowed soil.


III: FOUNDATION


The contractor shall bear in mind that the following points have to be strictly respected

· Lean concrete (10 cm) thick mixed at 150 kg/m3 for the bottom of trenches

· Reinforced concrete mixed at 350 kg/m3 for ground beams, pillars and footings

· 10cm thick mass concrete floor dosed at 350 kg/m3
· Foundation wall with 20 x 20 x 40cm of filled blocks

          IV: ELEVATION

The elevation work comprises

· Plastering of walls with cement mortar mixed at 350 kg/m3
· Reinforced concrete mixed at 350 kg/m3 for tie beams, pillars and lintels

· Mass concrete for steps and gutters and ramp mixed at 350 kg/m3
· Floor screed mixed at 350 kg/rn3. 

1- Bearing walls: 

Bearing walls shall be with hollow cement blocks measuring 15x20x40 as indicated in the designs. These blocks shall conform to the regulations. They shall be supplied by the contractor and approved by the contract engineer. 

2- Open-work windows:

To ensure light and ventilation, parts of windows shall be made of open-work windows. They shall conform to all the prescribed norms and be approved by the contract engineer.  

3- Coating:  

· The bearing surface shall be clean, free from any trace of dust or product resulting from the removal of the formwork. It shall enable the coating to stick firmly; otherwise it shall be treated by wire brushing, staking out or bush-hammering.  

· The bearing surface shall be watered to make it deeply wet but then cleaned on the surface during the application of the coating. 

· After roofing-in, coating shall start only on block works that have been completed for at least two weeks.   

Coating shall comprise three coats. 

· Bond coat or dash bond coat

Batching of the dash bond coat shall be 350 kg/m3; the mortar shall be batched so as to obtain proper workability. A dash bond coat measuring 1 cm thick shall evenly cover the surface to be coated. 

· Second coat

It shall be put on the bond coat three days after. The capacity of this coat shall be obtained by close and even tightening of mortar with a steel float. The surface shall be rough and obtained by applying a ruler to it. It shall be 1.0 cm thick.

· Finishing coat  

It shall measure about 0.5 cm and shall be put up at least 8 days after the second coat.  

3- Fine joints:

Whenever block works are astride an expansion joint, a fine joint shall be drawn with wire in order to make the edge clean. 

4- Topping:

It shall be 4 cm thick and shall be fitted in the slab with coarse sand 4005 kg/m3 mortar. Finishing and polishing shall be made with cement grout.

5-  METAL WORKS.

All works of locksmith will be executed with metal sheet, in tube or metallic angle bars, according to specifications of the descriptive estimate.

All metallic elements must receive two coats of anti rust paint of high quality before usage.

6-  ELECTRICITY

1- Cable sleeves: 

With insulation orange tubes, diameter of 16 mm embedded into the block work.  

2- Cable:

VGV or TH cables shall be used. As a general rule, the following sections shall be taken:

•
1.5 mm² for lighting circuits 

•
2.5 mm² for outlets circuits.

Each circuit shall comprise at most 08 appliances and shall be protected by 10A fuses for lighting circuits and 16A for outlets circuits.

V: CARPENTRY AND JOINERY

Content of works

1- Framework:

Trusses:

Trusses shall be made with solid wood treated with wood preservative (xylophene) or carbonyl section 3x15.

The tie beam and principal rafter shall be doubled. Joints shall be nailed.

Ridge poles:

They shall be made with solid wood treated with carbonyl, section 8x8 and fixed to the trusses by steel staples, diameter 6; they shall be fixed to the gables and partition walls by steel, diameter 6. 
2- Roofing:

It shall be made with sheet steel (tôle ondulée), 6/10th fixed to ridge poles by lag screws, 8x80 with accessories

· The ridge of the roof shall be raised and covered with ridge sheet, 50

· Gables shall have sheet steel edges or shall be made with accroter

· Rainwater shall be collected into a heavy metal gutter and shall flow into rainwater pipes. 

3- Fascia board:

Front and back sides 

The fascia board shall be 30 cm large aluminium sheet fixed onto treated timber boards. Aluminium eave gutters and gully should be used to close the edges of the roof for control of rain water. 

4- Ceiling 

The ceiling shall be made with selected and treated plywood, 4 mm thick. The boards shall be 60 cm x 120 cm double-faced, fixed to lath joists measuring 4 cm x 8 cm; they shall be separated one from the other by a hollow joint of 5 mm. NB: Aluminium ceiling (tôle lise) round the outside veranda.

· Peripheral over strips, inside and outside

· Cellar flap to be put in easily accessible places

· Vent holes perforated on the external boards on the right side of each board.  

Regulations to observe

In the construction of the structures referred to in the specifications, the contractor shall conform to the laws, regulations, and norms in force at the moment of execution of work, notably:
· DTU No.30: framework and stairs in wood

· DTU No.40.42: Roofing large steel sheets and bands

· Norm NF P 21.202: design and assembling

· Rules CB 71: designs and design of wood frameworks.

8-  PAINTING

Paint works shall include rubbing down, flatting and filling-in the paint coating.  

1- Primer:
•
Walls: Pantex 8005 or Tacicryl: 02 coats 

•
Ceilings: Pantex 8005 or Tacicryl: 02 coats

2- Finishing:

Walls and ceilings:

˚ Ceilings: Pantex 8005: 02 coats or Tacicryl: 02 coats

˚ Internal walls: Pantex 8005: 02 coats or Tacicryl extra: 02 coats

˚ External walls: Pantex 13005: 02 coats or Tacicryl extra: 02 coats

· Wall base: 15cm of alkyd paint: 02 coats or Tacilac extra: 02 coats 

· Doors and windows: alkyd paint: 02 coats or Tacilac extra: 02 coats

Regulations to observe

· DTU No.59 : paint works and cleaning

· DTU No.81 : resurfacing

· DTU No.39.4 : mirror work and glazing with thick panes

· Specifications of paint products and UNP testing method. 

9-  VRD

The Drainage Works comprises 

· Construction of external gutters with concrete round the building
· Creation of gutter trenches of 0,40 x 0,60 m2  round the building in concrete mixed at 350 kg/m3
· Protecting the surrounding building with mass concrete between walls and gutters 8cm thick (80cm to 1m wide) mixed at 350kg/m3 
Document No.6 Schedule of Unit
         Prices

Model of Price Schedule of unit prices For the Rehabilitation of TWO INTEGRATED Health Centre, Babong/Mkpot, Eyumojock Municipality, Manyu Division
	No
	DESIGNATION
	UNIT
	UNIT PRICE IN FIGURE
	UNIT PRICE IN WORDS

	1005
	LOT  1005: BABONG INTEGRATED HEALTH CENTER (Rehabilitation Only)
 

	101
	Roofing repairs & ceiling finishing
	LS
	 

 
	

	102
	Flooring/tiling & minor masonry corrections
	LS
	
	

	103
	Painting (internal/external)
	LS
	
	

	104
	Doors/windows repairs or replacement
	LS
	
	

	105
	Sanitation & plumbing finishing
	LE
	
	

	2005
	LOT 2005: MKPOT INTEGRATED HEALTH CENTER (Rehabilitation Only)

	201
	Roofing repairs
	LS
	
	

	202
	Doors/windows repairs or replacement
	LS
	
	

	203
	Painting (internal/external) + minor plastering
	LS
	
	

	204
	Sanitation improvements latrine/handwashing/drainage minor works
	LS
	
	

	205
	Minor electrical/plumbing finishing 
	LS
	
	


DOCUMENT No. 7: BILL OF QUANTITIES AND
       ESTIMATES

Bill of Quantities and Estimates for the Rehabilitation of TWO Integrated Health Centre, Babong/Mkpot, Eyumojock Sub-division, Manyu division

	No
	DESIGNATION
	UNIT
	UNIT PRICE IN FIGURE
	UNIT PRICE IN WORDS

	100
	LOT  1005: BABONG INTEGRATED HEALTH CENTER (Rehabilitation Only)
 

	101
	Roofing repairs & ceiling finishing
	LS
	 

1 
	

	102
	Flooring/tiling & minor masonry corrections
	LS
	1
	

	103
	Painting (internal/external)
	LS
	1
	

	104
	Doors/windows repairs or replacement
	LS
	1
	

	105
	Sanitation & plumbing finishing
	LE
	1
	

	
	SUBTOATL LOT 1005
	
	
	

	200
	LOT 200: MKPOT INTEGRATED HEALTH CENTER (Rehabilitation Only)

	201
	Roofing repairs
	LS
	1
	

	202
	Doors/windows repairs or replacement
	LS
	1
	

	203
	Painting (internal/external) + minor plastering
	LS
	1
	

	204
	Sanitation improvements latrine/handwashing/drainage minor works
	LS
	1
	

	205
	Minor electrical/plumbing finishing 
	LS
	1
	

	
	SUBTOTAL LOT 200
	
	
	

	
	TOTAL  WITHOUT VAT

	
	SUMMARY

	
	LOT  1005: BABONG INTEGRATED HEALTH CENTER
	

	
	LOT 2005: MKPOT INTEGRATED HEALTH CENTER
	

	
	TOTAL  WITHOUT VAT
	

	
	VAT (19.25%)
	

	
	ADVANCE TAX ( 5,5% )
	

	
	NET PAYABLE
	

	
	GENERAL TOTAL INCLUDING ALL TAXES (TTC)
	


This estimate is now closed at the sum of ____________________________francs fca
Signature________________________
Document No.8: Framework of
Sub-Detail of Prices
                     The Sub-Detail of Prices and Taxes
	Désignation du prix : 

	N° DU PRIX
	Rendement journalier
	Quantité totale
	Unité
	Durée de l'activité

	
	
	
	
	

	A.Personnel
	Catégorie
	Salaire journalier
	Jours facturés
	Montant

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	 
	
	
	

	
	 
	
	
	

	
	 
	
	
	

	
	Total A : Personnel
	

	B. Matériel et engins
	Type
	Taux journalier
	Jours facturés
	Montant

	
	Petit Materiel
	
	
	

	
	 
	
	
	

	
	 
	
	
	

	
	 
	
	
	

	
	 
	
	
	

	
	 
	
	
	

	
	 
	
	
	

	
	 
	
	
	

	
	 
	
	
	

	
	 
	
	
	

	
	Total B : Matériel et engins
	

	C. Matériaux et divers
	Type
	Prix unitaire
	Consommation
	Montant

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	Total C : Matériaux et divers
	

	D
	Total coût direct
	 
	D = A + B + C
	

	E
	Frais généraux de chantier
	x%
	E = D x %
	

	F
	Frais généraux de chantier
	x%
	F = D x  %
	

	G
	Coût de revient
	 
	G = D + E + F
	

	H
	Risques et bénéfices
	x%
	H = G x %
	

	P
	Prix de vente hors taxes
	 
	P = G + H
	

	V
	Prix de vente unitaire hors taxes
	 
	P/Quantité
	

	
	
	
	
	


Document No. 9: Model Contract

REPUBLIQUE DU CAMEROUN                                          REPUBLIC OF CAMEROON

 Paix-Travail-Patrie                                                          Peace-Work-Fatherland

             ---------                                                                           ----------

[Indiquer le Maître d’Ouvrage]                                 [Indicate Contracting Authority]

            CONTRACT No______________C or JO/EC/TB/PIB2026 of____________
 Awarded after________ invitation to tender No. ___/ONIT/EC/TB/PIB2026 of____________
HOLDER


: [indicate name and full address of holder]

P.O. Box_________, Tel:_________Fax: ____________

Business Registry No.___________at

Taxpayer’s No._____________

SUBJECT                   : Execution of ______________works;



         Lot No.__________; Network______________

PLACE



: _____________________________

EXECUTION DEADLINE :_____________________(_______) months

AMOUNT IN CFA F:

	IAT
	

	VAT
	

	VAT (19.25%)
	

	AIR (5.5 %)
	

	Net to be paid
	


FINANCING

: [indicate the source of financing]

BUDGET HEAD
: [to be completed]





SUBSCRIBED ON:________________





SIGNED ON:_____________________





NOTIFIED ON:___________________





REGISTERED ON:_________________

Between:

The Government of the Republic of Cameroon, represented by________________ hereinafter referred to the “Contracting Authority”

On the one hand,

And

The ______________________(enterprise)

P.O. Box________Tel:_________Fax:_________

Business Registry No. ___________

Taxpayer’s No. ___________________

Represented by M _________________, its General Manager, hereinafter referred to as the “Contractor”

On the other hand,

Agreed on the following:

                   Summary

Part I:
Special Administrative Conditions (SAC)

Part II:   Special Technical Conditions (STC)

Part III:  Schedule of Unit Prices (SUP)

Part IV:  Details or Estimates

Page_______ and last of Contract No.____________  or JO/EC/TB/PIB2026
Awarded after invitation to tender [specify references of invitation to tender]

With __________,

For the execution of _______________works




Lot No.________; _______________Network

EXECUTION DEADLINE________Three____(__03____) months

Amount of contract in CFA F:

	IAT
	

	EVAT
	

	VAT (19.25%)
	

	AIR (5.5 %)
	

	Net to be paid
	


	Read and accepted by the contractor

                                        (place of signature)__________(date)

	Signature of Contracting Authority

(place of signature)__________(date)

	Registration




Document No. 10: Forms and Models to be Used

                        Table of Models

Annex No. 1: Model Tender

Annex No. 2: Model Bid Bond

Annex No. 3:  Model Final Bond

Annex No. 4:  Model of Start-Off Advance Bond

Annex No. 5:  Model Retention Fund

Annex No. 6:  Schedule Framework
Annex No. 7:  Site Board

Annex No. 8:  Plan

Annex No. 9:  List of Banking Establishment
                                   Annex No. 1: Model Tender

I, the undersigned______________[indicate the name and capacity of  signatory]

Representing the ______________company or enterprise or group
 with head office at_____________ registered in the trade register of____________ under the number No_________

Having taken cognisance of all the documents featured or mentioned in the Tender File:

[recall the subject of the invitation to tender]

· After having personally taking account of the situation of the site and evaluated from my point of view and under my responsibility, the nature and difficulty of the works to be carried out;

· Hereby submit, bearing my signature, the schedule of unit prices as well as the quotations in accordance with the structure featuring in the Tender File.

· Submit and commit myself to execute the works in accordance with the Tender File, in return for  the prices which I myself establish for each type of structure which prices reveal the amount of the tender for lot No. ________ at _______________[in figures and words] CFA francs exclusive of VAT and at ________________CFA francs Inclusive of all Taxes. [In figures and words].

· I pledge to execute the works within a deadline of ……………months.

·  I pledge to maintain my offer for [indicate duration of validity, in principle 90 days for national invitations to tender 120 days for international invitations to tender] from the deadline of submission of tenders.

· Rebates and the modalities of application the said rebates shall be the following (in case of the possibility of award of several lots).

The Contracting Authority shall pay the sums due for this contract by crediting account No…………………… opened in………………………Bank………………………..Branch

Prior to the signing of the contract, this tender accepted by you shall constitute an agreement between us.

Signature of………………………..in       the capacity of………………duly authorised to sign the tenders on behalf of
……………………………

                                      ANNEX No. 2: MODEL BID BOND

Addressed to [indicate the Contracting Authority and his address] “Contracting Authority”

Whereas the undertaking _____________ hereinafter referred to as the “bidder” has submitted his tender on __________for [recall the subject of the invitation to tender], hereinafter referred to as “the tender” and to which must be attached a bid bond equivalent to [indicate the amount] CFA francs.

We___________ [name and address of the bank], represented by _________[names of signatories], hereinafter referred to as “the bank” hereby declare to guarantee payment to the Contracting Authority of the maximum sum of [indicate the amount] CFA francs, that the bank pledges to pay in full to the Contracting Authority, binding itself, its successors and assignees.

The conditions of this commitment are as follows:

If the bidder retires his tender during the validity period specified by him in the tender;

Or

If the bidder, having been notified of the award of the contract by the Contracting Authority during the validity period:

· Fails or refuses to sign the contract, even though required to do so;

· Fails or refuses to furnish the final bond for the contract (final bond) as provided for by the contract;

We pledge to pay to the Contracting Authority an amount up to the maximum of the sum referred to above upon reception of the his first written request, without the Contracting Authority having to justify his request, given, however, that in his request the Contracting Authority shall note that he is due the amount he is claiming because one or the other or both of the above condition(s) has (have) been fulfilled and he shall specify which condition(s) took effect.

This bond shall enter into force from the date of signature and from the date set by the Contracting Authority for the submission of tenders. It shall remain valid up till the thirtieth day inclusive following the end of the deadline for the validity of tenders. Any request by the Contracting Authority to cause it to take effect should reach the bank by registered mail with an acknowledgement of receipt before the end of this period of validity. 

This bond shall, for purposes of its interpretation, be submitted to Cameroon law. Cameroon courts shall be the only jurisdictions competent to rule on this commitment and its consequences.

Signed and authenticated by the bank at____________, on____________

[Bank’s signature]

                                     ANNEX No. 3: MODEL FINAL BOND

Bank:

Reference of the Bond: No_____________________

Addressed to [Indicate the Contracting Authority and his address] Cameroon, hereinafter referred to as the “Contracting Authority”

Whereas ________________ [name and address of Supplier], hereafter referred to as “the Supplier”, has committed himself, in execution of the contract referred to as “the contract”, to carry out [indicate the nature of the services].

Whereas it is stated in the contract that the Supplier shall entrust to the Contracting Authority a final bond of an amount equal to [indicate the percentage between 2 and 5   %] of the amount of the corresponding portion of the contract, as guarantee of the execution of his full obligations in accordance with the terms of the contract,

Whereas we have agreed to give the Supplier this guarantee,

We, __________________________   [name and address of bank]
Represented by______________________ [name of signatories],

hereinafter referred to as “the bank”, commit ourselves to pay the Contracting Authority, within a maximum deadline of eight (8) weeks, upon the simple written request declaring that the Supplier has not satisfied his contractual commitments within the meaning of the contract, without being able to defer the payment nor raise any contests for whatever reason, any sum up to the sum of _____________  [in figures and words] .

We agree that no change or addendum or any other amendment to the contract shall free us of any obligation incumbent on us by virtue of this final bond and we hereby incline to any notification, addendum or change. 

This final bond shall enter into force as soon as it is signed and as soon as the Contracting Authority notifies the Supplier of the approval of the contract. It shall be released within a deadline of [indicate the deadline] from the date of the provisional acceptance of the supplies.
After this date, the bond shall be baseless and should be returned to us without the express request on our part.

Any request for payment formulated by the Contracting Authority by virtue of this guarantee should be done by registered mail with acknowledgement of receipt to reach the bank during the period of validity of this commitment.

This bond shall, for purposes of its interpretation, be subject to Cameroon law. Cameroon courts shall be the only jurisdictions competent to rule on this commitment and its consequences.

Signed and Authenticated by the Bank at _________ on __________________

[Signature of the bank]
ANNEX No. 4: Model of Start-Off Advance Bond

Bank: reference, address________________________________________________

We, the undersigned, (bank, address) hereby declare by the present to guarantee on behalf of______________________________________________ [the holder] to the benefit of the Contracting Authority [address of the Contracting Authority] (the beneficiary)

The payment, without contest and upon receipt of the first written request by the beneficiary, declaring that____________[the holder] has not fulfilled his obligations relating to the reimbursement of the start-off advance according to the terms of contract No._________ of _____________ relating to ________________ works [indicate the subject of the works, the references of the invitation to tender and the lot,] of the total sum corresponding to to the advance of [twenty (20) %] of the amount inclusive of all taxes of contract No. _____________, payable upon notification of the corresponding Administrative Order that is, _____________CFA francs.

This bond shall enter into force and shall take effect upon reception of the respective parts of this advance into the accounts of____________ [the holder] opened in the_________________ bank under No. ___________________.

This bond shall remain in force up till the reimbursement of the advance in accordance with the SAC. However, the amount of the guarantee shall be proportionately reduced on the progressive reimbursement of the advance.

The applicable law and jurisdiction shall be those of the Republic of Cameroon.

Signed and authenticated by the bank at______________ on _____________

Signature of the bank

ANNEX No. 5: MODEL OF PERFORMANCE BOND (RETENTION FUND)

Bank: ____________

Reference of the bond: No________________

Addressed to [Indicate the Contracting Authority]

[Address of Contracting Authority]

Hereinafter referred to as “the Contracting Authority”

Whereas________________ name and address of Supplier] hereinafter referred to “the contractor”, pledged, in execution of the contract, to carry out the works of [indicate the subject of the work]

Whereas it is stipulated in the contract that the retention fund fixed at [percentage below 10 % to be specified] of the amount of the contract may be replaced by a joint guarantee,

Whereas we have agreed to provide the Contractor with this guarantee,

We,____________________________________ [name and address of the bank],

Represented by _________________________ [names of signatories] and hereinafter referred to as “the bank”,

Hence, we hereby affirm that on behalf of the Contractor, we guarantee and are responsible to the Contracting Authority for a maximum amount of______________________________

[in figures and letters] corresponding to [percentage below 10 % to be specified]  of the contract price
.

And we pledge to pay to the Contracting Authority within a maximum deadline of eight (8) weeks upon his simple written request declaring that the contractor has not fulfilled his contractual obligations or is indebted to the Contracting Authority within the meaning of the contract, amended where need be, by its additional clauses, without being able to defer the payment nor raise any contest for whatever reason, any sum(s) within the limits of the amount equal to [percentage below 10 % to be specified]  of the total amount of the works featuring in the final detailed account, without the Contracting Authority having to prove or give the reasons nor the motive for the amount of the sum indicated above.

We hereby agree that no change or addendum or any other amendment shall release us of any obligation incumbent on us by virtue of this bond and we hereby incline by the present to the notification of any amendment, addendum or change.

This bond shall enter into force upon signature. It shall be released within thirty (30) days from the date of the final acceptance of the works and upon release issued by the Contracting Authority.

Any request for payment formulated by the Contracting Authority by virtue of this bond should be done by registered mail with acknowledgement of receipt to reach the bank during the period of validity of this commitment.

This bond shall, for purposes of its interpretation and execution, be subject to Cameroon law. Cameroon courts shall be the only jurisdictions competent to rule on this pledge and its consequences.

                              Signed and authenticated by the bank at__________ on _______

                                     [Signature of the bank]

ANNEX No. 6: Schedule Framework

Note on the presentation of schedules

The quantities, daily outputs, the duration of execution of works and the slowdowns or even the due interruptions must be clearly brought out in the schedules.

The financial schedule resulting from the schedule of works must indicate month by month, the estimated amounts of the detailed accounts of works by item and cumulatively by taking into account the incidence of rainy seasons for the basic solution and possibly variant solution.

ANNEX No. 6: List of banking Establishments and 
                    Financial Bodies Authorised to Issue 
                     Bonds for Public Contracts

1- Afrikland First Bank (First Bank);

2- United Bank for Africa (UBA);

3- Banque Internationale du Cameroun pour l’Epargne et le Crédit (BICCEC) ;

4- CITI BANK Cameroon (CITI-C);
5- COMMERCIAL BANK CAMEROON (CBC);
6- ECOBANK Cameroun (ECOBANK);

7- National Financial Credit Bank (NFC-BANK);

8- Société Commerciale de Banque Cameroun (CA-SCB);

9- Société Générale des Banques au Cameroun (SGBC) ;
10- Standard Chartered Bank Cameroon (SCBC);
11- Union Bank of Cameroon (UBC).

12- Banque Atlantique du Cameroun  (BAC).

This list is available at ARMP.
OPEN NATIONAL INVITATION TO TENDER  











� Delete where necessary


� Attach the Power of Attorney 


� In the case where the bond is established once upon start of the works and covers the full bond, that is, 10 % of the amount of the contract





1

